## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
01/06/2024 08:00 | 1923.678 | 1956.041 | 1891.316
01/06/2024 08:30 | 1836.837 | 1874.761 | 1798.913 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
01/06/2024 09:00 | 1744.641 | 1787.331 | 1701.951 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
01/06/2024 09:30 | 1617.096 | 1662.847 | 1571.345 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
01/06/2024 10:00 | 1466.379 | 1513.472 | 1419.286 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
01/06/2024 10:30 | 1315.774 | 1361.758 | 1269.79 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
01/06/2024 11:00 | 1209.588 | 1252.917 | 1166.26 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
01/06/2024 11:30 | 1122.87 | 1164.261 | 1081.478 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
01/06/2024 12:00 | 1051.519 | 1091.375 | 1011.662 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
01/06/2024 12:30 | 1079.279 | 1121.312 | 1037.246 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
01/06/2024 13:00 | 1157.557 | 1203.844 | 1111.27 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
01/06/2024 13:30 | 1270.31 | 1322.428 | 1218.191
01/06/2024 14:00 | 1399.792 | 1458.681 | 1340.903 | Summary view - for each schedule horizon (dispatch, week-ahead)
01/06/2024 14:30 | 1544.237 | 1610.811 | 1477.663
01/06/2024 15:00 | 1734.312 | 1810.886 | 1657.737 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
01/06/2024 15:30 | 1952.497 | 2040.738 | 1864.255 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
01/06/2024 16:00 | 2158.416 | 2258.212 | 2058.62 | Scenario | Violations
01/06/2024 16:30 | 2341.521 | 2452.221 | 2230.82 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
01/06/2024 17:00 | 2471.553 | 2589.813 | 2351.076 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
01/06/2024 17:30 | 2520.598 | 2644.054 | 2395.31 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0
01/06/2024 18:00 | 2481.56 | 2605.937 | 2355.854 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 1 | 0
01/06/2024 18:30 | 2425.666 | 2549.471 | 2301.276 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0
01/06/2024 19:00 | 2373.93 | 2495.783 | 2251.839
01/06/2024 19:30 | 2323.878 | 2443.686 | 2203.671 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
01/06/2024 20:00 | 2267.792 | 2385.253 | 2149.841
01/06/2024 20:30 | 2218.848 | 2334.36 | 2102.86 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
01/06/2024 21:00 | 2167.318 | 2280.729 | 2053.464 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
01/06/2024 21:30 | 2098.394 | 2208.816 | 1987.667 | [7 empty] | 01/06/2024 11:30 | [11 empty] | 01/06/2024 11:30 |  |  |  | 06/06/2024 08:30 | [7 empty] | 01/06/2024 11:30
01/06/2024 22:00 | 2024.74 | 2131.902 | 1917.44 | [7 empty] | 01/06/2024 12:00 | [11 empty] | 01/06/2024 12:00 | [11 empty] | 01/06/2024 12:00
01/06/2024 22:30 | 1961.521 | 2065.858 | 1857.059 | [7 empty] | 01/06/2024 12:30 | [11 empty] | 01/06/2024 12:30 | [11 empty] | 01/06/2024 12:30
01/06/2024 23:00 | 1909.809 | 2011.806 | 1807.516 | [7 empty] | 01/06/2024 13:00 | [11 empty] | 05/06/2024 11:00 | [11 empty] | 01/06/2024 13:00
01/06/2024 23:30 | 1868.819 | 1969.109 | 1768.22 | [19 empty] | 05/06/2024 11:30 | [11 empty] | 01/06/2024 13:30
02/06/2024 00:00 | 1832.27 | 1931.043 | 1733.123 | [31 empty] | 04/06/2024 11:30
02/06/2024 00:30 | 1801.825 | 1899.453 | 1703.87 | [31 empty] | 04/06/2024 12:00
02/06/2024 01:00 | 1781.643 | 1878.732 | 1684.393
02/06/2024 01:30 | 1765.157 | 1861.896 | 1668.417
02/06/2024 02:00 | 1755.575 | 1852.252 | 1658.899
02/06/2024 02:30 | 1748.764 | 1845.526 | 1652.002
02/06/2024 03:00 | 1744.346 | 1841.323 | 1647.369
02/06/2024 03:30 | 1744.602 | 1842.052 | 1647.151
02/06/2024 04:00 | 1757.687 | 1856.33 | 1659.043
02/06/2024 04:30 | 1782.604 | 1883.115 | 1682.092
02/06/2024 05:00 | 1805.341 | 1907.61 | 1703.072
02/06/2024 05:30 | 1843.951 | 1948.892 | 1739.009
02/06/2024 06:00 | 1906.32 | 2015.313 | 1797.327
02/06/2024 06:30 | 1960.766 | 2073.339 | 1848.195
02/06/2024 07:00 | 2001.016 | 2116.273 | 1885.76
02/06/2024 07:30 | 1985.025 | 2099.739 | 1870.31
02/06/2024 08:00 | 1933.304 | 2045.399 | 1821.209
02/06/2024 08:30 | 1872.554 | 1981.484 | 1763.623
02/06/2024 09:00 | 1810.486 | 1916.152 | 1704.82
02/06/2024 09:30 | 1741.722 | 1843.707 | 1639.736
02/06/2024 10:00 | 1668.808 | 1766.843 | 1570.774
02/06/2024 10:30 | 1627.56 | 1723.482 | 1531.637
02/06/2024 11:00 | 1592.357 | 1686.509 | 1498.205
02/06/2024 11:30 | 1555.443 | 1647.709 | 1463.176
02/06/2024 12:00 | 1537.757 | 1629.269 | 1446.246
02/06/2024 12:30 | 1574.212 | 1668.194 | 1480.231
02/06/2024 13:00 | 1659.912 | 1759.327 | 1560.497
02/06/2024 13:30 | 1816.56 | 1925.704 | 1707.416
02/06/2024 14:00 | 1972.487 | 2091.377 | 1853.598
02/06/2024 14:30 | 2044.771 | 2168.408 | 1921.134
02/06/2024 15:00 | 2117.757 | 2246.211 | 1989.302
02/06/2024 15:30 | 2220.564 | 2355.679 | 2085.449
02/06/2024 16:00 | 2364.937 | 2509.288 | 2220.586
02/06/2024 16:30 | 2518.657 | 2672.873 | 2364.442
02/06/2024 17:00 | 2632.585 | 2794.279 | 2470.891
02/06/2024 17:30 | 2662.341 | 2826.372 | 2498.311
02/06/2024 18:00 | 2607.885 | 2769.059 | 2446.711
02/06/2024 18:30 | 2548.233 | 2706.207 | 2390.259
02/06/2024 19:00 | 2501.802 | 2657.375 | 2346.229
02/06/2024 19:30 | 2444.576 | 2597.057 | 2292.094
02/06/2024 20:00 | 2373.693 | 2522.207 | 2225.179
02/06/2024 20:30 | 2298.243 | 2442.475 | 2154.01
02/06/2024 21:00 | 2217.504 | 2357.094 | 2077.915
02/06/2024 21:30 | 2125.371 | 2259.567 | 1991.175
02/06/2024 22:00 | 2034.146 | 2162.97 | 1905.322
02/06/2024 22:30 | 1960.447 | 2084.979 | 1835.916
02/06/2024 23:00 | 1903.01 | 2024.256 | 1781.763
02/06/2024 23:30 | 1854.008 | 1968.738 | 1739.279
03/06/2024 00:00 | 1807.005 | 1911.917 | 1702.092
03/06/2024 00:30 | 1773.35 | 1877.21 | 1669.489
03/06/2024 01:00 | 1751.64 | 1854.519 | 1648.762
03/06/2024 01:30 | 1726.853 | 1828.561 | 1625.146
03/06/2024 02:00 | 1714.572 | 1815.839 | 1613.305
03/06/2024 02:30 | 1715.166 | 1816.751 | 1613.58
03/06/2024 03:00 | 1717.157 | 1819.145 | 1615.17
03/06/2024 03:30 | 1719.614 | 1822.031 | 1617.197
03/06/2024 04:00 | 1727.052 | 1830.197 | 1623.906
03/06/2024 04:30 | 1731.427 | 1835.12 | 1627.735
03/06/2024 05:00 | 1741.217 | 1845.783 | 1636.651
03/06/2024 05:30 | 1761.51 | 1867.585 | 1655.434
03/06/2024 06:00 | 1784.838 | 1892.613 | 1677.063
03/06/2024 06:30 | 1800.786 | 1909.855 | 1691.716
03/06/2024 07:00 | 1828.627 | 1939.789 | 1717.466
03/06/2024 07:30 | 1864.93 | 1978.706 | 1751.154
03/06/2024 08:00 | 1905.629 | 2022.304 | 1788.954
03/06/2024 08:30 | 1866.202 | 1980.871 | 1751.534
03/06/2024 09:00 | 1760.748 | 1869.322 | 1652.175
03/06/2024 09:30 | 1689.252 | 1793.787 | 1584.718
03/06/2024 10:00 | 1541.199 | 1636.908 | 1445.49
03/06/2024 10:30 | 1434.027 | 1523.394 | 1344.66
03/06/2024 11:00 | 1389.684 | 1476.591 | 1302.777
03/06/2024 11:30 | 1346.386 | 1430.879 | 1261.892
03/06/2024 12:00 | 1334.279 | 1418.304 | 1250.253
03/06/2024 12:30 | 1441.06 | 1532.125 | 1349.996
03/06/2024 13:00 | 1557.507 | 1656.27 | 1458.743
03/06/2024 13:30 | 1605.325 | 1707.472 | 1503.179
03/06/2024 14:00 | 1743.871 | 1855.214 | 1632.528
03/06/2024 14:30 | 1888.587 | 2009.583 | 1767.591
03/06/2024 15:00 | 2031.054 | 2161.62 | 1900.487
03/06/2024 15:30 | 2226.334 | 2369.941 | 2082.727
03/06/2024 16:00 | 2408.484 | 2564.366 | 2252.602
03/06/2024 16:30 | 2600.33 | 2769.197 | 2431.463
03/06/2024 17:00 | 2717.745 | 2894.831 | 2540.659
03/06/2024 17:30 | 2733.58 | 2912.295 | 2554.865
03/06/2024 18:00 | 2681.379 | 2856.095 | 2505.491
03/06/2024 18:30 | 2609.345 | 2779.938 | 2437.612
03/06/2024 19:00 | 2536.563 | 2702.951 | 2369.066
03/06/2024 19:30 | 2468.763 | 2631.244 | 2305.204
03/06/2024 20:00 | 2372.353 | 2529.007 | 2214.663
03/06/2024 20:30 | 2283.76 | 2435.062 | 2131.459
03/06/2024 21:00 | 2206.333 | 2352.988 | 2059.678
03/06/2024 21:30 | 2116.291 | 2257.423 | 1975.159
03/06/2024 22:00 | 2026.405 | 2161.986 | 1890.824
03/06/2024 22:30 | 1952.876 | 2083.964 | 1821.788
03/06/2024 23:00 | 1899.601 | 2027.527 | 1771.674
03/06/2024 23:30 | 1852.549 | 1977.712 | 1727.386
04/06/2024 00:00 | 1806.319 | 1928.753 | 1683.885
04/06/2024 00:30 | 1777.705 | 1898.588 | 1656.822
04/06/2024 01:00 | 1762.861 | 1883.12 | 1642.602
04/06/2024 01:30 | 1753.368 | 1873.362 | 1633.374
04/06/2024 02:00 | 1750.203 | 1870.363 | 1630.043
04/06/2024 02:30 | 1752.981 | 1873.714 | 1632.247
04/06/2024 03:00 | 1759.731 | 1881.314 | 1638.148
04/06/2024 03:30 | 1775.965 | 1899.058 | 1652.872
04/06/2024 04:00 | 1816.194 | 1942.472 | 1689.916
04/06/2024 04:30 | 1894.831 | 2026.99 | 1762.671
04/06/2024 05:00 | 2008.409 | 2148.929 | 1867.889
04/06/2024 05:30 | 2170.506 | 2322.841 | 2018.17
04/06/2024 06:00 | 2356.432 | 2522.331 | 2190.533
04/06/2024 06:30 | 2507.22 | 2684.283 | 2330.157
04/06/2024 07:00 | 2580.314 | 2763.103 | 2397.525
04/06/2024 07:30 | 2534.557 | 2714.658 | 2354.456
04/06/2024 08:00 | 2450.015 | 2624.644 | 2275.386
04/06/2024 08:30 | 2339.969 | 2507.265 | 2172.672
04/06/2024 09:00 | 2234.803 | 2395.069 | 2074.537
04/06/2024 09:30 | 2125.527 | 2278.421 | 1972.633
04/06/2024 10:00 | 2021.089 | 2166.912 | 1875.267
04/06/2024 10:30 | 1951.676 | 2092.917 | 1810.435
04/06/2024 11:00 | 1903.883 | 2042.082 | 1765.685
04/06/2024 11:30 | 1873.481 | 2009.882 | 1737.08
04/06/2024 12:00 | 1883.709 | 2021.266 | 1746.152
04/06/2024 12:30 | 1953.52 | 2096.602 | 1810.438
04/06/2024 13:00 | 2013.391 | 2161.298 | 1865.484
04/06/2024 13:30 | 2049.095 | 2200.073 | 1898.118
04/06/2024 14:00 | 2115.419 | 2271.746 | 1959.093
04/06/2024 14:30 | 2216.046 | 2380.293 | 2051.8
04/06/2024 15:00 | 2321.593 | 2494.169 | 2149.016
04/06/2024 15:30 | 2428.457 | 2609.508 | 2247.406
04/06/2024 16:00 | 2557.803 | 2749.056 | 2366.55
04/06/2024 16:30 | 2710.501 | 2913.764 | 2507.239
04/06/2024 17:00 | 2820.726 | 3032.871 | 2608.581
04/06/2024 17:30 | 2846.374 | 3061.07 | 2631.678
04/06/2024 18:00 | 2790.905 | 3002.027 | 2579.783
04/06/2024 18:30 | 2715.481 | 2921.491 | 2509.471
04/06/2024 19:00 | 2641.348 | 2842.31 | 2440.385
04/06/2024 19:30 | 2568.915 | 2764.928 | 2372.902
04/06/2024 20:00 | 2485.602 | 2675.801 | 2295.403
04/06/2024 20:30 | 2394.798 | 2578.572 | 2211.024
04/06/2024 21:00 | 2291.757 | 2468.124 | 2115.389
04/06/2024 21:30 | 2181.941 | 2350.334 | 2013.548
04/06/2024 22:00 | 2077.864 | 2238.678 | 1917.049
04/06/2024 22:30 | 1995.365 | 2150.231 | 1840.499
04/06/2024 23:00 | 1931.186 | 2081.493 | 1780.88
04/06/2024 23:30 | 1883.075 | 2030.049 | 1736.102
05/06/2024 00:00 | 1841.96 | 1986.127 | 1697.794
05/06/2024 00:30 | 1811.309 | 1953.472 | 1669.145
05/06/2024 01:00 | 1793.408 | 1934.558 | 1652.257
05/06/2024 01:30 | 1781.698 | 1922.316 | 1641.08
05/06/2024 02:00 | 1775.027 | 1915.506 | 1634.547
05/06/2024 02:30 | 1774.909 | 1915.767 | 1634.052
05/06/2024 03:00 | 1778.868 | 1920.429 | 1637.307
05/06/2024 03:30 | 1793.179 | 1936.271 | 1650.088
05/06/2024 04:00 | 1835.665 | 1982.548 | 1688.782
05/06/2024 04:30 | 1914.393 | 2067.993 | 1760.792
05/06/2024 05:00 | 2031.342 | 2194.77 | 1867.914
05/06/2024 05:30 | 2194.408 | 2371.435 | 2017.382
05/06/2024 06:00 | 2368.058 | 2559.61 | 2176.505
05/06/2024 06:30 | 2499.701 | 2702.448 | 2296.954
05/06/2024 07:00 | 2533.403 | 2739.437 | 2327.369
05/06/2024 07:30 | 2387.178 | 2581.819 | 2192.537
05/06/2024 08:00 | 2172.661 | 2350.223 | 1995.098
05/06/2024 08:30 | 1988.408 | 2151.293 | 1825.522
05/06/2024 09:00 | 1816.583 | 1965.741 | 1667.424
05/06/2024 09:30 | 1662.815 | 1799.666 | 1525.964
05/06/2024 10:00 | 1525.998 | 1651.881 | 1400.114
05/06/2024 10:30 | 1437.683 | 1556.557 | 1318.809
05/06/2024 11:00 | 1379.75 | 1494.099 | 1265.402
05/06/2024 11:30 | 1341.072 | 1452.472 | 1229.673
05/06/2024 12:00 | 1322.75 | 1432.881 | 1212.619
05/06/2024 12:30 | 1351.446 | 1464.225 | 1238.666
05/06/2024 13:00 | 1413.212 | 1531.416 | 1295.007
05/06/2024 13:30 | 1527.317 | 1655.358 | 1399.275
05/06/2024 14:00 | 1660.94 | 1800.501 | 1521.378
05/06/2024 14:30 | 1808.453 | 1960.756 | 1656.149
05/06/2024 15:00 | 1998.306 | 2166.982 | 1829.631
05/06/2024 15:30 | 2197.89 | 2383.834 | 2011.947
05/06/2024 16:00 | 2384.457 | 2586.641 | 2182.272
05/06/2024 16:30 | 2563.434 | 2781.285 | 2345.582
05/06/2024 17:00 | 2718.043 | 2949.554 | 2486.531
05/06/2024 17:30 | 2774.587 | 3011.447 | 2537.728
05/06/2024 18:00 | 2737.918 | 2972.173 | 2503.664
05/06/2024 18:30 | 2678.86 | 2908.575 | 2449.146
05/06/2024 19:00 | 2614.126 | 2838.791 | 2389.461
05/06/2024 19:30 | 2548.219 | 2767.708 | 2328.73
05/06/2024 20:00 | 2463.857 | 2676.552 | 2251.162
05/06/2024 20:30 | 2374.299 | 2579.718 | 2168.881
05/06/2024 21:00 | 2278.434 | 2475.995 | 2080.873
05/06/2024 21:30 | 2173.096 | 2361.94 | 1984.252
05/06/2024 22:00 | 2071.158 | 2251.54 | 1890.776
05/06/2024 22:30 | 1989.72 | 2163.391 | 1816.049
05/06/2024 23:00 | 1928.958 | 2097.695 | 1760.221
05/06/2024 23:30 | 1879.894 | 2044.7 | 1715.089
06/06/2024 00:00 | 1839.916 | 2001.569 | 1678.262
06/06/2024 00:30 | 1811.612 | 1971.126 | 1652.098
06/06/2024 01:00 | 1795.011 | 1953.407 | 1636.614
06/06/2024 01:30 | 1782.138 | 1939.74 | 1624.536
06/06/2024 02:00 | 1776.714 | 1934.177 | 1619.252
06/06/2024 02:30 | 1779.128 | 1937.146 | 1621.111
06/06/2024 03:00 | 1785.22 | 1944.121 | 1626.319
06/06/2024 03:30 | 1800.669 | 1961.291 | 1640.048
06/06/2024 04:00 | 1843.24 | 2008.012 | 1678.468
06/06/2024 04:30 | 1919.031 | 2090.946 | 1747.116
06/06/2024 05:00 | 2029.515 | 2211.716 | 1847.314
06/06/2024 05:30 | 2184.959 | 2381.534 | 1988.384
06/06/2024 06:00 | 2360.48 | 2573.3 | 2147.661
06/06/2024 06:30 | 2496.75 | 2722.334 | 2271.167
06/06/2024 07:00 | 2546.971 | 2777.58 | 2316.362
06/06/2024 07:30 | 2464.229 | 2687.818 | 2240.639
06/06/2024 08:00 | 2343.765 | 2556.873 | 2130.656
06/06/2024 08:30 | 2210.226 | 2411.616 | 2008.836
06/06/2024 09:00 | 2063.226 | 2251.617 | 1874.834
06/06/2024 09:30 | 1923.506 | 2099.509 | 1747.504
06/06/2024 10:00 | 1775.384 | 1938.173 | 1612.594
06/06/2024 10:30 | 1653.774 | 1805.729 | 1501.818
06/06/2024 11:00 | 1583.882 | 1729.72 | 1438.045
06/06/2024 11:30 | 1541.591 | 1683.83 | 1399.353
06/06/2024 12:00 | 1530.851 | 1672.392 | 1389.31
06/06/2024 12:30 | 1569.408 | 1714.815 | 1424.002
06/06/2024 13:00 | 1636.032 | 1787.925 | 1484.139
06/06/2024 13:30 | 1841.123 | 2012.41 | 1669.836
06/06/2024 14:00 | 2066.193 | 2258.815 | 1873.571
06/06/2024 14:30 | 2180.415 | 2384.104 | 1976.726
06/06/2024 15:00 | 2262.274 | 2474.043 | 2050.504
06/06/2024 15:30 | 2351.727 | 2572.321 | 2131.133
06/06/2024 16:00 | 2466.616 | 2698.459 | 2234.773
06/06/2024 16:30 | 2605.687 | 2851.101 | 2360.272
06/06/2024 17:00 | 2735.611 | 2993.787 | 2477.436
06/06/2024 17:30 | 2772.81 | 3035.027 | 2510.592
06/06/2024 18:00 | 2720.125 | 2977.881 | 2462.368
06/06/2024 18:30 | 2664.292 | 2917.269 | 2411.315
06/06/2024 19:00 | 2617.051 | 2866.044 | 2368.059
06/06/2024 19:30 | 2552.332 | 2795.656 | 2309.008
06/06/2024 20:00 | 2469.319 | 2705.202 | 2233.435
06/06/2024 20:30 | 2377.443 | 2605.006 | 2149.88
06/06/2024 21:00 | 2277.72 | 2496.174 | 2059.266
06/06/2024 21:30 | 2174.249 | 2383.196 | 1965.302
06/06/2024 22:00 | 2076.059 | 2275.968 | 1876.151
06/06/2024 22:30 | 1995.8 | 2188.362 | 1803.237
06/06/2024 23:00 | 1934.46 | 2121.475 | 1747.445
06/06/2024 23:30 | 1895.153 | 2078.732 | 1711.574
07/06/2024 00:00 | 1866.038 | 2047.154 | 1684.922
07/06/2024 00:30 | 1837.113 | 2015.773 | 1658.452
07/06/2024 01:00 | 1818.595 | 1995.803 | 1641.387
07/06/2024 01:30 | 1805.973 | 1982.298 | 1629.649
07/06/2024 02:00 | 1800.654 | 1976.804 | 1624.504
07/06/2024 02:30 | 1802.785 | 1979.489 | 1626.081
07/06/2024 03:00 | 1806.398 | 1983.802 | 1628.993
07/06/2024 03:30 | 1820.128 | 1999.23 | 1641.026
07/06/2024 04:00 | 1862.282 | 2045.889 | 1678.676
07/06/2024 04:30 | 1936.327 | 2127.605 | 1745.048
07/06/2024 05:00 | 2050.35 | 2253.285 | 1847.415
07/06/2024 05:30 | 2209.678 | 2428.806 | 1990.55
07/06/2024 06:00 | 2374.958 | 2610.932 | 2138.985
07/06/2024 06:30 | 2512.736 | 2762.881 | 2262.591
07/06/2024 07:00 | 2574.793 | 2831.61 | 2317.978
07/06/2024 07:30 | 2510.101 | 2761.074 | 2259.128
07/06/2024 08:00 | 2392.011 | 2632 | 2152.023
07/06/2024 08:30 | 2241.849 | 2467.523 | 2016.174
07/06/2024 09:00 | 2089.358 | 2300.383 | 1878.333
07/06/2024 09:30 | 1950.853 | 2148.543 | 1753.163
07/06/2024 10:00 | 1865.33 | 2054.979 | 1675.682
07/06/2024 10:30 | 1886.018 | 2078.402 | 1693.633
07/06/2024 11:00 | 1919.973 | 2116.465 | 1723.481
07/06/2024 11:30 | 1921.66 | 2118.969 | 1724.351
07/06/2024 12:00 | 1948.53 | 2149.25 | 1747.809
07/06/2024 12:30 | 2052.738 | 2264.882 | 1840.594
07/06/2024 13:00 | 2125.751 | 2346.154 | 1905.349
07/06/2024 13:30 | 2158.129 | 2382.612 | 1933.646
07/06/2024 14:00 | 2226.242 | 2458.556 | 1993.927
07/06/2024 14:30 | 2284.042 | 2523.154 | 2044.93
07/06/2024 15:00 | 2340.625 | 2586.445 | 2094.804
07/06/2024 15:30 | 2433.707 | 2690.119 | 2177.295
07/06/2024 16:00 | 2543.964 | 2812.846 | 2275.083
07/06/2024 16:30 | 2672.042 | 2955.357 | 2388.728
07/06/2024 17:00 | 2770.405 | 3065.078 | 2475.732
07/06/2024 17:30 | 2779.571 | 3076.15 | 2482.991
07/06/2024 18:00 | 2723.381 | 3014.879 | 2431.884
07/06/2024 18:30 | 2658.408 | 2943.843 | 2372.974
07/06/2024 19:00 | 2602.639 | 2882.958 | 2322.32
07/06/2024 19:30 | 2540.56 | 2815.044 | 2266.075
07/06/2024 20:00 | 2465.814 | 2733.05 | 2198.578
07/06/2024 20:30 | 2389.704 | 2649.492 | 2129.916
07/06/2024 21:00 | 2309.916 | 2561.805 | 2058.027
07/06/2024 21:30 | 2222.641 | 2465.758 | 1979.523
07/06/2024 22:00 | 2131.637 | 2365.515 | 1897.759
07/06/2024 22:30 | 2052.195 | 2278.044 | 1826.345
07/06/2024 23:00 | 1981.865 | 2200.639 | 1763.091
07/06/2024 23:30 | 1924.884 | 2136.762 | 1713.006
08/06/2024 00:00 | 1875.231 | 2079.932 | 1670.53
08/06/2024 00:30 | 1837.741 | 2039.389 | 1636.093
08/06/2024 01:00 | 1813.417 | 2013.207 | 1613.627
08/06/2024 01:30 | 1796.036 | 1994.714 | 1597.357
08/06/2024 02:00 | 1785.762 | 1984.104 | 1587.421
08/06/2024 02:30 | 1780.482 | 1979.034 | 1581.93
08/06/2024 03:00 | 1778.157 | 1977.245 | 1579.069
08/06/2024 03:30 | 1781.656 | 1981.933 | 1581.379
08/06/2024 04:00 | 1799.214 | 2002.27 | 1596.158
08/06/2024 04:30 | 1831.703 | 2039.245 | 1624.16
08/06/2024 05:00 | 1878.209 | 2091.861 | 1664.557
08/06/2024 05:30 | 1948.217 | 2170.704 | 1725.729
08/06/2024 06:00 | 2029.766 | 2262.475 | 1797.058
08/06/2024 06:30 | 2106.432 | 2348.873 | 1863.992
08/06/2024 07:00 | 2155.807 | 2404.895 | 1906.719
08/06/2024 07:30 | 2138.034 | 2386.026 | 1890.043