## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
04/06/2024 08:00 | 2227.838 | 2259.311 | 2196.366
04/06/2024 08:30 | 2097.836 | 2133.709 | 2061.964 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
04/06/2024 09:00 | 1962.122 | 2001.507 | 1922.738 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
04/06/2024 09:30 | 1834.493 | 1876.769 | 1792.217 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
04/06/2024 10:00 | 1703.007 | 1747.315 | 1658.698 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
04/06/2024 10:30 | 1585.239 | 1630.062 | 1540.416 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
04/06/2024 11:00 | 1502.159 | 1545.897 | 1458.422 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
04/06/2024 11:30 | 1439.448 | 1482.745 | 1396.15 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
04/06/2024 12:00 | 1415.937 | 1459.891 | 1371.983 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
04/06/2024 12:30 | 1471.584 | 1518.683 | 1424.485 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
04/06/2024 13:00 | 1555.708 | 1606.997 | 1504.418 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
04/06/2024 13:30 | 1663.9 | 1720.359 | 1607.441
04/06/2024 14:00 | 1790.556 | 1853.037 | 1728.075 | Summary view - for each schedule horizon (dispatch, week-ahead)
04/06/2024 14:30 | 1933.04 | 2002.355 | 1863.725
04/06/2024 15:00 | 2104.136 | 2181.613 | 2026.66 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
04/06/2024 15:30 | 2286.623 | 2373.021 | 2200.224 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
04/06/2024 16:00 | 2450.426 | 2545.373 | 2355.479 | Scenario | Violations
04/06/2024 16:30 | 2620.063 | 2724.107 | 2518.143 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
04/06/2024 17:00 | 2750.266 | 2862.128 | 2640.181 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
04/06/2024 17:30 | 2793.176 | 2910.58 | 2677.896 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 9
04/06/2024 18:00 | 2753.851 | 2871.461 | 2636.811 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7
04/06/2024 18:30 | 2681.395 | 2798.061 | 2565.5 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 8
04/06/2024 19:00 | 2605.707 | 2720.221 | 2492.349
04/06/2024 19:30 | 2532.495 | 2644.674 | 2421.231 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
04/06/2024 20:00 | 2445.683 | 2554.9 | 2337.208
04/06/2024 20:30 | 2355.814 | 2461.899 | 2250.365 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
04/06/2024 21:00 | 2256.778 | 2359.247 | 2154.842 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
04/06/2024 21:30 | 2150.937 | 2249.433 | 2052.931 | [7 empty] | 05/06/2024 09:00 |  |  |  |  | 06/06/2024 09:00 | [11 empty] | 06/06/2024 09:00 | [6 empty] | 05/06/2024 09:00 |  |  |  |  | 06/06/2024 09:00
04/06/2024 22:00 | 2050.56 | 2145.261 | 1956.325 | [7 empty] | 05/06/2024 09:30 |  |  |  |  | 06/06/2024 09:30 | [11 empty] | 06/06/2024 09:30 | [6 empty] | 05/06/2024 09:30 |  |  |  |  | 06/06/2024 09:30
04/06/2024 22:30 | 1970.665 | 2062.427 | 1879.311 | [7 empty] | 05/06/2024 10:00 |  |  |  |  | 06/06/2024 10:00 | [11 empty] | 06/06/2024 10:00 | [6 empty] | 05/06/2024 10:00 |  |  |  |  | 06/06/2024 10:00
04/06/2024 23:00 | 1908.6 | 1998.196 | 1819.355 | [7 empty] | 05/06/2024 10:30 |  |  |  |  | 07/06/2024 10:30 | [11 empty] | 07/06/2024 08:30 | [6 empty] | 05/06/2024 10:30 |  |  |  |  | 06/06/2024 14:00
04/06/2024 23:30 | 1859.974 | 1947.837 | 1772.112 | [7 empty] | 05/06/2024 11:00 |  |  |  |  | 07/06/2024 12:00 | [11 empty] | 07/06/2024 13:00 | [6 empty] | 05/06/2024 11:00 |  |  |  |  | 07/06/2024 10:00
05/06/2024 00:00 | 1820.069 | 1906.759 | 1733.38 | [7 empty] | 05/06/2024 11:30 |  |  |  |  | 07/06/2024 12:30 | [11 empty] | 07/06/2024 13:30 | [6 empty] | 05/06/2024 11:30 |  |  |  |  | 07/06/2024 13:00
05/06/2024 00:30 | 1791.304 | 1877.325 | 1705.284 | [7 empty] | 05/06/2024 12:00 |  |  |  |  | 07/06/2024 13:00 | [11 empty] | 08/06/2024 08:30 | [6 empty] | 05/06/2024 12:00 |  |  |  |  | 07/06/2024 13:30
05/06/2024 01:00 | 1774.34 | 1860.24 | 1688.439 | [7 empty] | 05/06/2024 12:30 |  |  |  |  | 07/06/2024 13:30 | [18 empty] | 05/06/2024 12:30 |  |  |  |  | 08/06/2024 08:30
05/06/2024 01:30 | 1763.078 | 1849.123 | 1677.033 | [7 empty] | 05/06/2024 13:00 |  |  |  |  | 10/06/2024 09:00 | [18 empty] | 05/06/2024 13:00
05/06/2024 02:00 | 1756.711 | 1843.133 | 1670.289 | [7 empty] | 05/06/2024 13:30 | [23 empty] | 05/06/2024 13:30
05/06/2024 02:30 | 1756.448 | 1843.545 | 1669.352 | [7 empty] | 05/06/2024 14:00 | [23 empty] | 05/06/2024 14:00
05/06/2024 03:00 | 1760.601 | 1848.593 | 1672.61
05/06/2024 03:30 | 1775.081 | 1864.491 | 1685.671
05/06/2024 04:00 | 1816.748 | 1908.968 | 1724.528
05/06/2024 04:30 | 1893.593 | 1990.454 | 1796.731
05/06/2024 05:00 | 2003.68 | 2106.958 | 1900.403
05/06/2024 05:30 | 2155.472 | 2267.417 | 2043.527
05/06/2024 06:00 | 2321.757 | 2443.247 | 2200.268
05/06/2024 06:30 | 2443.039 | 2571.635 | 2314.444
05/06/2024 07:00 | 2471.697 | 2602.175 | 2341.219
05/06/2024 07:30 | 2340.819 | 2464.774 | 2216.864
05/06/2024 08:00 | 2150.102 | 2264.313 | 2035.891
05/06/2024 08:30 | 1982.656 | 2088.301 | 1877.012
05/06/2024 09:00 | 1821.493 | 1918.85 | 1724.136
05/06/2024 09:30 | 1670.839 | 1760.421 | 1581.259
05/06/2024 10:00 | 1534.768 | 1617.307 | 1452.229
05/06/2024 10:30 | 1443.814 | 1521.7 | 1365.929
05/06/2024 11:00 | 1388.443 | 1463.571 | 1313.315
05/06/2024 11:30 | 1350.017 | 1423.289 | 1276.745
05/06/2024 12:00 | 1332.719 | 1405.272 | 1260.166
05/06/2024 12:30 | 1371.732 | 1446.635 | 1296.829
05/06/2024 13:00 | 1449.822 | 1529.229 | 1370.416
05/06/2024 13:30 | 1560.971 | 1646.723 | 1475.219
05/06/2024 14:00 | 1679.981 | 1772.548 | 1587.413
05/06/2024 14:30 | 1803.675 | 1903.356 | 1703.994
05/06/2024 15:00 | 1979.995 | 2089.747 | 1870.243
05/06/2024 15:30 | 2185.084 | 2306.566 | 2063.604
05/06/2024 16:00 | 2370.535 | 2502.718 | 2238.353
05/06/2024 16:30 | 2546.909 | 2689.347 | 2404.471
05/06/2024 17:00 | 2694.344 | 2845.471 | 2543.215
05/06/2024 17:30 | 2744.09 | 2898.461 | 2589.718
05/06/2024 18:00 | 2703.215 | 2855.733 | 2550.697
05/06/2024 18:30 | 2641.356 | 2790.821 | 2491.892
05/06/2024 19:00 | 2575.27 | 2721.42 | 2429.12
05/06/2024 19:30 | 2510.348 | 2653.228 | 2367.468
05/06/2024 20:00 | 2428.047 | 2566.643 | 2289.45
05/06/2024 20:30 | 2341.547 | 2475.593 | 2207.501
05/06/2024 21:00 | 2250.064 | 2379.244 | 2120.884
05/06/2024 21:30 | 2149.171 | 2272.913 | 2025.428
05/06/2024 22:00 | 2051.18 | 2169.619 | 1932.741
05/06/2024 22:30 | 1973.039 | 2087.292 | 1858.786
05/06/2024 23:00 | 1914.713 | 2025.905 | 1803.522
05/06/2024 23:30 | 1867.514 | 1976.273 | 1758.755
06/06/2024 00:00 | 1828.921 | 1935.734 | 1722.108
06/06/2024 00:30 | 1800.975 | 1906.454 | 1695.497
06/06/2024 01:00 | 1784.253 | 1889.047 | 1679.459
06/06/2024 01:30 | 1771.904 | 1876.265 | 1667.543
06/06/2024 02:00 | 1766.49 | 1870.823 | 1662.156
06/06/2024 02:30 | 1768.099 | 1872.82 | 1663.378
06/06/2024 03:00 | 1773.33 | 1878.653 | 1668.007
06/06/2024 03:30 | 1788.439 | 1894.955 | 1681.923
06/06/2024 04:00 | 1830.699 | 1940.035 | 1721.364
06/06/2024 04:30 | 1906.315 | 2020.482 | 1792.149
06/06/2024 05:00 | 2019.178 | 2140.437 | 1897.92
06/06/2024 05:30 | 2177.723 | 2308.862 | 2046.583
06/06/2024 06:00 | 2347.427 | 2489.172 | 2205.68
06/06/2024 06:30 | 2474.765 | 2624.656 | 2324.874
06/06/2024 07:00 | 2512.73 | 2665.478 | 2359.982
06/06/2024 07:30 | 2410.85 | 2557.931 | 2263.769
06/06/2024 08:00 | 2251.682 | 2389.544 | 2113.819
06/06/2024 08:30 | 2074.603 | 2202.076 | 1947.129
06/06/2024 09:00 | 1914 | 2032.023 | 1795.976
06/06/2024 09:30 | 1779.88 | 1890.022 | 1669.738
06/06/2024 10:00 | 1653.607 | 1756.296 | 1550.917
06/06/2024 10:30 | 1570.553 | 1668.428 | 1472.678
06/06/2024 11:00 | 1523.188 | 1618.444 | 1427.931
06/06/2024 11:30 | 1483.837 | 1576.957 | 1390.718
06/06/2024 12:00 | 1491.148 | 1585.052 | 1397.245
06/06/2024 12:30 | 1582.291 | 1682.28 | 1482.301
06/06/2024 13:00 | 1660.619 | 1765.921 | 1555.317
06/06/2024 13:30 | 1798.839 | 1913.299 | 1684.379
06/06/2024 14:00 | 1994.732 | 2122.092 | 1867.372
06/06/2024 14:30 | 2134.93 | 2271.708 | 1998.152
06/06/2024 15:00 | 2234.125 | 2377.746 | 2090.504
06/06/2024 15:30 | 2326.783 | 2475.852 | 2176.697
06/06/2024 16:00 | 2445.871 | 2603.104 | 2287.569
06/06/2024 16:30 | 2590.124 | 2757.196 | 2421.919
06/06/2024 17:00 | 2723.464 | 2899.732 | 2546.005
06/06/2024 17:30 | 2764.499 | 2944.027 | 2583.762
06/06/2024 18:00 | 2714.758 | 2891.649 | 2537.866
06/06/2024 18:30 | 2658.725 | 2832.546 | 2484.904
06/06/2024 19:00 | 2611.033 | 2782.306 | 2439.759
06/06/2024 19:30 | 2547.661 | 2715.334 | 2379.988
06/06/2024 20:00 | 2465.087 | 2627.865 | 2302.31
06/06/2024 20:30 | 2373.435 | 2530.679 | 2216.191
06/06/2024 21:00 | 2274.982 | 2426.2 | 2123.764
06/06/2024 21:30 | 2172.81 | 2317.711 | 2027.908
06/06/2024 22:00 | 2074.714 | 2213.527 | 1935.901
06/06/2024 22:30 | 1993.846 | 2127.684 | 1860.008
06/06/2024 23:00 | 1930.817 | 2060.846 | 1800.788
06/06/2024 23:30 | 1888.813 | 2016.425 | 1761.2
07/06/2024 00:00 | 1857.34 | 1983.233 | 1731.448
07/06/2024 00:30 | 1827.226 | 1951.476 | 1702.976
07/06/2024 01:00 | 1807.839 | 1931.166 | 1684.512
07/06/2024 01:30 | 1795.057 | 1917.904 | 1672.209
07/06/2024 02:00 | 1788.8 | 1911.609 | 1665.99
07/06/2024 02:30 | 1789.937 | 1913.216 | 1666.658
07/06/2024 03:00 | 1792.921 | 1916.798 | 1669.045
07/06/2024 03:30 | 1806.641 | 1931.86 | 1681.422
07/06/2024 04:00 | 1848.421 | 1976.939 | 1719.902
07/06/2024 04:30 | 1923.174 | 2057.31 | 1789.038
07/06/2024 05:00 | 2027.073 | 2168.899 | 1885.247
07/06/2024 05:30 | 2173.077 | 2325.593 | 2020.562
07/06/2024 06:00 | 2339.182 | 2503.867 | 2174.498
07/06/2024 06:30 | 2471.245 | 2645.768 | 2296.723
07/06/2024 07:00 | 2525.396 | 2704.294 | 2346.498
07/06/2024 07:30 | 2447.177 | 2621.069 | 2273.285
07/06/2024 08:00 | 2310.154 | 2474.814 | 2145.494
07/06/2024 08:30 | 2156.766 | 2310.965 | 2002.568
07/06/2024 09:00 | 2011.823 | 2156.098 | 1867.547
07/06/2024 09:30 | 1871.778 | 2006.419 | 1737.137
07/06/2024 10:00 | 1756.655 | 1883.398 | 1629.911
07/06/2024 10:30 | 1714.794 | 1838.892 | 1590.696
07/06/2024 11:00 | 1686.217 | 1808.615 | 1563.819
07/06/2024 11:30 | 1628.06 | 1746.592 | 1509.527
07/06/2024 12:00 | 1575.951 | 1691.035 | 1460.868
07/06/2024 12:30 | 1545.576 | 1658.778 | 1432.373
07/06/2024 13:00 | 1551.774 | 1665.77 | 1437.778
07/06/2024 13:30 | 1620.85 | 1740.274 | 1501.425
07/06/2024 14:00 | 1716.633 | 1843.489 | 1589.776
07/06/2024 14:30 | 1852.095 | 1989.366 | 1714.823
07/06/2024 15:00 | 2024.668 | 2175.173 | 1874.163
07/06/2024 15:30 | 2240.695 | 2407.747 | 2073.642
07/06/2024 16:00 | 2424.001 | 2605.249 | 2242.752
07/06/2024 16:30 | 2583.855 | 2777.621 | 2390.089
07/06/2024 17:00 | 2712.589 | 2916.601 | 2508.576
07/06/2024 17:30 | 2751.674 | 2959.227 | 2544.121
07/06/2024 18:00 | 2713.494 | 2918.76 | 2508.228
07/06/2024 18:30 | 2648.771 | 2849.72 | 2447.823
07/06/2024 19:00 | 2581.371 | 2777.77 | 2384.971
07/06/2024 19:30 | 2523.987 | 2716.571 | 2331.402
07/06/2024 20:00 | 2451.113 | 2638.673 | 2263.553
07/06/2024 20:30 | 2376.792 | 2559.185 | 2194.4
07/06/2024 21:00 | 2298.069 | 2474.922 | 2121.216
07/06/2024 21:30 | 2210.076 | 2380.64 | 2039.512
07/06/2024 22:00 | 2118.012 | 2281.934 | 1954.09
07/06/2024 22:30 | 2038.75 | 2196.983 | 1880.517
07/06/2024 23:00 | 1972.365 | 2125.876 | 1818.853
07/06/2024 23:30 | 1919.942 | 2075.035 | 1764.849
08/06/2024 00:00 | 1875.009 | 2037.033 | 1712.984
08/06/2024 00:30 | 1841.065 | 1999.74 | 1682.39
08/06/2024 01:00 | 1819.232 | 1976.46 | 1662.004
08/06/2024 01:30 | 1802.031 | 1958.203 | 1645.859
08/06/2024 02:00 | 1791.546 | 1947.237 | 1635.855
08/06/2024 02:30 | 1786.872 | 1942.584 | 1631.16
08/06/2024 03:00 | 1785.989 | 1942.051 | 1629.928
08/06/2024 03:30 | 1790.144 | 1946.996 | 1633.292
08/06/2024 04:00 | 1806.324 | 1965.025 | 1647.623
08/06/2024 04:30 | 1838.553 | 2000.525 | 1676.581
08/06/2024 05:00 | 1893.745 | 2061.032 | 1726.459
08/06/2024 05:30 | 1974.278 | 2149.15 | 1799.406
08/06/2024 06:00 | 2059.627 | 2242.551 | 1876.703
08/06/2024 06:30 | 2140.364 | 2330.97 | 1949.758
08/06/2024 07:00 | 2189.73 | 2385.256 | 1994.205
08/06/2024 07:30 | 2145.936 | 2337.919 | 1953.952
08/06/2024 08:00 | 2038.165 | 2220.587 | 1855.742
08/06/2024 08:30 | 1926.302 | 2098.811 | 1753.793
08/06/2024 09:00 | 1811.168 | 1973.459 | 1648.878
08/06/2024 09:30 | 1692.469 | 1844.21 | 1540.728
08/06/2024 10:00 | 1571.585 | 1712.568 | 1430.602
08/06/2024 10:30 | 1476.663 | 1609.206 | 1344.12
08/06/2024 11:00 | 1429.041 | 1557.382 | 1300.7
08/06/2024 11:30 | 1400.725 | 1526.594 | 1274.855
08/06/2024 12:00 | 1396.112 | 1521.639 | 1270.586
08/06/2024 12:30 | 1440.198 | 1569.762 | 1310.634
08/06/2024 13:00 | 1519.114 | 1655.855 | 1382.374
08/06/2024 13:30 | 1721.164 | 1876.18 | 1566.149
08/06/2024 14:00 | 1918.318 | 2091.188 | 1745.448
08/06/2024 14:30 | 1983.493 | 2162.337 | 1804.649
08/06/2024 15:00 | 2055.727 | 2241.189 | 1870.265
08/06/2024 15:30 | 2157.694 | 2352.465 | 1962.923
08/06/2024 16:00 | 2304.704 | 2512.863 | 2096.545
08/06/2024 16:30 | 2450.378 | 2671.819 | 2228.937
08/06/2024 17:00 | 2547.223 | 2777.546 | 2316.9
08/06/2024 17:30 | 2561.661 | 2793.42 | 2329.902
08/06/2024 18:00 | 2502.019 | 2728.51 | 2275.529
08/06/2024 18:30 | 2458.541 | 2681.221 | 2235.861
08/06/2024 19:00 | 2432.824 | 2653.299 | 2212.349
08/06/2024 19:30 | 2380.168 | 2595.992 | 2164.344
08/06/2024 20:00 | 2321.051 | 2531.633 | 2110.469
08/06/2024 20:30 | 2270.153 | 2476.233 | 2064.073
08/06/2024 21:00 | 2215.681 | 2416.929 | 2014.433
08/06/2024 21:30 | 2144.964 | 2339.898 | 1950.029
08/06/2024 22:00 | 2066.97 | 2254.922 | 1879.019
08/06/2024 22:30 | 1998.06 | 2179.847 | 1816.272
08/06/2024 23:00 | 1943.758 | 2120.704 | 1766.812
08/06/2024 23:30 | 1902.077 | 2075.326 | 1728.829
09/06/2024 00:00 | 1866.248 | 2036.328 | 1696.168
09/06/2024 00:30 | 1837.03 | 2004.541 | 1669.519
09/06/2024 01:00 | 1817.234 | 1983.032 | 1651.435
09/06/2024 01:30 | 1798.26 | 1962.42 | 1634.101
09/06/2024 02:00 | 1787.106 | 1950.338 | 1623.874
09/06/2024 02:30 | 1779.492 | 1942.12 | 1616.865
09/06/2024 03:00 | 1773.334 | 1935.489 | 1611.179
09/06/2024 03:30 | 1775.395 | 1937.829 | 1612.961
09/06/2024 04:00 | 1788.099 | 1951.786 | 1624.411
09/06/2024 04:30 | 1812.799 | 1978.84 | 1646.758
09/06/2024 05:00 | 1829.985 | 1997.694 | 1662.277
09/06/2024 05:30 | 1858.141 | 2028.524 | 1687.757
09/06/2024 06:00 | 1931.239 | 2108.424 | 1754.054
09/06/2024 06:30 | 2000.344 | 2183.971 | 1816.717
09/06/2024 07:00 | 2059.772 | 2248.959 | 1870.585
09/06/2024 07:30 | 2082.802 | 2274.211 | 1891.394
09/06/2024 08:00 | 2082.215 | 2273.676 | 1890.754
09/06/2024 08:30 | 2084.328 | 2276.09 | 1892.567
09/06/2024 09:00 | 2074.173 | 2265.106 | 1883.24
09/06/2024 09:30 | 2013.144 | 2198.562 | 1827.726
09/06/2024 10:00 | 1911.995 | 2088.195 | 1735.796
09/06/2024 10:30 | 1806.997 | 1973.612 | 1640.381
09/06/2024 11:00 | 1754.726 | 1916.611 | 1592.841
09/06/2024 11:30 | 1772.468 | 1936.08 | 1608.856
09/06/2024 12:00 | 1811.414 | 1978.714 | 1644.115
09/06/2024 12:30 | 1911.356 | 2087.984 | 1734.729
09/06/2024 13:00 | 1980.264 | 2163.36 | 1797.168
09/06/2024 13:30 | 2016.279 | 2202.808 | 1829.75
09/06/2024 14:00 | 2078.105 | 2270.459 | 1885.75
09/06/2024 14:30 | 2122.398 | 2318.96 | 1925.835
09/06/2024 15:00 | 2179.512 | 2381.475 | 1977.549
09/06/2024 15:30 | 2270.958 | 2481.511 | 2060.406
09/06/2024 16:00 | 2414.067 | 2638.011 | 2190.123
09/06/2024 16:30 | 2566.933 | 2805.188 | 2328.677
09/06/2024 17:00 | 2678.06 | 2926.767 | 2429.353
09/06/2024 17:30 | 2702.746 | 2953.883 | 2451.609
09/06/2024 18:00 | 2641.447 | 2887.023 | 2395.871
09/06/2024 18:30 | 2582.271 | 2822.477 | 2342.065
09/06/2024 19:00 | 2535.836 | 2771.852 | 2299.82
09/06/2024 19:30 | 2475.745 | 2706.294 | 2245.195
09/06/2024 20:00 | 2402.042 | 2625.851 | 2178.234
09/06/2024 20:30 | 2325.099 | 2541.856 | 2108.341
09/06/2024 21:00 | 2243.68 | 2452.961 | 2034.398
09/06/2024 21:30 | 2150.148 | 2350.815 | 1949.481
09/06/2024 22:00 | 2056.443 | 2248.469 | 1864.416
09/06/2024 22:30 | 1981.129 | 2166.224 | 1796.034
09/06/2024 23:00 | 1921.638 | 2101.273 | 1742.003
09/06/2024 23:30 | 1873.721 | 2051.252 | 1696.191
10/06/2024 00:00 | 1834.537 | 2012.961 | 1656.114
10/06/2024 00:30 | 1805.65 | 1981.25 | 1630.049
10/06/2024 01:00 | 1787.364 | 1961.529 | 1613.199
10/06/2024 01:30 | 1777.967 | 1951.557 | 1604.376
10/06/2024 02:00 | 1774.188 | 1947.749 | 1600.627
10/06/2024 02:30 | 1774.968 | 1948.946 | 1600.99
10/06/2024 03:00 | 1778.779 | 1953.471 | 1604.086
10/06/2024 03:30 | 1795.389 | 1972.057 | 1618.722
10/06/2024 04:00 | 1840.036 | 2021.449 | 1658.622
10/06/2024 04:30 | 1919.341 | 2108.942 | 1729.741
10/06/2024 05:00 | 2030.351 | 2231.306 | 1829.395
10/06/2024 05:30 | 2184.141 | 2400.736 | 1967.545
10/06/2024 06:00 | 2360.04 | 2594.531 | 2125.548
10/06/2024 06:30 | 2502.383 | 2751.497 | 2253.269
10/06/2024 07:00 | 2563.634 | 2819.337 | 2307.931
10/06/2024 07:30 | 2491.233 | 2740.319 | 2242.147
10/06/2024 08:00 | 2366.035 | 2603.417 | 2128.653
10/06/2024 08:30 | 2224.538 | 2448.47 | 2000.606
10/06/2024 09:00 | 2089.575 | 2300.622 | 1878.529
10/06/2024 09:30 | 1954.278 | 2152.314 | 1756.241
10/06/2024 10:00 | 1835.101 | 2021.677 | 1648.526
10/06/2024 10:30 | 1788.351 | 1970.772 | 1605.929
10/06/2024 11:00 | 1762.024 | 1942.351 | 1581.697
10/06/2024 11:30 | 1755.533 | 1935.784 | 1575.281
10/06/2024 12:00 | 1768.316 | 1950.473 | 1586.159
10/06/2024 12:30 | 1852.024 | 2043.425 | 1660.624
10/06/2024 13:00 | 1898.743 | 2096.672 | 1701.878
10/06/2024 13:30 | 1873.444 | 2069.379 | 1678.573
10/06/2024 14:00 | 1939.278 | 2142.712 | 1736.909
10/06/2024 14:30 | 2107.835 | 2329.589 | 1887.17
10/06/2024 15:00 | 2284.237 | 2525.225 | 2044.339
10/06/2024 15:30 | 2431.174 | 2688.418 | 2175.029
10/06/2024 16:00 | 2578.368 | 2852.005 | 2305.85
10/06/2024 16:30 | 2746.626 | 3038.977 | 2455.403
10/06/2024 17:00 | 2891.279 | 3199.927 | 2583.75
10/06/2024 17:30 | 2935.842 | 3250.186 | 2622.588
10/06/2024 18:00 | 2882.012 | 3191.525 | 2573.535
10/06/2024 18:30 | 2801.109 | 3102.803 | 2500.353
10/06/2024 19:00 | 2719.397 | 3013.122 | 2426.502
10/06/2024 19:30 | 2642.254 | 2928.506 | 2356.783
10/06/2024 20:00 | 2546.408 | 2823.092 | 2270.438
10/06/2024 20:30 | 2447.822 | 2714.557 | 2181.715
10/06/2024 21:00 | 2345.337 | 2601.628 | 2089.586
10/06/2024 21:30 | 2233.918 | 2478.727 | 1989.568
10/06/2024 22:00 | 2126.141 | 2359.81 | 1892.866
10/06/2024 22:30 | 2039.233 | 2263.998 | 1814.81
10/06/2024 23:00 | 1970.807 | 2188.646 | 1753.254
10/06/2024 23:30 | 1913.983 | 2126.154 | 1702.06
11/06/2024 00:00 | 1866.491 | 2074.033 | 1659.201
11/06/2024 00:30 | 1834.073 | 2038.657 | 1629.769
11/06/2024 01:00 | 1815.603 | 2018.689 | 1612.747
11/06/2024 01:30 | 1802.114 | 2004.226 | 1600.161
11/06/2024 02:00 | 1795.476 | 1997.466 | 1593.665
11/06/2024 02:30 | 1795.281 | 1997.878 | 1592.89
11/06/2024 03:00 | 1797.655 | 2001.138 | 1594.394
11/06/2024 03:30 | 1811.248 | 2016.903 | 1605.842
11/06/2024 04:00 | 1852.306 | 2063.239 | 1641.623
11/06/2024 04:30 | 1927.287 | 2147.416 | 1707.429
11/06/2024 05:00 | 2043.506 | 2277.724 | 1809.706
11/06/2024 05:30 | 2210.937 | 2465.211 | 1957.239
11/06/2024 06:00 | 2389.975 | 2665.635 | 2114.932
11/06/2024 06:30 | 2533.829 | 2827.075 | 2241.381
11/06/2024 07:00 | 2596.806 | 2898.691 | 2296.219
11/06/2024 07:30 | 2525.775 | 2821.087 | 2232.563