## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
05/06/2024 08:00 | 2257.871 | 2289.768 | 2225.974
05/06/2024 08:30 | 2131.337 | 2167.782 | 2094.892 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
05/06/2024 09:00 | 1999.38 | 2039.513 | 1959.248 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
05/06/2024 09:30 | 1859.619 | 1902.474 | 1816.764 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
05/06/2024 10:00 | 1716.533 | 1761.194 | 1671.873 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
05/06/2024 10:30 | 1578.443 | 1623.073 | 1533.812 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
05/06/2024 11:00 | 1471.33 | 1514.17 | 1428.491 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
05/06/2024 11:30 | 1384.477 | 1426.121 | 1342.832 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
05/06/2024 12:00 | 1321.367 | 1362.385 | 1280.349 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
05/06/2024 12:30 | 1342.542 | 1385.51 | 1299.573 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
05/06/2024 13:00 | 1418.8 | 1465.576 | 1372.024 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
05/06/2024 13:30 | 1515.704 | 1582.955 | 1464.274
05/06/2024 14:00 | 1627.824 | 1699.984 | 1585.343 | Summary view - for each schedule horizon (dispatch, week-ahead)
05/06/2024 14:30 | 1768.623 | 1847.086 | 1719.206
05/06/2024 15:00 | 1958.989 | 2045.507 | 1900.222 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
05/06/2024 15:30 | 2169.726 | 2265.484 | 2100.519 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
05/06/2024 16:00 | 2362.699 | 2466.112 | 2282.131 | Scenario | Violations
05/06/2024 16:30 | 2547.197 | 2657.514 | 2454.514 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
05/06/2024 17:00 | 2697.27 | 2813.721 | 2593.78 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
05/06/2024 17:30 | 2750.3 | 2868.571 | 2639.244 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 4
05/06/2024 18:00 | 2715.353 | 2832.846 | 2601.351 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 5
05/06/2024 18:30 | 2654.534 | 2770.794 | 2540.5 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 3
05/06/2024 19:00 | 2585.685 | 2699.328 | 2473.206
05/06/2024 19:30 | 2520.52 | 2631.441 | 2409.116 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
05/06/2024 20:00 | 2437.99 | 2545.737 | 2328.825
05/06/2024 20:30 | 2350.291 | 2455.796 | 2244.786 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
05/06/2024 21:00 | 2258.853 | 2361.137 | 2156.569 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
05/06/2024 21:30 | 2158.557 | 2257.145 | 2059.969 | [7 empty] | 05/06/2024 10:30 |  |  |  |  | 05/06/2024 08:00 | [6 empty] | 05/06/2024 11:00 |  |  |  |  | 05/06/2024 08:00 | [6 empty] | 05/06/2024 10:30 |  |  |  |  | 05/06/2024 09:30
05/06/2024 22:00 | 2061.018 | 2155.957 | 1966.079 | [7 empty] | 05/06/2024 11:00 |  |  |  |  | 05/06/2024 09:30 | [6 empty] | 05/06/2024 11:30 |  |  |  |  | 05/06/2024 09:30 | [6 empty] | 05/06/2024 11:00 |  |  |  |  | 07/06/2024 13:00
05/06/2024 22:30 | 1983.098 | 2075.224 | 1890.972 | [7 empty] | 05/06/2024 11:30 |  |  |  |  | 07/06/2024 13:00 | [6 empty] | 05/06/2024 12:00 |  |  |  |  | 06/06/2024 09:30 | [6 empty] | 05/06/2024 11:30 |  |  |  |  | 07/06/2024 13:30
05/06/2024 23:00 | 1924.927 | 2015.105 | 1834.75 | [7 empty] | 05/06/2024 12:00 |  |  |  |  | 07/06/2024 13:30 | [6 empty] | 05/06/2024 12:30 |  |  |  |  | 07/06/2024 13:00 | [6 empty] | 05/06/2024 12:00
05/06/2024 23:30 | 1878.001 | 1966.715 | 1789.287 | [7 empty] | 05/06/2024 12:30 | [11 empty] | 05/06/2024 13:00 |  |  |  |  | 07/06/2024 13:30 | [6 empty] | 05/06/2024 12:30
06/06/2024 00:00 | 1839.462 | 1927.075 | 1751.848 | [7 empty] | 05/06/2024 13:00 | [11 empty] | 05/06/2024 13:30 | [11 empty] | 05/06/2024 13:00
06/06/2024 00:30 | 1811.869 | 1898.878 | 1724.861 | [7 empty] | 05/06/2024 13:30 | [23 empty] | 05/06/2024 13:30
06/06/2024 01:00 | 1795.608 | 1882.539 | 1708.678
06/06/2024 01:30 | 1783.4 | 1870.438 | 1696.363
06/06/2024 02:00 | 1778.113 | 1865.588 | 1690.638
06/06/2024 02:30 | 1779.659 | 1867.907 | 1691.412
06/06/2024 03:00 | 1785.038 | 1874.251 | 1695.825
06/06/2024 03:30 | 1800.286 | 1890.966 | 1709.606
06/06/2024 04:00 | 1842.126 | 1935.634 | 1748.618
06/06/2024 04:30 | 1916.969 | 2015.026 | 1818.911
06/06/2024 05:00 | 2027.279 | 2131.773 | 1922.786
06/06/2024 05:30 | 2181.694 | 2295.001 | 2068.387
06/06/2024 06:00 | 2350.588 | 2473.586 | 2227.59
06/06/2024 06:30 | 2475.749 | 2606.066 | 2345.432
06/06/2024 07:00 | 2512.228 | 2644.845 | 2379.611
06/06/2024 07:30 | 2409.994 | 2537.612 | 2282.375
06/06/2024 08:00 | 2256.754 | 2376.631 | 2136.878
06/06/2024 08:30 | 2101.418 | 2213.391 | 1989.446
06/06/2024 09:00 | 1948.932 | 2053.101 | 1844.763
06/06/2024 09:30 | 1810.12 | 1907.168 | 1713.071
06/06/2024 10:00 | 1678.66 | 1768.937 | 1588.383
06/06/2024 10:30 | 1581.546 | 1666.861 | 1496.23
06/06/2024 11:00 | 1525.711 | 1608.267 | 1443.156
06/06/2024 11:30 | 1491.276 | 1572.214 | 1410.337
06/06/2024 12:00 | 1504.818 | 1586.74 | 1422.896
06/06/2024 12:30 | 1604.186 | 1691.782 | 1516.589
06/06/2024 13:00 | 1688.731 | 1781.223 | 1596.24
06/06/2024 13:30 | 1782.381 | 1880.296 | 1684.465
06/06/2024 14:00 | 1936.601 | 2043.308 | 1829.894
06/06/2024 14:30 | 2093.149 | 2208.828 | 1977.47
06/06/2024 15:00 | 2216.142 | 2338.983 | 2093.3
06/06/2024 15:30 | 2322.661 | 2451.791 | 2193.531
06/06/2024 16:00 | 2445.37 | 2581.725 | 2309.014
06/06/2024 16:30 | 2588.357 | 2733.113 | 2443.602
06/06/2024 17:00 | 2719.993 | 2872.56 | 2567.426
06/06/2024 17:30 | 2760.708 | 2916.014 | 2605.401
06/06/2024 18:00 | 2711.505 | 2864.491 | 2558.519
06/06/2024 18:30 | 2652.217 | 2802.296 | 2502.138
06/06/2024 19:00 | 2597.305 | 2744.705 | 2449.905
06/06/2024 19:30 | 2533.708 | 2677.917 | 2389.498
06/06/2024 20:00 | 2452.254 | 2592.232 | 2312.275
06/06/2024 20:30 | 2362.37 | 2497.607 | 2227.132
06/06/2024 21:00 | 2266.385 | 2396.501 | 2136.268
06/06/2024 21:30 | 2167.472 | 2292.268 | 2042.676
06/06/2024 22:00 | 2072.126 | 2191.775 | 1952.478
06/06/2024 22:30 | 1994.505 | 2110.001 | 1879.009
06/06/2024 23:00 | 1936.62 | 2049.084 | 1824.157
06/06/2024 23:30 | 1893.094 | 2003.343 | 1782.846
07/06/2024 00:00 | 1858.245 | 1966.771 | 1749.719
07/06/2024 00:30 | 1831.04 | 1938.28 | 1723.801
07/06/2024 01:00 | 1812.885 | 1919.36 | 1706.409
07/06/2024 01:30 | 1799.533 | 1905.522 | 1693.545
07/06/2024 02:00 | 1793.636 | 1899.573 | 1687.699
07/06/2024 02:30 | 1794.993 | 1901.306 | 1688.679
07/06/2024 03:00 | 1798.193 | 1904.993 | 1691.393
07/06/2024 03:30 | 1812.165 | 1920.094 | 1704.236
07/06/2024 04:00 | 1854.327 | 1965.074 | 1743.581
07/06/2024 04:30 | 1929.855 | 2045.431 | 1814.279
07/06/2024 05:00 | 2029.415 | 2151.289 | 1907.542
07/06/2024 05:30 | 2169.477 | 2300.12 | 2038.835
07/06/2024 06:00 | 2339.214 | 2480.464 | 2197.964
07/06/2024 06:30 | 2476 | 2625.966 | 2326.035
07/06/2024 07:00 | 2542.828 | 2696.391 | 2388.25
07/06/2024 07:30 | 2487.854 | 2638.548 | 2336.075
07/06/2024 08:00 | 2380.408 | 2525.111 | 2234.665
07/06/2024 08:30 | 2253.049 | 2390.503 | 2114.611
07/06/2024 09:00 | 2132.535 | 2263.103 | 2001.036
07/06/2024 09:30 | 2028.899 | 2153.564 | 1903.347
07/06/2024 10:00 | 1929.063 | 2048.016 | 1809.267
07/06/2024 10:30 | 1871.509 | 1987.322 | 1754.879
07/06/2024 11:00 | 1814.905 | 1927.612 | 1701.406
07/06/2024 11:30 | 1697.451 | 1803.234 | 1590.926
07/06/2024 12:00 | 1670.674 | 1775.153 | 1565.464
07/06/2024 12:30 | 1811.81 | 1925.512 | 1697.317
07/06/2024 13:00 | 1875.544 | 1993.655 | 1756.614
07/06/2024 13:30 | 1805.553 | 1919.651 | 1690.666
07/06/2024 14:00 | 1819.417 | 1934.788 | 1703.25
07/06/2024 14:30 | 1948.5 | 2072.483 | 1823.666
07/06/2024 15:00 | 2099.682 | 2233.743 | 1964.704
07/06/2024 15:30 | 2290.729 | 2437.489 | 2142.969
07/06/2024 16:00 | 2458.137 | 2616.158 | 2299.041
07/06/2024 16:30 | 2615.875 | 2784.609 | 2445.999
07/06/2024 17:00 | 2744.095 | 2921.699 | 2565.292
07/06/2024 17:30 | 2782.837 | 2963.557 | 2600.902
07/06/2024 18:00 | 2745.488 | 2924.381 | 2566.594
07/06/2024 18:30 | 2680.713 | 2855.971 | 2505.454
07/06/2024 19:00 | 2614.24 | 2785.724 | 2442.757
07/06/2024 19:30 | 2557.327 | 2725.636 | 2389.017
07/06/2024 20:00 | 2484.373 | 2648.423 | 2320.322
07/06/2024 20:30 | 2408.319 | 2567.874 | 2248.764
07/06/2024 21:00 | 2326.832 | 2481.496 | 2172.167
07/06/2024 21:30 | 2236.091 | 2385.213 | 2086.97
07/06/2024 22:00 | 2141.903 | 2285.211 | 1998.594
07/06/2024 22:30 | 2060.141 | 2198.429 | 1921.853
07/06/2024 23:00 | 1990.201 | 2124.229 | 1856.173
07/06/2024 23:30 | 1934.213 | 2069.5 | 1798.926
08/06/2024 00:00 | 1886.461 | 2027.733 | 1745.19
08/06/2024 00:30 | 1850.966 | 1989.272 | 1712.661
08/06/2024 01:00 | 1828.132 | 1965.168 | 1691.096
08/06/2024 01:30 | 1810.536 | 1946.686 | 1674.387
08/06/2024 02:00 | 1799.813 | 1935.586 | 1664.04
08/06/2024 02:30 | 1795.441 | 1931.313 | 1659.569
08/06/2024 03:00 | 1795.02 | 1931.289 | 1658.751
08/06/2024 03:30 | 1799.094 | 1936.102 | 1662.086
08/06/2024 04:00 | 1814.835 | 1953.475 | 1676.194
08/06/2024 04:30 | 1846.741 | 1988.26 | 1705.222
08/06/2024 05:00 | 1910.137 | 2056.97 | 1763.304
08/06/2024 05:30 | 2002.362 | 2156.763 | 1847.961
08/06/2024 06:00 | 2088.417 | 2249.953 | 1926.882
08/06/2024 06:30 | 2172.212 | 2340.748 | 2003.677
08/06/2024 07:00 | 2220.06 | 2392.839 | 2047.282
08/06/2024 07:30 | 2176.009 | 2345.879 | 2006.139
08/06/2024 08:00 | 2058.706 | 2219.911 | 1897.502
08/06/2024 08:30 | 1907.934 | 2057.789 | 1758.08
08/06/2024 09:00 | 1776.032 | 1915.951 | 1636.114
08/06/2024 09:30 | 1671.712 | 1803.811 | 1539.612
08/06/2024 10:00 | 1574.584 | 1699.384 | 1449.783
08/06/2024 10:30 | 1506.764 | 1626.549 | 1386.979
08/06/2024 11:00 | 1474.206 | 1591.755 | 1356.657
08/06/2024 11:30 | 1446.925 | 1562.644 | 1331.206
08/06/2024 12:00 | 1487.305 | 1606.609 | 1368.001
08/06/2024 12:30 | 1656.586 | 1789.865 | 1523.308
08/06/2024 13:00 | 1780.438 | 1924.106 | 1636.77
08/06/2024 13:30 | 1865.286 | 2016.246 | 1714.326
08/06/2024 14:00 | 1961.907 | 2121.155 | 1802.658
08/06/2024 14:30 | 2004.9 | 2168.117 | 1841.683
08/06/2024 15:00 | 2076.809 | 2246.376 | 1907.242
08/06/2024 15:30 | 2177.198 | 2355.482 | 1998.914
08/06/2024 16:00 | 2324.038 | 2514.901 | 2133.174
08/06/2024 16:30 | 2470.403 | 2673.876 | 2266.929
08/06/2024 17:00 | 2568.054 | 2780.185 | 2355.924
08/06/2024 17:30 | 2582.497 | 2796.437 | 2368.556
08/06/2024 18:00 | 2522.604 | 2732.185 | 2313.023
08/06/2024 18:30 | 2477.588 | 2684.021 | 2271.155
08/06/2024 19:00 | 2449.312 | 2653.974 | 2244.65
08/06/2024 19:30 | 2396.792 | 2597.638 | 2195.946
08/06/2024 20:00 | 2337.74 | 2534.196 | 2141.284
08/06/2024 20:30 | 2285.974 | 2478.626 | 2093.323
08/06/2024 21:00 | 2230.191 | 2418.675 | 2041.708
08/06/2024 21:30 | 2158.436 | 2341.37 | 1975.501
08/06/2024 22:00 | 2079.622 | 2256.374 | 1902.87
08/06/2024 22:30 | 2008.143 | 2179.299 | 1836.986
08/06/2024 23:00 | 1949.52 | 2116.145 | 1782.894
08/06/2024 23:30 | 1902.539 | 2065.604 | 1739.475
09/06/2024 00:00 | 1861.259 | 2021.23 | 1701.288
09/06/2024 00:30 | 1828.855 | 1986.478 | 1671.232
09/06/2024 01:00 | 1806.949 | 1963.115 | 1650.782
09/06/2024 01:30 | 1788.341 | 1943.326 | 1633.355
09/06/2024 02:00 | 1778.06 | 1932.579 | 1623.541
09/06/2024 02:30 | 1771.114 | 1925.452 | 1616.775
09/06/2024 03:00 | 1765.273 | 1919.524 | 1611.022
09/06/2024 03:30 | 1767.193 | 1922.034 | 1612.352
09/06/2024 04:00 | 1780.237 | 1936.647 | 1623.828
09/06/2024 04:30 | 1805.041 | 1964.061 | 1646.021
09/06/2024 05:00 | 1813.874 | 1974.105 | 1653.643
09/06/2024 05:30 | 1830.116 | 1992.219 | 1668.013
09/06/2024 06:00 | 1899.424 | 2068.12 | 1730.728
09/06/2024 06:30 | 1963.892 | 2138.782 | 1789.001
09/06/2024 07:00 | 2024.1 | 2204.836 | 1843.364
09/06/2024 07:30 | 2058.317 | 2242.462 | 1874.172
09/06/2024 08:00 | 2064.91 | 2249.727 | 1880.093
09/06/2024 08:30 | 2066.066 | 2251.092 | 1881.04
09/06/2024 09:00 | 2059.281 | 2243.803 | 1874.758
09/06/2024 09:30 | 2001.502 | 2180.949 | 1822.054
09/06/2024 10:00 | 1905.609 | 2076.557 | 1734.662
09/06/2024 10:30 | 1803.974 | 1965.896 | 1642.052
09/06/2024 11:00 | 1693.222 | 1845.289 | 1541.155
09/06/2024 11:30 | 1544.343 | 1683.118 | 1405.567
09/06/2024 12:00 | 1456.554 | 1587.515 | 1325.593
09/06/2024 12:30 | 1481.918 | 1615.234 | 1348.601
09/06/2024 13:00 | 1525.508 | 1662.824 | 1388.192
09/06/2024 13:30 | 1621.266 | 1767.284 | 1475.247
09/06/2024 14:00 | 1758.188 | 1916.628 | 1599.749
09/06/2024 14:30 | 1901.359 | 2072.797 | 1729.92
09/06/2024 15:00 | 2036.219 | 2219.921 | 1852.517
09/06/2024 15:30 | 2171.27 | 2367.267 | 1975.273
09/06/2024 16:00 | 2323.653 | 2533.523 | 2113.782
09/06/2024 16:30 | 2494.611 | 2720.049 | 2269.172
09/06/2024 17:00 | 2622.352 | 2859.468 | 2385.236
09/06/2024 17:30 | 2663.361 | 2904.322 | 2422.401
09/06/2024 18:00 | 2616.773 | 2853.652 | 2379.895
09/06/2024 18:30 | 2553.123 | 2784.37 | 2321.876
09/06/2024 19:00 | 2496.029 | 2722.232 | 2269.826
09/06/2024 19:30 | 2438.873 | 2660.02 | 2217.725
09/06/2024 20:00 | 2365.703 | 2580.336 | 2151.07
09/06/2024 20:30 | 2292.92 | 2501.067 | 2084.774
09/06/2024 21:00 | 2215.647 | 2416.892 | 2014.402
09/06/2024 21:30 | 2126.094 | 2319.313 | 1932.874
09/06/2024 22:00 | 2034.607 | 2219.616 | 1849.598
09/06/2024 22:30 | 1963.132 | 2141.741 | 1784.522
09/06/2024 23:00 | 1912.699 | 2086.817 | 1738.58
09/06/2024 23:30 | 1876.838 | 2045.561 | 1708.116
10/06/2024 00:00 | 1850.13 | 2012.29 | 1687.97
10/06/2024 00:30 | 1828.388 | 1989.38 | 1667.397
10/06/2024 01:00 | 1813.126 | 1973.12 | 1653.131
10/06/2024 01:30 | 1802.501 | 1961.903 | 1643.098
10/06/2024 02:00 | 1799.188 | 1958.642 | 1639.733
10/06/2024 02:30 | 1799.607 | 1959.444 | 1639.771
10/06/2024 03:00 | 1803.994 | 1964.566 | 1643.422
10/06/2024 03:30 | 1820.318 | 1982.692 | 1657.944
10/06/2024 04:00 | 1865.072 | 2031.795 | 1698.348
10/06/2024 04:30 | 1944.37 | 2118.555 | 1770.185
10/06/2024 05:00 | 2060.662 | 2245.659 | 1875.664
10/06/2024 05:30 | 2220.835 | 2420.638 | 2021.032
10/06/2024 06:00 | 2400.1 | 2616.491 | 2183.709
10/06/2024 06:30 | 2553.201 | 2783.885 | 2322.518
10/06/2024 07:00 | 2624.198 | 2861.8 | 2386.597
10/06/2024 07:30 | 2564.848 | 2797.567 | 2332.128
10/06/2024 08:00 | 2474.347 | 2699.329 | 2249.365
10/06/2024 08:30 | 2369.378 | 2585.27 | 2153.486
10/06/2024 09:00 | 2247.92 | 2453.176 | 2042.664
10/06/2024 09:30 | 2115.781 | 2309.377 | 1922.186
10/06/2024 10:00 | 2033.489 | 2219.945 | 1847.034
10/06/2024 10:30 | 2097.51 | 2290.238 | 1904.782
10/06/2024 11:00 | 2123.104 | 2318.591 | 1927.618
10/06/2024 11:30 | 2105.501 | 2299.77 | 1911.232
10/06/2024 12:00 | 2119.282 | 2315.229 | 1923.335
10/06/2024 12:30 | 2199.602 | 2403.397 | 1995.807
10/06/2024 13:00 | 2252.721 | 2461.869 | 2043.573
10/06/2024 13:30 | 2275.05 | 2486.707 | 2063.392
10/06/2024 14:00 | 2323.23 | 2539.814 | 2106.645
10/06/2024 14:30 | 2391.392 | 2614.79 | 2167.994
10/06/2024 15:00 | 2459.786 | 2690.044 | 2229.528
10/06/2024 15:30 | 2551.005 | 2790.291 | 2311.719
10/06/2024 16:00 | 2677.483 | 2929.146 | 2425.82
10/06/2024 16:30 | 2822.023 | 3087.813 | 2556.234
10/06/2024 17:00 | 2948.938 | 3227.246 | 2670.629
10/06/2024 17:30 | 2972.536 | 3253.641 | 2691.431
10/06/2024 18:00 | 2903.24 | 3178.348 | 2628.131
10/06/2024 18:30 | 2823.104 | 3091.16 | 2555.049
10/06/2024 19:00 | 2749.264 | 3010.835 | 2487.692
10/06/2024 19:30 | 2672.269 | 2927.027 | 2417.51
10/06/2024 20:00 | 2579.205 | 2825.585 | 2332.825
10/06/2024 20:30 | 2478.672 | 2715.924 | 2241.42
10/06/2024 21:00 | 2375.212 | 2603.016 | 2147.407
10/06/2024 21:30 | 2263.84 | 2481.396 | 2046.283
10/06/2024 22:00 | 2155.002 | 2362.512 | 1947.492
10/06/2024 22:30 | 2066.039 | 2265.378 | 1866.699
10/06/2024 23:00 | 1991.549 | 2184.083 | 1799.014
10/06/2024 23:30 | 1927.497 | 2114.208 | 1740.785
11/06/2024 00:00 | 1872.759 | 2054.527 | 1690.991
11/06/2024 00:30 | 1835.929 | 2014.474 | 1657.383
11/06/2024 01:00 | 1814.636 | 1991.458 | 1637.813
11/06/2024 01:30 | 1801.501 | 1977.389 | 1625.613
11/06/2024 02:00 | 1794.803 | 1970.381 | 1619.225
11/06/2024 02:30 | 1794.462 | 1970.35 | 1618.573
11/06/2024 03:00 | 1796.706 | 1973.159 | 1620.254
11/06/2024 03:30 | 1810.721 | 1988.898 | 1632.545
11/06/2024 04:00 | 1852.178 | 2034.789 | 1669.568
11/06/2024 04:30 | 1928.635 | 2119.154 | 1738.117
11/06/2024 05:00 | 2029.966 | 2230.884 | 1829.049
11/06/2024 05:30 | 2174.392 | 2390.02 | 1958.763
11/06/2024 06:00 | 2355.412 | 2589.444 | 2121.381
11/06/2024 06:30 | 2499.251 | 2748.054 | 2250.449
11/06/2024 07:00 | 2567.078 | 2823.124 | 2311.031
11/06/2024 07:30 | 2504.559 | 2754.978 | 2254.14
11/06/2024 08:00 | 2410.812 | 2652.687 | 2168.938
11/06/2024 08:30 | 2320.869 | 2554.498 | 2087.24
11/06/2024 09:00 | 2180.86 | 2401.127 | 1960.594
11/06/2024 09:30 | 2005.71 | 2208.959 | 1802.462
11/06/2024 10:00 | 1817.792 | 2002.608 | 1632.976
11/06/2024 10:30 | 1688.219 | 1860.427 | 1516.011
11/06/2024 11:00 | 1611.498 | 1776.421 | 1446.576
11/06/2024 11:30 | 1577.434 | 1739.399 | 1415.469
11/06/2024 12:00 | 1562.864 | 1723.857 | 1401.871
11/06/2024 12:30 | 1597.513 | 1762.611 | 1432.415
11/06/2024 13:00 | 1651.667 | 1822.915 | 1480.418
11/06/2024 13:30 | 1743.735 | 1925.114 | 1562.356
11/06/2024 14:00 | 1853.047 | 2046.417 | 1659.677
11/06/2024 14:30 | 1971.288 | 2177.658 | 1764.918
11/06/2024 15:00 | 2142.009 | 2366.97 | 1917.048
11/06/2024 15:30 | 2341.029 | 2587.677 | 2094.382
11/06/2024 16:00 | 2521.48 | 2787.986 | 2254.975
11/06/2024 16:30 | 2702.892 | 2989.477 | 2416.306
11/06/2024 17:00 | 2858.709 | 3162.774 | 2554.644
11/06/2024 17:30 | 2918.194 | 3229.564 | 2606.823
11/06/2024 18:00 | 2879.417 | 3187.616 | 2571.219
11/06/2024 18:30 | 2807.274 | 3108.692 | 2505.856
11/06/2024 19:00 | 2733.672 | 3028.104 | 2439.24
11/06/2024 19:30 | 2662.578 | 2950.246 | 2374.911
11/06/2024 20:00 | 2569.903 | 2848.42 | 2291.387
11/06/2024 20:30 | 2472.675 | 2741.483 | 2203.867
11/06/2024 21:00 | 2366.608 | 2624.679 | 2108.537
11/06/2024 21:30 | 2250.681 | 2496.865 | 2004.497
11/06/2024 22:00 | 2138.532 | 2373.166 | 1903.898
11/06/2024 22:30 | 2049.047 | 2274.55 | 1823.544
11/06/2024 23:00 | 1982.357 | 2201.186 | 1763.529
11/06/2024 23:30 | 1931.595 | 2117.391 | 1745.8
12/06/2024 00:00 | 1890.606 | 2018.714 | 1762.498
12/06/2024 00:30 | 1859.785 | 1991.182 | 1728.389
12/06/2024 01:00 | 1840.77 | 1971.568 | 1709.971
12/06/2024 01:30 | 1827.75 | 1958.363 | 1697.136
12/06/2024 02:00 | 1821.231 | 1952.117 | 1690.346
12/06/2024 02:30 | 1820.873 | 1952.47 | 1689.276
12/06/2024 03:00 | 1824.308 | 1956.892 | 1691.724
12/06/2024 03:30 | 1840.679 | 1975.198 | 1706.16
12/06/2024 04:00 | 1885.983 | 2024.577 | 1747.389
12/06/2024 04:30 | 1966.86 | 2112.194 | 1821.527
12/06/2024 05:00 | 2073.395 | 2227.44 | 1919.349
12/06/2024 05:30 | 2225.866 | 2392.141 | 2059.592
12/06/2024 06:00 | 2416.516 | 2598.011 | 2235.021
12/06/2024 06:30 | 2573.485 | 2767.811 | 2379.158
12/06/2024 07:00 | 2650.053 | 2851.234 | 2448.871
12/06/2024 07:30 | 2568.243 | 2764.255 | 2372.232