## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
08/06/2024 08:00 | 2087.412 | 2122.529 | 2052.295
08/06/2024 08:30 | 2015.314 | 2056.923 | 1973.706 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
08/06/2024 09:00 | 1926.977 | 1974.129 | 1879.826 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
08/06/2024 09:30 | 1862.079 | 1914.761 | 1809.396 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
08/06/2024 10:00 | 1828.105 | 1886.815 | 1769.395 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
08/06/2024 10:30 | 1823.491 | 1887.219 | 1759.763 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
08/06/2024 11:00 | 1864.44 | 1931.226 | 1797.654 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
08/06/2024 11:30 | 1921.75 | 1992.591 | 1850.91 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
08/06/2024 12:00 | 1965.63 | 2040.134 | 1891.125 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
08/06/2024 12:30 | 1954.471 | 2030.588 | 1878.353 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
08/06/2024 13:00 | 1977.045 | 2056.101 | 1897.989 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
08/06/2024 13:30 | 2022.867 | 2105.862 | 1939.872
08/06/2024 14:00 | 2076.578 | 2163.94 | 1989.217 | Summary view - for each schedule horizon (dispatch, week-ahead)
08/06/2024 14:30 | 2134.781 | 2226.814 | 2042.748
08/06/2024 15:00 | 2204.082 | 2301.398 | 2106.766 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
08/06/2024 15:30 | 2301.943 | 2405.415 | 2197.395 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
08/06/2024 16:00 | 2431.267 | 2543.022 | 2318.257 | Scenario | Violations
08/06/2024 16:30 | 2569.179 | 2689.14 | 2446.349 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
08/06/2024 17:00 | 2670.882 | 2798.629 | 2540.642 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
08/06/2024 17:30 | 2690.889 | 2822.303 | 2556.789 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 2
08/06/2024 18:00 | 2638.209 | 2769.873 | 2504.057 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 2
08/06/2024 18:30 | 2578.914 | 2710.307 | 2446.455 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 3
08/06/2024 19:00 | 2526.982 | 2656.649 | 2396.982
08/06/2024 19:30 | 2470.514 | 2597.773 | 2342.624 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
08/06/2024 20:00 | 2405.558 | 2530.018 | 2280.319
08/06/2024 20:30 | 2346.325 | 2468.355 | 2223.568 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
08/06/2024 21:00 | 2282.871 | 2402.229 | 2162.856 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
08/06/2024 21:30 | 2203.623 | 2319.459 | 2087.232 | [7 empty] | 08/06/2024 10:30 |  |  |  |  | 08/06/2024 10:00 | [6 empty] | 08/06/2024 10:30 |  |  |  |  | 08/06/2024 10:00 | [6 empty] | 08/06/2024 10:30 |  |  |  |  | 08/06/2024 10:00
08/06/2024 22:00 | 2118.701 | 2230.911 | 2006.49 | [7 empty] | 08/06/2024 11:00 |  |  |  |  | 09/06/2024 11:30 | [11 empty] | 09/06/2024 11:30 | [6 empty] | 08/06/2024 11:00 |  |  |  |  | 08/06/2024 12:00
08/06/2024 22:30 | 2040.614 | 2149.226 | 1932.002 | [7 empty] | 08/06/2024 11:30 | [23 empty] | 08/06/2024 11:30 |  |  |  |  | 09/06/2024 13:00
08/06/2024 23:00 | 1973.497 | 2079.056 | 1867.937
08/06/2024 23:30 | 1918.302 | 2021.414 | 1815.19
09/06/2024 00:00 | 1869.219 | 1970.185 | 1768.253
09/06/2024 00:30 | 1832.167 | 1931.615 | 1732.72
09/06/2024 01:00 | 1807.097 | 1905.659 | 1708.535
09/06/2024 01:30 | 1789.076 | 1887.126 | 1691.026
09/06/2024 02:00 | 1778.668 | 1876.616 | 1680.719
09/06/2024 02:30 | 1771.325 | 1869.335 | 1673.315
09/06/2024 03:00 | 1765.782 | 1863.95 | 1667.613
09/06/2024 03:30 | 1767.118 | 1865.827 | 1668.41
09/06/2024 04:00 | 1779.517 | 1879.386 | 1679.647
09/06/2024 04:30 | 1803.703 | 1905.404 | 1702.002
09/06/2024 05:00 | 1819.895 | 1922.989 | 1716.802
09/06/2024 05:30 | 1848.19 | 1953.373 | 1743.007
09/06/2024 06:00 | 1916.625 | 2026.207 | 1807.043
09/06/2024 06:30 | 1979.769 | 2093.432 | 1866.106
09/06/2024 07:00 | 2037.338 | 2154.687 | 1919.99
09/06/2024 07:30 | 2056.703 | 2175.56 | 1937.847
09/06/2024 08:00 | 2045.333 | 2163.924 | 1926.743
09/06/2024 08:30 | 2025.598 | 2143.432 | 1907.765
09/06/2024 09:00 | 1986.036 | 2101.947 | 1870.125
09/06/2024 09:30 | 1872.512 | 1982.156 | 1762.868
09/06/2024 10:00 | 1738.496 | 1840.624 | 1636.367
09/06/2024 10:30 | 1684.058 | 1783.31 | 1584.805
09/06/2024 11:00 | 1630.099 | 1726.482 | 1533.715
09/06/2024 11:30 | 1565.238 | 1658.085 | 1472.39
09/06/2024 12:00 | 1525.766 | 1616.564 | 1434.969
09/06/2024 12:30 | 1554.207 | 1646.994 | 1461.42
09/06/2024 13:00 | 1601.307 | 1697.212 | 1505.401
09/06/2024 13:30 | 1665.184 | 1765.232 | 1565.135
09/06/2024 14:00 | 1795.112 | 1903.31 | 1686.913
09/06/2024 14:30 | 1943.533 | 2061.048 | 1826.017
09/06/2024 15:00 | 2070.636 | 2196.233 | 1945.04
09/06/2024 15:30 | 2194.379 | 2327.9 | 2060.857
09/06/2024 16:00 | 2358.875 | 2502.856 | 2214.894
09/06/2024 16:30 | 2529.554 | 2684.436 | 2374.671
09/06/2024 17:00 | 2659.317 | 2822.653 | 2495.981
09/06/2024 17:30 | 2701.835 | 2868.298 | 2535.371
09/06/2024 18:00 | 2650.151 | 2813.937 | 2486.366
09/06/2024 18:30 | 2587.397 | 2747.799 | 2426.995
09/06/2024 19:00 | 2535.445 | 2693.111 | 2377.78
09/06/2024 19:30 | 2475.883 | 2630.317 | 2321.448
09/06/2024 20:00 | 2399.942 | 2550.099 | 2249.786
09/06/2024 20:30 | 2322.631 | 2468.394 | 2176.868
09/06/2024 21:00 | 2239.198 | 2380.153 | 2098.243
09/06/2024 21:30 | 2143.621 | 2278.969 | 2008.273
09/06/2024 22:00 | 2049.266 | 2179.047 | 1919.484
09/06/2024 22:30 | 1974.317 | 2099.729 | 1848.904
09/06/2024 23:00 | 1919.19 | 2041.468 | 1796.913
09/06/2024 23:30 | 1876.754 | 1992.891 | 1760.617
10/06/2024 00:00 | 1844.094 | 1951.159 | 1737.028
10/06/2024 00:30 | 1819.261 | 1925.81 | 1712.711
10/06/2024 01:00 | 1802.674 | 1908.01 | 1696.799
10/06/2024 01:30 | 1792.519 | 1897.556 | 1686.944
10/06/2024 02:00 | 1789.199 | 1894.335 | 1683.524
10/06/2024 02:30 | 1789.963 | 1895.438 | 1683.947
10/06/2024 03:00 | 1794.173 | 1900.191 | 1687.611
10/06/2024 03:30 | 1810.727 | 1918.02 | 1702.883
10/06/2024 04:00 | 1855.614 | 1965.871 | 1744.791
10/06/2024 04:30 | 1936.052 | 2051.406 | 1820.106
10/06/2024 05:00 | 2035.711 | 2157.339 | 1913.46
10/06/2024 05:30 | 2172.94 | 2303.124 | 2042.089
10/06/2024 06:00 | 2357.034 | 2498.634 | 2214.708
10/06/2024 06:30 | 2514.239 | 2665.699 | 2361.957
10/06/2024 07:00 | 2604.548 | 2761.877 | 2446.219
10/06/2024 07:30 | 2571.485 | 2727.267 | 2414.604
10/06/2024 08:00 | 2508.032 | 2660.492 | 2354.475
10/06/2024 08:30 | 2475.353 | 2626.37 | 2323.255
10/06/2024 09:00 | 2427.522 | 2576.151 | 2277.833
10/06/2024 09:30 | 2290.263 | 2430.988 | 2149.539
10/06/2024 10:00 | 2118.793 | 2249.445 | 1988.141
10/06/2024 10:30 | 2047.425 | 2174.124 | 1920.727
10/06/2024 11:00 | 1987.301 | 2110.713 | 1863.889
10/06/2024 11:30 | 1927.525 | 2047.646 | 1807.404
10/06/2024 12:00 | 1919.751 | 2039.807 | 1799.695
10/06/2024 12:30 | 2037.304 | 2165.157 | 1909.452
10/06/2024 13:00 | 2140.26 | 2275.042 | 2005.479
10/06/2024 13:30 | 2222.529 | 2362.976 | 2082.081
10/06/2024 14:00 | 2308.69 | 2455.087 | 2162.293
10/06/2024 14:30 | 2351.722 | 2501.362 | 2202.083
10/06/2024 15:00 | 2427.723 | 2582.729 | 2272.717
10/06/2024 15:30 | 2530.686 | 2692.819 | 2368.553
10/06/2024 16:00 | 2658.52 | 2829.423 | 2487.616
10/06/2024 16:30 | 2805.57 | 2986.539 | 2624.6
10/06/2024 17:00 | 2935.226 | 3125.2 | 2745.251
10/06/2024 17:30 | 2962.01 | 3154.365 | 2769.655
10/06/2024 18:00 | 2895.809 | 3084.497 | 2707.121
10/06/2024 18:30 | 2816.486 | 3000.621 | 2632.351
10/06/2024 19:00 | 2742.596 | 2922.5 | 2562.693
10/06/2024 19:30 | 2666.672 | 2842.178 | 2491.166
10/06/2024 20:00 | 2574.015 | 2743.985 | 2404.045
10/06/2024 20:30 | 2474.203 | 2638.123 | 2310.283
10/06/2024 21:00 | 2371.376 | 2529.001 | 2213.75
10/06/2024 21:30 | 2260.312 | 2411.049 | 2109.575
10/06/2024 22:00 | 2151.705 | 2295.669 | 2007.741
10/06/2024 22:30 | 2062.636 | 2201.092 | 1924.181
10/06/2024 23:00 | 1987.76 | 2121.623 | 1853.896
10/06/2024 23:30 | 1922.983 | 2052.904 | 1793.061
11/06/2024 00:00 | 1867.628 | 1994.218 | 1741.039
11/06/2024 00:30 | 1831.245 | 1955.769 | 1706.721
11/06/2024 01:00 | 1810.619 | 1934.136 | 1687.103
11/06/2024 01:30 | 1797.634 | 1920.658 | 1674.611
11/06/2024 02:00 | 1791.22 | 1914.197 | 1668.244
11/06/2024 02:30 | 1791.208 | 1914.575 | 1667.842
11/06/2024 03:00 | 1793.9 | 1917.844 | 1669.956
11/06/2024 03:30 | 1807.436 | 1932.71 | 1682.162
11/06/2024 04:00 | 1848.177 | 1976.679 | 1719.676
11/06/2024 04:30 | 1923.912 | 2058.099 | 1789.724
11/06/2024 05:00 | 2020.581 | 2161.953 | 1879.209
11/06/2024 05:30 | 2158.792 | 2310.305 | 2007.278
11/06/2024 06:00 | 2340.192 | 2504.948 | 2175.436
11/06/2024 06:30 | 2488.428 | 2664.164 | 2312.692
11/06/2024 07:00 | 2569.966 | 2752.022 | 2387.911
11/06/2024 07:30 | 2536.136 | 2716.349 | 2355.923
11/06/2024 08:00 | 2463.942 | 2639.563 | 2288.32
11/06/2024 08:30 | 2412.906 | 2585.418 | 2240.395
11/06/2024 09:00 | 2335.591 | 2503.084 | 2168.097
11/06/2024 09:30 | 2183.357 | 2340.411 | 2026.304
11/06/2024 10:00 | 1991.371 | 2135.049 | 1847.692
11/06/2024 10:30 | 1828.337 | 1960.652 | 1696.022
11/06/2024 11:00 | 1731.511 | 1857.197 | 1605.824
11/06/2024 11:30 | 1683.018 | 1805.552 | 1560.484
11/06/2024 12:00 | 1663.371 | 1784.838 | 1541.904
11/06/2024 12:30 | 1696.817 | 1821.097 | 1572.537
11/06/2024 13:00 | 1770.874 | 1900.965 | 1640.783
11/06/2024 13:30 | 1931.48 | 2073.792 | 1789.169
11/06/2024 14:00 | 2060.069 | 2212.305 | 1907.833
11/06/2024 14:30 | 2121.737 | 2278.993 | 1964.48
11/06/2024 15:00 | 2240.406 | 2406.947 | 2073.864
11/06/2024 15:30 | 2409.687 | 2589.339 | 2230.035
11/06/2024 16:00 | 2558.532 | 2749.84 | 2367.224
11/06/2024 16:30 | 2720.668 | 2924.694 | 2516.643
11/06/2024 17:00 | 2853.395 | 3067.997 | 2638.793
11/06/2024 17:30 | 2892.583 | 3110.764 | 2674.402
11/06/2024 18:00 | 2842.985 | 3058.046 | 2627.923
11/06/2024 18:30 | 2768.21 | 2978.22 | 2558.2
11/06/2024 19:00 | 2693.661 | 2898.604 | 2488.719
11/06/2024 19:30 | 2622.268 | 2822.351 | 2422.184
11/06/2024 20:00 | 2532.456 | 2726.24 | 2338.671
11/06/2024 20:30 | 2438.893 | 2626.051 | 2251.735
11/06/2024 21:00 | 2337.274 | 2517.144 | 2157.404
11/06/2024 21:30 | 2226.163 | 2397.969 | 2054.357
11/06/2024 22:00 | 2117.682 | 2281.579 | 1953.786
11/06/2024 22:30 | 2029.824 | 2187.365 | 1872.284
11/06/2024 23:00 | 1961.796 | 2114.485 | 1809.107
11/06/2024 23:30 | 1909.13 | 2058.137 | 1760.123
12/06/2024 00:00 | 1863.937 | 2009.824 | 1718.05
12/06/2024 00:30 | 1829.971 | 1973.6 | 1686.343
12/06/2024 01:00 | 1808.5 | 1950.839 | 1666.162
12/06/2024 01:30 | 1795.183 | 1936.865 | 1653.501
12/06/2024 02:00 | 1788.343 | 1929.876 | 1646.81
12/06/2024 02:30 | 1788.221 | 1930.135 | 1646.307
12/06/2024 03:00 | 1791.429 | 1933.989 | 1648.868
12/06/2024 03:30 | 1807.012 | 1951.208 | 1662.817
12/06/2024 04:00 | 1850.563 | 1998.638 | 1702.489
12/06/2024 04:30 | 1926.838 | 2081.437 | 1772.239
12/06/2024 05:00 | 2040.161 | 2204.298 | 1876.024
12/06/2024 05:30 | 2200.014 | 2377.492 | 2022.535
12/06/2024 06:00 | 2371.036 | 2562.829 | 2179.243
12/06/2024 06:30 | 2508.297 | 2711.741 | 2304.853
12/06/2024 07:00 | 2560.351 | 2768.577 | 2352.125
12/06/2024 07:30 | 2457.242 | 2657.596 | 2256.889
12/06/2024 08:00 | 2278.557 | 2464.774 | 2092.34
12/06/2024 08:30 | 2104.234 | 2276.608 | 1931.861
12/06/2024 09:00 | 1955.796 | 2116.385 | 1795.207
12/06/2024 09:30 | 1826.512 | 1976.836 | 1676.189
12/06/2024 10:00 | 1706.4 | 1847.165 | 1565.635
12/06/2024 10:30 | 1627.705 | 1762.291 | 1493.12
12/06/2024 11:00 | 1589.276 | 1720.989 | 1457.563
12/06/2024 11:30 | 1549.006 | 1677.678 | 1420.334
12/06/2024 12:00 | 1528.259 | 1655.5 | 1401.017
12/06/2024 12:30 | 1558.614 | 1688.681 | 1428.546
12/06/2024 13:00 | 1615.451 | 1750.571 | 1480.33
12/06/2024 13:30 | 1733.649 | 1878.988 | 1588.31
12/06/2024 14:00 | 1860.449 | 2016.775 | 1704.124
12/06/2024 14:30 | 1972.503 | 2138.623 | 1806.384
12/06/2024 15:00 | 2131.904 | 2311.856 | 1951.951
12/06/2024 15:30 | 2343.097 | 2541.325 | 2144.869
12/06/2024 16:00 | 2530.181 | 2744.722 | 2315.641
12/06/2024 16:30 | 2697.717 | 2926.98 | 2468.453
12/06/2024 17:00 | 2843.289 | 3085.469 | 2601.109
12/06/2024 17:30 | 2893.236 | 3140.225 | 2646.248
12/06/2024 18:00 | 2854.182 | 3098.384 | 2609.98
12/06/2024 18:30 | 2785.06 | 3023.881 | 2546.238
12/06/2024 19:00 | 2711.182 | 2944.188 | 2478.176
12/06/2024 19:30 | 2640.162 | 2867.57 | 2412.754
12/06/2024 20:00 | 2545.218 | 2764.937 | 2325.5
12/06/2024 20:30 | 2448.704 | 2660.56 | 2236.849
12/06/2024 21:00 | 2346.977 | 2550.481 | 2143.472
12/06/2024 21:30 | 2236.086 | 2430.404 | 2041.768
12/06/2024 22:00 | 2127.513 | 2312.804 | 1942.223
12/06/2024 22:30 | 2038.772 | 2216.724 | 1860.819
12/06/2024 23:00 | 1972.754 | 2145.323 | 1800.186
12/06/2024 23:30 | 1921.862 | 2090.347 | 1753.377
13/06/2024 00:00 | 1880.994 | 2046.256 | 1715.731
13/06/2024 00:30 | 1850.481 | 2013.418 | 1687.545
13/06/2024 01:00 | 1831.481 | 1993.095 | 1669.866
13/06/2024 01:30 | 1817.384 | 1978.102 | 1656.665
13/06/2024 02:00 | 1811.33 | 1971.86 | 1650.799
13/06/2024 02:30 | 1813.178 | 1974.22 | 1652.136
13/06/2024 03:00 | 1818.023 | 1979.844 | 1656.202
13/06/2024 03:30 | 1834.492 | 1998.13 | 1670.854
13/06/2024 04:00 | 1878.589 | 2046.521 | 1710.657
13/06/2024 04:30 | 1956.727 | 2132.019 | 1781.435
13/06/2024 05:00 | 2074.432 | 2260.666 | 1888.198
13/06/2024 05:30 | 2241.815 | 2443.506 | 2040.125
13/06/2024 06:00 | 2423.317 | 2641.801 | 2204.833
13/06/2024 06:30 | 2570.812 | 2803.087 | 2338.537
13/06/2024 07:00 | 2633.62 | 2872.075 | 2395.166
13/06/2024 07:30 | 2526.827 | 2756.096 | 2297.557
13/06/2024 08:00 | 2343.871 | 2556.989 | 2130.752
13/06/2024 08:30 | 2182.751 | 2381.637 | 1983.864
13/06/2024 09:00 | 2033.947 | 2219.665 | 1848.229
13/06/2024 09:30 | 1897.389 | 2071.001 | 1723.776
13/06/2024 10:00 | 1765.262 | 1927.124 | 1603.401
13/06/2024 10:30 | 1662.989 | 1815.791 | 1510.186
13/06/2024 11:00 | 1604.892 | 1752.664 | 1457.12
13/06/2024 11:30 | 1554.585 | 1698.022 | 1411.147
13/06/2024 12:00 | 1539.628 | 1681.98 | 1397.275
13/06/2024 12:30 | 1589.47 | 1736.736 | 1442.204
13/06/2024 13:00 | 1664.083 | 1818.58 | 1509.585
13/06/2024 13:30 | 1848.623 | 2020.608 | 1676.638
13/06/2024 14:00 | 1997.286 | 2183.484 | 1811.088
13/06/2024 14:30 | 2043.801 | 2234.728 | 1852.875
13/06/2024 15:00 | 2168.713 | 2371.724 | 1965.702
13/06/2024 15:30 | 2354.689 | 2575.561 | 2133.818
13/06/2024 16:00 | 2523.105 | 2760.258 | 2285.952
13/06/2024 16:30 | 2694.124 | 2947.868 | 2440.38
13/06/2024 17:00 | 2855.229 | 3124.693 | 2585.764
13/06/2024 17:30 | 2923.196 | 3199.635 | 2646.757
13/06/2024 18:00 | 2889.627 | 3163.445 | 2615.809
13/06/2024 18:30 | 2831.949 | 3100.844 | 2563.053
13/06/2024 19:00 | 2774.818 | 3038.821 | 2510.815
13/06/2024 19:30 | 2708.804 | 2967.046 | 2450.563
13/06/2024 20:00 | 2616.521 | 2866.466 | 2366.576
13/06/2024 20:30 | 2513.26 | 2753.823 | 2272.697
13/06/2024 21:00 | 2401.014 | 2631.293 | 2170.735
13/06/2024 21:30 | 2284.271 | 2503.791 | 2064.751
13/06/2024 22:00 | 2171.384 | 2380.472 | 1962.297
13/06/2024 22:30 | 2077.621 | 2278.078 | 1877.163
13/06/2024 23:00 | 2005.776 | 2199.686 | 1811.866
13/06/2024 23:30 | 1950.82 | 2110.794 | 1790.846
14/06/2024 00:00 | 1906.795 | 2007.33 | 1806.26
14/06/2024 00:30 | 1874.103 | 1977.847 | 1770.358
14/06/2024 01:00 | 1853.528 | 1956.318 | 1750.738
14/06/2024 01:30 | 1839.486 | 1941.681 | 1737.291
14/06/2024 02:00 | 1832.288 | 1934.266 | 1730.309
14/06/2024 02:30 | 1833.501 | 1935.73 | 1731.272
14/06/2024 03:00 | 1836.368 | 1938.94 | 1733.796
14/06/2024 03:30 | 1851.769 | 1955.386 | 1748.151
14/06/2024 04:00 | 1896.669 | 2002.988 | 1790.35
14/06/2024 04:30 | 1976.451 | 2087.44 | 1865.462
14/06/2024 05:00 | 2091.607 | 2209.271 | 1973.943
14/06/2024 05:30 | 2257.053 | 2384.25 | 2129.857
14/06/2024 06:00 | 2441.795 | 2579.647 | 2303.944
14/06/2024 06:30 | 2593.319 | 2739.984 | 2446.654
14/06/2024 07:00 | 2659.53 | 2810.206 | 2508.855
14/06/2024 07:30 | 2551.657 | 2696.752 | 2406.561
14/06/2024 08:00 | 2360.362 | 2495.58 | 2225.145
14/06/2024 08:30 | 2178.113 | 2303.773 | 2052.454
14/06/2024 09:00 | 2000.199 | 2116.405 | 1883.994
14/06/2024 09:30 | 1824.26 | 1930.983 | 1717.538
14/06/2024 10:00 | 1673.279 | 1771.847 | 1574.712
14/06/2024 10:30 | 1583.047 | 1676.94 | 1489.153
14/06/2024 11:00 | 1525.509 | 1616.607 | 1434.41
14/06/2024 11:30 | 1477.88 | 1566.733 | 1389.027
14/06/2024 12:00 | 1451.257 | 1539.097 | 1363.417
14/06/2024 12:30 | 1472.489 | 1562.21 | 1382.768
14/06/2024 13:00 | 1510.58 | 1603.234 | 1417.926
14/06/2024 13:30 | 1587.937 | 1685.979 | 1489.895
14/06/2024 14:00 | 1699.813 | 1805.451 | 1594.176
14/06/2024 14:30 | 1839.141 | 1954.182 | 1724.1
14/06/2024 15:00 | 2022.566 | 2149.9 | 1895.232
14/06/2024 15:30 | 2244.708 | 2386.936 | 2102.48
14/06/2024 16:00 | 2451.601 | 2607.931 | 2295.271
14/06/2024 16:30 | 2633.162 | 2802.136 | 2464.188
14/06/2024 17:00 | 2787.913 | 2967.946 | 2607.879
14/06/2024 17:30 | 2847.805 | 3032.859 | 2662.75
14/06/2024 18:00 | 2816.218 | 3000.361 | 2632.075
14/06/2024 18:30 | 2757.664 | 2939.095 | 2576.233
14/06/2024 19:00 | 2696.565 | 2875.068 | 2518.062
14/06/2024 19:30 | 2638.7 | 2814.441 | 2462.959
14/06/2024 20:00 | 2561.278 | 2732.9 | 2389.656
14/06/2024 20:30 | 2478.57 | 2645.654 | 2311.486
14/06/2024 21:00 | 2387.265 | 2549.16 | 2225.369
14/06/2024 21:30 | 2286.033 | 2441.989 | 2130.076
14/06/2024 22:00 | 2182.984 | 2332.794 | 2033.174
14/06/2024 22:30 | 2094.708 | 2239.308 | 1950.107
14/06/2024 23:00 | 2022.175 | 2162.588 | 1881.763
14/06/2024 23:30 | 1965.446 | 2130.006 | 1800.885
15/06/2024 00:00 | 1917.805 | 2131.921 | 1703.689
15/06/2024 00:30 | 1880.986 | 2087.379 | 1674.593
15/06/2024 01:00 | 1856.896 | 2061.476 | 1652.315
15/06/2024 01:30 | 1838.077 | 2041.406 | 1634.747
15/06/2024 02:00 | 1827.86 | 2030.877 | 1624.843
15/06/2024 02:30 | 1822.394 | 2025.62 | 1619.169
15/06/2024 03:00 | 1818.197 | 2021.768 | 1614.626
15/06/2024 03:30 | 1822.857 | 2027.765 | 1617.948
15/06/2024 04:00 | 1843.827 | 2051.918 | 1635.736
15/06/2024 04:30 | 1881.445 | 2094.623 | 1668.267
15/06/2024 05:00 | 1934.777 | 2154.864 | 1714.69
15/06/2024 05:30 | 2014.891 | 2244.993 | 1784.79
15/06/2024 06:00 | 2111.229 | 2353.277 | 1869.181
15/06/2024 06:30 | 2200.294 | 2453.538 | 1947.05
15/06/2024 07:00 | 2260.108 | 2521.248 | 1998.969
15/06/2024 07:30 | 2208.825 | 2465.027 | 1952.623