## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
09/06/2024 08:00 | 1974.272 | 2007.485 | 1941.058
09/06/2024 08:30 | 1921.089 | 1960.753 | 1881.426 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
09/06/2024 09:00 | 1879.718 | 1925.713 | 1833.723 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
09/06/2024 09:30 | 1863.515 | 1916.238 | 1810.792 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
09/06/2024 10:00 | 1785.356 | 1842.693 | 1728.019 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
09/06/2024 10:30 | 1721.203 | 1781.356 | 1661.049 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
09/06/2024 11:00 | 1682.143 | 1742.399 | 1621.888 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
09/06/2024 11:30 | 1644.918 | 1705.554 | 1584.283 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
09/06/2024 12:00 | 1597.539 | 1658.092 | 1536.986 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
09/06/2024 12:30 | 1551.376 | 1611.795 | 1490.958 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
09/06/2024 13:00 | 1545.198 | 1606.985 | 1483.41 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
09/06/2024 13:30 | 1602.085 | 1667.816 | 1533.101
09/06/2024 14:00 | 1708.608 | 1776.722 | 1633.265 | Summary view - for each schedule horizon (dispatch, week-ahead)
09/06/2024 14:30 | 1848.936 | 1924.473 | 1765.397
09/06/2024 15:00 | 2002.964 | 2087.187 | 1910.671 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
09/06/2024 15:30 | 2155.758 | 2250.065 | 2055.479 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
09/06/2024 16:00 | 2331.737 | 2436.88 | 2221.497 | Scenario | Violations
09/06/2024 16:30 | 2512.541 | 2628.393 | 2391.086 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
09/06/2024 17:00 | 2649.907 | 2775.436 | 2519.587 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
09/06/2024 17:30 | 2702.134 | 2833.152 | 2566.618 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0
09/06/2024 18:00 | 2661.822 | 2794.246 | 2526.091 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0
09/06/2024 18:30 | 2599.051 | 2732.035 | 2466.067 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
09/06/2024 19:00 | 2542.484 | 2673.123 | 2411.846
09/06/2024 19:30 | 2483.548 | 2611.812 | 2355.284 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
09/06/2024 20:00 | 2406.718 | 2531.648 | 2281.788
09/06/2024 20:30 | 2328.905 | 2450.409 | 2207.401 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
09/06/2024 21:00 | 2244.968 | 2362.683 | 2127.252 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
09/06/2024 21:30 | 2149.038 | 2262.29 | 2035.787 | [7 empty] | 11/06/2024 11:30 | [11 empty] | 11/06/2024 11:30 | [11 empty] | 11/06/2024 12:00
09/06/2024 22:00 | 2054.31 | 2163.11 | 1945.509 | [7 empty] | 11/06/2024 13:00 | [11 empty] | 11/06/2024 12:00
09/06/2024 22:30 | 1978.801 | 2084.124 | 1873.479 | [19 empty] | 11/06/2024 12:30
09/06/2024 23:00 | 1923.177 | 2026.045 | 1820.309
09/06/2024 23:30 | 1879.814 | 1976.55 | 1783.078
10/06/2024 00:00 | 1846.035 | 1933.225 | 1758.845
10/06/2024 00:30 | 1820.6 | 1908.027 | 1733.172
10/06/2024 01:00 | 1803.855 | 1891.184 | 1716.526
10/06/2024 01:30 | 1793.714 | 1881.254 | 1706.173
10/06/2024 02:00 | 1790.217 | 1878.287 | 1702.146
10/06/2024 02:30 | 1791.06 | 1879.873 | 1702.247
10/06/2024 03:00 | 1795.312 | 1885.038 | 1705.585
10/06/2024 03:30 | 1811.913 | 1903.178 | 1720.647
10/06/2024 04:00 | 1856.564 | 1950.805 | 1762.323
10/06/2024 04:30 | 1936.332 | 2035.379 | 1837.284
10/06/2024 05:00 | 2041.55 | 2146.78 | 1936.321
10/06/2024 05:30 | 2186.867 | 2300.443 | 2073.292
10/06/2024 06:00 | 2369.537 | 2493.526 | 2245.547
10/06/2024 06:30 | 2524.22 | 2657.089 | 2391.352
10/06/2024 07:00 | 2606.937 | 2744.554 | 2469.32
10/06/2024 07:30 | 2567.434 | 2703.389 | 2431.478
10/06/2024 08:00 | 2497.39 | 2630.049 | 2364.731
10/06/2024 08:30 | 2435.198 | 2564.956 | 2305.441
10/06/2024 09:00 | 2353.626 | 2479.425 | 2227.826
10/06/2024 09:30 | 2244.676 | 2365.023 | 2124.329
10/06/2024 10:00 | 2123.832 | 2238.05 | 2009.613
10/06/2024 10:30 | 2046.046 | 2156.418 | 1935.673
10/06/2024 11:00 | 1978.303 | 2085.348 | 1871.258
10/06/2024 11:30 | 1898.021 | 2001.035 | 1795.006
10/06/2024 12:00 | 1883.003 | 1985.513 | 1780.493
10/06/2024 12:30 | 2017.7 | 2127.876 | 1907.523
10/06/2024 13:00 | 2139.339 | 2256.51 | 2022.167
10/06/2024 13:30 | 2214.974 | 2336.654 | 2093.294
10/06/2024 14:00 | 2297.625 | 2424.225 | 2171.026
10/06/2024 14:30 | 2351.501 | 2481.458 | 2221.545
10/06/2024 15:00 | 2420.879 | 2555.069 | 2286.688
10/06/2024 15:30 | 2512.847 | 2652.551 | 2373.144
10/06/2024 16:00 | 2636.71 | 2783.735 | 2489.686
10/06/2024 16:30 | 2778.796 | 2934.202 | 2623.39
10/06/2024 17:00 | 2906.062 | 3069.065 | 2743.058
10/06/2024 17:30 | 2932.285 | 3097.243 | 2767.326
10/06/2024 18:00 | 2867.401 | 3029.183 | 2705.619
10/06/2024 18:30 | 2789.498 | 2947.345 | 2631.65
10/06/2024 19:00 | 2716.685 | 2870.86 | 2562.51
10/06/2024 19:30 | 2641.535 | 2791.882 | 2491.188
10/06/2024 20:00 | 2549.78 | 2695.325 | 2404.234
10/06/2024 20:30 | 2452.177 | 2592.556 | 2311.798
10/06/2024 21:00 | 2351.395 | 2485.614 | 2216.397
10/06/2024 21:30 | 2242.177 | 2370.533 | 2113.08
10/06/2024 22:00 | 2135.478 | 2258.078 | 2012.171
10/06/2024 22:30 | 2048.91 | 2166.878 | 1930.264
10/06/2024 23:00 | 1978.474 | 2092.714 | 1863.58
10/06/2024 23:30 | 1919.127 | 2030.257 | 1807.362
11/06/2024 00:00 | 1868.916 | 1977.447 | 1760.383
11/06/2024 00:30 | 1835.378 | 1942.264 | 1728.49
11/06/2024 01:00 | 1816.251 | 1922.323 | 1710.177
11/06/2024 01:30 | 1802.593 | 1908.165 | 1697.019
11/06/2024 02:00 | 1796.274 | 1901.772 | 1690.773
11/06/2024 02:30 | 1796.291 | 1902.088 | 1690.493
11/06/2024 03:00 | 1798.899 | 1905.146 | 1692.651
11/06/2024 03:30 | 1812.376 | 1919.719 | 1705.032
11/06/2024 04:00 | 1853.255 | 1963.325 | 1743.184
11/06/2024 04:30 | 1928.775 | 2043.649 | 1813.9
11/06/2024 05:00 | 2028.22 | 2149.351 | 1907.088
11/06/2024 05:30 | 2171.678 | 2301.736 | 2041.62
11/06/2024 06:00 | 2355.051 | 2496.479 | 2213.622
11/06/2024 06:30 | 2508.764 | 2659.838 | 2357.69
11/06/2024 07:00 | 2600.404 | 2757.426 | 2443.382
11/06/2024 07:30 | 2576.255 | 2732.293 | 2420.217
11/06/2024 08:00 | 2510.846 | 2663.479 | 2358.213
11/06/2024 08:30 | 2454.072 | 2603.79 | 2304.354
11/06/2024 09:00 | 2393.47 | 2540.013 | 2246.926
11/06/2024 09:30 | 2337.934 | 2481.588 | 2194.28
11/06/2024 10:00 | 2253.026 | 2391.956 | 2114.097
11/06/2024 10:30 | 2173.053 | 2307.526 | 2038.581
11/06/2024 11:00 | 2058.406 | 2186.233 | 1930.578
11/06/2024 11:30 | 1845.738 | 1960.762 | 1730.714
11/06/2024 12:00 | 1753.139 | 1862.776 | 1643.503
11/06/2024 12:30 | 1812.928 | 1926.7 | 1699.156
11/06/2024 13:00 | 1893.48 | 2012.721 | 1774.24
11/06/2024 13:30 | 2035.711 | 2164.353 | 1907.069
11/06/2024 14:00 | 2129.958 | 2265.021 | 1994.895
11/06/2024 14:30 | 2169.496 | 2307.541 | 2031.452
11/06/2024 15:00 | 2278.451 | 2423.926 | 2132.976
11/06/2024 15:30 | 2441.84 | 2598.281 | 2285.4
11/06/2024 16:00 | 2586.172 | 2752.424 | 2419.919
11/06/2024 16:30 | 2744.858 | 2921.912 | 2567.805
11/06/2024 17:00 | 2872.724 | 3058.653 | 2686.795
11/06/2024 17:30 | 2907.914 | 3096.756 | 2719.072
11/06/2024 18:00 | 2857.988 | 3044.212 | 2671.764
11/06/2024 18:30 | 2780.359 | 2962.132 | 2598.586
11/06/2024 19:00 | 2700.372 | 2877.505 | 2523.238
11/06/2024 19:30 | 2629.475 | 2802.532 | 2456.417
11/06/2024 20:00 | 2540.051 | 2707.778 | 2372.323
11/06/2024 20:30 | 2446.406 | 2608.484 | 2284.328
11/06/2024 21:00 | 2344.542 | 2500.384 | 2188.7
11/06/2024 21:30 | 2233.1 | 2382.022 | 2084.178
11/06/2024 22:00 | 2123.935 | 2266.041 | 1981.829
11/06/2024 22:30 | 2035.657 | 2172.301 | 1899.012
11/06/2024 23:00 | 1967.259 | 2099.742 | 1834.776
11/06/2024 23:30 | 1915.469 | 2044.883 | 1786.055
12/06/2024 00:00 | 1871.125 | 1997.952 | 1744.299
12/06/2024 00:30 | 1837.577 | 1962.531 | 1712.623
12/06/2024 01:00 | 1815.654 | 1939.514 | 1691.794
12/06/2024 01:30 | 1802.251 | 1925.591 | 1678.912
12/06/2024 02:00 | 1795.911 | 1919.209 | 1672.613
12/06/2024 02:30 | 1795.616 | 1919.286 | 1671.946
12/06/2024 03:00 | 1799.36 | 1923.681 | 1675.039
12/06/2024 03:30 | 1815.13 | 1940.937 | 1689.323
12/06/2024 04:00 | 1858.279 | 1987.483 | 1729.075
12/06/2024 04:30 | 1934.465 | 2069.388 | 1799.541
12/06/2024 05:00 | 2044.742 | 2187.804 | 1901.68
12/06/2024 05:30 | 2200.453 | 2354.89 | 2046.016
12/06/2024 06:00 | 2376.818 | 2544.152 | 2209.483
12/06/2024 06:30 | 2521.062 | 2699.102 | 2343.021
12/06/2024 07:00 | 2582.24 | 2765.166 | 2399.315
12/06/2024 07:30 | 2506.454 | 2684.558 | 2328.35
12/06/2024 08:00 | 2355.723 | 2523.631 | 2187.815
12/06/2024 08:30 | 2186.099 | 2342.395 | 2029.804
12/06/2024 09:00 | 2066.748 | 2214.962 | 1918.533
12/06/2024 09:30 | 1997.721 | 2141.421 | 1854.02
12/06/2024 10:00 | 1902.307 | 2039.56 | 1765.055
12/06/2024 10:30 | 1785.303 | 1914.504 | 1656.103
12/06/2024 11:00 | 1736.163 | 1862.187 | 1610.139
12/06/2024 11:30 | 1725.453 | 1851.077 | 1599.83
12/06/2024 12:00 | 1710.764 | 1835.691 | 1585.836
12/06/2024 12:30 | 1713.828 | 1839.354 | 1588.302
12/06/2024 13:00 | 1759.031 | 1888.252 | 1629.81
12/06/2024 13:30 | 1888.544 | 2027.692 | 1749.396
12/06/2024 14:00 | 2025.634 | 2175.325 | 1875.943
12/06/2024 14:30 | 2134.706 | 2292.923 | 1976.488
12/06/2024 15:00 | 2273.211 | 2442.192 | 2104.231
12/06/2024 15:30 | 2427.218 | 2608.177 | 2246.259
12/06/2024 16:00 | 2569.829 | 2761.982 | 2377.677
12/06/2024 16:30 | 2730.07 | 2934.801 | 2525.34
12/06/2024 17:00 | 2868.11 | 3083.819 | 2652.402
12/06/2024 17:30 | 2908.625 | 3128.017 | 2689.234
12/06/2024 18:00 | 2862.608 | 3079.155 | 2646.062
12/06/2024 18:30 | 2794.344 | 3006.336 | 2582.351
12/06/2024 19:00 | 2724.699 | 2932.003 | 2517.395
12/06/2024 19:30 | 2654.279 | 2856.805 | 2451.752
12/06/2024 20:00 | 2560.501 | 2756.431 | 2364.571
12/06/2024 20:30 | 2462.957 | 2651.961 | 2273.952
12/06/2024 21:00 | 2359.432 | 2541.008 | 2177.857
12/06/2024 21:30 | 2246.706 | 2420.097 | 2073.315
12/06/2024 22:00 | 2137.629 | 2303.069 | 1972.189
12/06/2024 22:30 | 2047.063 | 2205.941 | 1888.185
12/06/2024 23:00 | 1976.736 | 2130.588 | 1822.884
12/06/2024 23:30 | 1920.463 | 2070.354 | 1770.571
13/06/2024 00:00 | 1874.115 | 2020.798 | 1727.431
13/06/2024 00:30 | 1840.499 | 1984.954 | 1696.044
13/06/2024 01:00 | 1819.512 | 1962.717 | 1676.307
13/06/2024 01:30 | 1806.073 | 1948.615 | 1663.531
13/06/2024 02:00 | 1800.138 | 1942.605 | 1657.672
13/06/2024 02:30 | 1801.909 | 1944.909 | 1658.908
13/06/2024 03:00 | 1806.505 | 1950.265 | 1662.745
13/06/2024 03:30 | 1822.595 | 1968.034 | 1677.156
13/06/2024 04:00 | 1866.145 | 2015.467 | 1716.824
13/06/2024 04:30 | 1943.445 | 2099.376 | 1787.513
13/06/2024 05:00 | 2060.272 | 2226.027 | 1894.517
13/06/2024 05:30 | 2225.25 | 2404.764 | 2045.735
13/06/2024 06:00 | 2401.157 | 2595.387 | 2206.928
13/06/2024 06:30 | 2542.712 | 2748.947 | 2336.477
13/06/2024 07:00 | 2599.229 | 2810.616 | 2387.841
13/06/2024 07:30 | 2493.398 | 2696.699 | 2290.096
13/06/2024 08:00 | 2306.975 | 2495.515 | 2118.436
13/06/2024 08:30 | 2127.082 | 2301.327 | 1952.836
13/06/2024 09:00 | 1968.684 | 2130.331 | 1807.037
13/06/2024 09:30 | 1829.601 | 1980.178 | 1679.023
13/06/2024 10:00 | 1699.937 | 1840.169 | 1559.705
13/06/2024 10:30 | 1605.568 | 1738.324 | 1472.813
13/06/2024 11:00 | 1550.423 | 1678.915 | 1421.93
13/06/2024 11:30 | 1491.402 | 1615.289 | 1367.514
13/06/2024 12:00 | 1465.313 | 1587.314 | 1343.313
13/06/2024 12:30 | 1501.643 | 1626.957 | 1376.33
13/06/2024 13:00 | 1535.071 | 1663.469 | 1406.674
13/06/2024 13:30 | 1614.978 | 1750.368 | 1479.587
13/06/2024 14:00 | 1732.263 | 1877.818 | 1586.708
13/06/2024 14:30 | 1880.174 | 2038.518 | 1721.831
13/06/2024 15:00 | 2064.52 | 2238.785 | 1890.255
13/06/2024 15:30 | 2277.021 | 2469.659 | 2084.383
13/06/2024 16:00 | 2465.276 | 2674.313 | 2256.239
13/06/2024 16:30 | 2643.282 | 2867.919 | 2418.645
13/06/2024 17:00 | 2807.967 | 3047.137 | 2568.796
13/06/2024 17:30 | 2882.144 | 3128.186 | 2636.103
13/06/2024 18:00 | 2855.242 | 3099.534 | 2610.949
13/06/2024 18:30 | 2795.065 | 3034.745 | 2555.386
13/06/2024 19:00 | 2727.95 | 2962.397 | 2493.503
13/06/2024 19:30 | 2661.615 | 2890.872 | 2432.359
13/06/2024 20:00 | 2569.614 | 2791.438 | 2347.79
13/06/2024 20:30 | 2469.736 | 2683.412 | 2256.061
13/06/2024 21:00 | 2362.706 | 2567.574 | 2157.838
13/06/2024 21:30 | 2251.375 | 2447.022 | 2055.729
13/06/2024 22:00 | 2142.426 | 2329.015 | 1955.837
13/06/2024 22:30 | 2052.508 | 2231.66 | 1873.357
13/06/2024 23:00 | 1984.887 | 2158.516 | 1811.257
13/06/2024 23:30 | 1934.44 | 2104.027 | 1764.852
14/06/2024 00:00 | 1894.474 | 2060.921 | 1728.027
14/06/2024 00:30 | 1864.128 | 2028.266 | 1699.99
14/06/2024 01:00 | 1844.392 | 2007.146 | 1681.638
14/06/2024 01:30 | 1830.168 | 1992.017 | 1668.319
14/06/2024 02:00 | 1823.533 | 1985.145 | 1661.921
14/06/2024 02:30 | 1825.197 | 1987.306 | 1663.088
14/06/2024 03:00 | 1828.224 | 1990.952 | 1665.495
14/06/2024 03:30 | 1843.488 | 2007.928 | 1679.047
14/06/2024 04:00 | 1887.343 | 2056.057 | 1718.628
14/06/2024 04:30 | 1964.839 | 2140.857 | 1788.82
14/06/2024 05:00 | 2080.458 | 2267.232 | 1893.683
14/06/2024 05:30 | 2244.662 | 2446.608 | 2042.715
14/06/2024 06:00 | 2423.251 | 2641.73 | 2204.773
14/06/2024 06:30 | 2571.041 | 2803.336 | 2338.745
14/06/2024 07:00 | 2639.143 | 2878.097 | 2400.188
14/06/2024 07:30 | 2540.364 | 2770.862 | 2309.866
14/06/2024 08:00 | 2360.429 | 2575.052 | 2145.805
14/06/2024 08:30 | 2198.279 | 2398.581 | 1997.977
14/06/2024 09:00 | 2041.889 | 2228.332 | 1855.446
14/06/2024 09:30 | 1883.882 | 2056.259 | 1711.505
14/06/2024 10:00 | 1742.801 | 1902.602 | 1582.999
14/06/2024 10:30 | 1652.184 | 1803.994 | 1500.375
14/06/2024 11:00 | 1599.25 | 1746.503 | 1451.998
14/06/2024 11:30 | 1544.249 | 1686.733 | 1401.765
14/06/2024 12:00 | 1532.379 | 1674.062 | 1390.697
14/06/2024 12:30 | 1615.789 | 1765.493 | 1466.085
14/06/2024 13:00 | 1681.986 | 1838.145 | 1525.826
14/06/2024 13:30 | 1741.215 | 1903.207 | 1579.222
14/06/2024 14:00 | 1828.666 | 1999.144 | 1658.187
14/06/2024 14:30 | 1926.862 | 2106.865 | 1746.859
14/06/2024 15:00 | 2071.256 | 2265.145 | 1877.368
14/06/2024 15:30 | 2275.676 | 2489.136 | 2062.216
14/06/2024 16:00 | 2464.232 | 2695.852 | 2232.613
14/06/2024 16:30 | 2633.44 | 2881.468 | 2385.412
14/06/2024 17:00 | 2776.448 | 3038.477 | 2514.418
14/06/2024 17:30 | 2826.37 | 3093.653 | 2559.088
14/06/2024 18:00 | 2791.593 | 3056.122 | 2527.064
14/06/2024 18:30 | 2732.801 | 2992.283 | 2473.32
14/06/2024 19:00 | 2673.98 | 2928.389 | 2419.572
14/06/2024 19:30 | 2615.538 | 2864.888 | 2366.188
14/06/2024 20:00 | 2538.482 | 2780.973 | 2295.992
14/06/2024 20:30 | 2458.411 | 2693.724 | 2223.098
14/06/2024 21:00 | 2370.837 | 2598.222 | 2143.452
14/06/2024 21:30 | 2273.362 | 2491.833 | 2054.89
14/06/2024 22:00 | 2173.089 | 2382.341 | 1963.837
14/06/2024 22:30 | 2086.771 | 2288.112 | 1885.431
14/06/2024 23:00 | 2015.49 | 2210.339 | 1820.641
14/06/2024 23:30 | 1960.297 | 2147.801 | 1772.793
15/06/2024 00:00 | 1914.012 | 2092.748 | 1735.276
15/06/2024 00:30 | 1878.147 | 2054.003 | 1702.29
15/06/2024 01:00 | 1854.241 | 2027.953 | 1680.528
15/06/2024 01:30 | 1834.731 | 2006.709 | 1662.752
15/06/2024 02:00 | 1824.091 | 1995.166 | 1653.017
15/06/2024 02:30 | 1819.264 | 1989.978 | 1648.549
15/06/2024 03:00 | 1816.493 | 1987.04 | 1645.947
15/06/2024 03:30 | 1821.229 | 1992.313 | 1650.145
15/06/2024 04:00 | 1839.953 | 2012.89 | 1667.016
15/06/2024 04:30 | 1877.152 | 2053.681 | 1700.623
15/06/2024 05:00 | 1901.611 | 2080.537 | 1722.685
15/06/2024 05:30 | 1939.812 | 2122.431 | 1757.192
15/06/2024 06:00 | 2040.001 | 2232.156 | 1847.845
15/06/2024 06:30 | 2129.535 | 2330.233 | 1928.837
15/06/2024 07:00 | 2211.841 | 2420.408 | 2003.274
15/06/2024 07:30 | 2254.698 | 2467.74 | 2041.656
15/06/2024 08:00 | 2248.575 | 2462.098 | 2035.051
15/06/2024 08:30 | 2218.069 | 2429.688 | 2006.45
15/06/2024 09:00 | 2162.446 | 2369.726 | 1955.166
15/06/2024 09:30 | 2063.133 | 2261.817 | 1864.45
15/06/2024 10:00 | 1924.255 | 2110.425 | 1738.085
15/06/2024 10:30 | 1788.649 | 1962.5 | 1614.798
15/06/2024 11:00 | 1682.366 | 1846.639 | 1518.092
15/06/2024 11:30 | 1568.83 | 1722.719 | 1414.941
15/06/2024 12:00 | 1487.82 | 1634.428 | 1341.211
15/06/2024 12:30 | 1443.815 | 1586.733 | 1300.896
15/06/2024 13:00 | 1432.4 | 1574.83 | 1289.971
15/06/2024 13:30 | 1485.912 | 1634.327 | 1337.497
15/06/2024 14:00 | 1593.782 | 1753.685 | 1433.88
15/06/2024 14:30 | 1753.996 | 1930.758 | 1577.235
15/06/2024 15:00 | 1933.444 | 2129.155 | 1737.733
15/06/2024 15:30 | 2128.612 | 2345.031 | 1912.193
15/06/2024 16:00 | 2327.935 | 2565.661 | 2090.209
15/06/2024 16:30 | 2511.263 | 2768.834 | 2253.692
15/06/2024 17:00 | 2652.552 | 2925.802 | 2379.303
15/06/2024 17:30 | 2710.27 | 2990.678 | 2429.862
15/06/2024 18:00 | 2672.068 | 2949.719 | 2394.416
15/06/2024 18:30 | 2614.724 | 2887.587 | 2341.862
15/06/2024 19:00 | 2560.03 | 2828.331 | 2291.73
15/06/2024 19:30 | 2505.938 | 2769.691 | 2242.185
15/06/2024 20:00 | 2438.579 | 2696.333 | 2180.824
15/06/2024 20:30 | 2377.828 | 2630.225 | 2125.431
15/06/2024 21:00 | 2310.883 | 2557.208 | 2064.558
15/06/2024 21:30 | 2225.988 | 2464.26 | 1987.716
15/06/2024 22:00 | 2136.024 | 2365.623 | 1906.426
15/06/2024 22:30 | 2053.952 | 2275.648 | 1832.257
15/06/2024 23:00 | 1984.5 | 2199.587 | 1769.413
15/06/2024 23:30 | 1927.788 | 2137.591 | 1717.985
16/06/2024 00:00 | 1878.615 | 2083.907 | 1673.323
16/06/2024 00:30 | 1841.502 | 2043.562 | 1639.441
16/06/2024 01:00 | 1817.168 | 2017.372 | 1616.965
16/06/2024 01:30 | 1800.101 | 1999.229 | 1600.972
16/06/2024 02:00 | 1790.327 | 1989.175 | 1591.479
16/06/2024 02:30 | 1784.149 | 1983.109 | 1585.188
16/06/2024 03:00 | 1779.522 | 1978.763 | 1580.281
16/06/2024 03:30 | 1782.09 | 1982.415 | 1581.764
16/06/2024 04:00 | 1796.601 | 1999.361 | 1593.84
16/06/2024 04:30 | 1822.701 | 2029.223 | 1616.179
16/06/2024 05:00 | 1856.225 | 2067.376 | 1645.074
16/06/2024 05:30 | 1908.305 | 2126.234 | 1690.375
16/06/2024 06:00 | 1977.295 | 2203.988 | 1750.603
16/06/2024 06:30 | 2045.041 | 2280.416 | 1809.666
16/06/2024 07:00 | 2094.011 | 2335.96 | 1852.063
16/06/2024 07:30 | 2047.369 | 2284.844 | 1809.894