## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
13/06/2024 08:00 | 2446.631 | 2480.101 | 2413.161
13/06/2024 08:30 | 2305.76 | 2343.117 | 2268.402 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
13/06/2024 09:00 | 2157.232 | 2197.623 | 2116.842 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
13/06/2024 09:30 | 1992.542 | 2034.874 | 1950.211 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
13/06/2024 10:00 | 1813.148 | 1856.24 | 1770.055 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
13/06/2024 10:30 | 1649.741 | 1692.093 | 1607.389 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
13/06/2024 11:00 | 1521.618 | 1561.723 | 1481.513 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
13/06/2024 11:30 | 1418.988 | 1457.509 | 1380.468 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
13/06/2024 12:00 | 1354.31 | 1392.144 | 1316.475 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
13/06/2024 12:30 | 1383.846 | 1416.01 | 1336.929 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
13/06/2024 13:00 | 1442.751 | 1479.095 | 1394.285 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
13/06/2024 13:30 | 1537.272 | 1579.69 | 1486.76
13/06/2024 14:00 | 1655.726 | 1704.319 | 1601.522 | Summary view - for each schedule horizon (dispatch, week-ahead)
13/06/2024 14:30 | 1806.991 | 1862.481 | 1747.379
13/06/2024 15:00 | 1997.851 | 2061.512 | 1931.054 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
13/06/2024 15:30 | 2216.737 | 2288.948 | 2140.709 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
13/06/2024 16:00 | 2403.265 | 2483.636 | 2319.118 | Scenario | Violations
13/06/2024 16:30 | 2593.881 | 2683.391 | 2501.681 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
13/06/2024 17:00 | 2782.411 | 2880.237 | 2680.955 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
13/06/2024 17:30 | 2880.964 | 2984.207 | 2773.341 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0
13/06/2024 18:00 | 2870.414 | 2975.562 | 2760.935 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 0
13/06/2024 18:30 | 2818.923 | 2924.125 | 2710.114 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 1
13/06/2024 19:00 | 2767.598 | 2871.848 | 2660.949
13/06/2024 19:30 | 2728.541 | 2833.015 | 2624.066 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
13/06/2024 20:00 | 2652.938 | 2754.973 | 2550.903
13/06/2024 20:30 | 2547.228 | 2645.633 | 2448.822 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
13/06/2024 21:00 | 2429.173 | 2523.435 | 2334.911 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
13/06/2024 21:30 | 2308.113 | 2398.073 | 2218.153 | [7 empty] | 14/06/2024 10:00 | [11 empty] | 14/06/2024 09:30 | [11 empty] | 14/06/2024 10:00 |  |  |  |  | 14/06/2024 00:00
13/06/2024 22:00 | 2189.823 | 2275.548 | 2104.097 | [7 empty] | 14/06/2024 10:30 | [11 empty] | 14/06/2024 10:00 | [11 empty] | 14/06/2024 10:30
13/06/2024 22:30 | 2093.411 | 2175.721 | 2011.101 | [7 empty] | 14/06/2024 11:00 | [11 empty] | 14/06/2024 10:30 | [11 empty] | 14/06/2024 11:00
13/06/2024 23:00 | 2019.159 | 2098.896 | 1939.422 | [7 empty] | 14/06/2024 11:30 | [11 empty] | 14/06/2024 11:00 | [11 empty] | 14/06/2024 11:30
13/06/2024 23:30 | 1963.237 | 2041.102 | 1885.372 | [7 empty] | 14/06/2024 12:00 | [11 empty] | 14/06/2024 11:30 | [11 empty] | 14/06/2024 12:00
14/06/2024 00:00 | 1918.245 | 1994.655 | 1841.835 | [7 empty] | 14/06/2024 12:30 | [11 empty] | 14/06/2024 12:00 | [11 empty] | 14/06/2024 12:30
14/06/2024 00:30 | 1884.802 | 1960.203 | 1809.401 | [7 empty] | 14/06/2024 13:00 | [11 empty] | 14/06/2024 12:30 | [11 empty] | 14/06/2024 13:00
14/06/2024 01:00 | 1863.776 | 1938.656 | 1788.897 | [7 empty] | 14/06/2024 13:30 | [11 empty] | 14/06/2024 13:00 | [11 empty] | 18/06/2024 11:30
14/06/2024 01:30 | 1850.073 | 1924.719 | 1775.426 | [7 empty] | 18/06/2024 12:30 | [11 empty] | 14/06/2024 13:30 | [11 empty] | 19/06/2024 10:00
14/06/2024 02:00 | 1844.685 | 1919.43 | 1769.939 | [7 empty] | 18/06/2024 13:00 | [11 empty] | 19/06/2024 10:30
14/06/2024 02:30 | 1848.305 | 1923.514 | 1773.096 | [7 empty] | 19/06/2024 10:30 | [11 empty] | 19/06/2024 11:00
14/06/2024 03:00 | 1853.619 | 1929.362 | 1777.876 | [7 empty] | 19/06/2024 11:00 | [11 empty] | 19/06/2024 11:30
14/06/2024 03:30 | 1871.184 | 1947.966 | 1794.402 | [19 empty] | 19/06/2024 12:30
14/06/2024 04:00 | 1919.279 | 1998.364 | 1840.194
14/06/2024 04:30 | 2004.292 | 2087.223 | 1921.361
14/06/2024 05:00 | 2123.639 | 2211.872 | 2035.405
14/06/2024 05:30 | 2294.093 | 2389.802 | 2198.383
14/06/2024 06:00 | 2489.669 | 2593.964 | 2385.373
14/06/2024 06:30 | 2649.715 | 2760.975 | 2538.453
14/06/2024 07:00 | 2721.612 | 2835.764 | 2607.46
14/06/2024 07:30 | 2613.543 | 2723.073 | 2504.013
14/06/2024 08:00 | 2418.179 | 2519.438 | 2316.92
14/06/2024 08:30 | 2227.255 | 2320.443 | 2134.067
14/06/2024 09:00 | 2039.181 | 2124.43 | 1953.932
14/06/2024 09:30 | 1861.627 | 1939.39 | 1783.865
14/06/2024 10:00 | 1708.192 | 1779.486 | 1636.897
14/06/2024 10:30 | 1602.254 | 1669.072 | 1535.436
14/06/2024 11:00 | 1533.78 | 1597.689 | 1469.87
14/06/2024 11:30 | 1483.944 | 1545.726 | 1422.161
14/06/2024 12:00 | 1456.844 | 1517.448 | 1396.24
14/06/2024 12:30 | 1471.017 | 1532.16 | 1409.874
14/06/2024 13:00 | 1508.461 | 1571.109 | 1445.813
14/06/2024 13:30 | 1584.747 | 1650.509 | 1518.986
14/06/2024 14:00 | 1693.212 | 1763.416 | 1623.008
14/06/2024 14:30 | 1831.104 | 1906.962 | 1755.245
14/06/2024 15:00 | 2010.381 | 2093.598 | 1927.164
14/06/2024 15:30 | 2230.317 | 2322.561 | 2138.073
14/06/2024 16:00 | 2443.388 | 2544.36 | 2342.415
14/06/2024 16:30 | 2639.817 | 2748.817 | 2530.818
14/06/2024 17:00 | 2808.377 | 2924.24 | 2692.514
14/06/2024 17:30 | 2879.898 | 2998.613 | 2761.183
14/06/2024 18:00 | 2856.954 | 2975.82 | 2739.283
14/06/2024 18:30 | 2805.812 | 2922.566 | 2690.344
14/06/2024 19:00 | 2750.078 | 2864.487 | 2636.998
14/06/2024 19:30 | 2692.685 | 2804.558 | 2582.057
14/06/2024 20:00 | 2615.244 | 2723.763 | 2507.887
14/06/2024 20:30 | 2530.422 | 2635.29 | 2426.635
14/06/2024 21:00 | 2433.474 | 2534.142 | 2333.746
14/06/2024 21:30 | 2326.35 | 2422.41 | 2231.093
14/06/2024 22:00 | 2218.187 | 2309.635 | 2127.435
14/06/2024 22:30 | 2123.984 | 2211.389 | 2037.159
14/06/2024 23:00 | 2045.149 | 2129.149 | 1961.777
14/06/2024 23:30 | 1982.715 | 2064.024 | 1901.848
15/06/2024 00:00 | 1930.399 | 2009.451 | 1851.652
15/06/2024 00:30 | 1891.146 | 1968.383 | 1814.143
15/06/2024 01:00 | 1865.326 | 1941.325 | 1789.514
15/06/2024 01:30 | 1846.294 | 1921.356 | 1771.413
15/06/2024 02:00 | 1836.158 | 1910.648 | 1761.845
15/06/2024 02:30 | 1831.619 | 1905.764 | 1757.646
15/06/2024 03:00 | 1828.695 | 1902.561 | 1754.996
15/06/2024 03:30 | 1833.964 | 1907.884 | 1760.21
15/06/2024 04:00 | 1855.199 | 1929.811 | 1780.748
15/06/2024 04:30 | 1893.768 | 1969.764 | 1817.929
15/06/2024 05:00 | 1948.761 | 2026.712 | 1870.81
15/06/2024 05:30 | 2029.729 | 2110.744 | 1948.715
15/06/2024 06:00 | 2128.198 | 2212.959 | 2043.438
15/06/2024 06:30 | 2220.165 | 2308.397 | 2131.933
15/06/2024 07:00 | 2281.121 | 2371.578 | 2190.663
15/06/2024 07:30 | 2234.24 | 2322.849 | 2145.631
15/06/2024 08:00 | 2090.042 | 2173.319 | 2006.765
15/06/2024 08:30 | 1932.321 | 2009.641 | 1855
15/06/2024 09:00 | 1783.194 | 1854.85 | 1711.539
15/06/2024 09:30 | 1642.804 | 1709.097 | 1576.511
15/06/2024 10:00 | 1514.358 | 1575.724 | 1452.991
15/06/2024 10:30 | 1422.859 | 1480.76 | 1364.959
15/06/2024 11:00 | 1361.709 | 1417.351 | 1306.066
15/06/2024 11:30 | 1301.342 | 1354.739 | 1247.945
15/06/2024 12:00 | 1270.937 | 1323.302 | 1218.572
15/06/2024 12:30 | 1292.039 | 1345.493 | 1238.586
15/06/2024 13:00 | 1326.344 | 1381.441 | 1271.246
15/06/2024 13:30 | 1403.122 | 1461.647 | 1344.597
15/06/2024 14:00 | 1532.409 | 1596.587 | 1468.232
15/06/2024 14:30 | 1687.626 | 1758.59 | 1616.661
15/06/2024 15:00 | 1872.03 | 1951.066 | 1792.994
15/06/2024 15:30 | 2082.119 | 2170.378 | 1993.86
15/06/2024 16:00 | 2289.654 | 2387.098 | 2192.209
15/06/2024 16:30 | 2480.082 | 2586.052 | 2374.112
15/06/2024 17:00 | 2626.694 | 2739.374 | 2514.014
15/06/2024 17:30 | 2689.204 | 2805.021 | 2573.386
15/06/2024 18:00 | 2654.441 | 2769.212 | 2539.671
15/06/2024 18:30 | 2604.493 | 2717.546 | 2491.441
15/06/2024 19:00 | 2556.797 | 2668.213 | 2445.381
15/06/2024 19:30 | 2500.719 | 2610.116 | 2391.323
15/06/2024 20:00 | 2432.175 | 2538.985 | 2325.364
15/06/2024 20:30 | 2371.124 | 2475.656 | 2266.592
15/06/2024 21:00 | 2303.401 | 2405.338 | 2201.464
15/06/2024 21:30 | 2217.097 | 2315.591 | 2118.604
15/06/2024 22:00 | 2125.774 | 2220.571 | 2030.977
15/06/2024 22:30 | 2044.518 | 2136.038 | 1952.997
15/06/2024 23:00 | 1976.67 | 2065.488 | 1887.851
15/06/2024 23:30 | 1922.224 | 2028.885 | 1815.563
16/06/2024 00:00 | 1874.842 | 2017.8 | 1731.884
16/06/2024 00:30 | 1838.055 | 1975.395 | 1700.714
16/06/2024 01:00 | 1813.039 | 1948.943 | 1677.134
16/06/2024 01:30 | 1795 | 1929.981 | 1660.019
16/06/2024 02:00 | 1785.011 | 1919.667 | 1650.355
16/06/2024 02:30 | 1779.095 | 1913.73 | 1644.46
16/06/2024 03:00 | 1774.704 | 1909.431 | 1639.978
16/06/2024 03:30 | 1777.278 | 1912.625 | 1641.932
16/06/2024 04:00 | 1790.713 | 1927.51 | 1653.915
16/06/2024 04:30 | 1815.307 | 1954.417 | 1676.197
16/06/2024 05:00 | 1848.867 | 1990.99 | 1706.744
16/06/2024 05:30 | 1899.114 | 2045.553 | 1752.674
16/06/2024 06:00 | 1963.719 | 2115.609 | 1811.828
16/06/2024 06:30 | 2025.989 | 2183.18 | 1868.799
16/06/2024 07:00 | 2068.007 | 2228.952 | 1907.062
16/06/2024 07:30 | 2020.646 | 2178.387 | 1862.904
16/06/2024 08:00 | 1889.897 | 2037.884 | 1741.911
16/06/2024 08:30 | 1752.372 | 1890.008 | 1614.736
16/06/2024 09:00 | 1628.857 | 1757.181 | 1500.534
16/06/2024 09:30 | 1513.892 | 1633.52 | 1394.264
16/06/2024 10:00 | 1402.33 | 1513.478 | 1291.183
16/06/2024 10:30 | 1323.989 | 1429.244 | 1218.734
16/06/2024 11:00 | 1274.813 | 1376.463 | 1173.163
16/06/2024 11:30 | 1240.835 | 1340.072 | 1141.598
16/06/2024 12:00 | 1216.581 | 1314.169 | 1118.994
16/06/2024 12:30 | 1244.042 | 1344.13 | 1143.955
16/06/2024 13:00 | 1281.855 | 1385.292 | 1178.419
16/06/2024 13:30 | 1363.275 | 1473.607 | 1252.943
16/06/2024 14:00 | 1511.836 | 1634.552 | 1389.12
16/06/2024 14:30 | 1677.197 | 1813.736 | 1540.657
16/06/2024 15:00 | 1869.55 | 2022.195 | 1716.905
16/06/2024 15:30 | 2084.339 | 2255.02 | 1913.659
16/06/2024 16:00 | 2287.588 | 2475.458 | 2099.718
16/06/2024 16:30 | 2483.658 | 2688.223 | 2279.093
16/06/2024 17:00 | 2641.108 | 2859.272 | 2422.943
16/06/2024 17:30 | 2711.569 | 2936.202 | 2486.936
16/06/2024 18:00 | 2676.157 | 2898.496 | 2453.819
16/06/2024 18:30 | 2619.336 | 2837.579 | 2401.093
16/06/2024 19:00 | 2568.574 | 2783.202 | 2353.947
16/06/2024 19:30 | 2507.132 | 2717.224 | 2297.04
16/06/2024 20:00 | 2425.574 | 2629.411 | 2221.737
16/06/2024 20:30 | 2347.508 | 2545.345 | 2149.67
16/06/2024 21:00 | 2260.871 | 2451.948 | 2069.795
16/06/2024 21:30 | 2161.386 | 2344.571 | 1978.201
16/06/2024 22:00 | 2063.523 | 2238.906 | 1888.139
16/06/2024 22:30 | 1984.81 | 2153.978 | 1815.643
16/06/2024 23:00 | 1923.7 | 2088.118 | 1759.281
16/06/2024 23:30 | 1847.35 | 2000.641 | 1694.06
17/06/2024 00:00 | 1777.397 | 1915.684 | 1639.109
17/06/2024 00:30 | 1742.214 | 1878.955 | 1605.474
17/06/2024 01:00 | 1728.727 | 1864.787 | 1592.667
17/06/2024 01:30 | 1719.155 | 1854.837 | 1583.473
17/06/2024 02:00 | 1715.361 | 1851.119 | 1579.604
17/06/2024 02:30 | 1716.964 | 1853.223 | 1580.704
17/06/2024 03:00 | 1721.213 | 1858.185 | 1584.24
17/06/2024 03:30 | 1739.458 | 1878.262 | 1600.653
17/06/2024 04:00 | 1785.448 | 1928.312 | 1642.583
17/06/2024 04:30 | 1866.649 | 2016.419 | 1716.88
17/06/2024 05:00 | 1982.979 | 2142.516 | 1823.442
17/06/2024 05:30 | 2144.408 | 2317.401 | 1971.416
17/06/2024 06:00 | 2327.454 | 2515.721 | 2139.186
17/06/2024 06:30 | 2478.987 | 2680.054 | 2277.92
17/06/2024 07:00 | 2550.104 | 2757.496 | 2342.712
17/06/2024 07:30 | 2478.684 | 2680.786 | 2276.583
17/06/2024 08:00 | 2327.857 | 2518.104 | 2137.611
17/06/2024 08:30 | 2158.488 | 2335.306 | 1981.67
17/06/2024 09:00 | 2010.225 | 2175.283 | 1845.167
17/06/2024 09:30 | 1871.366 | 2025.381 | 1717.35
17/06/2024 10:00 | 1735.882 | 1879.079 | 1592.684
17/06/2024 10:30 | 1625.287 | 1759.672 | 1490.901
17/06/2024 11:00 | 1558.764 | 1687.948 | 1429.58
17/06/2024 11:30 | 1518.98 | 1645.158 | 1392.802
17/06/2024 12:00 | 1496.693 | 1621.307 | 1372.08
17/06/2024 12:30 | 1528.472 | 1656.025 | 1400.92
17/06/2024 13:00 | 1563.407 | 1694.174 | 1432.64
17/06/2024 13:30 | 1625.565 | 1761.844 | 1489.287
17/06/2024 14:00 | 1731.035 | 1876.486 | 1585.583
17/06/2024 14:30 | 1879.919 | 2038.241 | 1721.597
17/06/2024 15:00 | 2067.651 | 2242.18 | 1893.122
17/06/2024 15:30 | 2290.926 | 2484.74 | 2097.111
17/06/2024 16:00 | 2502.651 | 2714.857 | 2290.445
17/06/2024 16:30 | 2692.83 | 2921.677 | 2463.981
17/06/2024 17:00 | 2862.304 | 3106.103 | 2618.504
17/06/2024 17:30 | 2930.99 | 3181.202 | 2680.779
17/06/2024 18:00 | 2892.49 | 3139.969 | 2645.011
17/06/2024 18:30 | 2813.917 | 3055.212 | 2572.621
17/06/2024 19:00 | 2729.774 | 2964.377 | 2495.17
17/06/2024 19:30 | 2650.424 | 2878.717 | 2422.132
17/06/2024 20:00 | 2546.631 | 2766.471 | 2326.791
17/06/2024 20:30 | 2443.122 | 2654.495 | 2231.749
17/06/2024 21:00 | 2333.037 | 2535.333 | 2130.741
17/06/2024 21:30 | 2213.333 | 2405.674 | 2020.992
17/06/2024 22:00 | 2098.115 | 2280.845 | 1915.385
17/06/2024 22:30 | 2006.057 | 2181.154 | 1830.96
17/06/2024 23:00 | 1938.53 | 2108.104 | 1768.955
17/06/2024 23:30 | 1887.564 | 2053.042 | 1722.086
18/06/2024 00:00 | 1846.947 | 2009.218 | 1684.676
18/06/2024 00:30 | 1817.827 | 1977.888 | 1657.766
18/06/2024 01:00 | 1800.822 | 1959.731 | 1641.913
18/06/2024 01:30 | 1785.512 | 1943.413 | 1627.612
18/06/2024 02:00 | 1778.593 | 1936.222 | 1620.964
18/06/2024 02:30 | 1778.517 | 1936.48 | 1620.554
18/06/2024 03:00 | 1781.125 | 1939.662 | 1622.589
18/06/2024 03:30 | 1796.148 | 1956.366 | 1635.93
18/06/2024 04:00 | 1839.208 | 2003.62 | 1674.797
18/06/2024 04:30 | 1919.77 | 2091.751 | 1747.789
18/06/2024 05:00 | 2032.768 | 2215.261 | 1850.274
18/06/2024 05:30 | 2195.003 | 2392.482 | 1997.524
18/06/2024 06:00 | 2395.267 | 2611.222 | 2179.312
18/06/2024 06:30 | 2563.877 | 2795.526 | 2332.229
18/06/2024 07:00 | 2656.259 | 2896.763 | 2415.755
18/06/2024 07:30 | 2609.417 | 2846.181 | 2372.654
18/06/2024 08:00 | 2515.77 | 2744.519 | 2287.021
18/06/2024 08:30 | 2402.235 | 2621.121 | 2183.349
18/06/2024 09:00 | 2261.962 | 2468.5 | 2055.424
18/06/2024 09:30 | 2163.051 | 2360.972 | 1965.13
18/06/2024 10:00 | 2039.828 | 2226.865 | 1852.791
18/06/2024 10:30 | 1923.413 | 2100.144 | 1746.682
18/06/2024 11:00 | 1863.534 | 2035.12 | 1691.948
18/06/2024 11:30 | 1862.268 | 2034.094 | 1690.441
18/06/2024 12:00 | 1851.034 | 2022.179 | 1679.889
18/06/2024 12:30 | 1828.86 | 1998.305 | 1659.415
18/06/2024 13:00 | 1810.895 | 1979.022 | 1642.767
18/06/2024 13:30 | 1780.569 | 1946.223 | 1614.916
18/06/2024 14:00 | 1835.7 | 2006.834 | 1664.565
18/06/2024 14:30 | 2027.596 | 2217.009 | 1838.183
18/06/2024 15:00 | 2229.846 | 2438.58 | 2021.112
18/06/2024 15:30 | 2407.773 | 2633.625 | 2181.922
18/06/2024 16:00 | 2577.588 | 2819.862 | 2335.315
18/06/2024 16:30 | 2777.451 | 3039.042 | 2515.859
18/06/2024 17:00 | 2949.947 | 3228.35 | 2671.543
18/06/2024 17:30 | 3022.782 | 3308.639 | 2736.926
18/06/2024 18:00 | 2988.359 | 3271.534 | 2705.185
18/06/2024 18:30 | 2912.168 | 3188.681 | 2635.656
18/06/2024 19:00 | 2826.196 | 3095.087 | 2557.305
18/06/2024 19:30 | 2748.779 | 3010.831 | 2486.727
18/06/2024 20:00 | 2647.792 | 2900.724 | 2394.859
18/06/2024 20:30 | 2537.147 | 2779.996 | 2294.298
18/06/2024 21:00 | 2412.795 | 2644.204 | 2181.386
18/06/2024 21:30 | 2279.773 | 2498.86 | 2060.685
18/06/2024 22:00 | 2152.547 | 2359.821 | 1945.273
18/06/2024 22:30 | 2051.461 | 2249.394 | 1853.527
18/06/2024 23:00 | 1976.434 | 2167.507 | 1785.361
18/06/2024 23:30 | 1921.678 | 2079.263 | 1764.094
19/06/2024 00:00 | 1878.039 | 1977.058 | 1779.02
19/06/2024 00:30 | 1844.739 | 1946.858 | 1742.62
19/06/2024 01:00 | 1823.052 | 1924.152 | 1721.952
19/06/2024 01:30 | 1808.568 | 1909.045 | 1708.09
19/06/2024 02:00 | 1802.403 | 1902.718 | 1702.088
19/06/2024 02:30 | 1802.497 | 1902.997 | 1701.997
19/06/2024 03:00 | 1806.615 | 1907.525 | 1705.704
19/06/2024 03:30 | 1825.617 | 1927.77 | 1723.463
19/06/2024 04:00 | 1873.821 | 1978.859 | 1768.782
19/06/2024 04:30 | 1958.864 | 2068.865 | 1848.863
19/06/2024 05:00 | 2072.2 | 2188.772 | 1955.627
19/06/2024 05:30 | 2235.786 | 2361.785 | 2109.788
19/06/2024 06:00 | 2445.761 | 2583.837 | 2307.686
19/06/2024 06:30 | 2625.449 | 2773.932 | 2476.967
19/06/2024 07:00 | 2723.214 | 2877.497 | 2568.931
19/06/2024 07:30 | 2667.314 | 2818.986 | 2515.641
19/06/2024 08:00 | 2549.891 | 2695.967 | 2403.816
19/06/2024 08:30 | 2410.843 | 2549.929 | 2271.757
19/06/2024 09:00 | 2258.711 | 2389.935 | 2127.487
19/06/2024 09:30 | 2153.424 | 2279.403 | 2027.445
19/06/2024 10:00 | 2022.648 | 2141.796 | 1903.501
19/06/2024 10:30 | 1874.148 | 1985.307 | 1762.989
19/06/2024 11:00 | 1755.849 | 1860.703 | 1650.996
19/06/2024 11:30 | 1648.226 | 1747.32 | 1549.132
19/06/2024 12:00 | 1603.688 | 1700.755 | 1506.623
19/06/2024 12:30 | 1644.796 | 1745.016 | 1544.576
19/06/2024 13:00 | 1684.594 | 1787.921 | 1581.266
19/06/2024 13:30 | 1723.931 | 1830.369 | 1617.493
19/06/2024 14:00 | 1813.252 | 1925.939 | 1700.564
19/06/2024 14:30 | 1966.547 | 2089.558 | 1843.537
19/06/2024 15:00 | 2151.253 | 2286.688 | 2015.817
19/06/2024 15:30 | 2363.19 | 2512.925 | 2213.454
19/06/2024 16:00 | 2578.343 | 2742.755 | 2413.931
19/06/2024 16:30 | 2788.479 | 2967.42 | 2609.538
19/06/2024 17:00 | 2979.479 | 3171.883 | 2787.074
19/06/2024 17:30 | 3064.09 | 3263.199 | 2864.981
19/06/2024 18:00 | 3038.425 | 3237.097 | 2839.753
19/06/2024 18:30 | 2971.66 | 3167.17 | 2776.15
19/06/2024 19:00 | 2890.941 | 3082.311 | 2699.571
19/06/2024 19:30 | 2818.093 | 3005.781 | 2630.404
19/06/2024 20:00 | 2714.827 | 2896.738 | 2532.916
19/06/2024 20:30 | 2596.361 | 2771.386 | 2421.337
19/06/2024 21:00 | 2466.147 | 2633.393 | 2298.902
19/06/2024 21:30 | 2326.917 | 2485.662 | 2168.171
19/06/2024 22:00 | 2194.573 | 2345.178 | 2043.967
19/06/2024 22:30 | 2087.385 | 2231.48 | 1943.29
19/06/2024 23:00 | 2007.074 | 2146.438 | 1867.71
19/06/2024 23:30 | 1948.159 | 2084.221 | 1812.097
20/06/2024 00:00 | 1901.625 | 2035.207 | 1768.043
20/06/2024 00:30 | 1868.302 | 2000.3 | 1736.304
20/06/2024 01:00 | 1847.768 | 1979.064 | 1716.473
20/06/2024 01:30 | 1831.271 | 1962.135 | 1700.406
20/06/2024 02:00 | 1824.636 | 1955.766 | 1693.506
20/06/2024 02:30 | 1827.938 | 1960.045 | 1695.83
20/06/2024 03:00 | 1833.932 | 1967.215 | 1700.649
20/06/2024 03:30 | 1853.01 | 1988.431 | 1717.59
20/06/2024 04:00 | 1902.012 | 2041.784 | 1762.241
20/06/2024 04:30 | 1988.96 | 2135.927 | 1841.993
20/06/2024 05:00 | 2104.402 | 2260.751 | 1948.053
20/06/2024 05:30 | 2271.362 | 2441.035 | 2101.688
20/06/2024 06:00 | 2487.138 | 2673.938 | 2300.339
20/06/2024 06:30 | 2674.269 | 2876.206 | 2472.332
20/06/2024 07:00 | 2783.924 | 2995.268 | 2572.579
20/06/2024 07:30 | 2738.541 | 2947.55 | 2529.533