## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
10/06/2024 08:00 | 2287.52 | 2319.836 | 2255.205
10/06/2024 08:30 | 2180.038 | 2217.316 | 2142.76 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
10/06/2024 09:00 | 2055.703 | 2096.966 | 2014.44 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
10/06/2024 09:30 | 1966.478 | 2011.796 | 1921.16 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
10/06/2024 10:00 | 1930.688 | 1980.92 | 1880.456 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
10/06/2024 10:30 | 1928.555 | 1983.085 | 1874.025 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
10/06/2024 11:00 | 1965.49 | 2022.718 | 1908.262 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
10/06/2024 11:30 | 2024.536 | 2085.433 | 1963.639 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
10/06/2024 12:00 | 2079.192 | 2143.735 | 2014.649 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
10/06/2024 12:30 | 2110.354 | 2177.897 | 2042.811 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
10/06/2024 13:00 | 2169.661 | 2241.192 | 2091.018 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
10/06/2024 13:30 | 2228.908 | 2300.546 | 2149.547
10/06/2024 14:00 | 2301.996 | 2379.619 | 2219.146 | Summary view - for each schedule horizon (dispatch, week-ahead)
10/06/2024 14:30 | 2362.07 | 2444.672 | 2275.419
10/06/2024 15:00 | 2429.518 | 2517.119 | 2338.336 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
10/06/2024 15:30 | 2520.715 | 2614.285 | 2423.921 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
10/06/2024 16:00 | 2641.036 | 2741.511 | 2536.984 | Scenario | Violations
10/06/2024 16:30 | 2781.561 | 2889.667 | 2668.932 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
10/06/2024 17:00 | 2910.734 | 3026.28 | 2789.723 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
10/06/2024 17:30 | 2942.921 | 3062.377 | 2817.557 | Reference Scenario | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 4 | 4 | 0 | 2
10/06/2024 18:00 | 2888.347 | 3008.935 | 2763.05 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
10/06/2024 18:30 | 2812.962 | 2933.592 | 2689.767 | Low Demand Scenario | 0 | 0 | 0 | 0 | 6 | 6 | 0 | 0 | 8 | 8 | 0 | 4
10/06/2024 19:00 | 2735.806 | 2855.404 | 2616.208
10/06/2024 19:30 | 2659.33 | 2776.626 | 2542.034 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
10/06/2024 20:00 | 2565.535 | 2679.698 | 2451.372
10/06/2024 20:30 | 2466.224 | 2576.933 | 2355.515 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
10/06/2024 21:00 | 2363.181 | 2470.189 | 2256.172 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
10/06/2024 21:30 | 2251.625 | 2354.463 | 2148.787 | [5 empty] | 16/06/2024 11:30 | 16/06/2024 12:00 |  |  | 16/06/2024 11:00 | 16/06/2024 11:00 |  | 11/06/2024 10:00 | [11 empty] | 11/06/2024 10:00 |  |  |  |  | 16/06/2024 10:30 | 16/06/2024 10:30 |  |  | 16/06/2024 10:00 | 16/06/2024 10:00 |  | 11/06/2024 10:00
10/06/2024 22:00 | 2143.434 | 2242.169 | 2044.698 | [5 empty] | 16/06/2024 12:00 |  |  |  | 16/06/2024 11:30 | 16/06/2024 11:30 |  | 12/06/2024 10:00 | [11 empty] | 12/06/2024 10:00 |  |  |  |  | 16/06/2024 11:00 | 16/06/2024 11:00 |  |  | 16/06/2024 10:30 | 16/06/2024 10:30 |  | 12/06/2024 10:00
10/06/2024 22:30 | 2056.24 | 2151.764 | 1960.716 | [9 empty] | 16/06/2024 12:00 | 16/06/2024 12:00 | [18 empty] | 16/06/2024 11:30 | 16/06/2024 11:30 |  |  | 16/06/2024 11:00 | 16/06/2024 11:00 |  | 16/06/2024 12:00
10/06/2024 23:00 | 1985.947 | 2078.982 | 1892.911 | [9 empty] | 16/06/2024 12:30 | 16/06/2024 12:30 | [18 empty] | 16/06/2024 12:00 | 16/06/2024 12:00 |  |  | 16/06/2024 11:30 | 16/06/2024 11:30 |  | 16/06/2024 12:30
10/06/2024 23:30 | 1927.082 | 2018.114 | 1836.05 | [29 empty] | 16/06/2024 12:30 | 16/06/2024 12:30 |  |  | 16/06/2024 12:00 | 16/06/2024 12:00
11/06/2024 00:00 | 1877.678 | 1967.111 | 1788.245 | [29 empty] | 16/06/2024 13:00 | 16/06/2024 13:00 |  |  | 16/06/2024 12:30 | 16/06/2024 12:30
11/06/2024 00:30 | 1844.125 | 1932.682 | 1755.568 | [33 empty] | 16/06/2024 13:00 | 16/06/2024 13:00
11/06/2024 01:00 | 1824.654 | 1912.99 | 1736.318 | [33 empty] | 16/06/2024 13:30 | 16/06/2024 13:30
11/06/2024 01:30 | 1810.756 | 1899.128 | 1722.384
11/06/2024 02:00 | 1803.996 | 1892.745 | 1715.248
11/06/2024 02:30 | 1803.678 | 1893.117 | 1714.24
11/06/2024 03:00 | 1806.027 | 1896.289 | 1715.765
11/06/2024 03:30 | 1819.52 | 1911.168 | 1727.871
11/06/2024 04:00 | 1860.264 | 1954.693 | 1765.835
11/06/2024 04:30 | 1935.864 | 2034.888 | 1836.84
11/06/2024 05:00 | 2041.112 | 2146.319 | 1935.905
11/06/2024 05:30 | 2192.8 | 2306.684 | 2078.917
11/06/2024 06:00 | 2377.06 | 2501.444 | 2252.677
11/06/2024 06:30 | 2527.203 | 2660.228 | 2394.177
11/06/2024 07:00 | 2607.268 | 2744.902 | 2469.633
11/06/2024 07:30 | 2564.683 | 2700.493 | 2428.873
11/06/2024 08:00 | 2480.719 | 2612.493 | 2348.946
11/06/2024 08:30 | 2385.25 | 2512.347 | 2258.155
11/06/2024 09:00 | 2281.957 | 2403.926 | 2159.988
11/06/2024 09:30 | 2214.903 | 2333.654 | 2096.152
11/06/2024 10:00 | 2142.434 | 2257.653 | 2027.215
11/06/2024 10:30 | 2092.38 | 2205.252 | 1979.507
11/06/2024 11:00 | 2034.202 | 2144.271 | 1924.132
11/06/2024 11:30 | 1932.789 | 2037.69 | 1827.887
11/06/2024 12:00 | 1862.44 | 1963.831 | 1761.049
11/06/2024 12:30 | 1844.064 | 1944.759 | 1743.369
11/06/2024 13:00 | 1877.463 | 1980.292 | 1774.635
11/06/2024 13:30 | 1992.375 | 2101.827 | 1882.924
11/06/2024 14:00 | 2109.633 | 2225.874 | 1993.391
11/06/2024 14:30 | 2201.035 | 2322.676 | 2079.394
11/06/2024 15:00 | 2319.589 | 2448.164 | 2191.013
11/06/2024 15:30 | 2451.916 | 2588.232 | 2315.601
11/06/2024 16:00 | 2589.934 | 2734.35 | 2445.518
11/06/2024 16:30 | 2754.906 | 2908.977 | 2600.836
11/06/2024 17:00 | 2892.973 | 3055.242 | 2730.704
11/06/2024 17:30 | 2934.455 | 3099.535 | 2769.374
11/06/2024 18:00 | 2884.731 | 3047.49 | 2721.971
11/06/2024 18:30 | 2810.143 | 2969.158 | 2651.127
11/06/2024 19:00 | 2737.34 | 2892.687 | 2581.992
11/06/2024 19:30 | 2665.713 | 2817.436 | 2513.99
11/06/2024 20:00 | 2574.375 | 2721.323 | 2428.273
11/06/2024 20:30 | 2476.792 | 2618.581 | 2335.821
11/06/2024 21:00 | 2369.883 | 2505.942 | 2234.605
11/06/2024 21:30 | 2253.355 | 2382.351 | 2124.357
11/06/2024 22:00 | 2140.639 | 2263.535 | 2017.74
11/06/2024 22:30 | 2049.997 | 2168.028 | 1931.964
11/06/2024 23:00 | 1980.286 | 2094.631 | 1865.94
11/06/2024 23:30 | 1926.589 | 2026.395 | 1826.781
12/06/2024 00:00 | 1881.705 | 1956.623 | 1806.785
12/06/2024 00:30 | 1847.905 | 1923.316 | 1772.491
12/06/2024 01:00 | 1825.496 | 1899.931 | 1751.06
12/06/2024 01:30 | 1811.943 | 1885.763 | 1738.122
12/06/2024 02:00 | 1806.026 | 1879.543 | 1732.508
12/06/2024 02:30 | 1805.751 | 1879.196 | 1732.307
12/06/2024 03:00 | 1809.717 | 1883.26 | 1736.173
12/06/2024 03:30 | 1825.634 | 1899.762 | 1751.507
12/06/2024 04:00 | 1869.251 | 1945.085 | 1793.416
12/06/2024 04:30 | 1946.077 | 2024.961 | 1867.192
12/06/2024 05:00 | 2054.045 | 2137.235 | 1970.854
12/06/2024 05:30 | 2207.52 | 2296.85 | 2118.189
12/06/2024 06:00 | 2388.569 | 2485.144 | 2291.994
12/06/2024 06:30 | 2540.027 | 2642.638 | 2437.416
12/06/2024 07:00 | 2612.226 | 2717.665 | 2506.788
12/06/2024 07:30 | 2561.175 | 2664.561 | 2457.79
12/06/2024 08:00 | 2446.671 | 2545.623 | 2347.719
12/06/2024 08:30 | 2305.531 | 2398.938 | 2212.125
12/06/2024 09:00 | 2205.802 | 2295.324 | 2116.28
12/06/2024 09:30 | 2141.632 | 2228.701 | 2054.563
12/06/2024 10:00 | 2083.409 | 2168.258 | 1998.56
12/06/2024 10:30 | 2049.971 | 2133.603 | 1966.338
12/06/2024 11:00 | 2054.909 | 2138.888 | 1970.93
12/06/2024 11:30 | 2084.737 | 2170.082 | 1999.392
12/06/2024 12:00 | 2072.881 | 2157.887 | 1987.875
12/06/2024 12:30 | 2010.723 | 2093.322 | 1928.123
12/06/2024 13:00 | 1991.949 | 2073.918 | 1909.98
12/06/2024 13:30 | 2029.502 | 2113.159 | 1945.844
12/06/2024 14:00 | 2110.808 | 2197.966 | 2023.65
12/06/2024 14:30 | 2238.961 | 2331.569 | 2146.353
12/06/2024 15:00 | 2367.042 | 2465.115 | 2268.969
12/06/2024 15:30 | 2498.648 | 2602.35 | 2394.946
12/06/2024 16:00 | 2630.931 | 2740.31 | 2521.553
12/06/2024 16:30 | 2786.891 | 2902.95 | 2670.832
12/06/2024 17:00 | 2921.13 | 3042.986 | 2799.274
12/06/2024 17:30 | 2956.593 | 3080.137 | 2833.048
12/06/2024 18:00 | 2908.115 | 3029.839 | 2786.391
12/06/2024 18:30 | 2835.368 | 2954.247 | 2716.488
12/06/2024 19:00 | 2757.772 | 2873.594 | 2641.951
12/06/2024 19:30 | 2686.827 | 2799.859 | 2573.796
12/06/2024 20:00 | 2591.773 | 2700.989 | 2482.558
12/06/2024 20:30 | 2490.466 | 2595.589 | 2385.344
12/06/2024 21:00 | 2382.91 | 2483.661 | 2282.159
12/06/2024 21:30 | 2266.627 | 2362.622 | 2170.633
12/06/2024 22:00 | 2155.342 | 2246.776 | 2063.908
12/06/2024 22:30 | 2064.34 | 2152.059 | 1976.62
12/06/2024 23:00 | 1995.164 | 2080.085 | 1910.244
12/06/2024 23:30 | 1941.951 | 2024.744 | 1859.158
13/06/2024 00:00 | 1898.765 | 1979.851 | 1817.679
13/06/2024 00:30 | 1866.615 | 1946.46 | 1786.77
13/06/2024 01:00 | 1847.306 | 1926.455 | 1768.156
13/06/2024 01:30 | 1833.692 | 1912.388 | 1754.997
13/06/2024 02:00 | 1827.613 | 1906.177 | 1749.049
13/06/2024 02:30 | 1829.631 | 1908.411 | 1750.851
13/06/2024 03:00 | 1834.678 | 1913.805 | 1755.551
13/06/2024 03:30 | 1851.251 | 1931.224 | 1771.279
13/06/2024 04:00 | 1896.718 | 1978.789 | 1814.647
13/06/2024 04:30 | 1977.548 | 2063.256 | 1891.84
13/06/2024 05:00 | 2095.54 | 2186.509 | 2004.57
13/06/2024 05:30 | 2264.747 | 2363.223 | 2166.272
13/06/2024 06:00 | 2453.636 | 2560.498 | 2346.774
13/06/2024 06:30 | 2611.714 | 2725.645 | 2497.783
13/06/2024 07:00 | 2685.027 | 2802.346 | 2567.708
13/06/2024 07:30 | 2593.703 | 2707.215 | 2480.191
13/06/2024 08:00 | 2422.926 | 2529.135 | 2316.717
13/06/2024 08:30 | 2248.659 | 2347.388 | 2149.93
13/06/2024 09:00 | 2088.809 | 2180.667 | 1996.95
13/06/2024 09:30 | 1944.219 | 2029.856 | 1858.582
13/06/2024 10:00 | 1810.03 | 1889.885 | 1730.176
13/06/2024 10:30 | 1703.347 | 1778.615 | 1628.079
13/06/2024 11:00 | 1633.93 | 1706.246 | 1561.614
13/06/2024 11:30 | 1565.067 | 1634.446 | 1495.688
13/06/2024 12:00 | 1537.982 | 1606.269 | 1469.695
13/06/2024 12:30 | 1579.6 | 1649.846 | 1509.353
13/06/2024 13:00 | 1632.428 | 1705.14 | 1559.717
13/06/2024 13:30 | 1771.026 | 1850.035 | 1692.016
13/06/2024 14:00 | 1919.662 | 2005.438 | 1833.885
13/06/2024 14:30 | 2033.789 | 2124.808 | 1942.769
13/06/2024 15:00 | 2197.002 | 2295.481 | 2098.523
13/06/2024 15:30 | 2378.496 | 2485.279 | 2271.714
13/06/2024 16:00 | 2539.469 | 2653.657 | 2425.28
13/06/2024 16:30 | 2724.956 | 2847.677 | 2602.234
13/06/2024 17:00 | 2896.221 | 3026.861 | 2765.582
13/06/2024 17:30 | 2971.504 | 3105.75 | 2837.259
13/06/2024 18:00 | 2941.784 | 3074.895 | 2808.674
13/06/2024 18:30 | 2883.234 | 3013.9 | 2752.569
13/06/2024 19:00 | 2822.116 | 2950.21 | 2694.021
13/06/2024 19:30 | 2754.822 | 2880.057 | 2629.587
13/06/2024 20:00 | 2659.865 | 2780.971 | 2538.759
13/06/2024 20:30 | 2551.469 | 2667.82 | 2435.118
13/06/2024 21:00 | 2433.594 | 2544.741 | 2322.446
13/06/2024 21:30 | 2311.586 | 2417.325 | 2205.848
13/06/2024 22:00 | 2193.829 | 2294.336 | 2093.322
13/06/2024 22:30 | 2097.046 | 2193.267 | 2000.825
13/06/2024 23:00 | 2022.432 | 2115.372 | 1929.491
13/06/2024 23:30 | 1965.556 | 2078.484 | 1852.628
14/06/2024 00:00 | 1919.907 | 2073.903 | 1765.911
14/06/2024 00:30 | 1886.221 | 2034.264 | 1738.178
14/06/2024 01:00 | 1864.921 | 2011.699 | 1718.142
14/06/2024 01:30 | 1850.638 | 1996.697 | 1704.579
14/06/2024 02:00 | 1843.717 | 1989.633 | 1697.802
14/06/2024 02:30 | 1845.546 | 1992.009 | 1699.082
14/06/2024 03:00 | 1848.765 | 1995.889 | 1701.642
14/06/2024 03:30 | 1864.267 | 2013.031 | 1715.503
14/06/2024 04:00 | 1909.405 | 2062.188 | 1756.622
14/06/2024 04:30 | 1990.052 | 2149.723 | 1830.382
14/06/2024 05:00 | 2104.344 | 2273.646 | 1935.044
14/06/2024 05:30 | 2267.422 | 2450.338 | 2084.505
14/06/2024 06:00 | 2455.155 | 2653.752 | 2256.557
14/06/2024 06:30 | 2611.795 | 2823.634 | 2399.957
14/06/2024 07:00 | 2687.553 | 2906.124 | 2468.983
14/06/2024 07:30 | 2589.142 | 2800.25 | 2378.034
14/06/2024 08:00 | 2410.541 | 2607.545 | 2213.537
14/06/2024 08:30 | 2255.432 | 2440.192 | 2070.673
14/06/2024 09:00 | 2096.16 | 2268.274 | 1924.046
14/06/2024 09:30 | 1927.189 | 2085.798 | 1768.579
14/06/2024 10:00 | 1785.432 | 1932.717 | 1638.147
14/06/2024 10:30 | 1704.33 | 1845.251 | 1563.409
14/06/2024 11:00 | 1651.385 | 1788.245 | 1514.525
14/06/2024 11:30 | 1601.718 | 1734.769 | 1468.667
14/06/2024 12:00 | 1562.777 | 1692.893 | 1432.662
14/06/2024 12:30 | 1553.454 | 1683.091 | 1423.817
14/06/2024 13:00 | 1574.306 | 1705.985 | 1442.627
14/06/2024 13:30 | 1656.594 | 1795.473 | 1517.715
14/06/2024 14:00 | 1780.123 | 1929.699 | 1630.546
14/06/2024 14:30 | 1933.87 | 2096.736 | 1771.004
14/06/2024 15:00 | 2110.082 | 2288.193 | 1931.972
14/06/2024 15:30 | 2294.349 | 2488.453 | 2100.245
14/06/2024 16:00 | 2471.058 | 2680.586 | 2261.531
14/06/2024 16:30 | 2649.966 | 2875.171 | 2424.761
14/06/2024 17:00 | 2800.787 | 3039.346 | 2562.227
14/06/2024 17:30 | 2856.603 | 3100.464 | 2612.742
14/06/2024 18:00 | 2823.39 | 3064.957 | 2581.823
14/06/2024 18:30 | 2765.934 | 3003.115 | 2528.753
14/06/2024 19:00 | 2706.697 | 2939.317 | 2474.076
14/06/2024 19:30 | 2647.241 | 2875.26 | 2419.223
14/06/2024 20:00 | 2569.171 | 2790.957 | 2347.385
14/06/2024 20:30 | 2485.857 | 2700.927 | 2270.787
14/06/2024 21:00 | 2393.656 | 2601.208 | 2186.104
14/06/2024 21:30 | 2291.771 | 2490.927 | 2092.614
14/06/2024 22:00 | 2188.294 | 2378.878 | 1997.71
14/06/2024 22:30 | 2099.727 | 2283 | 1916.454
14/06/2024 23:00 | 2026.138 | 2203.376 | 1848.9
14/06/2024 23:30 | 1968.692 | 2143.619 | 1793.766
15/06/2024 00:00 | 1920.685 | 2096.132 | 1745.238
15/06/2024 00:30 | 1883.991 | 2055.785 | 1712.198
15/06/2024 01:00 | 1860.109 | 2029.82 | 1690.399
15/06/2024 01:30 | 1841.228 | 2009.31 | 1673.146
15/06/2024 02:00 | 1830.796 | 1998.018 | 1663.573
15/06/2024 02:30 | 1826.1 | 1992.987 | 1659.213
15/06/2024 03:00 | 1823.453 | 1990.191 | 1656.715
15/06/2024 03:30 | 1828.509 | 1995.802 | 1661.215
15/06/2024 04:00 | 1848.18 | 2017.368 | 1678.993
15/06/2024 04:30 | 1885.262 | 2057.94 | 1712.583
15/06/2024 05:00 | 1938.003 | 2115.611 | 1760.395
15/06/2024 05:30 | 2016.393 | 2201.287 | 1831.498
15/06/2024 06:00 | 2115.218 | 2309.282 | 1921.154
15/06/2024 06:30 | 2207.683 | 2410.343 | 2005.023
15/06/2024 07:00 | 2271.738 | 2480.394 | 2063.082
15/06/2024 07:30 | 2238.432 | 2444.143 | 2032.721
15/06/2024 08:00 | 2118.452 | 2313.245 | 1923.659
15/06/2024 08:30 | 1983.209 | 2165.668 | 1800.751
15/06/2024 09:00 | 1853.77 | 2024.414 | 1683.125
15/06/2024 09:30 | 1729.924 | 1889.256 | 1570.592
15/06/2024 10:00 | 1620.507 | 1769.844 | 1471.17
15/06/2024 10:30 | 1556.505 | 1700.024 | 1412.987
15/06/2024 11:00 | 1512.415 | 1651.945 | 1372.885
15/06/2024 11:30 | 1472.522 | 1608.447 | 1336.597
15/06/2024 12:00 | 1430.276 | 1562.374 | 1298.178
15/06/2024 12:30 | 1379.827 | 1507.336 | 1252.318
15/06/2024 13:00 | 1371.633 | 1498.455 | 1244.811
15/06/2024 13:30 | 1448.499 | 1582.501 | 1314.496
15/06/2024 14:00 | 1590.331 | 1737.536 | 1443.126
15/06/2024 14:30 | 1777.817 | 1942.466 | 1613.167
15/06/2024 15:00 | 1964.063 | 2146.062 | 1782.064
15/06/2024 15:30 | 2123.899 | 2320.817 | 1926.981
15/06/2024 16:00 | 2306.688 | 2520.671 | 2092.705
15/06/2024 16:30 | 2492.967 | 2724.358 | 2261.577
15/06/2024 17:00 | 2636.055 | 2880.861 | 2391.249
15/06/2024 17:30 | 2694.714 | 2945.105 | 2444.323
15/06/2024 18:00 | 2656.271 | 2903.225 | 2409.317
15/06/2024 18:30 | 2605.895 | 2848.298 | 2363.491
15/06/2024 19:00 | 2560.027 | 2798.295 | 2321.76
15/06/2024 19:30 | 2506.195 | 2739.58 | 2272.81
15/06/2024 20:00 | 2439.832 | 2667.161 | 2212.503
15/06/2024 20:30 | 2379.094 | 2600.885 | 2157.303
15/06/2024 21:00 | 2311.334 | 2526.926 | 2095.742
15/06/2024 21:30 | 2225.512 | 2433.213 | 2017.812
15/06/2024 22:00 | 2134.961 | 2334.32 | 1935.603
15/06/2024 22:30 | 2053.572 | 2245.435 | 1861.708
15/06/2024 23:00 | 1985.529 | 2171.136 | 1799.922
15/06/2024 23:30 | 1930.337 | 2110.884 | 1749.791
16/06/2024 00:00 | 1882.546 | 2058.718 | 1706.373
16/06/2024 00:30 | 1845.851 | 2018.684 | 1673.019
16/06/2024 01:00 | 1821.654 | 1992.314 | 1650.994
16/06/2024 01:30 | 1804.032 | 1973.133 | 1634.931
16/06/2024 02:00 | 1794.017 | 1962.271 | 1625.764
16/06/2024 02:30 | 1787.919 | 1955.692 | 1620.146
16/06/2024 03:00 | 1783.271 | 1950.698 | 1615.843
16/06/2024 03:30 | 1785.839 | 1953.599 | 1618.079
16/06/2024 04:00 | 1800.153 | 1969.349 | 1630.957
16/06/2024 04:30 | 1825.967 | 1997.682 | 1654.251
16/06/2024 05:00 | 1862.253 | 2037.476 | 1687.03
16/06/2024 05:30 | 1917.916 | 2098.474 | 1737.358
16/06/2024 06:00 | 1987.072 | 2174.242 | 1799.902
16/06/2024 06:30 | 2056.195 | 2249.98 | 1862.409
16/06/2024 07:00 | 2104.96 | 2303.449 | 1906.471
16/06/2024 07:30 | 2060.661 | 2255.369 | 1865.954
16/06/2024 08:00 | 1931.609 | 2115.033 | 1748.184
16/06/2024 08:30 | 1791.745 | 1962.69 | 1620.8
16/06/2024 09:00 | 1665.018 | 1824.617 | 1505.419
16/06/2024 09:30 | 1545.885 | 1694.756 | 1397.013
16/06/2024 10:00 | 1434.176 | 1572.931 | 1295.42
16/06/2024 10:30 | 1354.82 | 1486.504 | 1223.136
16/06/2024 11:00 | 1302.737 | 1429.942 | 1175.532
16/06/2024 11:30 | 1269.838 | 1394.398 | 1145.277
16/06/2024 12:00 | 1252.511 | 1375.932 | 1129.089
16/06/2024 12:30 | 1295.049 | 1423.241 | 1166.856
16/06/2024 13:00 | 1350.781 | 1485.095 | 1216.468
16/06/2024 13:30 | 1459.6 | 1605.387 | 1313.813
16/06/2024 14:00 | 1615.266 | 1777.324 | 1453.208
16/06/2024 14:30 | 1747.323 | 1923.412 | 1571.234
16/06/2024 15:00 | 1908.496 | 2101.681 | 1715.31
16/06/2024 15:30 | 2105.203 | 2319.242 | 1891.164
16/06/2024 16:00 | 2309.534 | 2545.381 | 2073.687
16/06/2024 16:30 | 2505.39 | 2762.359 | 2248.421
16/06/2024 17:00 | 2661.94 | 2936.157 | 2387.724
16/06/2024 17:30 | 2728.645 | 3010.954 | 2446.336
16/06/2024 18:00 | 2690.492 | 2970.057 | 2410.926
16/06/2024 18:30 | 2635.863 | 2910.932 | 2360.794
16/06/2024 19:00 | 2588.918 | 2860.246 | 2317.59
16/06/2024 19:30 | 2528.271 | 2794.375 | 2262.168
16/06/2024 20:00 | 2447.316 | 2705.994 | 2188.638
16/06/2024 20:30 | 2366.936 | 2618.177 | 2115.695
16/06/2024 21:00 | 2277.954 | 2520.77 | 2035.139
16/06/2024 21:30 | 2176.4 | 2409.365 | 1943.436
16/06/2024 22:00 | 2076.555 | 2299.761 | 1853.349
16/06/2024 22:30 | 1997.388 | 2212.978 | 1781.798
16/06/2024 23:00 | 1935.49 | 2145.265 | 1725.715
16/06/2024 23:30 | 1858.774 | 2062.274 | 1655.273
17/06/2024 00:00 | 1788.421 | 1987.252 | 1589.591
17/06/2024 00:30 | 1752.763 | 1948.01 | 1557.516
17/06/2024 01:00 | 1739.241 | 1933.565 | 1544.917
17/06/2024 01:30 | 1729.569 | 1923.392 | 1535.746
17/06/2024 02:00 | 1725.623 | 1919.583 | 1531.663
17/06/2024 02:30 | 1727.449 | 1922.193 | 1532.705
17/06/2024 03:00 | 1731.596 | 1927.388 | 1535.804
17/06/2024 03:30 | 1749.819 | 1948.259 | 1551.38
17/06/2024 04:00 | 1796.522 | 2000.861 | 1592.184
17/06/2024 04:30 | 1880.051 | 2094.521 | 1665.582
17/06/2024 05:00 | 1987.497 | 2214.889 | 1760.104
17/06/2024 05:30 | 2136.576 | 2381.741 | 1891.411
17/06/2024 06:00 | 2325.991 | 2593.671 | 2058.311
17/06/2024 06:30 | 2482.51 | 2769.035 | 2195.985
17/06/2024 07:00 | 2563.878 | 2860.654 | 2267.103
17/06/2024 07:30 | 2502.775 | 2793.317 | 2212.232