## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
12/06/2024 08:00 | 2443.416 | 2477.934 | 2408.898
12/06/2024 08:30 | 2331.61 | 2371.479 | 2291.74 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
12/06/2024 09:00 | 2208.821 | 2253.157 | 2164.485 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
12/06/2024 09:30 | 2097.831 | 2146.176 | 2049.486 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
12/06/2024 10:00 | 1990.402 | 2042.188 | 1938.616 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
12/06/2024 10:30 | 1875.2 | 1928.222 | 1822.179 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
12/06/2024 11:00 | 1774.234 | 1825.893 | 1722.575 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
12/06/2024 11:30 | 1685.321 | 1736.014 | 1634.627 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
12/06/2024 12:00 | 1609.214 | 1659.168 | 1559.26 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
12/06/2024 12:30 | 1596.658 | 1653.764 | 1551.188 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
12/06/2024 13:00 | 1614.308 | 1672.76 | 1565.983 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
12/06/2024 13:30 | 1667.88 | 1728.282 | 1614.844
12/06/2024 14:00 | 1758.404 | 1822.704 | 1699.787 | Summary view - for each schedule horizon (dispatch, week-ahead)
12/06/2024 14:30 | 1898.11 | 1968.474 | 1832.19
12/06/2024 15:00 | 2070.476 | 2148.916 | 1996.286 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
12/06/2024 15:30 | 2247.403 | 2334.279 | 2164.304 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
12/06/2024 16:00 | 2405.058 | 2499.991 | 2313.482 | Scenario | Violations
12/06/2024 16:30 | 2594.148 | 2698.879 | 2492.719 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
12/06/2024 17:00 | 2755.682 | 2869.026 | 2644.761 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
12/06/2024 17:30 | 2826.38 | 2944.78 | 2709.361 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
12/06/2024 18:00 | 2824.106 | 2944.862 | 2704.214 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 1
12/06/2024 18:30 | 2776.198 | 2897.084 | 2656.293 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
12/06/2024 19:00 | 2704.816 | 2823.741 | 2587.197
12/06/2024 19:30 | 2638.008 | 2754.986 | 2522.222 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
12/06/2024 20:00 | 2546.898 | 2660.232 | 2433.565
12/06/2024 20:30 | 2450.563 | 2560.569 | 2340.557 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
12/06/2024 21:00 | 2346.632 | 2452.891 | 2240.373 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
12/06/2024 21:30 | 2232.343 | 2334.3 | 2130.385 | [12 empty] | 13/06/2024 10:00 | [6 empty] | 14/06/2024 10:00 |  |  |  |  | 13/06/2024 10:00 | [11 empty] | 13/06/2024 10:00
12/06/2024 22:00 | 2121.177 | 2218.888 | 2023.467 | [19 empty] | 14/06/2024 10:30 | [16 empty] | 16/06/2024 01:00
12/06/2024 22:30 | 2029.701 | 2123.992 | 1935.41 | [19 empty] | 14/06/2024 11:00
12/06/2024 23:00 | 1960.588 | 2052.436 | 1868.74 | [19 empty] | 14/06/2024 11:30
12/06/2024 23:30 | 1907.121 | 1991.981 | 1822.261
13/06/2024 00:00 | 1863.637 | 1937.024 | 1790.25
13/06/2024 00:30 | 1832.036 | 1905.327 | 1758.746
13/06/2024 01:00 | 1813.615 | 1886.479 | 1740.751
13/06/2024 01:30 | 1801.304 | 1873.983 | 1728.626
13/06/2024 02:00 | 1796.02 | 1868.794 | 1723.247
13/06/2024 02:30 | 1797.656 | 1870.804 | 1724.508
13/06/2024 03:00 | 1802.961 | 1876.634 | 1729.288
13/06/2024 03:30 | 1820.036 | 1894.719 | 1745.353
13/06/2024 04:00 | 1866.316 | 1943.218 | 1789.414
13/06/2024 04:30 | 1949.202 | 2029.854 | 1868.55
13/06/2024 05:00 | 2058.757 | 2144.295 | 1973.219
13/06/2024 05:30 | 2215.584 | 2308.019 | 2123.15
13/06/2024 06:00 | 2409.115 | 2510.037 | 2308.194
13/06/2024 06:30 | 2571.72 | 2679.706 | 2463.735
13/06/2024 07:00 | 2652.616 | 2763.874 | 2541.357
13/06/2024 07:30 | 2573.053 | 2680.886 | 2465.221
13/06/2024 08:00 | 2432.902 | 2534.778 | 2331.026
13/06/2024 08:30 | 2305.371 | 2401.828 | 2208.915
13/06/2024 09:00 | 2152.011 | 2241.977 | 2062.045
13/06/2024 09:30 | 1970.677 | 2052.995 | 1888.36
13/06/2024 10:00 | 1800.953 | 1876.119 | 1725.787
13/06/2024 10:30 | 1671.123 | 1740.813 | 1601.433
13/06/2024 11:00 | 1580.847 | 1646.718 | 1514.976
13/06/2024 11:30 | 1508.721 | 1571.535 | 1445.907
13/06/2024 12:00 | 1470.306 | 1531.47 | 1409.142
13/06/2024 12:30 | 1492.296 | 1554.324 | 1430.269
13/06/2024 13:00 | 1539.387 | 1603.319 | 1475.455
13/06/2024 13:30 | 1650.057 | 1718.529 | 1581.585
13/06/2024 14:00 | 1773.861 | 1847.41 | 1700.313
13/06/2024 14:30 | 1896.014 | 1974.562 | 1817.466
13/06/2024 15:00 | 2067.59 | 2153.175 | 1982.005
13/06/2024 15:30 | 2281.805 | 2376.178 | 2187.431
13/06/2024 16:00 | 2461.59 | 2563.315 | 2359.866
13/06/2024 16:30 | 2633.707 | 2742.454 | 2524.959
13/06/2024 17:00 | 2818.867 | 2935.163 | 2702.572
13/06/2024 17:30 | 2907.257 | 3027.099 | 2787.415
13/06/2024 18:00 | 2886.871 | 3005.774 | 2767.968
13/06/2024 18:30 | 2829.542 | 2945.987 | 2713.097
13/06/2024 19:00 | 2775.033 | 2889.139 | 2660.927
13/06/2024 19:30 | 2738.883 | 2851.408 | 2626.357
13/06/2024 20:00 | 2661.533 | 2770.79 | 2552.277
13/06/2024 20:30 | 2551.749 | 2656.722 | 2447.087
13/06/2024 21:00 | 2433.219 | 2533.218 | 2333.502
13/06/2024 21:30 | 2310.878 | 2405.755 | 2216.254
13/06/2024 22:00 | 2192.167 | 2282.083 | 2102.479
13/06/2024 22:30 | 2095.432 | 2181.295 | 2009.774
13/06/2024 23:00 | 2021.111 | 2103.847 | 1938.56
13/06/2024 23:30 | 1964.911 | 2045.266 | 1884.723
14/06/2024 00:00 | 1919.83 | 1998.265 | 1841.548
14/06/2024 00:30 | 1886.495 | 1963.498 | 1809.637
14/06/2024 01:00 | 1865.621 | 1941.705 | 1789.561
14/06/2024 01:30 | 1851.675 | 1927.127 | 1776.247
14/06/2024 02:00 | 1845.638 | 1920.78 | 1770.519
14/06/2024 02:30 | 1848.473 | 1923.666 | 1773.301
14/06/2024 03:00 | 1853.235 | 1928.558 | 1777.933
14/06/2024 03:30 | 1870.651 | 1946.618 | 1794.706
14/06/2024 04:00 | 1918.698 | 1996.55 | 1840.868
14/06/2024 04:30 | 2003.705 | 2084.925 | 1922.484
14/06/2024 05:00 | 2121.838 | 2207.774 | 2035.902
14/06/2024 05:30 | 2291.407 | 2384.132 | 2198.682
14/06/2024 06:00 | 2487.732 | 2588.316 | 2387.148
14/06/2024 06:30 | 2648.873 | 2755.882 | 2541.864
14/06/2024 07:00 | 2721.611 | 2831.465 | 2611.758
14/06/2024 07:30 | 2607.389 | 2712.64 | 2502.138
14/06/2024 08:00 | 2403.161 | 2500.354 | 2305.969
14/06/2024 08:30 | 2213.796 | 2303.486 | 2124.105
14/06/2024 09:00 | 2030.011 | 2112.399 | 1947.623
14/06/2024 09:30 | 1853.961 | 1929.335 | 1778.588
14/06/2024 10:00 | 1698.117 | 1767.275 | 1628.959
14/06/2024 10:30 | 1588.039 | 1652.826 | 1523.252
14/06/2024 11:00 | 1518.273 | 1580.321 | 1456.225
14/06/2024 11:30 | 1470.75 | 1530.959 | 1410.54
14/06/2024 12:00 | 1444.938 | 1504.193 | 1385.683
14/06/2024 12:30 | 1464.514 | 1524.675 | 1404.352
14/06/2024 13:00 | 1503.995 | 1565.885 | 1442.106
14/06/2024 13:30 | 1585.059 | 1650.397 | 1519.722
14/06/2024 14:00 | 1700.801 | 1771.03 | 1630.573
14/06/2024 14:30 | 1843.934 | 1920.203 | 1767.665
14/06/2024 15:00 | 2032.873 | 2117.1 | 1948.645
14/06/2024 15:30 | 2260.604 | 2354.427 | 2166.782
14/06/2024 16:00 | 2475.957 | 2578.893 | 2373.022
14/06/2024 16:30 | 2666.553 | 2777.601 | 2555.505
14/06/2024 17:00 | 2831.723 | 2949.85 | 2713.597
14/06/2024 17:30 | 2901.382 | 3022.619 | 2780.145
14/06/2024 18:00 | 2875.169 | 2995.514 | 2754.824
14/06/2024 18:30 | 2819.808 | 2938.035 | 2701.581
14/06/2024 19:00 | 2760.854 | 2876.805 | 2644.904
14/06/2024 19:30 | 2702.334 | 2816.018 | 2588.65
14/06/2024 20:00 | 2623.365 | 2733.912 | 2512.818
14/06/2024 20:30 | 2536.541 | 2643.608 | 2429.473
14/06/2024 21:00 | 2438.167 | 2541.254 | 2335.08
14/06/2024 21:30 | 2329.615 | 2428.277 | 2230.953
14/06/2024 22:00 | 2220.611 | 2314.814 | 2126.409
14/06/2024 22:30 | 2125.45 | 2215.766 | 2035.134
14/06/2024 23:00 | 2045.224 | 2132.276 | 1958.173
14/06/2024 23:30 | 1980.643 | 2087.436 | 1873.849
15/06/2024 00:00 | 1926.297 | 2073.463 | 1779.131
15/06/2024 00:30 | 1885.789 | 2026.696 | 1744.881
15/06/2024 01:00 | 1859.113 | 1998.471 | 1719.754
15/06/2024 01:30 | 1840.154 | 1978.531 | 1701.777
15/06/2024 02:00 | 1829.684 | 1967.71 | 1691.657
15/06/2024 02:30 | 1824.863 | 1962.962 | 1686.765
15/06/2024 03:00 | 1821.724 | 1960.021 | 1683.428
15/06/2024 03:30 | 1826.867 | 1965.99 | 1687.744
15/06/2024 04:00 | 1847.183 | 1988.294 | 1706.072
15/06/2024 04:30 | 1884.615 | 2029.036 | 1740.194
15/06/2024 05:00 | 1940.563 | 2089.735 | 1791.391
15/06/2024 05:30 | 2022.007 | 2177.923 | 1866.091
15/06/2024 06:00 | 2118.261 | 2282.105 | 1954.417
15/06/2024 06:30 | 2206.119 | 2377.286 | 2034.953
15/06/2024 07:00 | 2259.562 | 2435.415 | 2083.709
15/06/2024 07:30 | 2205.708 | 2377.897 | 2033.52
15/06/2024 08:00 | 2056.644 | 2217.687 | 1895.601
15/06/2024 08:30 | 1895.008 | 2043.847 | 1746.169
15/06/2024 09:00 | 1744.121 | 1881.525 | 1606.716
15/06/2024 09:30 | 1604.903 | 1731.723 | 1478.083
15/06/2024 10:00 | 1471.68 | 1588.325 | 1355.036
15/06/2024 10:30 | 1376.197 | 1485.602 | 1266.792
15/06/2024 11:00 | 1313.572 | 1418.312 | 1208.831
15/06/2024 11:30 | 1262.364 | 1363.323 | 1161.405
15/06/2024 12:00 | 1237.962 | 1337.265 | 1138.659
15/06/2024 12:30 | 1260.08 | 1361.458 | 1158.702
15/06/2024 13:00 | 1296.121 | 1400.708 | 1191.534
15/06/2024 13:30 | 1371.682 | 1482.694 | 1260.67
15/06/2024 14:00 | 1496.866 | 1618.367 | 1375.365
15/06/2024 14:30 | 1647.937 | 1782.094 | 1513.78
15/06/2024 15:00 | 1837.635 | 1987.674 | 1687.595
15/06/2024 15:30 | 2062.22 | 2231.089 | 1893.352
15/06/2024 16:00 | 2280.526 | 2467.816 | 2093.236
15/06/2024 16:30 | 2468.909 | 2672.259 | 2265.558
15/06/2024 17:00 | 2615.425 | 2831.468 | 2399.382
15/06/2024 17:30 | 2679.778 | 2901.777 | 2457.779
15/06/2024 18:00 | 2644.336 | 2864.031 | 2424.641
15/06/2024 18:30 | 2593.256 | 2809.326 | 2377.185
15/06/2024 19:00 | 2543.589 | 2756.128 | 2331.049
15/06/2024 19:30 | 2486.728 | 2695.11 | 2278.345
15/06/2024 20:00 | 2418.271 | 2621.495 | 2215.048
15/06/2024 20:30 | 2358.195 | 2556.934 | 2159.457
15/06/2024 21:00 | 2291.452 | 2485.113 | 2097.791
15/06/2024 21:30 | 2206.136 | 2393.114 | 2019.159
15/06/2024 22:00 | 2116.334 | 2296.206 | 1936.462
15/06/2024 22:30 | 2036.581 | 2210.161 | 1863.001
15/06/2024 23:00 | 1970.85 | 2139.299 | 1802.402
15/06/2024 23:30 | 1918.387 | 2082.81 | 1753.964
16/06/2024 00:00 | 1873.32 | 2034.328 | 1712.312
16/06/2024 00:30 | 1838.284 | 1996.719 | 1679.848
16/06/2024 01:00 | 1814.303 | 1971.105 | 1657.501
16/06/2024 01:30 | 1795.752 | 1951.38 | 1640.125
16/06/2024 02:00 | 1785.434 | 1940.594 | 1630.274
16/06/2024 02:30 | 1779.097 | 1934.131 | 1624.063
16/06/2024 03:00 | 1774.173 | 1929.202 | 1619.144
16/06/2024 03:30 | 1776.87 | 1932.559 | 1621.181
16/06/2024 04:00 | 1790.168 | 1947.45 | 1632.886
16/06/2024 04:30 | 1814.432 | 1974.279 | 1654.585
16/06/2024 05:00 | 1843.81 | 2006.685 | 1680.934
16/06/2024 05:30 | 1888.346 | 2055.607 | 1721.085
16/06/2024 06:00 | 1954.772 | 2128.384 | 1781.161
16/06/2024 06:30 | 2019.546 | 2199.393 | 1839.699
16/06/2024 07:00 | 2068.278 | 2252.958 | 1883.597
16/06/2024 07:30 | 2056.145 | 2240.096 | 1872.194
16/06/2024 08:00 | 1978.911 | 2156.031 | 1801.792
16/06/2024 08:30 | 1875.999 | 2044.003 | 1707.995
16/06/2024 09:00 | 1774.886 | 1933.926 | 1615.847
16/06/2024 09:30 | 1654.671 | 1803.023 | 1506.319
16/06/2024 10:00 | 1558.167 | 1697.946 | 1418.388
16/06/2024 10:30 | 1531.291 | 1668.738 | 1393.845
16/06/2024 11:00 | 1530.489 | 1667.942 | 1393.037
16/06/2024 11:30 | 1563.143 | 1703.607 | 1422.678
16/06/2024 12:00 | 1536.623 | 1674.783 | 1398.463
16/06/2024 12:30 | 1448.421 | 1578.724 | 1318.118
16/06/2024 13:00 | 1412.863 | 1540.04 | 1285.687
16/06/2024 13:30 | 1461.815 | 1593.473 | 1330.158
16/06/2024 14:00 | 1573.057 | 1714.813 | 1431.3
16/06/2024 14:30 | 1731.648 | 1887.785 | 1575.512
16/06/2024 15:00 | 1923.306 | 2096.822 | 1749.791
16/06/2024 15:30 | 2135.9 | 2328.704 | 1943.096
16/06/2024 16:00 | 2316.855 | 2526.111 | 2107.598
16/06/2024 16:30 | 2508.69 | 2735.401 | 2281.979
16/06/2024 17:00 | 2661.67 | 2902.342 | 2420.999
16/06/2024 17:30 | 2727.599 | 2974.371 | 2480.828
16/06/2024 18:00 | 2689.797 | 2933.286 | 2446.308
16/06/2024 18:30 | 2627.409 | 2865.384 | 2389.433
16/06/2024 19:00 | 2569.18 | 2802.012 | 2336.347
16/06/2024 19:30 | 2508.341 | 2735.787 | 2280.894
16/06/2024 20:00 | 2427.817 | 2648.086 | 2207.548
16/06/2024 20:30 | 2349.457 | 2562.736 | 2136.178
16/06/2024 21:00 | 2263.73 | 2469.343 | 2058.118
16/06/2024 21:30 | 2165.276 | 2362.057 | 1968.496
16/06/2024 22:00 | 2067.677 | 2255.693 | 1879.661
16/06/2024 22:30 | 1989.354 | 2170.35 | 1808.359
16/06/2024 23:00 | 1927.296 | 2102.744 | 1751.849
16/06/2024 23:30 | 1850.01 | 2016.321 | 1683.699
17/06/2024 00:00 | 1779.008 | 1934.934 | 1623.081
17/06/2024 00:30 | 1743.116 | 1896.599 | 1589.633
17/06/2024 01:00 | 1728.819 | 1881.375 | 1576.264
17/06/2024 01:30 | 1718.962 | 1870.977 | 1566.947
17/06/2024 02:00 | 1715.084 | 1867.084 | 1563.083
17/06/2024 02:30 | 1716.6 | 1869.064 | 1564.136
17/06/2024 03:00 | 1720.85 | 1874.022 | 1567.679
17/06/2024 03:30 | 1739.019 | 1894.141 | 1583.897
17/06/2024 04:00 | 1784.647 | 1944.182 | 1625.113
17/06/2024 04:30 | 1865.057 | 2032.136 | 1697.977
17/06/2024 05:00 | 1985.469 | 2163.716 | 1807.222
17/06/2024 05:30 | 2152.73 | 2346.406 | 1959.054
17/06/2024 06:00 | 2334.421 | 2544.89 | 2123.951
17/06/2024 06:30 | 2483.778 | 2708.189 | 2259.366
17/06/2024 07:00 | 2551.005 | 2781.979 | 2320.03
17/06/2024 07:30 | 2457.574 | 2680.56 | 2234.588
17/06/2024 08:00 | 2283.313 | 2490.925 | 2075.701
17/06/2024 08:30 | 2123.028 | 2316.473 | 1929.583
17/06/2024 09:00 | 1978.41 | 2159.057 | 1797.763
17/06/2024 09:30 | 1834.278 | 2002.116 | 1666.44
17/06/2024 10:00 | 1706.082 | 1862.517 | 1549.647
17/06/2024 10:30 | 1625.481 | 1774.837 | 1476.125
17/06/2024 11:00 | 1575.956 | 1721.063 | 1430.849
17/06/2024 11:30 | 1540.097 | 1682.198 | 1397.996
17/06/2024 12:00 | 1522.888 | 1663.693 | 1382.083
17/06/2024 12:30 | 1562.277 | 1707.023 | 1417.531
17/06/2024 13:00 | 1615.39 | 1765.367 | 1465.413
17/06/2024 13:30 | 1731.341 | 1892.415 | 1570.267
17/06/2024 14:00 | 1880.786 | 2056.124 | 1705.449
17/06/2024 14:30 | 2025.742 | 2214.981 | 1836.502
17/06/2024 15:00 | 2194.807 | 2400.261 | 1989.353
17/06/2024 15:30 | 2359.072 | 2580.354 | 2137.789
17/06/2024 16:00 | 2530.856 | 2768.737 | 2292.975
17/06/2024 16:30 | 2712.375 | 2967.837 | 2456.912
17/06/2024 17:00 | 2873.136 | 3144.29 | 2601.981
17/06/2024 17:30 | 2932.519 | 3209.84 | 2655.198
17/06/2024 18:00 | 2886.532 | 3160.057 | 2613.007
17/06/2024 18:30 | 2809.803 | 3076.596 | 2543.01
17/06/2024 19:00 | 2734.087 | 2994.214 | 2473.959
17/06/2024 19:30 | 2654.101 | 2907.127 | 2401.075
17/06/2024 20:00 | 2550.555 | 2794.199 | 2306.912
17/06/2024 20:30 | 2447.088 | 2681.317 | 2212.859
17/06/2024 21:00 | 2336.776 | 2560.894 | 2112.658
17/06/2024 21:30 | 2216.823 | 2429.862 | 2003.785
17/06/2024 22:00 | 2101.454 | 2303.808 | 1899.1
17/06/2024 22:30 | 2008.326 | 2202.098 | 1814.555
17/06/2024 23:00 | 1938.883 | 2126.326 | 1751.44
17/06/2024 23:30 | 1885.141 | 2039.729 | 1730.552
18/06/2024 00:00 | 1841.558 | 1938.653 | 1744.462
18/06/2024 00:30 | 1810.592 | 1910.82 | 1710.363
18/06/2024 01:00 | 1794.04 | 1893.531 | 1694.549
18/06/2024 01:30 | 1780.895 | 1879.835 | 1681.955
18/06/2024 02:00 | 1774.003 | 1872.737 | 1675.269
18/06/2024 02:30 | 1774.28 | 1873.207 | 1675.353
18/06/2024 03:00 | 1776.849 | 1876.096 | 1677.601
18/06/2024 03:30 | 1792.085 | 1892.363 | 1691.808
18/06/2024 04:00 | 1837.029 | 1940.004 | 1734.053
18/06/2024 04:30 | 1918.153 | 2025.868 | 1810.438
18/06/2024 05:00 | 2042.443 | 2157.341 | 1927.544
18/06/2024 05:30 | 2222.599 | 2347.854 | 2097.344
18/06/2024 06:00 | 2420.227 | 2556.862 | 2283.593
18/06/2024 06:30 | 2585.062 | 2731.26 | 2438.864
18/06/2024 07:00 | 2662.363 | 2813.199 | 2511.528
18/06/2024 07:30 | 2553.744 | 2698.958 | 2408.53
18/06/2024 08:00 | 2349.814 | 2484.427 | 2215.201
18/06/2024 08:30 | 2169.71 | 2294.885 | 2044.535
18/06/2024 09:00 | 2006.138 | 2122.688 | 1889.588
18/06/2024 09:30 | 1836.395 | 1943.827 | 1728.963
18/06/2024 10:00 | 1687.405 | 1786.804 | 1588.005
18/06/2024 10:30 | 1593.213 | 1687.71 | 1498.717
18/06/2024 11:00 | 1526.77 | 1617.944 | 1435.596
18/06/2024 11:30 | 1475.76 | 1564.485 | 1387.035
18/06/2024 12:00 | 1449.18 | 1536.895 | 1361.466
18/06/2024 12:30 | 1468.422 | 1557.896 | 1378.949
18/06/2024 13:00 | 1507.546 | 1600.014 | 1415.078
18/06/2024 13:30 | 1582.382 | 1680.081 | 1484.683
18/06/2024 14:00 | 1692.378 | 1797.554 | 1587.202
18/06/2024 14:30 | 1844.968 | 1960.374 | 1729.562
18/06/2024 15:00 | 2045.351 | 2174.119 | 1916.583
18/06/2024 15:30 | 2278.261 | 2422.615 | 2133.906
18/06/2024 16:00 | 2500.56 | 2660.012 | 2341.108
18/06/2024 16:30 | 2710.704 | 2884.655 | 2536.754
18/06/2024 17:00 | 2896.505 | 3083.551 | 2709.459
18/06/2024 17:30 | 2979.292 | 3172.89 | 2785.693
18/06/2024 18:00 | 2950.341 | 3143.253 | 2757.428
18/06/2024 18:30 | 2878.058 | 3067.41 | 2688.706
18/06/2024 19:00 | 2798.291 | 2983.528 | 2613.054
18/06/2024 19:30 | 2721.946 | 2903.231 | 2540.66
18/06/2024 20:00 | 2620.112 | 2795.677 | 2444.548
18/06/2024 20:30 | 2509.852 | 2679.045 | 2340.66
18/06/2024 21:00 | 2387.667 | 2549.59 | 2225.745
18/06/2024 21:30 | 2256.816 | 2410.78 | 2102.853
18/06/2024 22:00 | 2131.687 | 2277.977 | 1985.397
18/06/2024 22:30 | 2034.121 | 2174.539 | 1893.703
18/06/2024 23:00 | 1962.026 | 2098.262 | 1825.791
18/06/2024 23:30 | 1908.442 | 2041.73 | 1775.154
19/06/2024 00:00 | 1865.865 | 1996.936 | 1734.795
19/06/2024 00:30 | 1832.847 | 1962.34 | 1703.354
19/06/2024 01:00 | 1811.708 | 1940.441 | 1682.975
19/06/2024 01:30 | 1796.595 | 1924.982 | 1668.208
19/06/2024 02:00 | 1789.276 | 1917.865 | 1660.688
19/06/2024 02:30 | 1789.746 | 1919.093 | 1660.399
19/06/2024 03:00 | 1793.456 | 1923.797 | 1663.114
19/06/2024 03:30 | 1811.543 | 1943.933 | 1679.153
19/06/2024 04:00 | 1858.48 | 1995.053 | 1721.907
19/06/2024 04:30 | 1940.608 | 2084.001 | 1797.214
19/06/2024 05:00 | 2067.075 | 2220.651 | 1913.5
19/06/2024 05:30 | 2248.695 | 2416.675 | 2080.715
19/06/2024 06:00 | 2447.164 | 2630.961 | 2263.367
19/06/2024 06:30 | 2611.562 | 2808.763 | 2414.36
19/06/2024 07:00 | 2685.491 | 2889.363 | 2481.619
19/06/2024 07:30 | 2577.584 | 2774.308 | 2380.86