## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
17/06/2024 08:00 | 2465.06 | 2498.782 | 2431.337
17/06/2024 08:30 | 2361.684 | 2399.947 | 2323.42 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
17/06/2024 09:00 | 2248.021 | 2290.111 | 2205.93 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
17/06/2024 09:30 | 2085.178 | 2129.478 | 2040.878 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
17/06/2024 10:00 | 1943.487 | 1989.677 | 1897.297 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
17/06/2024 10:30 | 1800.241 | 1846.457 | 1754.026 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
17/06/2024 11:00 | 1679.601 | 1723.87 | 1635.333 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
17/06/2024 11:30 | 1597.084 | 1640.439 | 1553.729 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
17/06/2024 12:00 | 1540.539 | 1583.576 | 1497.502 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
17/06/2024 12:30 | 1562.655 | 1607.543 | 1517.766 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
17/06/2024 13:00 | 1608.909 | 1656.397 | 1561.421 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
17/06/2024 13:30 | 1685.465 | 1736.544 | 1634.386
17/06/2024 14:00 | 1788.935 | 1844.562 | 1733.307 | Summary view - for each schedule horizon (dispatch, week-ahead)
17/06/2024 14:30 | 1916.652 | 1978.804 | 1856.513
17/06/2024 15:00 | 2080.576 | 2149.53 | 2013.502 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
17/06/2024 15:30 | 2277.648 | 2354.271 | 2201.802 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
17/06/2024 16:00 | 2469.273 | 2554.023 | 2384.843 | Scenario | Violations
17/06/2024 16:30 | 2666.466 | 2760.218 | 2573.306 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
17/06/2024 17:00 | 2837.536 | 2939.084 | 2735.73 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
17/06/2024 17:30 | 2903.696 | 3009.697 | 2797.029 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
17/06/2024 18:00 | 2868.834 | 2976.056 | 2761.394 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17/06/2024 18:30 | 2798.478 | 2904.895 | 2692.291 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17/06/2024 19:00 | 2722.681 | 2826.465 | 2618.898
17/06/2024 19:30 | 2645.317 | 2746.605 | 2544.03 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
17/06/2024 20:00 | 2543.877 | 2641.717 | 2446.037
17/06/2024 20:30 | 2439.543 | 2533.789 | 2345.297 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
17/06/2024 21:00 | 2327.099 | 2417.399 | 2236.798 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
17/06/2024 21:30 | 2206.969 | 2292.987 | 2120.951 | [12 empty] | 23/06/2024 10:00
17/06/2024 22:00 | 2092.229 | 2174.134 | 2010.325 | [12 empty] | 23/06/2024 10:30
17/06/2024 22:30 | 1999.749 | 2078.377 | 1921.122
17/06/2024 23:00 | 1930.192 | 2006.415 | 1853.968
17/06/2024 23:30 | 1876.501 | 1950.926 | 1802.076
18/06/2024 00:00 | 1832.553 | 1905.549 | 1759.557
18/06/2024 00:30 | 1801.021 | 1873.07 | 1728.971
18/06/2024 01:00 | 1783.25 | 1854.894 | 1711.606
18/06/2024 01:30 | 1769.831 | 1841.239 | 1698.422
18/06/2024 02:00 | 1764.269 | 1835.756 | 1692.782
18/06/2024 02:30 | 1766.003 | 1837.864 | 1694.143
18/06/2024 03:00 | 1770.395 | 1842.737 | 1698.053
18/06/2024 03:30 | 1786.644 | 1859.957 | 1713.331
18/06/2024 04:00 | 1830.905 | 1906.348 | 1755.462
18/06/2024 04:30 | 1912.891 | 1992.04 | 1833.741
18/06/2024 05:00 | 2033.24 | 2117.718 | 1948.762
18/06/2024 05:30 | 2203.748 | 2295.688 | 2111.808
18/06/2024 06:00 | 2403.531 | 2504.219 | 2302.844
18/06/2024 06:30 | 2572.478 | 2680.495 | 2464.46
18/06/2024 07:00 | 2657.177 | 2768.627 | 2545.728
18/06/2024 07:30 | 2580.967 | 2689.131 | 2472.802
18/06/2024 08:00 | 2417.294 | 2518.516 | 2316.072
18/06/2024 08:30 | 2255.577 | 2349.95 | 2161.204
18/06/2024 09:00 | 2109.998 | 2198.208 | 2021.788
18/06/2024 09:30 | 1980.158 | 2062.872 | 1897.445
18/06/2024 10:00 | 1861.953 | 1939.665 | 1784.241
18/06/2024 10:30 | 1754.383 | 1827.545 | 1681.221
18/06/2024 11:00 | 1703.42 | 1774.399 | 1632.442
18/06/2024 11:30 | 1719.286 | 1790.867 | 1647.706
18/06/2024 12:00 | 1720.273 | 1791.836 | 1648.711
18/06/2024 12:30 | 1678.508 | 1748.276 | 1608.741
18/06/2024 13:00 | 1662.673 | 1731.725 | 1593.621
18/06/2024 13:30 | 1682.862 | 1752.694 | 1613.029
18/06/2024 14:00 | 1757.627 | 1830.502 | 1684.752
18/06/2024 14:30 | 1921.28 | 2000.875 | 1841.686
18/06/2024 15:00 | 2111.134 | 2198.521 | 2023.747
18/06/2024 15:30 | 2304.502 | 2399.814 | 2209.19
18/06/2024 16:00 | 2495.306 | 2598.424 | 2392.188
18/06/2024 16:30 | 2703.017 | 2814.625 | 2591.408
18/06/2024 17:00 | 2883.66 | 3002.629 | 2764.691
18/06/2024 17:30 | 2962.833 | 3084.966 | 2840.699
18/06/2024 18:00 | 2936.086 | 3057.017 | 2815.156
18/06/2024 18:30 | 2870.843 | 2988.987 | 2752.698
18/06/2024 19:00 | 2798.417 | 2913.484 | 2683.349
18/06/2024 19:30 | 2723.937 | 2836.361 | 2612.025
18/06/2024 20:00 | 2624.808 | 2733.041 | 2517.059
18/06/2024 20:30 | 2516.717 | 2620.396 | 2413.492
18/06/2024 21:00 | 2393.454 | 2491.945 | 2295.367
18/06/2024 21:30 | 2262.369 | 2355.359 | 2169.732
18/06/2024 22:00 | 2137.246 | 2224.995 | 2049.805
18/06/2024 22:30 | 2037.139 | 2120.678 | 1953.864
18/06/2024 23:00 | 1964.431 | 2044.894 | 1884.196
18/06/2024 23:30 | 1908.581 | 1986.667 | 1830.692
19/06/2024 00:00 | 1861.954 | 1938.05 | 1785.947
19/06/2024 00:30 | 1830.491 | 1905.23 | 1755.823
19/06/2024 01:00 | 1810.09 | 1883.926 | 1736.31
19/06/2024 01:30 | 1796.25 | 1869.459 | 1723.094
19/06/2024 02:00 | 1790.819 | 1863.745 | 1717.945
19/06/2024 02:30 | 1791.652 | 1864.549 | 1718.806
19/06/2024 03:00 | 1796.819 | 1869.865 | 1723.824
19/06/2024 03:30 | 1816.824 | 1890.619 | 1743.077
19/06/2024 04:00 | 1866.611 | 1942.363 | 1790.906
19/06/2024 04:30 | 1955.092 | 2034.366 | 1875.864
19/06/2024 05:00 | 2086.01 | 2170.521 | 2001.549
19/06/2024 05:30 | 2273.218 | 2365.207 | 2181.229
19/06/2024 06:00 | 2486.313 | 2586.84 | 2385.786
19/06/2024 06:30 | 2666.034 | 2773.736 | 2558.332
19/06/2024 07:00 | 2748.865 | 2859.819 | 2637.912
19/06/2024 07:30 | 2640.942 | 2747.548 | 2534.336
19/06/2024 08:00 | 2434.364 | 2532.818 | 2335.909
19/06/2024 08:30 | 2235.297 | 2325.859 | 2144.736
19/06/2024 09:00 | 2044.13 | 2127.091 | 1961.17
19/06/2024 09:30 | 1858.942 | 1934.518 | 1783.365
19/06/2024 10:00 | 1702.671 | 1772.014 | 1633.328
19/06/2024 10:30 | 1586.044 | 1650.749 | 1521.338
19/06/2024 11:00 | 1511.712 | 1573.492 | 1449.933
19/06/2024 11:30 | 1479.967 | 1540.554 | 1419.38
19/06/2024 12:00 | 1474.772 | 1535.251 | 1414.294
19/06/2024 12:30 | 1486.743 | 1547.817 | 1425.668
19/06/2024 13:00 | 1533.26 | 1596.353 | 1470.166
19/06/2024 13:30 | 1632.308 | 1699.593 | 1565.023
19/06/2024 14:00 | 1790.976 | 1864.928 | 1717.024
19/06/2024 14:30 | 2004.718 | 2087.637 | 1921.798
19/06/2024 15:00 | 2223.493 | 2315.619 | 2131.368
19/06/2024 15:30 | 2397.33 | 2496.827 | 2297.832
19/06/2024 16:00 | 2585.705 | 2693.203 | 2478.207
19/06/2024 16:30 | 2810.872 | 2927.93 | 2693.814
19/06/2024 17:00 | 3010.449 | 3136.031 | 2884.867
19/06/2024 17:30 | 3100.654 | 3230.219 | 2971.09
19/06/2024 18:00 | 3076.822 | 3205.607 | 2948.036
19/06/2024 18:30 | 3015.612 | 3142.049 | 2889.176
19/06/2024 19:00 | 2942.993 | 3066.593 | 2819.393
19/06/2024 19:30 | 2865.484 | 2986.031 | 2744.937
19/06/2024 20:00 | 2758.518 | 2874.76 | 2642.276
19/06/2024 20:30 | 2634.186 | 2745.375 | 2522.997
19/06/2024 21:00 | 2495.198 | 2600.697 | 2389.699
19/06/2024 21:30 | 2348.376 | 2447.833 | 2248.919
19/06/2024 22:00 | 2208.177 | 2301.852 | 2114.502
19/06/2024 22:30 | 2092.697 | 2181.622 | 2003.773
19/06/2024 23:00 | 2005.698 | 2091.067 | 1920.329
19/06/2024 23:30 | 1942.014 | 2024.809 | 1859.218
20/06/2024 00:00 | 1890.518 | 1971.252 | 1809.784
20/06/2024 00:30 | 1853.148 | 1932.417 | 1773.879
20/06/2024 01:00 | 1829.69 | 1908.085 | 1751.295
20/06/2024 01:30 | 1814.689 | 1892.569 | 1736.809
20/06/2024 02:00 | 1808.517 | 1886.26 | 1730.774
20/06/2024 02:30 | 1811.371 | 1889.365 | 1733.377
20/06/2024 03:00 | 1817.927 | 1896.331 | 1739.522
20/06/2024 03:30 | 1837.549 | 1916.929 | 1758.168
20/06/2024 04:00 | 1886.269 | 1967.887 | 1804.65
20/06/2024 04:30 | 1975.401 | 2061.016 | 1889.786
20/06/2024 05:00 | 2111.708 | 2203.38 | 2020.037
20/06/2024 05:30 | 2306.017 | 2406.286 | 2205.747
20/06/2024 06:00 | 2522.716 | 2632.587 | 2412.846
20/06/2024 06:30 | 2707.108 | 2825.2 | 2589.015
20/06/2024 07:00 | 2792.423 | 2914.434 | 2670.411
20/06/2024 07:30 | 2672.82 | 2789.794 | 2555.845
20/06/2024 08:00 | 2447.8 | 2555.1 | 2340.5
20/06/2024 08:30 | 2244.997 | 2343.565 | 2146.428
20/06/2024 09:00 | 2050.912 | 2141.103 | 1960.72
20/06/2024 09:30 | 1873.578 | 1956.104 | 1791.052
20/06/2024 10:00 | 1719.549 | 1795.411 | 1643.686
20/06/2024 10:30 | 1591.823 | 1662.163 | 1521.483
20/06/2024 11:00 | 1507.877 | 1574.614 | 1441.14
20/06/2024 11:30 | 1457.135 | 1521.73 | 1392.541
20/06/2024 12:00 | 1448.067 | 1512.362 | 1383.773
20/06/2024 12:30 | 1482.047 | 1547.956 | 1416.139
20/06/2024 13:00 | 1521.186 | 1588.942 | 1453.43
20/06/2024 13:30 | 1608.046 | 1679.784 | 1536.307
20/06/2024 14:00 | 1747.931 | 1826.033 | 1669.828
20/06/2024 14:30 | 1932.434 | 2018.918 | 1845.951
20/06/2024 15:00 | 2137.634 | 2233.452 | 2041.816
20/06/2024 15:30 | 2323.061 | 2427.354 | 2218.767
20/06/2024 16:00 | 2510.662 | 2623.556 | 2397.769
20/06/2024 16:30 | 2723.591 | 2846.252 | 2600.931
20/06/2024 17:00 | 2924.213 | 3056.115 | 2792.31
20/06/2024 17:30 | 3028.122 | 3164.925 | 2891.319
20/06/2024 18:00 | 3012.665 | 3148.983 | 2876.347
20/06/2024 18:30 | 2958.238 | 3092.302 | 2824.174
20/06/2024 19:00 | 2890.799 | 3022.011 | 2759.587
20/06/2024 19:30 | 2819.681 | 2947.864 | 2691.498
20/06/2024 20:00 | 2718.238 | 2842.002 | 2594.474
20/06/2024 20:30 | 2596.755 | 2715.171 | 2478.339
20/06/2024 21:00 | 2460.716 | 2573.102 | 2348.33
20/06/2024 21:30 | 2320.104 | 2426.232 | 2213.975
20/06/2024 22:00 | 2186.745 | 2286.927 | 2086.562
20/06/2024 22:30 | 2077.338 | 2172.655 | 1982.021
20/06/2024 23:00 | 1992.295 | 2083.851 | 1900.74
20/06/2024 23:30 | 1927.564 | 2038.309 | 1816.818
21/06/2024 00:00 | 1876.491 | 2027.005 | 1725.977
21/06/2024 00:30 | 1839.676 | 1984.067 | 1695.286
21/06/2024 01:00 | 1815.603 | 1958.501 | 1672.706
21/06/2024 01:30 | 1799.725 | 1941.766 | 1657.684
21/06/2024 02:00 | 1791.966 | 1933.786 | 1650.146
21/06/2024 02:30 | 1793.847 | 1936.207 | 1651.486
21/06/2024 03:00 | 1797.835 | 1940.905 | 1654.765
21/06/2024 03:30 | 1814.613 | 1959.415 | 1669.812
21/06/2024 04:00 | 1860.225 | 2009.073 | 1711.377
21/06/2024 04:30 | 1943.086 | 2098.989 | 1787.184
21/06/2024 05:00 | 2070.697 | 2237.291 | 1904.103
21/06/2024 05:30 | 2251.673 | 2433.319 | 2070.027
21/06/2024 06:00 | 2450.316 | 2648.521 | 2252.11
21/06/2024 06:30 | 2617.859 | 2830.189 | 2405.528
21/06/2024 07:00 | 2696.385 | 2915.674 | 2477.096
21/06/2024 07:30 | 2593.565 | 2805.033 | 2382.096
21/06/2024 08:00 | 2388.752 | 2583.976 | 2193.529
21/06/2024 08:30 | 2190.421 | 2369.855 | 2010.987
21/06/2024 09:00 | 2007.044 | 2171.841 | 1842.247
21/06/2024 09:30 | 1838.733 | 1990.062 | 1687.403
21/06/2024 10:00 | 1695.876 | 1835.773 | 1555.979
21/06/2024 10:30 | 1593.672 | 1725.443 | 1461.9
21/06/2024 11:00 | 1541.754 | 1669.528 | 1413.979
21/06/2024 11:30 | 1533.468 | 1660.85 | 1406.087
21/06/2024 12:00 | 1534.362 | 1662.112 | 1406.612
21/06/2024 12:30 | 1557.167 | 1687.114 | 1427.22
21/06/2024 13:00 | 1591.165 | 1724.254 | 1458.076
21/06/2024 13:30 | 1639.445 | 1776.887 | 1502.003
21/06/2024 14:00 | 1729.067 | 1874.353 | 1583.781
21/06/2024 14:30 | 1858.36 | 2014.867 | 1701.854
21/06/2024 15:00 | 2030.759 | 2202.173 | 1859.344
21/06/2024 15:30 | 2249.985 | 2440.335 | 2059.634
21/06/2024 16:00 | 2457.095 | 2665.439 | 2248.752
21/06/2024 16:30 | 2640.877 | 2865.31 | 2416.445
21/06/2024 17:00 | 2797.273 | 3035.533 | 2559.012
21/06/2024 17:30 | 2861.124 | 3105.371 | 2616.876
21/06/2024 18:00 | 2828.573 | 3070.584 | 2586.563
21/06/2024 18:30 | 2769.168 | 3006.627 | 2531.71
21/06/2024 19:00 | 2705.249 | 2937.745 | 2472.753
21/06/2024 19:30 | 2639.12 | 2866.438 | 2411.801
21/06/2024 20:00 | 2553.561 | 2774 | 2333.123
21/06/2024 20:30 | 2461.775 | 2674.762 | 2248.789
21/06/2024 21:00 | 2359.439 | 2564.024 | 2154.854
21/06/2024 21:30 | 2247.892 | 2443.236 | 2052.549
21/06/2024 22:00 | 2137.934 | 2324.132 | 1951.736
21/06/2024 22:30 | 2042.824 | 2221.13 | 1864.518
21/06/2024 23:00 | 1962.489 | 2134.159 | 1790.818
21/06/2024 23:30 | 1899.383 | 2068.151 | 1730.615
22/06/2024 00:00 | 1847.676 | 2016.454 | 1678.898
22/06/2024 00:30 | 1808.463 | 1973.369 | 1643.556
22/06/2024 01:00 | 1780.504 | 1942.951 | 1618.056
22/06/2024 01:30 | 1759.651 | 1920.286 | 1599.017
22/06/2024 02:00 | 1749.228 | 1909 | 1589.455
22/06/2024 02:30 | 1744.162 | 1903.561 | 1584.763
22/06/2024 03:00 | 1740.868 | 1900.054 | 1581.682
22/06/2024 03:30 | 1745.691 | 1905.408 | 1585.975
22/06/2024 04:00 | 1763.049 | 1924.443 | 1601.655
22/06/2024 04:30 | 1799.251 | 1964.051 | 1634.451
22/06/2024 05:00 | 1822.827 | 1989.88 | 1655.775
22/06/2024 05:30 | 1859.523 | 2030.033 | 1689.012
22/06/2024 06:00 | 1961.174 | 2141.105 | 1781.242
22/06/2024 06:30 | 2046.51 | 2234.375 | 1858.645
22/06/2024 07:00 | 2126.695 | 2322.029 | 1931.361
22/06/2024 07:30 | 2176.088 | 2376.07 | 1976.106
22/06/2024 08:00 | 2173.267 | 2373.1 | 1973.434
22/06/2024 08:30 | 2151.697 | 2349.656 | 1953.737
22/06/2024 09:00 | 2108.785 | 2302.905 | 1914.666
22/06/2024 09:30 | 2026.257 | 2212.883 | 1839.632
22/06/2024 10:00 | 1921.461 | 2098.532 | 1744.389
22/06/2024 10:30 | 1806.221 | 1972.765 | 1639.677
22/06/2024 11:00 | 1679.659 | 1834.618 | 1524.699
22/06/2024 11:30 | 1569.053 | 1713.888 | 1424.217
22/06/2024 12:00 | 1508.5 | 1647.823 | 1369.177
22/06/2024 12:30 | 1493.443 | 1631.451 | 1355.435
22/06/2024 13:00 | 1501.314 | 1640.126 | 1362.502
22/06/2024 13:30 | 1542.864 | 1685.597 | 1400.132
22/06/2024 14:00 | 1656.217 | 1809.52 | 1502.913
22/06/2024 14:30 | 1841.531 | 2012.081 | 1670.981
22/06/2024 15:00 | 2019.909 | 2207.082 | 1832.735
22/06/2024 15:30 | 2178.412 | 2380.385 | 1976.44
22/06/2024 16:00 | 2357.054 | 2575.709 | 2138.399
22/06/2024 16:30 | 2535.339 | 2770.662 | 2300.015
22/06/2024 17:00 | 2668.95 | 2916.812 | 2421.09
22/06/2024 17:30 | 2722.489 | 2975.461 | 2469.518
22/06/2024 18:00 | 2677.537 | 2926.469 | 2428.606
22/06/2024 18:30 | 2619.386 | 2863.044 | 2375.727
22/06/2024 19:00 | 2566.054 | 2804.882 | 2327.226
22/06/2024 19:30 | 2503.514 | 2736.65 | 2270.379
22/06/2024 20:00 | 2428.271 | 2654.524 | 2202.019
22/06/2024 20:30 | 2357.98 | 2577.803 | 2138.157
22/06/2024 21:00 | 2280.332 | 2493.033 | 2067.631
22/06/2024 21:30 | 2186.339 | 2390.384 | 1982.295
22/06/2024 22:00 | 2089.578 | 2284.699 | 1894.457
22/06/2024 22:30 | 2000.753 | 2187.681 | 1813.824
22/06/2024 23:00 | 1928.297 | 2108.554 | 1748.04
22/06/2024 23:30 | 1871.982 | 2047.07 | 1696.894
23/06/2024 00:00 | 1824.798 | 1995.567 | 1654.03
23/06/2024 00:30 | 1788.505 | 1955.968 | 1621.042
23/06/2024 01:00 | 1762.482 | 1927.598 | 1597.365
23/06/2024 01:30 | 1743.001 | 1906.381 | 1579.621
23/06/2024 02:00 | 1732.55 | 1895.039 | 1570.061
23/06/2024 02:30 | 1724.819 | 1886.67 | 1562.967
23/06/2024 03:00 | 1719.918 | 1881.398 | 1558.439
23/06/2024 03:30 | 1723.176 | 1885.049 | 1561.303
23/06/2024 04:00 | 1736.068 | 1899.241 | 1572.895
23/06/2024 04:30 | 1761.91 | 1927.601 | 1596.218
23/06/2024 05:00 | 1793.186 | 1961.91 | 1624.462
23/06/2024 05:30 | 1840.656 | 2013.94 | 1667.371
23/06/2024 06:00 | 1917.335 | 2097.937 | 1736.734
23/06/2024 06:30 | 1994.583 | 2182.562 | 1806.604
23/06/2024 07:00 | 2064.209 | 2258.856 | 1869.563
23/06/2024 07:30 | 2075.484 | 2271.593 | 1879.376
23/06/2024 08:00 | 2043.988 | 2238.083 | 1849.892
23/06/2024 08:30 | 2030.032 | 2223.711 | 1836.353
23/06/2024 09:00 | 1954.741 | 2142.112 | 1767.371
23/06/2024 09:30 | 1785.503 | 1957.45 | 1613.556
23/06/2024 10:00 | 1648.969 | 1808.505 | 1489.432
23/06/2024 10:30 | 1619.761 | 1777.197 | 1462.326
23/06/2024 11:00 | 1596.811 | 1752.731 | 1440.892
23/06/2024 11:30 | 1608.086 | 1765.825 | 1450.346
23/06/2024 12:00 | 1640.472 | 1802.122 | 1478.821
23/06/2024 12:30 | 1709.221 | 1878.411 | 1540.031
23/06/2024 13:00 | 1772.427 | 1948.667 | 1596.188
23/06/2024 13:30 | 1829.885 | 2012.656 | 1647.113
23/06/2024 14:00 | 1936.661 | 2130.964 | 1742.357
23/06/2024 14:30 | 2043.606 | 2249.553 | 1837.659
23/06/2024 15:00 | 2144.327 | 2361.384 | 1927.269
23/06/2024 15:30 | 2263.224 | 2493.329 | 2033.119
23/06/2024 16:00 | 2443.154 | 2692.646 | 2193.662
23/06/2024 16:30 | 2625.372 | 2894.646 | 2356.097
23/06/2024 17:00 | 2767.938 | 3053.074 | 2482.802
23/06/2024 17:30 | 2818.58 | 3110.194 | 2526.966
23/06/2024 18:00 | 2766.795 | 3054.29 | 2479.301
23/06/2024 18:30 | 2707.418 | 2989.954 | 2424.883
23/06/2024 19:00 | 2659.274 | 2937.976 | 2380.572
23/06/2024 19:30 | 2591.256 | 2863.989 | 2318.523
23/06/2024 20:00 | 2503.031 | 2767.598 | 2238.464
23/06/2024 20:30 | 2409.119 | 2664.838 | 2153.401
23/06/2024 21:00 | 2304.935 | 2550.625 | 2059.243
23/06/2024 21:30 | 2190.453 | 2424.921 | 1955.984
23/06/2024 22:00 | 2079.678 | 2303.219 | 1856.136
23/06/2024 22:30 | 1989.541 | 2204.284 | 1774.798
23/06/2024 23:00 | 1926.851 | 2135.69 | 1718.012
23/06/2024 23:30 | 1902.166 | 2082.769 | 1721.564
24/06/2024 00:00 | 1890.251 | 2018.558 | 1761.944
24/06/2024 00:30 | 1868.671 | 2000.695 | 1736.647
24/06/2024 01:00 | 1848.819 | 1980.189 | 1717.449
24/06/2024 01:30 | 1837.753 | 1969.081 | 1706.424
24/06/2024 02:00 | 1836.303 | 1968.272 | 1704.335
24/06/2024 02:30 | 1837.708 | 1970.521 | 1704.894
24/06/2024 03:00 | 1843.92 | 1977.929 | 1709.911
24/06/2024 03:30 | 1863.578 | 1999.771 | 1727.386
24/06/2024 04:00 | 1912.26 | 2052.785 | 1771.735
24/06/2024 04:30 | 2004.163 | 2152.253 | 1856.073
24/06/2024 05:00 | 2123.766 | 2281.553 | 1965.978
24/06/2024 05:30 | 2286.916 | 2457.751 | 2116.081
24/06/2024 06:00 | 2509.685 | 2698.178 | 2321.192
24/06/2024 06:30 | 2714.861 | 2919.863 | 2509.859
24/06/2024 07:00 | 2846.996 | 3063.129 | 2630.863
24/06/2024 07:30 | 2840.09 | 3056.849 | 2623.332