## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
20/06/2024 08:00 | 2836.975 | 2875.786 | 2798.165
20/06/2024 08:30 | 2660.164 | 2703.263 | 2617.064 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
20/06/2024 09:00 | 2484.641 | 2531.161 | 2438.12 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
20/06/2024 09:30 | 2265.799 | 2313.936 | 2217.662 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
20/06/2024 10:00 | 2041.051 | 2089.56 | 1992.542 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
20/06/2024 10:30 | 1831.386 | 1878.401 | 1784.371 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
20/06/2024 11:00 | 1662.012 | 1705.816 | 1618.207 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
20/06/2024 11:30 | 1535.609 | 1577.296 | 1493.923 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
20/06/2024 12:00 | 1469.809 | 1510.87 | 1428.748 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
20/06/2024 12:30 | 1486.682 | 1529.388 | 1443.975 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
20/06/2024 13:00 | 1532.505 | 1577.738 | 1487.272 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
20/06/2024 13:30 | 1621.902 | 1671.055 | 1572.749
20/06/2024 14:00 | 1742.245 | 1796.421 | 1688.776 | Summary view - for each schedule horizon (dispatch, week-ahead)
20/06/2024 14:30 | 1902.1 | 1963.437 | 1842.096
20/06/2024 15:00 | 2104.198 | 2173.945 | 2036.372 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
20/06/2024 15:30 | 2340.056 | 2418.984 | 2262.323 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
20/06/2024 16:00 | 2580.302 | 2669.107 | 2492.303 | Scenario | Violations
20/06/2024 16:30 | 2831.956 | 2931.712 | 2733.188 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
20/06/2024 17:00 | 3070.801 | 3180.723 | 2960.649 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
20/06/2024 17:30 | 3204.907 | 3321.514 | 3086.813 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0
20/06/2024 18:00 | 3214.228 | 3333.508 | 3093.063 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0
20/06/2024 18:30 | 3171.199 | 3290.98 | 3050.12 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 4 | 4 | 0 | 0
20/06/2024 19:00 | 3104.8 | 3222.976 | 2986.291
20/06/2024 19:30 | 3034.033 | 3150.144 | 2917.806 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
20/06/2024 20:00 | 2931.277 | 3044.017 | 2818.538
20/06/2024 20:30 | 2800.717 | 2908.915 | 2692.518 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
20/06/2024 21:00 | 2649.48 | 2752.291 | 2546.669 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
20/06/2024 21:30 | 2493.621 | 2590.812 | 2396.431 | [7 empty] | 20/06/2024 11:00 | [11 empty] | 20/06/2024 11:00 | [11 empty] | 20/06/2024 11:00 |  | 23/06/2024 11:00 | 23/06/2024 11:00
20/06/2024 22:00 | 2344.869 | 2436.664 | 2253.074 | [7 empty] | 20/06/2024 11:30 | [11 empty] | 20/06/2024 11:30 | [11 empty] | 20/06/2024 11:30 |  | 23/06/2024 11:30 | 23/06/2024 11:30
20/06/2024 22:30 | 2222.211 | 2309.586 | 2134.837 | [7 empty] | 20/06/2024 12:00 | [11 empty] | 20/06/2024 12:00 | [11 empty] | 20/06/2024 12:00 |  | 23/06/2024 12:00 | 23/06/2024 12:00
20/06/2024 23:00 | 2128.203 | 2212.246 | 2044.16 | [7 empty] | 20/06/2024 12:30 | [11 empty] | 20/06/2024 12:30 | [11 empty] | 20/06/2024 12:30 |  | 23/06/2024 12:30 | 23/06/2024 12:30
20/06/2024 23:30 | 2058.961 | 2140.623 | 1977.299 | [7 empty] | 20/06/2024 13:00 | [11 empty] | 21/06/2024 10:30 | [11 empty] | 20/06/2024 13:00
21/06/2024 00:00 | 2003.811 | 2083.629 | 1923.993 | [7 empty] | 21/06/2024 10:30 | [11 empty] | 21/06/2024 11:00 | [11 empty] | 20/06/2024 14:00
21/06/2024 00:30 | 1963.636 | 2042.191 | 1885.081 | [7 empty] | 21/06/2024 11:00 | [11 empty] | 21/06/2024 11:30 | [11 empty] | 21/06/2024 11:00
21/06/2024 01:00 | 1936.793 | 2014.606 | 1858.98 | [7 empty] | 21/06/2024 11:30 | [11 empty] | 21/06/2024 12:00 | [11 empty] | 21/06/2024 11:30
21/06/2024 01:30 | 1918.913 | 1996.337 | 1841.489 | [7 empty] | 21/06/2024 12:00 | [11 empty] | 21/06/2024 12:30 | [11 empty] | 21/06/2024 12:00
21/06/2024 02:00 | 1911.496 | 1988.949 | 1834.044 | [7 empty] | 21/06/2024 12:30 | [11 empty] | 21/06/2024 13:00
21/06/2024 02:30 | 1914.451 | 1992.352 | 1836.551 | [7 empty] | 21/06/2024 13:00 | [11 empty] | 21/06/2024 13:30
21/06/2024 03:00 | 1919.441 | 1997.874 | 1841.008
21/06/2024 03:30 | 1937.559 | 2017.064 | 1858.053
21/06/2024 04:00 | 1986.48 | 2068.333 | 1904.626
21/06/2024 04:30 | 2076.382 | 2162.296 | 1990.468
21/06/2024 05:00 | 2206.196 | 2297.86 | 2114.532
21/06/2024 05:30 | 2390.642 | 2490.379 | 2290.904
21/06/2024 06:00 | 2609.96 | 2719.295 | 2500.625
21/06/2024 06:30 | 2799.982 | 2917.552 | 2682.411
21/06/2024 07:00 | 2899.356 | 3020.963 | 2777.748
21/06/2024 07:30 | 2816.735 | 2934.78 | 2698.689
21/06/2024 08:00 | 2644.897 | 2755.65 | 2534.144
21/06/2024 08:30 | 2472.616 | 2576.069 | 2369.161
21/06/2024 09:00 | 2291.124 | 2386.905 | 2195.342
21/06/2024 09:30 | 2102.981 | 2190.824 | 2015.136
21/06/2024 10:00 | 1948.316 | 2029.633 | 1867
21/06/2024 10:30 | 1845.822 | 1922.798 | 1768.847
21/06/2024 11:00 | 1783.046 | 1857.342 | 1708.75
21/06/2024 11:30 | 1759.076 | 1832.313 | 1685.839
21/06/2024 12:00 | 1750.725 | 1823.554 | 1677.896
21/06/2024 12:30 | 1757.549 | 1830.602 | 1684.496
21/06/2024 13:00 | 1783.836 | 1857.921 | 1709.752
21/06/2024 13:30 | 1833.76 | 1909.855 | 1757.665
21/06/2024 14:00 | 1917.587 | 1997.094 | 1838.08
21/06/2024 14:30 | 2028.421 | 2112.454 | 1944.388
21/06/2024 15:00 | 2179.064 | 2269.263 | 2088.865
21/06/2024 15:30 | 2383.302 | 2481.874 | 2284.731
21/06/2024 16:00 | 2586.569 | 2693.458 | 2479.679
21/06/2024 16:30 | 2783.738 | 2898.68 | 2668.796
21/06/2024 17:00 | 2955.804 | 3077.75 | 2833.859
21/06/2024 17:30 | 3031.528 | 3156.494 | 2906.563
21/06/2024 18:00 | 3006.901 | 3130.748 | 2883.054
21/06/2024 18:30 | 2951.911 | 3073.392 | 2830.431
21/06/2024 19:00 | 2889.166 | 3007.966 | 2770.367
21/06/2024 19:30 | 2821.732 | 2937.661 | 2705.802
21/06/2024 20:00 | 2733.805 | 2846.028 | 2621.582
21/06/2024 20:30 | 2634.627 | 2742.688 | 2526.501
21/06/2024 21:00 | 2520.148 | 2623.428 | 2416.797
21/06/2024 21:30 | 2396 | 2494.11 | 2297.81
21/06/2024 22:00 | 2275.2 | 2368.285 | 2182.028
21/06/2024 22:30 | 2169.906 | 2258.815 | 2081.108
21/06/2024 23:00 | 2078.938 | 2164.035 | 1993.922
21/06/2024 23:30 | 2006.445 | 2088.528 | 1924.426
22/06/2024 00:00 | 1946.622 | 2026.208 | 1867.093
22/06/2024 00:30 | 1901.918 | 1979.501 | 1824.39
22/06/2024 01:00 | 1869.503 | 1945.602 | 1793.458
22/06/2024 01:30 | 1847.337 | 1922.374 | 1772.352
22/06/2024 02:00 | 1837.757 | 1912.245 | 1763.318
22/06/2024 02:30 | 1833.234 | 1907.38 | 1759.137
22/06/2024 03:00 | 1829.894 | 1903.722 | 1756.066
22/06/2024 03:30 | 1834.985 | 1908.86 | 1761.111
22/06/2024 04:00 | 1853.862 | 1928.337 | 1779.387
22/06/2024 04:30 | 1892.701 | 1968.572 | 1816.829
22/06/2024 05:00 | 1923.685 | 2000.633 | 1846.738
22/06/2024 05:30 | 1972.182 | 2050.899 | 1893.465
22/06/2024 06:00 | 2081.544 | 2164.446 | 1998.641
22/06/2024 06:30 | 2178.898 | 2265.49 | 2092.307
22/06/2024 07:00 | 2271.285 | 2361.352 | 2181.218
22/06/2024 07:30 | 2312.829 | 2404.554 | 2221.103
22/06/2024 08:00 | 2292.045 | 2383.371 | 2200.719
22/06/2024 08:30 | 2272.907 | 2363.856 | 2181.958
22/06/2024 09:00 | 2229.131 | 2318.706 | 2139.556
22/06/2024 09:30 | 2140.308 | 2226.677 | 2053.939
22/06/2024 10:00 | 2015.067 | 2096.723 | 1933.41
22/06/2024 10:30 | 1850.145 | 1925.433 | 1774.857
22/06/2024 11:00 | 1674.367 | 1742.785 | 1605.948
22/06/2024 11:30 | 1544.268 | 1607.633 | 1480.904
22/06/2024 12:00 | 1496.196 | 1557.842 | 1434.55
22/06/2024 12:30 | 1537.954 | 1601.581 | 1474.327
22/06/2024 13:00 | 1591.956 | 1658.087 | 1525.824
22/06/2024 13:30 | 1671.671 | 1741.397 | 1601.945
22/06/2024 14:00 | 1768.246 | 1842.3 | 1694.192
22/06/2024 14:30 | 1869.167 | 1947.765 | 1790.569
22/06/2024 15:00 | 2012.839 | 2097.82 | 1927.858
22/06/2024 15:30 | 2247.803 | 2343.085 | 2152.521
22/06/2024 16:00 | 2489.835 | 2595.799 | 2383.871
22/06/2024 16:30 | 2683.774 | 2798.448 | 2569.102
22/06/2024 17:00 | 2833.005 | 2954.535 | 2711.475
22/06/2024 17:30 | 2898.351 | 3023.176 | 2773.526
22/06/2024 18:00 | 2860.972 | 2984.672 | 2737.271
22/06/2024 18:30 | 2805.002 | 2926.758 | 2683.246
22/06/2024 19:00 | 2749.115 | 2868.912 | 2629.319
22/06/2024 19:30 | 2681.174 | 2798.465 | 2563.884
22/06/2024 20:00 | 2599.958 | 2714.137 | 2485.779
22/06/2024 20:30 | 2521.415 | 2632.573 | 2410.258
22/06/2024 21:00 | 2432.888 | 2540.555 | 2325.221
22/06/2024 21:30 | 2327.637 | 2431.041 | 2224.233
22/06/2024 22:00 | 2219.576 | 2318.556 | 2120.596
22/06/2024 22:30 | 2118.454 | 2213.283 | 2023.624
22/06/2024 23:00 | 2036.455 | 2127.96 | 1944.95
22/06/2024 23:30 | 1974.005 | 2063.038 | 1884.971
23/06/2024 00:00 | 1920.667 | 2007.62 | 1833.713
23/06/2024 00:30 | 1880.406 | 1965.856 | 1794.956
23/06/2024 01:00 | 1852.407 | 1936.898 | 1767.915
23/06/2024 01:30 | 1834.199 | 1918.171 | 1750.226
23/06/2024 02:00 | 1824.874 | 1908.729 | 1741.019
23/06/2024 02:30 | 1818.373 | 1902.238 | 1734.508
23/06/2024 03:00 | 1815.363 | 1899.397 | 1731.329
23/06/2024 03:30 | 1819.533 | 1904.069 | 1734.998
23/06/2024 04:00 | 1835.598 | 1921.191 | 1750.005
23/06/2024 04:30 | 1868.144 | 1955.571 | 1780.716
23/06/2024 05:00 | 1893.771 | 1982.719 | 1804.823
23/06/2024 05:30 | 1936.64 | 2027.93 | 1845.35
23/06/2024 06:00 | 2031.818 | 2127.94 | 1935.697
23/06/2024 06:30 | 2122.636 | 2223.414 | 2021.858
23/06/2024 07:00 | 2202.484 | 2307.427 | 2097.542
23/06/2024 07:30 | 2217.899 | 2323.952 | 2111.846
23/06/2024 08:00 | 2182.614 | 2287.35 | 2077.878
23/06/2024 08:30 | 2134.111 | 2236.882 | 2031.341
23/06/2024 09:00 | 2025.141 | 2123.007 | 1927.274
23/06/2024 09:30 | 1862.812 | 1953.15 | 1772.475
23/06/2024 10:00 | 1671.165 | 1752.493 | 1589.838
23/06/2024 10:30 | 1481.84 | 1554.205 | 1409.475
23/06/2024 11:00 | 1365.657 | 1432.58 | 1298.734
23/06/2024 11:30 | 1334 | 1399.597 | 1268.402
23/06/2024 12:00 | 1328.399 | 1393.947 | 1262.851
23/06/2024 12:30 | 1356.135 | 1423.281 | 1288.989
23/06/2024 13:00 | 1421.497 | 1492.121 | 1350.873
23/06/2024 13:30 | 1604.864 | 1684.871 | 1524.858
23/06/2024 14:00 | 1814.746 | 1905.523 | 1723.968
23/06/2024 14:30 | 1966.372 | 2065.068 | 1867.677
23/06/2024 15:00 | 2108.668 | 2214.864 | 2002.473
23/06/2024 15:30 | 2249.282 | 2362.94 | 2135.624
23/06/2024 16:00 | 2452.601 | 2576.949 | 2328.253
23/06/2024 16:30 | 2668.225 | 2803.957 | 2532.492
23/06/2024 17:00 | 2846.545 | 2991.832 | 2701.258
23/06/2024 17:30 | 2928.454 | 3078.418 | 2778.49
23/06/2024 18:00 | 2895.645 | 3044.42 | 2746.87
23/06/2024 18:30 | 2847.086 | 2993.849 | 2700.323
23/06/2024 19:00 | 2805.745 | 2950.853 | 2660.637
23/06/2024 19:30 | 2742.301 | 2884.594 | 2600.009
23/06/2024 20:00 | 2656.096 | 2794.365 | 2517.826
23/06/2024 20:30 | 2558.62 | 2692.249 | 2424.991
23/06/2024 21:00 | 2444.793 | 2572.893 | 2316.694
23/06/2024 21:30 | 2319.817 | 2441.761 | 2197.873
23/06/2024 22:00 | 2198.909 | 2314.87 | 2082.947
23/06/2024 22:30 | 2099.063 | 2210.115 | 1988.011
23/06/2024 23:00 | 2025.173 | 2132.659 | 1917.686
23/06/2024 23:30 | 1970.112 | 2069.907 | 1870.316
24/06/2024 00:00 | 1925.243 | 2013.15 | 1837.337
24/06/2024 00:30 | 1891.93 | 1979.275 | 1804.586
24/06/2024 01:00 | 1872.468 | 1959.047 | 1785.89
24/06/2024 01:30 | 1862.204 | 1948.44 | 1775.969
24/06/2024 02:00 | 1859.44 | 1945.678 | 1773.201
24/06/2024 02:30 | 1862.328 | 1948.832 | 1775.824
24/06/2024 03:00 | 1869.123 | 1956.075 | 1782.171
24/06/2024 03:30 | 1890.365 | 1978.439 | 1802.292
24/06/2024 04:00 | 1941.845 | 2032.454 | 1851.236
24/06/2024 04:30 | 2036.842 | 2132.028 | 1941.656
24/06/2024 05:00 | 2180.761 | 2282.827 | 2078.696
24/06/2024 05:30 | 2382.361 | 2494.03 | 2270.691
24/06/2024 06:00 | 2611.178 | 2733.757 | 2488.599
24/06/2024 06:30 | 2809.445 | 2941.53 | 2677.36
24/06/2024 07:00 | 2909.662 | 3046.664 | 2772.659
24/06/2024 07:30 | 2806.165 | 2938.521 | 2673.808
24/06/2024 08:00 | 2594.802 | 2717.453 | 2472.15
24/06/2024 08:30 | 2405.394 | 2519.333 | 2291.456
24/06/2024 09:00 | 2212.728 | 2317.761 | 2107.694
24/06/2024 09:30 | 2012.53 | 2108.261 | 1916.799
24/06/2024 10:00 | 1854.093 | 1942.473 | 1765.713
24/06/2024 10:30 | 1731.493 | 1814.202 | 1648.785
24/06/2024 11:00 | 1649.475 | 1728.43 | 1570.519
24/06/2024 11:30 | 1611.673 | 1688.98 | 1534.365
24/06/2024 12:00 | 1604.052 | 1681.154 | 1526.95
24/06/2024 12:30 | 1647.953 | 1727.329 | 1568.576
24/06/2024 13:00 | 1710.586 | 1793.15 | 1628.022
24/06/2024 13:30 | 1826.738 | 1915.091 | 1738.385
24/06/2024 14:00 | 1967.703 | 2063.07 | 1872.335
24/06/2024 14:30 | 2114.206 | 2216.885 | 2011.527
24/06/2024 15:00 | 2296.371 | 2408.126 | 2184.616
24/06/2024 15:30 | 2495.632 | 2617.334 | 2373.93
24/06/2024 16:00 | 2706.163 | 2838.402 | 2573.924
24/06/2024 16:30 | 2942.708 | 3086.8 | 2798.617
24/06/2024 17:00 | 3162.847 | 3318.033 | 3007.66
24/06/2024 17:30 | 3268.651 | 3429.355 | 3107.947
24/06/2024 18:00 | 3246.928 | 3406.889 | 3086.968
24/06/2024 18:30 | 3179.354 | 3336.303 | 3022.405
24/06/2024 19:00 | 3100.425 | 3253.787 | 2947.062
24/06/2024 19:30 | 3014.27 | 3163.672 | 2864.868
24/06/2024 20:00 | 2899.443 | 3043.442 | 2755.443
24/06/2024 20:30 | 2771.914 | 2909.857 | 2633.971
24/06/2024 21:00 | 2623.918 | 2754.758 | 2493.078
24/06/2024 21:30 | 2467.135 | 2590.404 | 2343.867
24/06/2024 22:00 | 2319.874 | 2436.017 | 2203.732
24/06/2024 22:30 | 2201.534 | 2311.971 | 2091.096
24/06/2024 23:00 | 2115.341 | 2221.667 | 2009.016
24/06/2024 23:30 | 2052.725 | 2156.108 | 1949.343
25/06/2024 00:00 | 2004.469 | 2105.622 | 1903.316
25/06/2024 00:30 | 1970.8 | 2070.45 | 1871.15
25/06/2024 01:00 | 1950.804 | 2049.638 | 1851.97
25/06/2024 01:30 | 1934.374 | 2032.569 | 1836.179
25/06/2024 02:00 | 1927.731 | 2025.781 | 1829.681
25/06/2024 02:30 | 1929.14 | 2027.455 | 1830.826
25/06/2024 03:00 | 1934.083 | 2032.842 | 1835.323
25/06/2024 03:30 | 1951.75 | 2051.606 | 1851.893
25/06/2024 04:00 | 2001.016 | 2103.593 | 1898.439
25/06/2024 04:30 | 2094.237 | 2201.802 | 1986.672
25/06/2024 05:00 | 2238.892 | 2354.11 | 2123.674
25/06/2024 05:30 | 2448.361 | 2574.603 | 2322.118
25/06/2024 06:00 | 2690.061 | 2829.034 | 2551.087
25/06/2024 06:30 | 2905.668 | 3056.07 | 2755.265
25/06/2024 07:00 | 3026.872 | 3183.85 | 2869.894
25/06/2024 07:30 | 2961.718 | 3115.613 | 2807.823
25/06/2024 08:00 | 2799.288 | 2945.023 | 2653.554
25/06/2024 08:30 | 2638.396 | 2776.017 | 2500.774
25/06/2024 09:00 | 2475.08 | 2604.43 | 2345.73
25/06/2024 09:30 | 2278.786 | 2398.106 | 2159.467
25/06/2024 10:00 | 2108.049 | 2218.638 | 1997.459
25/06/2024 10:30 | 1982.955 | 2087.181 | 1878.73
25/06/2024 11:00 | 1912.518 | 2013.232 | 1811.804
25/06/2024 11:30 | 1902.858 | 2003.253 | 1802.463
25/06/2024 12:00 | 1923.667 | 2025.353 | 1821.982
25/06/2024 12:30 | 1976.041 | 2080.692 | 1871.39
25/06/2024 13:00 | 2037.611 | 2145.727 | 1929.496
25/06/2024 13:30 | 2094.676 | 2206.029 | 1983.324
25/06/2024 14:00 | 2168.775 | 2284.283 | 2053.267
25/06/2024 14:30 | 2286.476 | 2408.482 | 2164.471
25/06/2024 15:00 | 2435.031 | 2565.206 | 2304.855
25/06/2024 15:30 | 2595.583 | 2734.601 | 2456.566
25/06/2024 16:00 | 2779.374 | 2928.513 | 2630.236
25/06/2024 16:30 | 3001.469 | 3162.825 | 2840.114
25/06/2024 17:00 | 3199.728 | 3372.062 | 3027.395
25/06/2024 17:30 | 3288.78 | 3466.238 | 3111.322
25/06/2024 18:00 | 3259.775 | 3435.993 | 3083.557
25/06/2024 18:30 | 3191.518 | 3364.365 | 3018.67
25/06/2024 19:00 | 3109.968 | 3278.709 | 2941.226
25/06/2024 19:30 | 3023.456 | 3187.805 | 2859.106
25/06/2024 20:00 | 2912.161 | 3070.751 | 2753.571
25/06/2024 20:30 | 2781.039 | 2932.766 | 2629.312
25/06/2024 21:00 | 2625.248 | 2768.738 | 2481.758
25/06/2024 21:30 | 2462.643 | 2597.491 | 2327.794
25/06/2024 22:00 | 2311.321 | 2438.114 | 2184.528
25/06/2024 22:30 | 2192.848 | 2313.361 | 2072.335
25/06/2024 23:00 | 2102.385 | 2218.135 | 1986.633
25/06/2024 23:30 | 2040.001 | 2152.521 | 1927.48
26/06/2024 00:00 | 1991.891 | 2101.957 | 1881.825
26/06/2024 00:30 | 1950.622 | 2058.602 | 1842.642
26/06/2024 01:00 | 1921.087 | 2027.624 | 1814.551
26/06/2024 01:30 | 1905.148 | 2010.991 | 1799.305
26/06/2024 02:00 | 1899.356 | 2005.067 | 1793.645
26/06/2024 02:30 | 1899.845 | 2005.773 | 1793.917
26/06/2024 03:00 | 1905.269 | 2011.69 | 1798.849
26/06/2024 03:30 | 1924.562 | 2032.253 | 1816.872
26/06/2024 04:00 | 1971.197 | 2081.694 | 1860.7
26/06/2024 04:30 | 2055.009 | 2170.409 | 1939.609
26/06/2024 05:00 | 2181.934 | 2304.679 | 2059.188
26/06/2024 05:30 | 2365.59 | 2498.904 | 2232.277
26/06/2024 06:00 | 2588.072 | 2734.182 | 2441.962
26/06/2024 06:30 | 2783.889 | 2941.332 | 2626.446
26/06/2024 07:00 | 2898.792 | 3063.022 | 2734.561
26/06/2024 07:30 | 2869.093 | 3032.239 | 2705.947
26/06/2024 08:00 | 2774.792 | 2933.75 | 2615.833
26/06/2024 08:30 | 2673.957 | 2828.222 | 2519.692
26/06/2024 09:00 | 2553.32 | 2701.659 | 2404.98
26/06/2024 09:30 | 2434.154 | 2576.556 | 2291.752
26/06/2024 10:00 | 2352.057 | 2490.609 | 2213.505
26/06/2024 10:30 | 2329.008 | 2467.146 | 2190.871
26/06/2024 11:00 | 2315.609 | 2453.89 | 2177.329
26/06/2024 11:30 | 2347.041 | 2488.149 | 2205.933
26/06/2024 12:00 | 2381.513 | 2525.658 | 2237.368
26/06/2024 12:30 | 2412.575 | 2559.578 | 2265.573
26/06/2024 13:00 | 2446.128 | 2596.166 | 2296.091
26/06/2024 13:30 | 2442.58 | 2593.389 | 2291.771
26/06/2024 14:00 | 2483.388 | 2637.722 | 2329.053
26/06/2024 14:30 | 2547.959 | 2707.338 | 2388.58
26/06/2024 15:00 | 2613.588 | 2778.131 | 2449.046
26/06/2024 15:30 | 2708.195 | 2879.79 | 2536.599
26/06/2024 16:00 | 2862.043 | 3044.546 | 2679.541
26/06/2024 16:30 | 3028.724 | 3223.082 | 2834.366
26/06/2024 17:00 | 3181.005 | 3386.423 | 2975.587
26/06/2024 17:30 | 3229.119 | 3438.952 | 3019.286
26/06/2024 18:00 | 3178.177 | 3385.987 | 2970.367
26/06/2024 18:30 | 3106.359 | 3310.731 | 2901.987
26/06/2024 19:00 | 3026.582 | 3226.93 | 2826.233
26/06/2024 19:30 | 2939.804 | 3135.599 | 2744.009
26/06/2024 20:00 | 2825.261 | 3014.572 | 2635.95
26/06/2024 20:30 | 2696.138 | 2877.889 | 2514.388
26/06/2024 21:00 | 2553.52 | 2726.69 | 2380.35
26/06/2024 21:30 | 2403.22 | 2567.171 | 2239.269
26/06/2024 22:00 | 2265.886 | 2421.386 | 2110.387
26/06/2024 22:30 | 2152.503 | 2301.094 | 2003.913
26/06/2024 23:00 | 2063.041 | 2206.291 | 1919.791
26/06/2024 23:30 | 1994.723 | 2163.032 | 1826.415
27/06/2024 00:00 | 1939.828 | 2160.084 | 1719.571
27/06/2024 00:30 | 1901.452 | 2113.262 | 1689.642
27/06/2024 01:00 | 1876.158 | 2085.78 | 1666.537
27/06/2024 01:30 | 1859.28 | 2067.639 | 1650.921
27/06/2024 02:00 | 1852.8 | 2061.054 | 1644.546
27/06/2024 02:30 | 1856.093 | 2065.339 | 1646.846
27/06/2024 03:00 | 1862.629 | 2073.238 | 1652.021
27/06/2024 03:30 | 1881.004 | 2094.321 | 1667.688
27/06/2024 04:00 | 1925.289 | 2144.273 | 1706.304
27/06/2024 04:30 | 2006.116 | 2234.966 | 1777.266
27/06/2024 05:00 | 2116.542 | 2358.698 | 1874.385
27/06/2024 05:30 | 2272.93 | 2533.741 | 2012.118
27/06/2024 06:00 | 2475.475 | 2760.358 | 2190.592
27/06/2024 06:30 | 2651.529 | 2957.562 | 2345.497
27/06/2024 07:00 | 2761.841 | 3081.532 | 2442.151
27/06/2024 07:30 | 2744.542 | 3063.15 | 2425.933