## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
23/06/2024 08:00 | 2184.39 | 2219.875 | 2148.905
23/06/2024 08:30 | 2115.07 | 2154.718 | 2075.423 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
23/06/2024 09:00 | 2035.969 | 2079.224 | 1992.714 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
23/06/2024 09:30 | 1956.068 | 2002.516 | 1909.619 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
23/06/2024 10:00 | 1863.106 | 1912.005 | 1814.207 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
23/06/2024 10:30 | 1770.14 | 1819.821 | 1720.459 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
23/06/2024 11:00 | 1683.318 | 1731.356 | 1635.28 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
23/06/2024 11:30 | 1629.781 | 1677.25 | 1582.312 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
23/06/2024 12:00 | 1600.022 | 1647.565 | 1552.479 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
23/06/2024 12:30 | 1560.754 | 1608.048 | 1513.459 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
23/06/2024 13:00 | 1551.935 | 1599.875 | 1503.996 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
23/06/2024 13:30 | 1593.587 | 1643.75 | 1543.423
23/06/2024 14:00 | 1681.153 | 1735.062 | 1627.245 | Summary view - for each schedule horizon (dispatch, week-ahead)
23/06/2024 14:30 | 1822.672 | 1882.191 | 1763.154
23/06/2024 15:00 | 2005.978 | 2072.662 | 1938.18 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
23/06/2024 15:30 | 2232.57 | 2308.1 | 2156.242 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
23/06/2024 16:00 | 2470.102 | 2554.456 | 2384.465 | Scenario | Violations
23/06/2024 16:30 | 2710.854 | 2804.926 | 2615.184 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
23/06/2024 17:00 | 2912.738 | 3015.727 | 2808.417 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
23/06/2024 17:30 | 3011.385 | 3119.5 | 2901.637 | Reference Scenario | 0 | 0 | 0 | 0 | 5 | 2 | 0 | 0 | 7 | 7 | 0 | 0
23/06/2024 18:00 | 2990.141 | 3099.237 | 2879.395 | High Demand Scenario | 0 | 0 | 0 | 0 | 5 | 4 | 0 | 0 | 7 | 7 | 0 | 0
23/06/2024 18:30 | 2930.549 | 3039.258 | 2820.974 | Low Demand Scenario | 0 | 0 | 0 | 0 | 7 | 6 | 2 | 0 | 8 | 8 | 0 | 1
23/06/2024 19:00 | 2868.614 | 2976.028 | 2760.861
23/06/2024 19:30 | 2804.758 | 2910.444 | 2698.525 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
23/06/2024 20:00 | 2714.62 | 2817.935 | 2611.305
23/06/2024 20:30 | 2610.625 | 2710.704 | 2510.547 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
23/06/2024 21:00 | 2489.557 | 2585.682 | 2393.431 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
23/06/2024 21:30 | 2358.161 | 2449.865 | 2266.457 | [5 empty] | 29/06/2024 11:00 | 29/06/2024 12:00 |  |  | 29/06/2024 10:30 | 29/06/2024 10:30 | [6 empty] | 29/06/2024 11:00 | 29/06/2024 11:00 |  |  | 29/06/2024 10:30 | 29/06/2024 10:30 | [6 empty] | 29/06/2024 10:30 | 29/06/2024 11:00 | 23/06/2024 10:00 |  | 29/06/2024 10:30 | 29/06/2024 10:30 |  | 29/06/2024 11:30
23/06/2024 22:00 | 2232.41 | 2319.841 | 2144.979 | [5 empty] | 29/06/2024 11:30 | 29/06/2024 12:30 |  |  | 29/06/2024 11:00 | 29/06/2024 11:00 | [6 empty] | 29/06/2024 11:30 | 29/06/2024 11:30 |  |  | 29/06/2024 11:00 | 29/06/2024 11:00 | [6 empty] | 29/06/2024 11:00 | 29/06/2024 11:30 | 23/06/2024 12:30 |  | 29/06/2024 11:00 | 29/06/2024 11:00
23/06/2024 22:30 | 2130.085 | 2214.097 | 2046.073 | [5 empty] | 29/06/2024 12:00 |  |  |  | 29/06/2024 11:30 | 29/06/2024 11:30 | [6 empty] | 29/06/2024 12:00 | 29/06/2024 12:00 |  |  | 29/06/2024 11:30 | 29/06/2024 11:30 | [6 empty] | 29/06/2024 11:30 | 29/06/2024 12:00 |  |  | 29/06/2024 11:30 | 29/06/2024 11:30
23/06/2024 23:00 | 2054.099 | 2135.682 | 1972.516 | [5 empty] | 29/06/2024 12:30 |  |  |  | 29/06/2024 12:00 | 29/06/2024 12:00 | [6 empty] | 29/06/2024 12:30 | 29/06/2024 12:30 |  |  | 29/06/2024 12:00 | 29/06/2024 12:00 | [6 empty] | 29/06/2024 12:00 | 29/06/2024 12:30 |  |  | 29/06/2024 12:00 | 29/06/2024 12:00
23/06/2024 23:30 | 1998.536 | 2078.185 | 1918.887 | [5 empty] | 29/06/2024 13:00 |  |  |  | 29/06/2024 12:30 | 29/06/2024 12:30 | [6 empty] | 29/06/2024 13:00 |  |  |  | 29/06/2024 12:30 | 29/06/2024 12:30 | [6 empty] | 29/06/2024 12:30 | 29/06/2024 13:00 |  |  | 29/06/2024 12:30 | 29/06/2024 12:30
24/06/2024 00:00 | 1953.973 | 2031.771 | 1876.174 | [9 empty] | 29/06/2024 13:00 | 29/06/2024 13:00 | [10 empty] | 29/06/2024 13:00 | 29/06/2024 13:00 | [6 empty] | 29/06/2024 13:00 | 29/06/2024 13:30 |  |  | 29/06/2024 13:00 | 29/06/2024 13:00
24/06/2024 00:30 | 1920.942 | 1997.789 | 1844.095 | [9 empty] | 29/06/2024 13:30 | 29/06/2024 13:30 | [10 empty] | 29/06/2024 13:30 | 29/06/2024 13:30 | [6 empty] | 29/06/2024 13:30 |  |  |  | 29/06/2024 13:30 | 29/06/2024 13:30
24/06/2024 01:00 | 1900.439 | 1976.792 | 1824.087 | [33 empty] | 29/06/2024 14:00 | 29/06/2024 14:00
24/06/2024 01:30 | 1888.95 | 1965.165 | 1812.735
24/06/2024 02:00 | 1887.308 | 1963.781 | 1810.836
24/06/2024 02:30 | 1890.244 | 1967.159 | 1813.328
24/06/2024 03:00 | 1897.461 | 1974.996 | 1819.926
24/06/2024 03:30 | 1920.084 | 1998.873 | 1841.296
24/06/2024 04:00 | 1974.128 | 2055.472 | 1892.783
24/06/2024 04:30 | 2073.417 | 2159.208 | 1987.626
24/06/2024 05:00 | 2208.003 | 2299.742 | 2116.264
24/06/2024 05:30 | 2395.445 | 2495.383 | 2295.508
24/06/2024 06:00 | 2635.067 | 2745.454 | 2524.68
24/06/2024 06:30 | 2851.854 | 2971.603 | 2732.106
24/06/2024 07:00 | 2975.009 | 3099.789 | 2850.228
24/06/2024 07:30 | 2923.098 | 3045.6 | 2800.595
24/06/2024 08:00 | 2805.344 | 2922.815 | 2687.872
24/06/2024 08:30 | 2687.336 | 2799.774 | 2574.898
24/06/2024 09:00 | 2512.304 | 2617.332 | 2407.276
24/06/2024 09:30 | 2296.798 | 2392.738 | 2200.858
24/06/2024 10:00 | 2114.975 | 2203.247 | 2026.702
24/06/2024 10:30 | 1981.221 | 2063.843 | 1898.599
24/06/2024 11:00 | 1867.79 | 1945.618 | 1789.963
24/06/2024 11:30 | 1777.052 | 1851.038 | 1703.067
24/06/2024 12:00 | 1730.199 | 1802.174 | 1658.224
24/06/2024 12:30 | 1739.786 | 1812.1 | 1667.471
24/06/2024 13:00 | 1792.018 | 1866.442 | 1717.594
24/06/2024 13:30 | 1922.697 | 2002.482 | 1842.912
24/06/2024 14:00 | 2045.461 | 2130.27 | 1960.652
24/06/2024 14:30 | 2139.48 | 2228.114 | 2050.846
24/06/2024 15:00 | 2288.351 | 2383.074 | 2193.628
24/06/2024 15:30 | 2502.424 | 2605.922 | 2398.926
24/06/2024 16:00 | 2723.006 | 2835.534 | 2610.478
24/06/2024 16:30 | 2961.18 | 3083.449 | 2838.912
24/06/2024 17:00 | 3187.733 | 3319.247 | 3056.219
24/06/2024 17:30 | 3294.979 | 3430.804 | 3159.154
24/06/2024 18:00 | 3277.313 | 3412.297 | 3142.329
24/06/2024 18:30 | 3213.26 | 3345.496 | 3081.024
24/06/2024 19:00 | 3135.072 | 3263.982 | 3006.161
24/06/2024 19:30 | 3052.18 | 3177.577 | 2926.783
24/06/2024 20:00 | 2939.691 | 3060.366 | 2819.016
24/06/2024 20:30 | 2810.036 | 2925.292 | 2694.78
24/06/2024 21:00 | 2660.997 | 2770.049 | 2551.945
24/06/2024 21:30 | 2503.347 | 2605.852 | 2400.842
24/06/2024 22:00 | 2354.054 | 2450.365 | 2257.743
24/06/2024 22:30 | 2232.238 | 2323.489 | 2140.988
24/06/2024 23:00 | 2139.337 | 2226.717 | 2051.958
24/06/2024 23:30 | 2070.362 | 2154.853 | 1985.871
25/06/2024 00:00 | 2014.573 | 2096.718 | 1932.428
25/06/2024 00:30 | 1975.495 | 2055.979 | 1895.011
25/06/2024 01:00 | 1952.201 | 2031.791 | 1872.588
25/06/2024 01:30 | 1936.146 | 2015.015 | 1857.255
25/06/2024 02:00 | 1929.965 | 2008.517 | 1851.393
25/06/2024 02:30 | 1931.929 | 2010.495 | 1853.344
25/06/2024 03:00 | 1937.649 | 2016.381 | 1858.897
25/06/2024 03:30 | 1956.303 | 2035.726 | 1876.86
25/06/2024 04:00 | 2006.746 | 2088.148 | 1925.324
25/06/2024 04:30 | 2102.577 | 2187.796 | 2017.34
25/06/2024 05:00 | 2238.35 | 2328.995 | 2147.686
25/06/2024 05:30 | 2434.543 | 2533.051 | 2336.017
25/06/2024 06:00 | 2682.643 | 2791.096 | 2574.167
25/06/2024 06:30 | 2903.56 | 3020.846 | 2786.252
25/06/2024 07:00 | 3029.532 | 3151.802 | 2907.239
25/06/2024 07:30 | 2975.128 | 3095.217 | 2855.027
25/06/2024 08:00 | 2853.243 | 2968.639 | 2737.848
25/06/2024 08:30 | 2739.731 | 2850.729 | 2628.733
25/06/2024 09:00 | 2567.135 | 2671.322 | 2462.949
25/06/2024 09:30 | 2320.142 | 2414.468 | 2225.815
25/06/2024 10:00 | 2112.553 | 2198.59 | 2026.517
25/06/2024 10:30 | 1989.241 | 2070.396 | 1908.087
25/06/2024 11:00 | 1867.624 | 1943.949 | 1791.299
25/06/2024 11:30 | 1735.411 | 1806.456 | 1664.367
25/06/2024 12:00 | 1683.838 | 1752.89 | 1614.785
25/06/2024 12:30 | 1714.316 | 1784.74 | 1643.893
25/06/2024 13:00 | 1764.867 | 1837.491 | 1692.242
25/06/2024 13:30 | 1859.348 | 1935.992 | 1782.704
25/06/2024 14:00 | 1964.547 | 2045.666 | 1883.428
25/06/2024 14:30 | 2119.977 | 2207.664 | 2032.291
25/06/2024 15:00 | 2319.065 | 2415.15 | 2222.98
25/06/2024 15:30 | 2538.124 | 2643.465 | 2432.783
25/06/2024 16:00 | 2753.303 | 2867.769 | 2638.837
25/06/2024 16:30 | 2999.227 | 3124.129 | 2874.325
25/06/2024 17:00 | 3223.458 | 3357.926 | 3088.99
25/06/2024 17:30 | 3337.898 | 3477.376 | 3198.421
25/06/2024 18:00 | 3326.186 | 3465.409 | 3186.963
25/06/2024 18:30 | 3261.744 | 3398.5 | 3124.988
25/06/2024 19:00 | 3176.6 | 3310.011 | 3043.189
25/06/2024 19:30 | 3089.95 | 3219.94 | 2959.96
25/06/2024 20:00 | 2976.841 | 3102.283 | 2851.399
25/06/2024 20:30 | 2841.853 | 2961.807 | 2721.898
25/06/2024 21:00 | 2678.705 | 2791.962 | 2565.448
25/06/2024 21:30 | 2509.134 | 2615.399 | 2402.869
25/06/2024 22:00 | 2350.844 | 2450.572 | 2251.117
25/06/2024 22:30 | 2224.507 | 2319.032 | 2129.981
25/06/2024 23:00 | 2128.267 | 2218.853 | 2037.681
25/06/2024 23:30 | 2060.56 | 2148.409 | 1972.71
26/06/2024 00:00 | 2007.644 | 2093.38 | 1921.909
26/06/2024 00:30 | 1963.759 | 2047.76 | 1879.759
26/06/2024 01:00 | 1932.827 | 2015.64 | 1850.013
26/06/2024 01:30 | 1916.437 | 1998.684 | 1834.19
26/06/2024 02:00 | 1910.914 | 1993.059 | 1828.769
26/06/2024 02:30 | 1911.958 | 1994.283 | 1829.633
26/06/2024 03:00 | 1917.797 | 2000.509 | 1835.085
26/06/2024 03:30 | 1938.241 | 2021.971 | 1854.51
26/06/2024 04:00 | 1986.974 | 2072.95 | 1900.998
26/06/2024 04:30 | 2074.86 | 2164.785 | 1984.934
26/06/2024 05:00 | 2193.503 | 2288.726 | 2098.281
26/06/2024 05:30 | 2363.456 | 2466.224 | 2260.689
26/06/2024 06:00 | 2591.444 | 2704.308 | 2478.581
26/06/2024 06:30 | 2790.284 | 2912.005 | 2668.563
26/06/2024 07:00 | 2905.895 | 3032.864 | 2778.925
26/06/2024 07:30 | 2875.475 | 3001.319 | 2749.631
26/06/2024 08:00 | 2777.721 | 2899.483 | 2655.959
26/06/2024 08:30 | 2691.01 | 2809.161 | 2572.859
26/06/2024 09:00 | 2584.586 | 2698.247 | 2470.925
26/06/2024 09:30 | 2437.254 | 2544.608 | 2329.9
26/06/2024 10:00 | 2298.733 | 2400.148 | 2197.318
26/06/2024 10:30 | 2192.093 | 2288.958 | 2095.228
26/06/2024 11:00 | 2099.478 | 2192.399 | 2006.557
26/06/2024 11:30 | 2030.531 | 2120.544 | 1940.518
26/06/2024 12:00 | 2025.075 | 2114.989 | 1935.161
26/06/2024 12:30 | 2093.032 | 2186.112 | 1999.953
26/06/2024 13:00 | 2146.809 | 2242.432 | 2051.187
26/06/2024 13:30 | 2169.659 | 2266.452 | 2072.865
26/06/2024 14:00 | 2270.081 | 2371.515 | 2168.646
26/06/2024 14:30 | 2424.438 | 2532.941 | 2315.936
26/06/2024 15:00 | 2539.519 | 2653.352 | 2425.687
26/06/2024 15:30 | 2647.489 | 2766.347 | 2528.63
26/06/2024 16:00 | 2810.045 | 2936.401 | 2683.69
26/06/2024 16:30 | 2990.105 | 3124.769 | 2855.442
26/06/2024 17:00 | 3156.853 | 3299.248 | 3014.457
26/06/2024 17:30 | 3222.374 | 3367.953 | 3076.794
26/06/2024 18:00 | 3184.533 | 3328.628 | 3040.438
26/06/2024 18:30 | 3116.953 | 3258.21 | 2975.696
26/06/2024 19:00 | 3037.174 | 3175.03 | 2899.318
26/06/2024 19:30 | 2953.048 | 3087.294 | 2818.802
26/06/2024 20:00 | 2840.328 | 2969.651 | 2711.006
26/06/2024 20:30 | 2712.619 | 2836.319 | 2588.919
26/06/2024 21:00 | 2570.619 | 2688.025 | 2453.213
26/06/2024 21:30 | 2421.041 | 2531.786 | 2310.296
26/06/2024 22:00 | 2282.42 | 2386.986 | 2177.854
26/06/2024 22:30 | 2166.272 | 2265.67 | 2066.875
26/06/2024 23:00 | 2074.783 | 2170.129 | 1979.437
26/06/2024 23:30 | 2005.158 | 2097.447 | 1912.87
27/06/2024 00:00 | 1948.359 | 2038.171 | 1858.547
27/06/2024 00:30 | 1907.887 | 1995.968 | 1819.806
27/06/2024 01:00 | 1881.518 | 1968.514 | 1794.521
27/06/2024 01:30 | 1864.85 | 1951.208 | 1778.492
27/06/2024 02:00 | 1858.826 | 1945.036 | 1772.615
27/06/2024 02:30 | 1862.415 | 1948.923 | 1775.907
27/06/2024 03:00 | 1868.7 | 1955.632 | 1781.768
27/06/2024 03:30 | 1887.384 | 1975.319 | 1799.45
27/06/2024 04:00 | 1932.841 | 2023.03 | 1842.652
27/06/2024 04:30 | 2016.584 | 2110.823 | 1922.345
27/06/2024 05:00 | 2121.235 | 2220.514 | 2021.955
27/06/2024 05:30 | 2268.131 | 2374.446 | 2161.816
27/06/2024 06:00 | 2473.254 | 2589.359 | 2357.15
27/06/2024 06:30 | 2652.539 | 2777.248 | 2527.831
27/06/2024 07:00 | 2764.479 | 2894.646 | 2634.313
27/06/2024 07:30 | 2748.703 | 2878.349 | 2619.056
27/06/2024 08:00 | 2673.583 | 2799.958 | 2547.208
27/06/2024 08:30 | 2620.753 | 2744.893 | 2496.613
27/06/2024 09:00 | 2547.235 | 2668.146 | 2426.323
27/06/2024 09:30 | 2457.937 | 2574.855 | 2341.019
27/06/2024 10:00 | 2379.878 | 2493.321 | 2266.435
27/06/2024 10:30 | 2301.035 | 2410.949 | 2191.121
27/06/2024 11:00 | 2216.987 | 2323.108 | 2110.866
27/06/2024 11:30 | 2133.184 | 2235.506 | 2030.861
27/06/2024 12:00 | 2102.132 | 2203.175 | 2001.089
27/06/2024 12:30 | 2105.368 | 2206.777 | 2003.959
27/06/2024 13:00 | 2089.019 | 2189.848 | 1988.189
27/06/2024 13:30 | 2074.596 | 2174.937 | 1974.255
27/06/2024 14:00 | 2108.001 | 2210.168 | 2005.834
27/06/2024 14:30 | 2203.854 | 2310.887 | 2096.821
27/06/2024 15:00 | 2339.11 | 2452.946 | 2225.275
27/06/2024 15:30 | 2560.963 | 2685.851 | 2436.075
27/06/2024 16:00 | 2763.675 | 2898.724 | 2628.626
27/06/2024 16:30 | 2937.927 | 3081.785 | 2794.07
27/06/2024 17:00 | 3107.991 | 3260.486 | 2955.496
27/06/2024 17:30 | 3187.381 | 3344.09 | 3030.672
27/06/2024 18:00 | 3159.403 | 3315.052 | 3003.754
27/06/2024 18:30 | 3086.958 | 3239.346 | 2934.57
27/06/2024 19:00 | 3000.094 | 3148.494 | 2851.695
27/06/2024 19:30 | 2917.824 | 3062.446 | 2773.203
27/06/2024 20:00 | 2805.971 | 2945.328 | 2666.613
27/06/2024 20:30 | 2678.997 | 2812.316 | 2545.678
27/06/2024 21:00 | 2540.745 | 2667.438 | 2414.052
27/06/2024 21:30 | 2400.875 | 2520.833 | 2280.917
27/06/2024 22:00 | 2268.594 | 2382.169 | 2155.019
27/06/2024 22:30 | 2155.806 | 2263.95 | 2047.662
27/06/2024 23:00 | 2067.286 | 2171.196 | 1963.376
27/06/2024 23:30 | 2000.36 | 2101.105 | 1899.614
28/06/2024 00:00 | 1945.721 | 2043.909 | 1847.533
28/06/2024 00:30 | 1907.138 | 2003.569 | 1810.706
28/06/2024 01:00 | 1882.135 | 1977.49 | 1786.78
28/06/2024 01:30 | 1866.639 | 1961.396 | 1771.883
28/06/2024 02:00 | 1860.629 | 1955.266 | 1765.991
28/06/2024 02:30 | 1862.759 | 1957.691 | 1767.828
28/06/2024 03:00 | 1866.754 | 1962.075 | 1771.432
28/06/2024 03:30 | 1884.681 | 1981.107 | 1788.256
28/06/2024 04:00 | 1931.332 | 2030.337 | 1832.327
28/06/2024 04:30 | 2015.169 | 2118.672 | 1911.665
28/06/2024 05:00 | 2141.561 | 2251.771 | 2031.352
28/06/2024 05:30 | 2320.458 | 2440.105 | 2200.81
28/06/2024 06:00 | 2519.516 | 2649.679 | 2389.354
28/06/2024 06:30 | 2691.61 | 2830.932 | 2552.287
28/06/2024 07:00 | 2778.361 | 2922.451 | 2634.271
28/06/2024 07:30 | 2692.369 | 2832.268 | 2552.469
28/06/2024 08:00 | 2503.352 | 2633.68 | 2373.024
28/06/2024 08:30 | 2321.16 | 2442.234 | 2200.085
28/06/2024 09:00 | 2142.516 | 2254.486 | 2030.546
28/06/2024 09:30 | 1968.092 | 2071.143 | 1865.041
28/06/2024 10:00 | 1817.577 | 1912.929 | 1722.226
28/06/2024 10:30 | 1693.089 | 1782.079 | 1604.099
28/06/2024 11:00 | 1614.419 | 1699.435 | 1529.403
28/06/2024 11:30 | 1560.4 | 1642.727 | 1478.073
28/06/2024 12:00 | 1539.411 | 1620.785 | 1458.038
28/06/2024 12:30 | 1556.619 | 1639.058 | 1474.181
28/06/2024 13:00 | 1581.413 | 1665.323 | 1497.504
28/06/2024 13:30 | 1659.91 | 1748.15 | 1571.67
28/06/2024 14:00 | 1793.746 | 1889.28 | 1698.211
28/06/2024 14:30 | 1976.924 | 2082.412 | 1871.436
28/06/2024 15:00 | 2166.453 | 2282.27 | 2050.635
28/06/2024 15:30 | 2358.773 | 2485.107 | 2232.439
28/06/2024 16:00 | 2539.77 | 2676.051 | 2403.488
28/06/2024 16:30 | 2730.03 | 2876.794 | 2583.267
28/06/2024 17:00 | 2897.405 | 3053.455 | 2741.354
28/06/2024 17:30 | 2971.321 | 3131.65 | 2810.993
28/06/2024 18:00 | 2950.029 | 3109.502 | 2790.554
28/06/2024 18:30 | 2895.918 | 3052.757 | 2739.08
28/06/2024 19:00 | 2838.185 | 2992.179 | 2684.19
28/06/2024 19:30 | 2773.87 | 2924.652 | 2623.087
28/06/2024 20:00 | 2687.162 | 2833.499 | 2540.824
28/06/2024 20:30 | 2592.721 | 2734.174 | 2451.268
28/06/2024 21:00 | 2487.425 | 2623.381 | 2351.468
28/06/2024 21:30 | 2373.891 | 2503.879 | 2243.903
28/06/2024 22:00 | 2260.034 | 2384.014 | 2136.055
28/06/2024 22:30 | 2159.122 | 2277.781 | 2040.463
28/06/2024 23:00 | 2076.563 | 2190.893 | 1962.234
28/06/2024 23:30 | 2014.936 | 2134.669 | 1895.204
29/06/2024 00:00 | 1963.26 | 2096.73 | 1829.79
29/06/2024 00:30 | 1923.953 | 2053.624 | 1794.283
29/06/2024 01:00 | 1897.238 | 2025.373 | 1769.104
29/06/2024 01:30 | 1876.534 | 2003.532 | 1749.536
29/06/2024 02:00 | 1868.149 | 1994.84 | 1741.457
29/06/2024 02:30 | 1863.905 | 1990.569 | 1737.241
29/06/2024 03:00 | 1861.104 | 1987.837 | 1734.37
29/06/2024 03:30 | 1868.657 | 1996.166 | 1741.148
29/06/2024 04:00 | 1892.948 | 2022.379 | 1763.517
29/06/2024 04:30 | 1938.525 | 2071.343 | 1805.707
29/06/2024 05:00 | 1980.609 | 2116.587 | 1844.631
29/06/2024 05:30 | 2044.537 | 2185.189 | 1903.885
29/06/2024 06:00 | 2165.776 | 2315.071 | 2016.48
29/06/2024 06:30 | 2276.335 | 2433.57 | 2119.101
29/06/2024 07:00 | 2366.99 | 2530.817 | 2203.163
29/06/2024 07:30 | 2389.63 | 2555.453 | 2223.807
29/06/2024 08:00 | 2343.4 | 2506.621 | 2180.18
29/06/2024 08:30 | 2274.011 | 2432.97 | 2115.052
29/06/2024 09:00 | 2136.339 | 2286.211 | 1986.466
29/06/2024 09:30 | 1923.6 | 2059.032 | 1788.168
29/06/2024 10:00 | 1702.878 | 1823.198 | 1582.558
29/06/2024 10:30 | 1511.927 | 1619.135 | 1404.719
29/06/2024 11:00 | 1401.572 | 1501.308 | 1301.836
29/06/2024 11:30 | 1368.909 | 1466.665 | 1271.153
29/06/2024 12:00 | 1354.4 | 1451.461 | 1257.34
29/06/2024 12:30 | 1355.706 | 1453.201 | 1258.211
29/06/2024 13:00 | 1381.615 | 1481.32 | 1281.909
29/06/2024 13:30 | 1446.898 | 1551.679 | 1342.118
29/06/2024 14:00 | 1570.425 | 1684.547 | 1456.304
29/06/2024 14:30 | 1746.735 | 1874.108 | 1619.362
29/06/2024 15:00 | 1938.614 | 2080.466 | 1796.761
29/06/2024 15:30 | 2156.884 | 2315.25 | 1998.517
29/06/2024 16:00 | 2377.336 | 2552.487 | 2202.186
29/06/2024 16:30 | 2592.865 | 2784.547 | 2401.184
29/06/2024 17:00 | 2771.94 | 2977.558 | 2566.322
29/06/2024 17:30 | 2867.079 | 3080.475 | 2653.683
29/06/2024 18:00 | 2851.032 | 3063.951 | 2638.114
29/06/2024 18:30 | 2807.709 | 3018.099 | 2597.32
29/06/2024 19:00 | 2764.148 | 2971.969 | 2556.327
29/06/2024 19:30 | 2707.243 | 2911.466 | 2503.02
29/06/2024 20:00 | 2631.383 | 2830.545 | 2432.22
29/06/2024 20:30 | 2554.305 | 2748.276 | 2360.334
29/06/2024 21:00 | 2465.605 | 2653.46 | 2277.75
29/06/2024 21:30 | 2358.626 | 2538.924 | 2178.329
29/06/2024 22:00 | 2248.883 | 2421.358 | 2076.409
29/06/2024 22:30 | 2150.732 | 2316.22 | 1985.245
29/06/2024 23:00 | 2072.721 | 2232.728 | 1912.714
29/06/2024 23:30 | 2016.086 | 2172.228 | 1859.944
30/06/2024 00:00 | 1968.576 | 2121.533 | 1815.618
30/06/2024 00:30 | 1930.941 | 2081.459 | 1780.422
30/06/2024 01:00 | 1904.281 | 2053.201 | 1755.362
30/06/2024 01:30 | 1883.947 | 2031.75 | 1736.144
30/06/2024 02:00 | 1874.425 | 2021.953 | 1726.898
30/06/2024 02:30 | 1868.663 | 2016.207 | 1721.119
30/06/2024 03:00 | 1866.025 | 2013.83 | 1718.22
30/06/2024 03:30 | 1871.485 | 2020.194 | 1722.777
30/06/2024 04:00 | 1890.88 | 2041.605 | 1740.156
30/06/2024 04:30 | 1927.988 | 2082.155 | 1773.82
30/06/2024 05:00 | 1972.134 | 2130.328 | 1813.94
30/06/2024 05:30 | 2041.015 | 2205.248 | 1876.783
30/06/2024 06:00 | 2145.265 | 2318.426 | 1972.104
30/06/2024 06:30 | 2249.057 | 2431.161 | 2066.953
30/06/2024 07:00 | 2332.1 | 2521.515 | 2142.686
30/06/2024 07:30 | 2319.488 | 2508.462 | 2130.515