## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
26/06/2024 08:00 | 2824.802 | 2863.446 | 2786.158
26/06/2024 08:30 | 2701.248 | 2745.012 | 2657.482 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
26/06/2024 09:00 | 2572.785 | 2620.956 | 2524.614 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
26/06/2024 09:30 | 2427.998 | 2479.581 | 2376.416 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
26/06/2024 10:00 | 2270.548 | 2324.511 | 2216.585 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
26/06/2024 10:30 | 2102.5 | 2156.476 | 2048.525 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
26/06/2024 11:00 | 1959.171 | 2010.808 | 1907.534 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
26/06/2024 11:30 | 1878.543 | 1929.538 | 1827.547 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
26/06/2024 12:00 | 1849.969 | 1901.65 | 1798.288 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
26/06/2024 12:30 | 1861.561 | 1915.037 | 1808.086 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
26/06/2024 13:00 | 1898.605 | 1954.644 | 1842.567 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
26/06/2024 13:30 | 1966.525 | 2026.122 | 1906.928
26/06/2024 14:00 | 2074.186 | 2140.128 | 2011.045 | Summary view - for each schedule horizon (dispatch, week-ahead)
26/06/2024 14:30 | 2209.894 | 2281.334 | 2140.348
26/06/2024 15:00 | 2363.739 | 2442.389 | 2287.829 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
26/06/2024 15:30 | 2530.429 | 2615.676 | 2446.278 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
26/06/2024 16:00 | 2725.445 | 2819.079 | 2632.342 | Scenario | Violations
26/06/2024 16:30 | 2932.039 | 3035.093 | 2829.568 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
26/06/2024 17:00 | 3122.993 | 3234.141 | 3010.372 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
26/06/2024 17:30 | 3209.617 | 3325.875 | 3090.865 | Reference Scenario | 0 | 0 | 0 | 0 | 11 | 9 | 14 | 0 | 15 | 15 | 0 | 52
26/06/2024 18:00 | 3187.468 | 3305.787 | 3067.342 | High Demand Scenario | 0 | 0 | 0 | 0 | 5 | 4 | 4 | 0 | 13 | 12 | 0 | 54
26/06/2024 18:30 | 3130.958 | 3249.357 | 3011.543 | Low Demand Scenario | 0 | 0 | 0 | 0 | 17 | 17 | 17 | 0 | 21 | 21 | 0 | 59
26/06/2024 19:00 | 3058.237 | 3174.861 | 2941.71
26/06/2024 19:30 | 2971.763 | 3085.55 | 2857.976 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
26/06/2024 20:00 | 2857.4 | 2967.299 | 2747.502
26/06/2024 20:30 | 2729.953 | 2835.418 | 2624.488 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
26/06/2024 21:00 | 2587.721 | 2688.135 | 2487.307 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
26/06/2024 21:30 | 2436.438 | 2531.399 | 2341.476 | [5 empty] | 29/06/2024 11:30 | 29/06/2024 12:00 | 30/06/2024 11:00 |  | 29/06/2024 11:00 | 29/06/2024 11:00 |  | 30/06/2024 08:30 |  |  |  |  | 29/06/2024 11:00 | 29/06/2024 11:00 | 29/06/2024 11:00 |  | 29/06/2024 10:30 | 29/06/2024 10:30 |  | 30/06/2024 08:30 |  |  |  |  | 29/06/2024 11:00 | 29/06/2024 11:00 | 30/06/2024 10:30 |  | 29/06/2024 10:30 | 29/06/2024 10:30 |  | 29/06/2024 12:00
26/06/2024 22:00 | 2295.462 | 2385.323 | 2205.601 | [5 empty] | 29/06/2024 12:00 | 30/06/2024 11:00 | 30/06/2024 11:30 |  | 29/06/2024 11:30 | 29/06/2024 11:30 |  | 30/06/2024 09:00 |  |  |  |  | 29/06/2024 11:30 | 29/06/2024 11:30 | 29/06/2024 11:30 |  | 29/06/2024 11:00 | 29/06/2024 11:00 |  | 30/06/2024 09:00 |  |  |  |  | 29/06/2024 11:30 | 29/06/2024 11:30 | 30/06/2024 11:00 |  | 29/06/2024 11:00 | 29/06/2024 11:00 |  | 30/06/2024 09:00
26/06/2024 22:30 | 2176.111 | 2261.672 | 2090.549 | [5 empty] | 30/06/2024 11:00 | 30/06/2024 11:30 | 30/06/2024 12:00 |  | 29/06/2024 12:00 | 29/06/2024 12:00 |  | 30/06/2024 09:30 |  |  |  |  | 29/06/2024 12:00 | 29/06/2024 12:00 | 29/06/2024 12:00 |  | 29/06/2024 11:30 | 29/06/2024 11:30 |  | 30/06/2024 09:30 |  |  |  |  | 29/06/2024 12:00 | 29/06/2024 12:00 | 30/06/2024 11:30 |  | 29/06/2024 11:30 | 29/06/2024 11:30 |  | 30/06/2024 09:30
26/06/2024 23:00 | 2081.803 | 2164.014 | 1999.593 | [5 empty] | 30/06/2024 11:30 | 30/06/2024 12:00 | 30/06/2024 12:30 |  | 29/06/2024 12:30 | 29/06/2024 12:30 |  | 30/06/2024 10:00 |  |  |  |  | 29/06/2024 12:30 | 29/06/2024 12:30 | 29/06/2024 12:30 |  | 29/06/2024 12:00 | 29/06/2024 12:00 |  | 30/06/2024 10:00 |  |  |  |  | 29/06/2024 12:30 | 29/06/2024 12:30 | 30/06/2024 12:00 |  | 29/06/2024 12:00 | 29/06/2024 12:00 |  | 30/06/2024 10:00
26/06/2024 23:30 | 2009.288 | 2088.98 | 1929.596 | [5 empty] | 30/06/2024 12:00 | 30/06/2024 12:30 | 01/07/2024 10:30 |  | 30/06/2024 11:00 | 30/06/2024 11:00 |  | 30/06/2024 10:30 |  |  |  |  | 29/06/2024 13:00 |  |  |  | 29/06/2024 12:30 | 29/06/2024 12:30 |  | 30/06/2024 10:30 |  |  |  |  | 30/06/2024 10:30 | 30/06/2024 10:30 | 30/06/2024 12:30 |  | 29/06/2024 12:30 | 29/06/2024 12:30 |  | 30/06/2024 10:30
27/06/2024 00:00 | 1950.803 | 2028.509 | 1873.096 | [5 empty] | 30/06/2024 12:30 | 30/06/2024 13:00 | 01/07/2024 11:00 |  | 30/06/2024 11:30 | 30/06/2024 11:30 |  | 30/06/2024 11:00 | [8 empty] | 29/06/2024 13:00 | 29/06/2024 13:00 |  | 30/06/2024 11:00 |  |  |  |  | 30/06/2024 11:00 | 30/06/2024 11:00 | 01/07/2024 10:00 |  | 29/06/2024 13:00 | 29/06/2024 13:00 |  | 30/06/2024 11:00
27/06/2024 00:30 | 1909.573 | 1985.965 | 1833.181 | [5 empty] | 30/06/2024 13:00 | 02/07/2024 11:30 | 01/07/2024 11:30 |  | 30/06/2024 12:00 | 30/06/2024 12:00 |  | 30/06/2024 11:30 | [8 empty] | 30/06/2024 11:00 | 30/06/2024 11:00 |  | 30/06/2024 11:30 |  |  |  |  | 30/06/2024 11:30 | 30/06/2024 11:30 | 01/07/2024 10:30 |  | 30/06/2024 10:30 | 30/06/2024 10:30 |  | 30/06/2024 12:00
27/06/2024 01:00 | 1882.766 | 1958.408 | 1807.124 | [5 empty] | 02/07/2024 11:30 | 02/07/2024 12:00 | 01/07/2024 12:00 |  | 30/06/2024 12:30 | 30/06/2024 12:30 |  | 30/06/2024 12:00 | [8 empty] | 30/06/2024 11:30 | 30/06/2024 11:30 |  | 30/06/2024 12:30 |  |  |  |  | 30/06/2024 12:00 | 30/06/2024 12:00 | 01/07/2024 11:00 |  | 30/06/2024 11:00 | 30/06/2024 11:00 |  | 30/06/2024 12:30
27/06/2024 01:30 | 1867.528 | 1942.878 | 1792.177 | [5 empty] | 02/07/2024 12:00 | 02/07/2024 12:30 | 01/07/2024 12:30 |  | 30/06/2024 13:00 | 30/06/2024 13:00 |  | 30/06/2024 12:30 | [8 empty] | 30/06/2024 12:00 | 30/06/2024 12:00 |  | 30/06/2024 13:00 |  |  |  |  | 30/06/2024 12:30 | 30/06/2024 12:30 | 01/07/2024 11:30 |  | 30/06/2024 11:30 | 30/06/2024 11:30 |  | 30/06/2024 13:00
27/06/2024 02:00 | 1862.157 | 1937.61 | 1786.704 | [5 empty] | 02/07/2024 12:30 |  | 01/07/2024 13:00 |  | 30/06/2024 13:30 | 30/06/2024 13:30 |  | 30/06/2024 13:00 | [8 empty] | 30/06/2024 12:30 | 30/06/2024 12:30 |  | 30/06/2024 13:30 |  |  |  |  | 30/06/2024 13:00 | 30/06/2024 13:00 | 01/07/2024 12:00 |  | 30/06/2024 12:00 | 30/06/2024 12:00 |  | 30/06/2024 13:30
27/06/2024 02:30 | 1865.207 | 1941.103 | 1789.31 | [5 empty] | 02/07/2024 13:00 |  | 01/07/2024 13:30 |  | 02/07/2024 11:00 | 02/07/2024 11:00 |  | 30/06/2024 14:00 | [8 empty] | 30/06/2024 13:00 | 02/07/2024 12:00 |  | 30/06/2024 14:00 |  |  |  |  | 30/06/2024 13:30 | 30/06/2024 13:30 | 01/07/2024 12:30 |  | 30/06/2024 12:30 | 30/06/2024 12:30 |  | 30/06/2024 14:00
27/06/2024 03:00 | 1871.41 | 1947.88 | 1794.94 | [7 empty] | 02/07/2024 11:30 |  | 02/07/2024 11:30 | 02/07/2024 11:30 |  | 30/06/2024 14:30 | [8 empty] | 02/07/2024 12:00 | 02/07/2024 12:30 |  | 30/06/2024 14:30 |  |  |  |  | 02/07/2024 11:00 | 02/07/2024 11:00 | 01/07/2024 13:00 |  | 30/06/2024 13:00 | 30/06/2024 13:00 |  | 30/06/2024 14:30
27/06/2024 03:30 | 1890.429 | 1968.001 | 1812.858 | [7 empty] | 02/07/2024 12:00 |  | 02/07/2024 12:00 | 02/07/2024 12:00 |  | 30/06/2024 21:00 | [8 empty] | 02/07/2024 12:30 |  |  | 30/06/2024 23:00 |  |  |  |  | 02/07/2024 11:30 | 02/07/2024 11:30 | 02/07/2024 11:00 |  | 30/06/2024 13:30 | 30/06/2024 13:30 |  | 30/06/2024 20:30
27/06/2024 04:00 | 1936.394 | 2016.183 | 1856.604 | [7 empty] | 02/07/2024 12:30 |  | 02/07/2024 12:30 | 02/07/2024 12:30 |  | 30/06/2024 23:30 | [11 empty] | 01/07/2024 02:30 |  |  |  |  | 02/07/2024 12:00 | 02/07/2024 12:00 | 02/07/2024 11:30 |  | 30/06/2024 14:00 | 30/06/2024 14:00 |  | 30/06/2024 21:30
27/06/2024 04:30 | 2018.996 | 2102.535 | 1935.456 | [9 empty] | 02/07/2024 13:00 | 02/07/2024 13:00 |  | 01/07/2024 04:30 | [11 empty] | 01/07/2024 03:00 |  |  |  |  | 02/07/2024 12:30 | 02/07/2024 12:30 | 02/07/2024 12:00 |  | 02/07/2024 10:30 | 02/07/2024 10:30 |  | 30/06/2024 23:00
27/06/2024 05:00 | 2143.817 | 2232.889 | 2054.745 | [12 empty] | 01/07/2024 05:00 | [11 empty] | 01/07/2024 04:30 |  |  |  |  | 02/07/2024 13:00 | 02/07/2024 13:00 | 02/07/2024 12:30 |  | 02/07/2024 11:00 | 02/07/2024 11:00 |  | 30/06/2024 23:30
27/06/2024 05:30 | 2319.698 | 2416.476 | 2222.921 | [12 empty] | 01/07/2024 05:30 | [11 empty] | 01/07/2024 05:30 |  |  |  |  | 02/07/2024 13:30 | 02/07/2024 13:30 | 02/07/2024 13:00 |  | 02/07/2024 11:30 | 02/07/2024 11:30 |  | 01/07/2024 04:30
27/06/2024 06:00 | 2522.118 | 2627.773 | 2416.463 | [12 empty] | 01/07/2024 06:00 | [11 empty] | 01/07/2024 06:30 | [8 empty] | 02/07/2024 12:00 | 02/07/2024 12:00 |  | 01/07/2024 06:00
27/06/2024 06:30 | 2699.594 | 2812.949 | 2586.239 | [12 empty] | 01/07/2024 06:30 | [11 empty] | 01/07/2024 07:30 | [8 empty] | 02/07/2024 12:30 | 02/07/2024 12:30 |  | 01/07/2024 06:30
27/06/2024 07:00 | 2793.809 | 2910.989 | 2676.629 | [12 empty] | 01/07/2024 07:00 | [11 empty] | 01/07/2024 09:00 | [8 empty] | 02/07/2024 13:00 | 02/07/2024 13:00 |  | 01/07/2024 07:00
27/06/2024 07:30 | 2740.483 | 2855.333 | 2625.634 | [12 empty] | 01/07/2024 08:30 | [11 empty] | 01/07/2024 09:30 | [8 empty] | 02/07/2024 13:30 | 02/07/2024 13:30 |  | 01/07/2024 08:00
27/06/2024 08:00 | 2610.605 | 2719.922 | 2501.289 | [12 empty] | 01/07/2024 09:30 | [11 empty] | 01/07/2024 10:00 | [11 empty] | 01/07/2024 09:30
27/06/2024 08:30 | 2473.793 | 2577.296 | 2370.29 | [12 empty] | 01/07/2024 10:00 | [11 empty] | 01/07/2024 10:30 | [11 empty] | 01/07/2024 10:00
27/06/2024 09:00 | 2321.997 | 2419.069 | 2224.925 | [12 empty] | 01/07/2024 10:30 | [11 empty] | 01/07/2024 11:00 | [11 empty] | 01/07/2024 10:30
27/06/2024 09:30 | 2175.251 | 2266.114 | 2084.388 | [12 empty] | 01/07/2024 11:00 | [11 empty] | 01/07/2024 11:30 | [11 empty] | 01/07/2024 11:00
27/06/2024 10:00 | 2039.538 | 2124.661 | 1954.414 | [12 empty] | 01/07/2024 11:30 | [11 empty] | 01/07/2024 12:00 | [11 empty] | 01/07/2024 11:30
27/06/2024 10:30 | 1915.868 | 1995.764 | 1835.971 | [12 empty] | 01/07/2024 12:00 | [11 empty] | 01/07/2024 12:30 | [11 empty] | 01/07/2024 12:00
27/06/2024 11:00 | 1844.48 | 1921.336 | 1767.624 | [12 empty] | 01/07/2024 12:30 | [11 empty] | 01/07/2024 13:00 | [11 empty] | 01/07/2024 12:30
27/06/2024 11:30 | 1809.595 | 1884.936 | 1734.255 | [12 empty] | 01/07/2024 13:00 | [11 empty] | 01/07/2024 13:30 | [11 empty] | 01/07/2024 13:00
27/06/2024 12:00 | 1846.416 | 1923.225 | 1769.606 | [12 empty] | 01/07/2024 13:30 | [11 empty] | 01/07/2024 23:00 | [11 empty] | 01/07/2024 13:30
27/06/2024 12:30 | 1968.548 | 2050.371 | 1886.725 | [12 empty] | 01/07/2024 14:30 | [11 empty] | 01/07/2024 23:30 | [11 empty] | 01/07/2024 14:00
27/06/2024 13:00 | 2061.17 | 2146.772 | 1975.568 | [12 empty] | 01/07/2024 19:30 | [11 empty] | 02/07/2024 00:30 | [11 empty] | 01/07/2024 23:30
27/06/2024 13:30 | 2163.871 | 2253.664 | 2074.078 | [12 empty] | 01/07/2024 20:00 | [11 empty] | 02/07/2024 01:00 | [11 empty] | 02/07/2024 01:30
27/06/2024 14:00 | 2309.827 | 2405.597 | 2214.056 | [12 empty] | 02/07/2024 01:00 | [11 empty] | 02/07/2024 01:30 | [11 empty] | 02/07/2024 02:30
27/06/2024 14:30 | 2417.272 | 2517.414 | 2317.13 | [12 empty] | 02/07/2024 02:00 | [11 empty] | 02/07/2024 03:00 | [11 empty] | 02/07/2024 03:30
27/06/2024 15:00 | 2494.551 | 2597.809 | 2391.292 | [12 empty] | 02/07/2024 05:00 | [11 empty] | 02/07/2024 04:00 | [11 empty] | 02/07/2024 04:30
27/06/2024 15:30 | 2610.924 | 2718.909 | 2502.938 | [12 empty] | 02/07/2024 05:30 | [11 empty] | 02/07/2024 04:30 | [11 empty] | 02/07/2024 06:00
27/06/2024 16:00 | 2752.424 | 2866.168 | 2638.681 | [12 empty] | 02/07/2024 07:00 | [11 empty] | 02/07/2024 05:00 | [11 empty] | 02/07/2024 06:30
27/06/2024 16:30 | 2910.089 | 3030.249 | 2789.93 | [12 empty] | 02/07/2024 07:30 | [11 empty] | 02/07/2024 05:30 | [11 empty] | 02/07/2024 07:30
27/06/2024 17:00 | 3066.786 | 3193.31 | 2940.262 | [12 empty] | 02/07/2024 08:00 | [11 empty] | 02/07/2024 06:00 | [11 empty] | 02/07/2024 08:00
27/06/2024 17:30 | 3127.608 | 3256.533 | 2998.682 | [12 empty] | 02/07/2024 08:30 | [11 empty] | 02/07/2024 06:30 | [11 empty] | 02/07/2024 08:30
27/06/2024 18:00 | 3091.171 | 3218.489 | 2963.854 | [12 empty] | 02/07/2024 09:00 | [11 empty] | 02/07/2024 08:00 | [11 empty] | 02/07/2024 09:00
27/06/2024 18:30 | 3029.135 | 3153.794 | 2904.477 | [12 empty] | 02/07/2024 09:30 | [11 empty] | 02/07/2024 08:30 | [11 empty] | 02/07/2024 11:00
27/06/2024 19:00 | 2961.36 | 3083.128 | 2839.592 | [12 empty] | 02/07/2024 10:00 | [11 empty] | 02/07/2024 09:00 | [11 empty] | 02/07/2024 11:30
27/06/2024 19:30 | 2881.223 | 2999.596 | 2762.849 | [12 empty] | 02/07/2024 11:30 | [11 empty] | 02/07/2024 09:30 | [11 empty] | 02/07/2024 12:00
27/06/2024 20:00 | 2775.019 | 2888.934 | 2661.104 | [12 empty] | 02/07/2024 12:00 | [11 empty] | 02/07/2024 10:00 | [11 empty] | 02/07/2024 12:30
27/06/2024 20:30 | 2650.212 | 2758.913 | 2541.511 | [12 empty] | 02/07/2024 13:00 | [11 empty] | 02/07/2024 10:30 | [11 empty] | 02/07/2024 13:00
27/06/2024 21:00 | 2515.005 | 2618.074 | 2411.937 | [12 empty] | 02/07/2024 14:00 | [11 empty] | 02/07/2024 11:00 | [11 empty] | 02/07/2024 13:30
27/06/2024 21:30 | 2379.922 | 2477.374 | 2282.471 | [12 empty] | 02/07/2024 15:00 | [11 empty] | 02/07/2024 11:30 | [11 empty] | 02/07/2024 14:00
27/06/2024 22:00 | 2251.225 | 2343.329 | 2159.121 | [12 empty] | 02/07/2024 21:00 | [11 empty] | 02/07/2024 14:00 | [11 empty] | 02/07/2024 15:00
27/06/2024 22:30 | 2142.486 | 2230.067 | 2054.904 | [12 empty] | 03/07/2024 03:00 | [11 empty] | 02/07/2024 14:30 | [11 empty] | 02/07/2024 21:00
27/06/2024 23:00 | 2058.148 | 2142.212 | 1974.085 | [12 empty] | 03/07/2024 06:00 | [11 empty] | 02/07/2024 23:00 | [11 empty] | 02/07/2024 21:30
27/06/2024 23:30 | 1996.635 | 2078.118 | 1915.153 | [24 empty] | 02/07/2024 23:30 | [11 empty] | 02/07/2024 23:00
28/06/2024 00:00 | 1947.186 | 2026.583 | 1867.788 | [24 empty] | 03/07/2024 07:30 | [11 empty] | 02/07/2024 23:30
28/06/2024 00:30 | 1911.356 | 1989.227 | 1833.485 | [36 empty] | 03/07/2024 04:30
28/06/2024 01:00 | 1887.49 | 1964.324 | 1810.657 | [36 empty] | 03/07/2024 06:00
28/06/2024 01:30 | 1871.807 | 1947.969 | 1795.676 | [36 empty] | 03/07/2024 06:30
28/06/2024 02:00 | 1865.889 | 1941.749 | 1790.063 | [36 empty] | 03/07/2024 07:00
28/06/2024 02:30 | 1868.507 | 1944.412 | 1792.426 | [36 empty] | 03/07/2024 07:30
28/06/2024 03:00 | 1872.6 | 1948.609 | 1796.418
28/06/2024 03:30 | 1890.707 | 1967.388 | 1813.856
28/06/2024 04:00 | 1936.698 | 2015.184 | 1858.049
28/06/2024 04:30 | 2020.198 | 2102.003 | 1938.231
28/06/2024 05:00 | 2134.537 | 2220.901 | 2048.007
28/06/2024 05:30 | 2293.205 | 2385.913 | 2200.324
28/06/2024 06:00 | 2494.305 | 2595.06 | 2393.367
28/06/2024 06:30 | 2671.898 | 2779.735 | 2563.865
28/06/2024 07:00 | 2779.445 | 2891.529 | 2667.161
28/06/2024 07:30 | 2745.488 | 2856.256 | 2634.609
28/06/2024 08:00 | 2645.068 | 2752.048 | 2538.096
28/06/2024 08:30 | 2557.961 | 2661.595 | 2454.327
28/06/2024 09:00 | 2421.268 | 2519.535 | 2323.001
28/06/2024 09:30 | 2229.205 | 2319.834 | 2138.576
28/06/2024 10:00 | 2057.267 | 2141.051 | 1973.482
28/06/2024 10:30 | 1927.169 | 2005.792 | 1848.547
28/06/2024 11:00 | 1850.297 | 1925.914 | 1774.68
28/06/2024 11:30 | 1797.44 | 1871.024 | 1723.856
28/06/2024 12:00 | 1753.688 | 1825.605 | 1681.771
28/06/2024 12:30 | 1738.669 | 1810.093 | 1667.246
28/06/2024 13:00 | 1722.46 | 1793.339 | 1651.58
28/06/2024 13:30 | 1743.354 | 1815.217 | 1671.492
28/06/2024 14:00 | 1819.145 | 1894.26 | 1744.03
28/06/2024 14:30 | 1958.553 | 2039.562 | 1877.543
28/06/2024 15:00 | 2116.298 | 2203.982 | 2028.614
28/06/2024 15:30 | 2331.184 | 2427.936 | 2234.432
28/06/2024 16:00 | 2530.463 | 2635.665 | 2425.262
28/06/2024 16:30 | 2715.352 | 2828.432 | 2602.272
28/06/2024 17:00 | 2876.446 | 2996.438 | 2756.454
28/06/2024 17:30 | 2949.876 | 3073.14 | 2826.612
28/06/2024 18:00 | 2931.405 | 3054.104 | 2808.706
28/06/2024 18:30 | 2874.205 | 2994.713 | 2753.698
28/06/2024 19:00 | 2807.554 | 2925.466 | 2689.643
28/06/2024 19:30 | 2743.531 | 2863.068 | 2628.114
28/06/2024 20:00 | 2658.316 | 2774.424 | 2550.054
28/06/2024 20:30 | 2565.5 | 2677.517 | 2460.636
28/06/2024 21:00 | 2462.436 | 2569.848 | 2361.353
28/06/2024 21:30 | 2351.424 | 2453.944 | 2254.534
28/06/2024 22:00 | 2242.204 | 2339.975 | 2149.521
28/06/2024 22:30 | 2146.435 | 2240.095 | 2057.48
28/06/2024 23:00 | 2064.276 | 2154.425 | 1978.513
28/06/2024 23:30 | 2001.78 | 2091.069 | 1916.602
29/06/2024 00:00 | 1949.675 | 2040.206 | 1862.925
29/06/2024 00:30 | 1910.59 | 1999.099 | 1825.31
29/06/2024 01:00 | 1883.972 | 1971.359 | 1799.37
29/06/2024 01:30 | 1864.517 | 1951.232 | 1780.393
29/06/2024 02:00 | 1855.88 | 1942.427 | 1771.756
29/06/2024 02:30 | 1850.103 | 1936.96 | 1766.169
29/06/2024 03:00 | 1847.001 | 1934.34 | 1763.18
29/06/2024 03:30 | 1854.465 | 1942.421 | 1769.945
29/06/2024 04:00 | 1877.121 | 1966.261 | 1791.059
29/06/2024 04:30 | 1920.958 | 2010.858 | 1831.059
29/06/2024 05:00 | 1982.731 | 2075.857 | 1889.604
29/06/2024 05:30 | 2072.7 | 2170.404 | 1974.996
29/06/2024 06:00 | 2187.236 | 2290.71 | 2083.762
29/06/2024 06:30 | 2295.321 | 2404.298 | 2186.345
29/06/2024 07:00 | 2371.948 | 2484.965 | 2258.931
29/06/2024 07:30 | 2340.063 | 2451.958 | 2228.169
29/06/2024 08:00 | 2190.226 | 2295.327 | 2085.125
29/06/2024 08:30 | 2027.993 | 2125.654 | 1930.333
29/06/2024 09:00 | 1867.301 | 1957.539 | 1777.062
29/06/2024 09:30 | 1704.882 | 1787.561 | 1622.203
29/06/2024 10:00 | 1567.308 | 1643.581 | 1491.035
29/06/2024 10:30 | 1467.857 | 1539.539 | 1396.174
29/06/2024 11:00 | 1406.845 | 1475.786 | 1337.903
29/06/2024 11:30 | 1371.332 | 1438.765 | 1303.898
29/06/2024 12:00 | 1364.005 | 1431.31 | 1296.701
29/06/2024 12:30 | 1399.075 | 1468.347 | 1329.802
29/06/2024 13:00 | 1464.421 | 1537.178 | 1391.665
29/06/2024 13:30 | 1578.06 | 1656.73 | 1499.39
29/06/2024 14:00 | 1713.951 | 1799.686 | 1628.216
29/06/2024 14:30 | 1827.686 | 1919.421 | 1735.952
29/06/2024 15:00 | 1977.87 | 2077.478 | 1878.262
29/06/2024 15:30 | 2180.081 | 2290.242 | 2069.92
29/06/2024 16:00 | 2396.714 | 2518.228 | 2275.199
29/06/2024 16:30 | 2604.238 | 2736.715 | 2471.76
29/06/2024 17:00 | 2773.72 | 2915.29 | 2632.15
29/06/2024 17:30 | 2858.312 | 3004.684 | 2711.939
29/06/2024 18:00 | 2833.917 | 2979.52 | 2688.313
29/06/2024 18:30 | 2793.117 | 2937.099 | 2649.136
29/06/2024 19:00 | 2755.72 | 2898.241 | 2613.199
29/06/2024 19:30 | 2698.901 | 2838.942 | 2558.861
29/06/2024 20:00 | 2625.386 | 2762.057 | 2488.716
29/06/2024 20:30 | 2548.559 | 2681.662 | 2415.455
29/06/2024 21:00 | 2459.757 | 2588.64 | 2330.874
29/06/2024 21:30 | 2352.604 | 2476.271 | 2228.936
29/06/2024 22:00 | 2244.381 | 2362.741 | 2126.021
29/06/2024 22:30 | 2148.461 | 2262.126 | 2034.795
29/06/2024 23:00 | 2070.901 | 2180.814 | 1960.987
29/06/2024 23:30 | 2014.105 | 2121.346 | 1906.865
30/06/2024 00:00 | 1967.208 | 2072.286 | 1862.131
30/06/2024 00:30 | 1930.226 | 2033.655 | 1826.797
30/06/2024 01:00 | 1903.415 | 2005.731 | 1801.1
30/06/2024 01:30 | 1883.739 | 1985.317 | 1782.162
30/06/2024 02:00 | 1874.519 | 1975.917 | 1773.121
30/06/2024 02:30 | 1867.733 | 1969.081 | 1766.385
30/06/2024 03:00 | 1865.546 | 1967.091 | 1764
30/06/2024 03:30 | 1871.778 | 1973.98 | 1769.575
30/06/2024 04:00 | 1891.549 | 1995.152 | 1787.947
30/06/2024 04:30 | 1929.904 | 2035.935 | 1823.874
30/06/2024 05:00 | 1969.254 | 2077.781 | 1860.727
30/06/2024 05:30 | 2030.504 | 2142.75 | 1918.257
30/06/2024 06:00 | 2137.502 | 2256.027 | 2018.978
30/06/2024 06:30 | 2240.928 | 2365.567 | 2116.289
30/06/2024 07:00 | 2325.271 | 2454.996 | 2195.547
30/06/2024 07:30 | 2326.455 | 2456.615 | 2196.294
30/06/2024 08:00 | 2234.615 | 2359.946 | 2109.285
30/06/2024 08:30 | 2108.796 | 2227.364 | 1990.228
30/06/2024 09:00 | 1956.271 | 2066.537 | 1846.006
30/06/2024 09:30 | 1781.506 | 1882.17 | 1680.842
30/06/2024 10:00 | 1610.354 | 1701.572 | 1519.136
30/06/2024 10:30 | 1442.6 | 1524.517 | 1360.683
30/06/2024 11:00 | 1350.806 | 1427.699 | 1273.913
30/06/2024 11:30 | 1351.14 | 1428.24 | 1274.039
30/06/2024 12:00 | 1351.425 | 1428.73 | 1274.119
30/06/2024 12:30 | 1350.898 | 1428.362 | 1273.434
30/06/2024 13:00 | 1370.073 | 1448.829 | 1291.318
30/06/2024 13:30 | 1431.956 | 1514.468 | 1349.444
30/06/2024 14:00 | 1554.745 | 1644.55 | 1464.94
30/06/2024 14:30 | 1725.912 | 1825.844 | 1625.979
30/06/2024 15:00 | 1915.441 | 2026.615 | 1804.267
30/06/2024 15:30 | 2171.116 | 2297.433 | 2044.799
30/06/2024 16:00 | 2456.893 | 2600.18 | 2313.606
30/06/2024 16:30 | 2707.946 | 2866.252 | 2549.639
30/06/2024 17:00 | 2929.199 | 3100.849 | 2757.549
30/06/2024 17:30 | 3050.538 | 3229.725 | 2871.352
30/06/2024 18:00 | 3041.398 | 3220.472 | 2862.324
30/06/2024 18:30 | 2990.152 | 3166.627 | 2813.678
30/06/2024 19:00 | 2934.63 | 3108.238 | 2761.023
30/06/2024 19:30 | 2871.238 | 3041.497 | 2700.98
30/06/2024 20:00 | 2779.736 | 2944.957 | 2614.516
30/06/2024 20:30 | 2672.252 | 2831.458 | 2513.047
30/06/2024 21:00 | 2545.46 | 2697.467 | 2393.453
30/06/2024 21:30 | 2407.085 | 2551.165 | 2263.006
30/06/2024 22:00 | 2276.014 | 2412.566 | 2139.462
30/06/2024 22:30 | 2170.353 | 2300.868 | 2039.837
30/06/2024 23:00 | 2094 | 2220.216 | 1967.783
30/06/2024 23:30 | 2040.118 | 2156.057 | 1924.179
01/07/2024 00:00 | 1994.893 | 2094.346 | 1895.44
01/07/2024 00:30 | 1958.047 | 2057.052 | 1859.041
01/07/2024 01:00 | 1934.982 | 2033.014 | 1836.949
01/07/2024 01:30 | 1920.155 | 2017.628 | 1822.682
01/07/2024 02:00 | 1915.086 | 2012.493 | 1817.679
01/07/2024 02:30 | 1915.093 | 2012.692 | 1817.495
01/07/2024 03:00 | 1921.389 | 2019.5 | 1823.277
01/07/2024 03:30 | 1942.748 | 2042.144 | 1843.352
01/07/2024 04:00 | 1990.368 | 2092.399 | 1888.337
01/07/2024 04:30 | 2078.86 | 2185.635 | 1972.085
01/07/2024 05:00 | 2203.006 | 2316.378 | 2089.635
01/07/2024 05:30 | 2367.761 | 2489.847 | 2245.674
01/07/2024 06:00 | 2578.713 | 2711.934 | 2445.492
01/07/2024 06:30 | 2774.728 | 2918.353 | 2631.103
01/07/2024 07:00 | 2906.221 | 3056.942 | 2755.5
01/07/2024 07:30 | 2892.433 | 3042.728 | 2742.138
01/07/2024 08:00 | 2789.047 | 2934.248 | 2643.845
01/07/2024 08:30 | 2648.624 | 2786.779 | 2510.469
01/07/2024 09:00 | 2482.619 | 2612.363 | 2352.875
01/07/2024 09:30 | 2280.252 | 2399.648 | 2160.856
01/07/2024 10:00 | 2119.898 | 2231.109 | 2008.686
01/07/2024 10:30 | 2012.606 | 2118.39 | 1906.822
01/07/2024 11:00 | 1940.575 | 2042.767 | 1838.384
01/07/2024 11:30 | 1917.564 | 2018.736 | 1816.393
01/07/2024 12:00 | 1909.814 | 2010.767 | 1808.861
01/07/2024 12:30 | 1949.786 | 2053.047 | 1846.525
01/07/2024 13:00 | 1974.378 | 2079.138 | 1869.618
01/07/2024 13:30 | 1975.338 | 2080.346 | 1870.33
01/07/2024 14:00 | 2054.062 | 2163.461 | 1944.664
01/07/2024 14:30 | 2176.887 | 2293.045 | 2060.729
01/07/2024 15:00 | 2314.624 | 2438.362 | 2190.886
01/07/2024 15:30 | 2482.742 | 2615.716 | 2349.769
01/07/2024 16:00 | 2706.762 | 2852.005 | 2561.52
01/07/2024 16:30 | 2963.079 | 3122.371 | 2803.787
01/07/2024 17:00 | 3206.09 | 3378.766 | 3033.414
01/07/2024 17:30 | 3330.007 | 3509.689 | 3150.324
01/07/2024 18:00 | 3313.469 | 3492.59 | 3134.348
01/07/2024 18:30 | 3250.354 | 3426.388 | 3074.32
01/07/2024 19:00 | 3171.074 | 3343.131 | 2999.017
01/07/2024 19:30 | 3090.512 | 3258.506 | 2922.518
01/07/2024 20:00 | 2983.056 | 3145.507 | 2820.605
01/07/2024 20:30 | 2858.534 | 3014.49 | 2702.579
01/07/2024 21:00 | 2707.459 | 2855.442 | 2559.475
01/07/2024 21:30 | 2545.003 | 2684.361 | 2405.646
01/07/2024 22:00 | 2394.85 | 2526.225 | 2263.474
01/07/2024 22:30 | 2268.853 | 2393.543 | 2144.163
01/07/2024 23:00 | 2168.131 | 2287.502 | 2048.76
01/07/2024 23:30 | 2091.072 | 2206.409 | 1975.735
02/07/2024 00:00 | 2026.544 | 2138.524 | 1914.564
02/07/2024 00:30 | 1980.306 | 2089.929 | 1870.682
02/07/2024 01:00 | 1953.184 | 2061.501 | 1844.867
02/07/2024 01:30 | 1935.101 | 2042.609 | 1827.594
02/07/2024 02:00 | 1925.656 | 2032.831 | 1818.481
02/07/2024 02:30 | 1924.508 | 2031.811 | 1817.205
02/07/2024 03:00 | 1928.768 | 2036.501 | 1821.035
02/07/2024 03:30 | 1946.385 | 2055.296 | 1837.473
02/07/2024 04:00 | 1989.851 | 2101.393 | 1878.308
02/07/2024 04:30 | 2071.923 | 2188.273 | 1955.573
02/07/2024 05:00 | 2200.969 | 2324.785 | 2077.153
02/07/2024 05:30 | 2379.433 | 2513.527 | 2245.34
02/07/2024 06:00 | 2584.57 | 2730.482 | 2438.657
02/07/2024 06:30 | 2767.429 | 2923.941 | 2610.917
02/07/2024 07:00 | 2855.157 | 3016.916 | 2693.399
02/07/2024 07:30 | 2753.016 | 2909.562 | 2596.47
02/07/2024 08:00 | 2570.854 | 2718.131 | 2423.578
02/07/2024 08:30 | 2377.037 | 2514.173 | 2239.902
02/07/2024 09:00 | 2181.287 | 2308.013 | 2054.562
02/07/2024 09:30 | 1965.501 | 2080.486 | 1850.516
02/07/2024 10:00 | 1779.518 | 1884.343 | 1674.692
02/07/2024 10:30 | 1650.858 | 1748.773 | 1552.943
02/07/2024 11:00 | 1557.86 | 1650.891 | 1464.83
02/07/2024 11:30 | 1494.864 | 1584.737 | 1404.99
02/07/2024 12:00 | 1464.431 | 1553.068 | 1375.794
02/07/2024 12:30 | 1480.359 | 1570.56 | 1390.159
02/07/2024 13:00 | 1514.071 | 1606.939 | 1421.203
02/07/2024 13:30 | 1600.437 | 1699.251 | 1501.624
02/07/2024 14:00 | 1723.853 | 1830.985 | 1616.722
02/07/2024 14:30 | 1866.209 | 1982.944 | 1749.475
02/07/2024 15:00 | 2050.406 | 2179.493 | 1921.32
02/07/2024 15:30 | 2273.922 | 2418.001 | 2129.843
02/07/2024 16:00 | 2537.893 | 2699.726 | 2376.06
02/07/2024 16:30 | 2821.458 | 3002.515 | 2640.4
02/07/2024 17:00 | 3068.305 | 3266.445 | 2870.164
02/07/2024 17:30 | 3208.494 | 3416.987 | 3000.001
02/07/2024 18:00 | 3207.994 | 3417.753 | 2998.234
02/07/2024 18:30 | 3153.346 | 3360.809 | 2945.882
02/07/2024 19:00 | 3078.347 | 3282.123 | 2874.572
02/07/2024 19:30 | 3001.3 | 3201.191 | 2801.409
02/07/2024 20:00 | 2898.972 | 3093.222 | 2704.722
02/07/2024 20:30 | 2780.676 | 2968.125 | 2593.226
02/07/2024 21:00 | 2634.034 | 2812.665 | 2455.404
02/07/2024 21:30 | 2476.49 | 2645.44 | 2307.541
02/07/2024 22:00 | 2329.981 | 2489.88 | 2170.083
02/07/2024 22:30 | 2209.881 | 2362.432 | 2057.33
02/07/2024 23:00 | 2118.284 | 2265.369 | 1971.198
02/07/2024 23:30 | 2052.117 | 2195.439 | 1908.794
03/07/2024 00:00 | 1998.476 | 2138.862 | 1858.091
03/07/2024 00:30 | 1957.141 | 2095.415 | 1818.866
03/07/2024 01:00 | 1931.711 | 2068.971 | 1794.451
03/07/2024 01:30 | 1913.548 | 2050.292 | 1776.803
03/07/2024 02:00 | 1903.945 | 2040.774 | 1767.115
03/07/2024 02:30 | 1902.634 | 2040.14 | 1765.128
03/07/2024 03:00 | 1906.702 | 2045.273 | 1768.13
03/07/2024 03:30 | 1927.167 | 2068.007 | 1786.327
03/07/2024 04:00 | 1973.973 | 2119.032 | 1828.913
03/07/2024 04:30 | 2055.722 | 2207.622 | 1903.822
03/07/2024 05:00 | 2177.799 | 2339.601 | 2015.997
03/07/2024 05:30 | 2345.241 | 2520.434 | 2170.049
03/07/2024 06:00 | 2538.452 | 2729.105 | 2347.799
03/07/2024 06:30 | 2707.972 | 2912.454 | 2503.49
03/07/2024 07:00 | 2785.586 | 2997.057 | 2574.115
03/07/2024 07:30 | 2674.134 | 2878.227 | 2470.042