## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
27/06/2024 08:00 | 2811.153 | 2849.61 | 2772.696
27/06/2024 08:30 | 2724.321 | 2768.46 | 2680.182 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
27/06/2024 09:00 | 2610.099 | 2658.969 | 2561.229 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
27/06/2024 09:30 | 2440.972 | 2492.831 | 2389.114 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
27/06/2024 10:00 | 2253.476 | 2307.034 | 2199.919 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
27/06/2024 10:30 | 2083.514 | 2137.002 | 2030.027 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
27/06/2024 11:00 | 1941.36 | 1992.528 | 1890.193 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
27/06/2024 11:30 | 1835.378 | 1885.202 | 1785.554 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
27/06/2024 12:00 | 1814.453 | 1865.142 | 1763.764 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
27/06/2024 12:30 | 1918.053 | 1973.151 | 1862.955 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
27/06/2024 13:00 | 2015.82 | 2075.318 | 1956.321 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
27/06/2024 13:30 | 2108.027 | 2171.912 | 2044.142
27/06/2024 14:00 | 2237.264 | 2306.833 | 2167.696 | Summary view - for each schedule horizon (dispatch, week-ahead)
27/06/2024 14:30 | 2349.543 | 2424.459 | 2274.627
27/06/2024 15:00 | 2434.729 | 2513.481 | 2354.421 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
27/06/2024 15:30 | 2555.23 | 2640.871 | 2469.841 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
27/06/2024 16:00 | 2704.652 | 2795.34 | 2610.174 | Scenario | Violations
27/06/2024 16:30 | 2867.598 | 2969.854 | 2768.747 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
27/06/2024 17:00 | 3035.143 | 3145.205 | 2927.59 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
27/06/2024 17:30 | 3108.839 | 3219.739 | 2992.229 | Reference Scenario | 0 | 0 | 0 | 0 | 10 | 9 | 12 | 0 | 11 | 11 | 0 | 1
27/06/2024 18:00 | 3079.727 | 3193.271 | 2962.941 | High Demand Scenario | 0 | 0 | 0 | 0 | 9 | 5 | 8 | 0 | 13 | 13 | 0 | 1
27/06/2024 18:30 | 3021.985 | 3135.629 | 2906.138 | Low Demand Scenario | 0 | 0 | 0 | 0 | 12 | 11 | 13 | 0 | 18 | 18 | 0 | 3
27/06/2024 19:00 | 2953.693 | 3066.714 | 2841.504
27/06/2024 19:30 | 2874.274 | 2984.154 | 2764.058 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
27/06/2024 20:00 | 2767.291 | 2873.852 | 2660.977
27/06/2024 20:30 | 2643.239 | 2745.023 | 2540.818 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
27/06/2024 21:00 | 2509.144 | 2606.634 | 2411.894 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
27/06/2024 21:30 | 2375.407 | 2467.99 | 2282.825 | [5 empty] | 30/06/2024 10:30 | 30/06/2024 11:00 | 30/06/2024 11:00 |  | 30/06/2024 10:30 | 30/06/2024 10:30 |  | 02/07/2024 08:00 |  |  |  |  | 29/06/2024 12:00 | 30/06/2024 11:30 | 30/06/2024 12:00 |  | 29/06/2024 11:30 | 29/06/2024 11:30 |  | 03/07/2024 02:00 |  |  |  |  | 30/06/2024 10:30 | 30/06/2024 10:30 | 30/06/2024 10:30 |  | 29/06/2024 11:30 | 29/06/2024 11:30 |  | 30/06/2024 12:00
27/06/2024 22:00 | 2247.862 | 2335.859 | 2159.865 | [5 empty] | 30/06/2024 11:00 | 30/06/2024 11:30 | 30/06/2024 11:30 |  | 30/06/2024 11:00 | 30/06/2024 11:00 | [6 empty] | 30/06/2024 11:00 | 30/06/2024 12:00 | 02/07/2024 11:30 |  | 29/06/2024 12:00 | 29/06/2024 12:00 | [6 empty] | 30/06/2024 11:00 | 30/06/2024 11:00 | 30/06/2024 11:00 |  | 29/06/2024 12:00 | 29/06/2024 12:00 |  | 03/07/2024 12:00
27/06/2024 22:30 | 2139.778 | 2223.911 | 2055.645 | [5 empty] | 30/06/2024 11:30 | 30/06/2024 12:00 | 30/06/2024 12:00 |  | 30/06/2024 11:30 | 30/06/2024 11:30 | [6 empty] | 30/06/2024 11:30 | 03/07/2024 11:30 | 02/07/2024 12:00 |  | 29/06/2024 12:30 | 29/06/2024 12:30 | [6 empty] | 30/06/2024 11:30 | 30/06/2024 11:30 | 30/06/2024 11:30 |  | 30/06/2024 10:00 | 30/06/2024 10:00 |  | 03/07/2024 12:30
27/06/2024 23:00 | 2054.425 | 2135.555 | 1973.296 | [5 empty] | 30/06/2024 12:00 | 30/06/2024 12:30 | 30/06/2024 12:30 |  | 30/06/2024 12:00 | 30/06/2024 12:00 | [6 empty] | 30/06/2024 12:00 | 03/07/2024 12:00 | 02/07/2024 12:30 |  | 30/06/2024 11:00 | 30/06/2024 11:00 | [6 empty] | 30/06/2024 12:00 | 30/06/2024 12:00 | 30/06/2024 12:00 |  | 30/06/2024 10:30 | 30/06/2024 10:30
27/06/2024 23:30 | 1991.694 | 2070.688 | 1912.701 | [5 empty] | 30/06/2024 12:30 | 30/06/2024 13:00 | 30/06/2024 13:00 |  | 30/06/2024 12:30 | 30/06/2024 12:30 | [6 empty] | 30/06/2024 12:30 | 03/07/2024 12:30 | 02/07/2024 13:00 |  | 30/06/2024 11:30 | 30/06/2024 11:30 | [6 empty] | 30/06/2024 12:30 | 30/06/2024 12:30 | 30/06/2024 12:30 |  | 30/06/2024 11:00 | 30/06/2024 11:00
28/06/2024 00:00 | 1940.896 | 2018.209 | 1863.584 | [5 empty] | 30/06/2024 13:00 | 03/07/2024 11:30 | 02/07/2024 11:00 |  | 30/06/2024 13:00 | 30/06/2024 13:00 | [6 empty] | 03/07/2024 11:30 |  | 03/07/2024 11:30 |  | 30/06/2024 12:00 | 30/06/2024 12:00 | [6 empty] | 30/06/2024 13:00 | 30/06/2024 13:00 | 30/06/2024 13:00 |  | 30/06/2024 11:30 | 30/06/2024 11:30
28/06/2024 00:30 | 1904.386 | 1980.571 | 1828.202 | [5 empty] | 03/07/2024 11:30 | 03/07/2024 12:00 | 02/07/2024 11:30 |  | 03/07/2024 11:00 | 03/07/2024 11:00 | [6 empty] | 03/07/2024 12:00 |  | 03/07/2024 12:00 |  | 30/06/2024 12:30 | 30/06/2024 12:30 | [6 empty] | 30/06/2024 13:30 | 03/07/2024 11:00 | 02/07/2024 10:30 |  | 30/06/2024 12:00 | 30/06/2024 12:00
28/06/2024 01:00 | 1880.036 | 1955.569 | 1804.503 | [5 empty] | 03/07/2024 12:00 | 03/07/2024 12:30 | 02/07/2024 12:00 |  | 03/07/2024 11:30 | 03/07/2024 11:30 | [6 empty] | 03/07/2024 12:30 |  | 03/07/2024 12:30 |  | 30/06/2024 13:00 | 30/06/2024 13:00 | [6 empty] | 03/07/2024 11:00 | 03/07/2024 11:30 | 02/07/2024 11:00 |  | 30/06/2024 12:30 | 30/06/2024 12:30
28/06/2024 01:30 | 1864.779 | 1940.018 | 1789.539 | [5 empty] | 03/07/2024 12:30 | 03/07/2024 13:00 | 02/07/2024 12:30 |  | 03/07/2024 12:00 | 03/07/2024 12:00 | [6 empty] | 03/07/2024 13:00 |  |  |  | 03/07/2024 11:00 | 03/07/2024 11:00 | [6 empty] | 03/07/2024 11:30 | 03/07/2024 12:00 | 02/07/2024 11:30 |  | 30/06/2024 13:00 | 30/06/2024 13:00
28/06/2024 02:00 | 1858.872 | 1934.192 | 1783.552 | [5 empty] | 03/07/2024 13:00 |  | 03/07/2024 11:30 |  | 03/07/2024 12:30 | 03/07/2024 12:30 | [10 empty] | 03/07/2024 11:30 | 03/07/2024 11:30 | [6 empty] | 03/07/2024 12:00 | 03/07/2024 12:30 | 02/07/2024 12:00 |  | 30/06/2024 13:30 | 30/06/2024 13:30
28/06/2024 02:30 | 1860.937 | 1936.66 | 1785.214 | [7 empty] | 03/07/2024 12:00 |  | 03/07/2024 13:00 | 03/07/2024 13:00 | [10 empty] | 03/07/2024 12:00 | 03/07/2024 12:00 | [6 empty] | 03/07/2024 12:30 | 03/07/2024 13:00 | 03/07/2024 11:00 |  | 01/07/2024 12:00 | 01/07/2024 12:00
28/06/2024 03:00 | 1864.785 | 1940.984 | 1788.586 | [7 empty] | 03/07/2024 12:30 | [13 empty] | 03/07/2024 12:30 | 03/07/2024 12:30 | [6 empty] | 03/07/2024 13:00 |  | 03/07/2024 12:00 |  | 03/07/2024 10:30 | 03/07/2024 10:30
28/06/2024 03:30 | 1882.838 | 1960.098 | 1805.578 | [21 empty] | 03/07/2024 13:00 | 03/07/2024 13:00 | [8 empty] | 03/07/2024 12:30 |  | 03/07/2024 11:00 | 03/07/2024 11:00
28/06/2024 04:00 | 1928.299 | 2007.755 | 1848.843 | [33 empty] | 03/07/2024 11:30 | 03/07/2024 11:30
28/06/2024 04:30 | 2010.732 | 2093.93 | 1927.535 | [33 empty] | 03/07/2024 12:00 | 03/07/2024 12:00
28/06/2024 05:00 | 2127.246 | 2215.63 | 2038.863 | [33 empty] | 03/07/2024 12:30 | 03/07/2024 12:30
28/06/2024 05:30 | 2288.998 | 2384.494 | 2193.501 | [33 empty] | 03/07/2024 13:00 | 03/07/2024 13:00
28/06/2024 06:00 | 2486.704 | 2590.875 | 2382.532 | [33 empty] | 03/07/2024 13:30 | 03/07/2024 13:30
28/06/2024 06:30 | 2658.705 | 2770.343 | 2547.067
28/06/2024 07:00 | 2754.749 | 2870.291 | 2639.207
28/06/2024 07:30 | 2708.941 | 2822.469 | 2595.414
28/06/2024 08:00 | 2578.992 | 2686.985 | 2470.999
28/06/2024 08:30 | 2433.253 | 2535.06 | 2331.446
28/06/2024 09:00 | 2284.455 | 2379.958 | 2188.952
28/06/2024 09:30 | 2153.733 | 2243.697 | 2063.77
28/06/2024 10:00 | 2017.249 | 2101.443 | 1933.055
28/06/2024 10:30 | 1857.48 | 1934.941 | 1780.018
28/06/2024 11:00 | 1748.4 | 1821.253 | 1675.547
28/06/2024 11:30 | 1668.274 | 1737.731 | 1598.818
28/06/2024 12:00 | 1618.022 | 1685.331 | 1550.713
28/06/2024 12:30 | 1620.38 | 1687.731 | 1553.028
28/06/2024 13:00 | 1625.412 | 1692.917 | 1557.907
28/06/2024 13:30 | 1666.432 | 1735.583 | 1597.281
28/06/2024 14:00 | 1753.014 | 1825.698 | 1680.33
28/06/2024 14:30 | 1887.571 | 1965.769 | 1809.373
28/06/2024 15:00 | 2048.411 | 2133.202 | 1963.62
28/06/2024 15:30 | 2267.728 | 2361.519 | 2173.936
28/06/2024 16:00 | 2482.777 | 2585.377 | 2380.177
28/06/2024 16:30 | 2673.671 | 2784.068 | 2563.273
28/06/2024 17:00 | 2838.97 | 2956.095 | 2721.845
28/06/2024 17:30 | 2912.749 | 3032.818 | 2792.68
28/06/2024 18:00 | 2894.176 | 3013.38 | 2774.972
28/06/2024 18:30 | 2839.996 | 2956.871 | 2723.121
28/06/2024 19:00 | 2777.887 | 2892.111 | 2663.664
28/06/2024 19:30 | 2716.674 | 2828.287 | 2605.061
28/06/2024 20:00 | 2633.655 | 2741.767 | 2525.543
28/06/2024 20:30 | 2543.67 | 2648.001 | 2439.339
28/06/2024 21:00 | 2444.035 | 2544.195 | 2343.875
28/06/2024 21:30 | 2335.847 | 2431.493 | 2240.2
28/06/2024 22:00 | 2228.442 | 2319.614 | 2137.271
28/06/2024 22:30 | 2134.116 | 2221.355 | 2046.877
28/06/2024 23:00 | 2053.629 | 2137.508 | 1969.75
28/06/2024 23:30 | 1992.506 | 2073.775 | 1911.237
29/06/2024 00:00 | 1941.432 | 2020.429 | 1862.435
29/06/2024 00:30 | 1902.88 | 1980.145 | 1825.615
29/06/2024 01:00 | 1876.344 | 1952.37 | 1800.318
29/06/2024 01:30 | 1856.491 | 1931.552 | 1781.43
29/06/2024 02:00 | 1847.244 | 1921.771 | 1772.716
29/06/2024 02:30 | 1841.65 | 1915.793 | 1767.507
29/06/2024 03:00 | 1838.48 | 1912.336 | 1764.623
29/06/2024 03:30 | 1845.804 | 1920.138 | 1771.516
29/06/2024 04:00 | 1867.423 | 1942.465 | 1792.424
29/06/2024 04:30 | 1908.026 | 1984.534 | 1831.561
29/06/2024 05:00 | 1968.51 | 2047.273 | 1889.79
29/06/2024 05:30 | 2055.657 | 2137.73 | 1973.63
29/06/2024 06:00 | 2164.331 | 2250.556 | 2078.155
29/06/2024 06:30 | 2266.928 | 2357.045 | 2176.863
29/06/2024 07:00 | 2338.08 | 2430.823 | 2245.389
29/06/2024 07:30 | 2304.804 | 2396.227 | 2213.411
29/06/2024 08:00 | 2157.749 | 2243.724 | 2071.774
29/06/2024 08:30 | 1998.972 | 2078.959 | 1918.985
29/06/2024 09:00 | 1848.284 | 1922.555 | 1774.013
29/06/2024 09:30 | 1700.668 | 1769.296 | 1632.04
29/06/2024 10:00 | 1576.665 | 1640.556 | 1512.773
29/06/2024 10:30 | 1489.407 | 1550.015 | 1428.799
29/06/2024 11:00 | 1432.415 | 1490.947 | 1373.883
29/06/2024 11:30 | 1388.368 | 1445.335 | 1331.4
29/06/2024 12:00 | 1372.098 | 1428.63 | 1315.565
29/06/2024 12:30 | 1395.955 | 1453.708 | 1338.203
29/06/2024 13:00 | 1448.654 | 1508.833 | 1388.476
29/06/2024 13:30 | 1562.786 | 1627.971 | 1497.602
29/06/2024 14:00 | 1706.69 | 1778.166 | 1635.213
29/06/2024 14:30 | 1833.198 | 1910.283 | 1756.112
29/06/2024 15:00 | 1985.324 | 2069.144 | 1901.505
29/06/2024 15:30 | 2174.494 | 2266.669 | 2082.319
29/06/2024 16:00 | 2381.456 | 2482.807 | 2280.104
29/06/2024 16:30 | 2577.868 | 2688.016 | 2467.721
29/06/2024 17:00 | 2734.736 | 2852.05 | 2617.421
29/06/2024 17:30 | 2807.884 | 2928.812 | 2686.955
29/06/2024 18:00 | 2777.633 | 2897.729 | 2657.536
29/06/2024 18:30 | 2733.916 | 2852.586 | 2615.246
29/06/2024 19:00 | 2695.06 | 2812.501 | 2577.619
29/06/2024 19:30 | 2636.827 | 2752.177 | 2521.476
29/06/2024 20:00 | 2562.611 | 2675.149 | 2450.072
29/06/2024 20:30 | 2489.421 | 2599.168 | 2379.674
29/06/2024 21:00 | 2407.266 | 2513.799 | 2300.732
29/06/2024 21:30 | 2307.119 | 2409.611 | 2204.626
29/06/2024 22:00 | 2205.709 | 2304.071 | 2107.347
29/06/2024 22:30 | 2114.658 | 2209.318 | 2019.999
29/06/2024 23:00 | 2039.064 | 2130.686 | 1947.442
29/06/2024 23:30 | 1982.563 | 2071.982 | 1893.143
30/06/2024 00:00 | 1934.959 | 2022.559 | 1847.358
30/06/2024 00:30 | 1897.825 | 1984.066 | 1811.584
30/06/2024 01:00 | 1871.753 | 1957.127 | 1786.379
30/06/2024 01:30 | 1853.051 | 1937.886 | 1768.215
30/06/2024 02:00 | 1843.655 | 1928.372 | 1758.937
30/06/2024 02:30 | 1836.978 | 1921.701 | 1752.255
30/06/2024 03:00 | 1833.95 | 1918.844 | 1749.056
30/06/2024 03:30 | 1839.178 | 1924.627 | 1753.73
30/06/2024 04:00 | 1856.532 | 1943.102 | 1769.963
30/06/2024 04:30 | 1889.827 | 1978.269 | 1801.384
30/06/2024 05:00 | 1935.99 | 2026.921 | 1845.059
30/06/2024 05:30 | 2005.749 | 2100.297 | 1911.202
30/06/2024 06:00 | 2099.037 | 2198.339 | 1999.736
30/06/2024 06:30 | 2190.04 | 2294.017 | 2086.062
30/06/2024 07:00 | 2256.456 | 2363.969 | 2148.942
30/06/2024 07:30 | 2225.758 | 2332.187 | 2119.329
30/06/2024 08:00 | 2082.077 | 2181.988 | 1982.165
30/06/2024 08:30 | 1906.529 | 1998.34 | 1814.718
30/06/2024 09:00 | 1740.903 | 1825.033 | 1656.772
30/06/2024 09:30 | 1587.108 | 1664.076 | 1510.141
30/06/2024 10:00 | 1457.027 | 1527.933 | 1386.12
30/06/2024 10:30 | 1354.595 | 1420.747 | 1288.444
30/06/2024 11:00 | 1291.669 | 1354.966 | 1228.372
30/06/2024 11:30 | 1267.725 | 1330.064 | 1205.386
30/06/2024 12:00 | 1260.197 | 1322.38 | 1198.015
30/06/2024 12:30 | 1283.292 | 1346.831 | 1219.752
30/06/2024 13:00 | 1323.058 | 1388.791 | 1257.325
30/06/2024 13:30 | 1418.702 | 1489.427 | 1347.976
30/06/2024 14:00 | 1567.263 | 1645.661 | 1488.865
30/06/2024 14:30 | 1724.809 | 1811.38 | 1638.238
30/06/2024 15:00 | 1901 | 1996.737 | 1805.263
30/06/2024 15:30 | 2130.049 | 2237.682 | 2022.416
30/06/2024 16:00 | 2387.395 | 2508.437 | 2266.353
30/06/2024 16:30 | 2618.387 | 2751.584 | 2485.189
30/06/2024 17:00 | 2818.021 | 2961.851 | 2674.19
30/06/2024 17:30 | 2923.716 | 3073.438 | 2773.995
30/06/2024 18:00 | 2906.29 | 3055.612 | 2756.968
30/06/2024 18:30 | 2856.22 | 3003.454 | 2708.986
30/06/2024 19:00 | 2807.172 | 2952.354 | 2661.99
30/06/2024 19:30 | 2745.049 | 2887.484 | 2602.615
30/06/2024 20:00 | 2657.099 | 2795.421 | 2518.778
30/06/2024 20:30 | 2559.131 | 2692.786 | 2425.475
30/06/2024 21:00 | 2445.988 | 2574.15 | 2317.826
30/06/2024 21:30 | 2320.884 | 2442.885 | 2198.884
30/06/2024 22:00 | 2201.691 | 2317.799 | 2085.583
30/06/2024 22:30 | 2104.564 | 2215.908 | 1993.221
30/06/2024 23:00 | 2032.819 | 2140.711 | 1924.927
30/06/2024 23:30 | 1980.188 | 2080.495 | 1879.882
01/07/2024 00:00 | 1935.06 | 2023.415 | 1846.705
01/07/2024 00:30 | 1898.945 | 1986.613 | 1811.277
01/07/2024 01:00 | 1878.112 | 1964.951 | 1791.273
01/07/2024 01:30 | 1865.392 | 1951.775 | 1779.009
01/07/2024 02:00 | 1859.559 | 1945.803 | 1773.315
01/07/2024 02:30 | 1859.602 | 1945.979 | 1773.224
01/07/2024 03:00 | 1864.333 | 1951.062 | 1777.604
01/07/2024 03:30 | 1884.796 | 1972.61 | 1796.982
01/07/2024 04:00 | 1930.102 | 2020.163 | 1840.041
01/07/2024 04:30 | 2012.946 | 2107.015 | 1918.877
01/07/2024 05:00 | 2136.82 | 2236.829 | 2036.811
01/07/2024 05:30 | 2302.916 | 2410.861 | 2194.97
01/07/2024 06:00 | 2494.475 | 2611.576 | 2377.375
01/07/2024 06:30 | 2663.778 | 2789.015 | 2538.542
01/07/2024 07:00 | 2749.702 | 2879.172 | 2620.231
01/07/2024 07:30 | 2657.64 | 2782.991 | 2532.288
01/07/2024 08:00 | 2487.312 | 2604.882 | 2369.742
01/07/2024 08:30 | 2305.894 | 2415.119 | 2196.669
01/07/2024 09:00 | 2104.467 | 2204.362 | 2004.573
01/07/2024 09:30 | 1887.344 | 1977.121 | 1797.568
01/07/2024 10:00 | 1719.96 | 1801.946 | 1637.974
01/07/2024 10:30 | 1595.899 | 1672.13 | 1519.667
01/07/2024 11:00 | 1507.133 | 1579.275 | 1434.991
01/07/2024 11:30 | 1455.755 | 1525.583 | 1385.927
01/07/2024 12:00 | 1430.466 | 1499.224 | 1361.708
01/07/2024 12:30 | 1456.174 | 1526.313 | 1386.035
01/07/2024 13:00 | 1495.91 | 1568.113 | 1423.708
01/07/2024 13:30 | 1600.259 | 1677.658 | 1522.86
01/07/2024 14:00 | 1762.58 | 1848.006 | 1677.154
01/07/2024 14:30 | 1919.272 | 2012.484 | 1826.06
01/07/2024 15:00 | 2100.95 | 2203.195 | 1998.705
01/07/2024 15:30 | 2303.479 | 2415.811 | 2191.148
01/07/2024 16:00 | 2546.141 | 2670.56 | 2421.721
01/07/2024 16:30 | 2804.161 | 2941.468 | 2666.853
01/07/2024 17:00 | 3039.224 | 3188.345 | 2890.103
01/07/2024 17:30 | 3162.106 | 3317.573 | 3006.64
01/07/2024 18:00 | 3145.605 | 3300.574 | 2990.636
01/07/2024 18:30 | 3081.323 | 3233.433 | 2929.213
01/07/2024 19:00 | 3003.5 | 3152.068 | 2854.932
01/07/2024 19:30 | 2925.106 | 3070.088 | 2780.124
01/07/2024 20:00 | 2819.734 | 2959.775 | 2679.693
01/07/2024 20:30 | 2706.559 | 2841.249 | 2571.868
01/07/2024 21:00 | 2572.102 | 2700.358 | 2443.846
01/07/2024 21:30 | 2425.087 | 2546.255 | 2303.92
01/07/2024 22:00 | 2289.033 | 2403.631 | 2174.434
01/07/2024 22:30 | 2178.508 | 2287.791 | 2069.225
01/07/2024 23:00 | 2096.821 | 2202.215 | 1991.427
01/07/2024 23:30 | 2039.545 | 2142.263 | 1936.826
02/07/2024 00:00 | 1993.875 | 2094.493 | 1893.257
02/07/2024 00:30 | 1958.902 | 2057.951 | 1859.853
02/07/2024 01:00 | 1938.263 | 2036.461 | 1840.064
02/07/2024 01:30 | 1919.064 | 2016.482 | 1821.646
02/07/2024 02:00 | 1909.877 | 2007.019 | 1812.735
02/07/2024 02:30 | 1907.814 | 2005.041 | 1810.586
02/07/2024 03:00 | 1911.338 | 2008.936 | 1813.74
02/07/2024 03:30 | 1927.844 | 2026.478 | 1829.211
02/07/2024 04:00 | 1968.55 | 2069.462 | 1867.637
02/07/2024 04:30 | 2048.193 | 2153.393 | 1942.993
02/07/2024 05:00 | 2151.514 | 2262.235 | 2040.792
02/07/2024 05:30 | 2291.904 | 2410.079 | 2173.729
02/07/2024 06:00 | 2492.802 | 2621.585 | 2364.02
02/07/2024 06:30 | 2676.778 | 2815.333 | 2538.224
02/07/2024 07:00 | 2810.57 | 2956.33 | 2664.809
02/07/2024 07:30 | 2843.834 | 2991.604 | 2696.064
02/07/2024 08:00 | 2811.005 | 2957.35 | 2664.661
02/07/2024 08:30 | 2720.426 | 2862.326 | 2578.525
02/07/2024 09:00 | 2609.317 | 2745.683 | 2472.952
02/07/2024 09:30 | 2473.806 | 2603.336 | 2344.275
02/07/2024 10:00 | 2327.693 | 2449.805 | 2205.58
02/07/2024 10:30 | 2190.815 | 2305.966 | 2075.665
02/07/2024 11:00 | 2082.86 | 2192.545 | 1973.176
02/07/2024 11:30 | 2002.609 | 2108.267 | 1896.95
02/07/2024 12:00 | 1937.504 | 2039.921 | 1835.087
02/07/2024 12:30 | 1863.54 | 1962.233 | 1764.847
02/07/2024 13:00 | 1820.653 | 1917.257 | 1724.05
02/07/2024 13:30 | 1829.636 | 1926.899 | 1732.373
02/07/2024 14:00 | 1882.323 | 1982.574 | 1782.071
02/07/2024 14:30 | 2013.119 | 2120.538 | 1905.7
02/07/2024 15:00 | 2165.606 | 2281.378 | 2049.834
02/07/2024 15:30 | 2359.542 | 2485.918 | 2233.167
02/07/2024 16:00 | 2603.199 | 2742.884 | 2463.514
02/07/2024 16:30 | 2869.781 | 3024.057 | 2715.505
02/07/2024 17:00 | 3093.955 | 3260.591 | 2927.318
02/07/2024 17:30 | 3213.995 | 3387.417 | 3040.572
02/07/2024 18:00 | 3203.055 | 3376.207 | 3029.903
02/07/2024 18:30 | 3139.284 | 3309.302 | 2969.266
02/07/2024 19:00 | 3052.192 | 3217.798 | 2886.585
02/07/2024 19:30 | 2976.076 | 3137.85 | 2814.302
02/07/2024 20:00 | 2876.727 | 3033.387 | 2720.067
02/07/2024 20:30 | 2760.913 | 2911.542 | 2610.283
02/07/2024 21:00 | 2618.452 | 2761.571 | 2475.334
02/07/2024 21:30 | 2465.445 | 2600.447 | 2330.444
02/07/2024 22:00 | 2323.194 | 2450.639 | 2195.75
02/07/2024 22:30 | 2205.783 | 2327.007 | 2084.559
02/07/2024 23:00 | 2115.188 | 2231.644 | 1998.732
02/07/2024 23:30 | 2051.484 | 2164.637 | 1938.33
03/07/2024 00:00 | 1999.346 | 2109.824 | 1888.869
03/07/2024 00:30 | 1958.719 | 2067.147 | 1850.291
03/07/2024 01:00 | 1932.988 | 2040.185 | 1825.791
03/07/2024 01:30 | 1915.555 | 2021.977 | 1809.134
03/07/2024 02:00 | 1907.086 | 2013.228 | 1800.945
03/07/2024 02:30 | 1905.751 | 2012.008 | 1799.494
03/07/2024 03:00 | 1910.172 | 2016.866 | 1803.477
03/07/2024 03:30 | 1930.857 | 2038.899 | 1822.814
03/07/2024 04:00 | 1977.806 | 2088.673 | 1866.939
03/07/2024 04:30 | 2058.463 | 2174.057 | 1942.869
03/07/2024 05:00 | 2186.816 | 2309.836 | 2063.796
03/07/2024 05:30 | 2365.418 | 2498.722 | 2232.114
03/07/2024 06:00 | 2560.629 | 2705.19 | 2416.069
03/07/2024 06:30 | 2737.597 | 2892.422 | 2582.772
03/07/2024 07:00 | 2825.554 | 2985.635 | 2665.473
03/07/2024 07:30 | 2727.077 | 2882.147 | 2572.006
03/07/2024 08:00 | 2545.048 | 2690.846 | 2399.251
03/07/2024 08:30 | 2346.849 | 2482.243 | 2211.455
03/07/2024 09:00 | 2148.62 | 2273.448 | 2023.792
03/07/2024 09:30 | 1944.779 | 2058.552 | 1831.006
03/07/2024 10:00 | 1772.421 | 1876.828 | 1668.013
03/07/2024 10:30 | 1632.639 | 1729.473 | 1535.804
03/07/2024 11:00 | 1540.204 | 1632.18 | 1448.228
03/07/2024 11:30 | 1480.428 | 1569.434 | 1391.422
03/07/2024 12:00 | 1452.052 | 1539.94 | 1364.165
03/07/2024 12:30 | 1466.462 | 1555.816 | 1377.108
03/07/2024 13:00 | 1507.823 | 1600.308 | 1415.339
03/07/2024 13:30 | 1632.239 | 1733.016 | 1531.462
03/07/2024 14:00 | 1811.102 | 1923.656 | 1698.549
03/07/2024 14:30 | 1988.321 | 2112.694 | 1863.948
03/07/2024 15:00 | 2175.371 | 2312.325 | 2038.417
03/07/2024 15:30 | 2358.638 | 2508.084 | 2209.191
03/07/2024 16:00 | 2578.414 | 2742.831 | 2413.998
03/07/2024 16:30 | 2823.73 | 3004.933 | 2642.527
03/07/2024 17:00 | 3056.213 | 3253.573 | 2858.854
03/07/2024 17:30 | 3178.888 | 3385.457 | 2972.319
03/07/2024 18:00 | 3171.084 | 3378.43 | 2963.738
03/07/2024 18:30 | 3119.131 | 3324.343 | 2913.919
03/07/2024 19:00 | 3051.032 | 3253 | 2849.064
03/07/2024 19:30 | 2979.981 | 3178.452 | 2781.51
03/07/2024 20:00 | 2878.803 | 3071.701 | 2685.904
03/07/2024 20:30 | 2759.679 | 2945.713 | 2573.645
03/07/2024 21:00 | 2618.828 | 2796.427 | 2441.228
03/07/2024 21:30 | 2466.753 | 2635.038 | 2298.468
03/07/2024 22:00 | 2324.478 | 2483.998 | 2164.957
03/07/2024 22:30 | 2205.464 | 2357.71 | 2053.218
03/07/2024 23:00 | 2119.081 | 2266.222 | 1971.939
03/07/2024 23:30 | 2025.498 | 2166.961 | 1884.034
04/07/2024 00:00 | 1935.635 | 2071.606 | 1799.664
04/07/2024 00:30 | 1896.848 | 2030.862 | 1762.833
04/07/2024 01:00 | 1870.673 | 2003.596 | 1737.75
04/07/2024 01:30 | 1851.887 | 1984.225 | 1719.548
04/07/2024 02:00 | 1843.384 | 1975.862 | 1710.907
04/07/2024 02:30 | 1843.94 | 1977.203 | 1710.676
04/07/2024 03:00 | 1850.266 | 1984.736 | 1715.796
04/07/2024 03:30 | 1870.475 | 2007.172 | 1733.779
04/07/2024 04:00 | 1914.692 | 2055.395 | 1773.988
04/07/2024 04:30 | 1994.877 | 2142.281 | 1847.473
04/07/2024 05:00 | 2125.382 | 2283.29 | 1967.474
04/07/2024 05:30 | 2304.96 | 2477.144 | 2132.777
04/07/2024 06:00 | 2499.343 | 2687.059 | 2311.627
04/07/2024 06:30 | 2674.24 | 2876.175 | 2472.305
04/07/2024 07:00 | 2767.048 | 2977.111 | 2556.984
04/07/2024 07:30 | 2688.142 | 2893.304 | 2482.98