## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
28/06/2024 08:00 | 2633.683 | 2669.712 | 2597.654
28/06/2024 08:30 | 2529.677 | 2570.662 | 2488.691 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
28/06/2024 09:00 | 2384.991 | 2429.646 | 2340.336 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
28/06/2024 09:30 | 2192.76 | 2239.345 | 2146.175 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
28/06/2024 10:00 | 2015.027 | 2062.917 | 1967.136 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
28/06/2024 10:30 | 1876.732 | 1924.911 | 1828.552 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
28/06/2024 11:00 | 1724.189 | 1769.632 | 1678.745 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
28/06/2024 11:30 | 1607.427 | 1651.063 | 1563.792 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
28/06/2024 12:00 | 1525.27 | 1567.88 | 1482.66 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
28/06/2024 12:30 | 1527.422 | 1571.298 | 1483.545 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
28/06/2024 13:00 | 1548.174 | 1593.869 | 1502.478 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
28/06/2024 13:30 | 1594.654 | 1642.981 | 1546.327
28/06/2024 14:00 | 1688.678 | 1741.188 | 1636.168 | Summary view - for each schedule horizon (dispatch, week-ahead)
28/06/2024 14:30 | 1823.317 | 1880.617 | 1765.18
28/06/2024 15:00 | 1990.532 | 2055.207 | 1925.149 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
28/06/2024 15:30 | 2199.458 | 2272.371 | 2125.206 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
28/06/2024 16:00 | 2415.453 | 2497.312 | 2331.888 | Scenario | Violations
28/06/2024 16:30 | 2612.647 | 2703.51 | 2520.438 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
28/06/2024 17:00 | 2783.809 | 2882.327 | 2682.9 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
28/06/2024 17:30 | 2863.017 | 2966.078 | 2756.492 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 | 3 | 0 | 1
28/06/2024 18:00 | 2850.131 | 2954.965 | 2741.824 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 1
28/06/2024 18:30 | 2805.088 | 2910.508 | 2697.494 | Low Demand Scenario | 0 | 0 | 0 | 0 | 5 | 4 | 5 | 0 | 10 | 10 | 0 | 0
28/06/2024 19:00 | 2750.863 | 2855.326 | 2645.64
28/06/2024 19:30 | 2690.422 | 2793.135 | 2587.128 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
28/06/2024 20:00 | 2608.143 | 2708.455 | 2507.831
28/06/2024 20:30 | 2521.176 | 2618.575 | 2423.777 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
28/06/2024 21:00 | 2425.434 | 2519.551 | 2331.317 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
28/06/2024 21:30 | 2319.597 | 2410.005 | 2229.189 | [7 empty] | 28/06/2024 12:00 |  | 30/06/2024 11:30 | 30/06/2024 11:30 |  | 04/07/2024 13:30 | [6 empty] | 28/06/2024 11:30 |  |  |  |  | 29/06/2024 00:00 |  |  |  |  | 30/06/2024 11:30 | 30/06/2024 11:30 | 28/06/2024 12:00 |  | 30/06/2024 11:00 | 30/06/2024 11:00
28/06/2024 22:00 | 2214.454 | 2301.143 | 2127.764 | [7 empty] | 28/06/2024 12:30 |  | 30/06/2024 12:00 | 30/06/2024 12:00 | [8 empty] | 28/06/2024 12:00 | [9 empty] | 30/06/2024 12:00 | 30/06/2024 12:00 | 28/06/2024 12:30 |  | 30/06/2024 11:30 | 30/06/2024 11:30
28/06/2024 22:30 | 2121.285 | 2204.691 | 2037.879 | [7 empty] | 28/06/2024 13:00 |  | 30/06/2024 12:30 | 30/06/2024 12:30 | [8 empty] | 04/07/2024 10:30 | [9 empty] | 30/06/2024 12:30 | 30/06/2024 12:30 | 28/06/2024 13:00 |  | 30/06/2024 12:00 | 30/06/2024 12:00
28/06/2024 23:00 | 2041.519 | 2122.139 | 1960.9 | [19 empty] | 04/07/2024 14:00 | [9 empty] | 03/07/2024 12:00 | 03/07/2024 12:00 | 28/06/2024 13:30 |  | 30/06/2024 12:30 | 30/06/2024 12:30
28/06/2024 23:30 | 1980.244 | 2059.061 | 1901.427 | [19 empty] | 04/07/2024 14:30 | [9 empty] | 03/07/2024 12:30 |  | 30/06/2024 12:00 |  | 30/06/2024 13:00 | 30/06/2024 13:00
29/06/2024 00:00 | 1929.941 | 2007.693 | 1852.188 | [33 empty] | 03/07/2024 11:00 | 03/07/2024 11:00
29/06/2024 00:30 | 1892.659 | 1969.399 | 1815.918 | [33 empty] | 03/07/2024 11:30 | 03/07/2024 11:30
29/06/2024 01:00 | 1867.317 | 1943.546 | 1791.088 | [33 empty] | 03/07/2024 12:00 | 03/07/2024 12:00
29/06/2024 01:30 | 1848.287 | 1924.25 | 1772.324 | [33 empty] | 03/07/2024 12:30 | 03/07/2024 12:30
29/06/2024 02:00 | 1839.696 | 1915.814 | 1763.577 | [33 empty] | 03/07/2024 13:00 | 03/07/2024 13:00
29/06/2024 02:30 | 1834.509 | 1910.92 | 1758.098
29/06/2024 03:00 | 1832.072 | 1908.888 | 1755.256
29/06/2024 03:30 | 1839.901 | 1917.553 | 1762.248
29/06/2024 04:00 | 1861.785 | 1940.875 | 1782.694
29/06/2024 04:30 | 1902.336 | 1983.675 | 1820.996
29/06/2024 05:00 | 1962.176 | 2046.616 | 1877.736
29/06/2024 05:30 | 2047.968 | 2136.666 | 1959.269
29/06/2024 06:00 | 2156.617 | 2250.618 | 2062.617
29/06/2024 06:30 | 2261.647 | 2360.558 | 2162.736
29/06/2024 07:00 | 2334.121 | 2435.949 | 2232.293
29/06/2024 07:30 | 2312.483 | 2413.167 | 2211.799
29/06/2024 08:00 | 2184.802 | 2279.739 | 2089.866
29/06/2024 08:30 | 2026.246 | 2114.118 | 1938.374
29/06/2024 09:00 | 1869.838 | 1950.766 | 1788.911
29/06/2024 09:30 | 1721.773 | 1796.144 | 1647.403
29/06/2024 10:00 | 1600.938 | 1669.952 | 1531.926
29/06/2024 10:30 | 1504.693 | 1569.427 | 1439.959
29/06/2024 11:00 | 1447.523 | 1509.672 | 1385.373
29/06/2024 11:30 | 1420.785 | 1481.664 | 1359.906
29/06/2024 12:00 | 1415 | 1475.509 | 1354.491
29/06/2024 12:30 | 1432.793 | 1493.94 | 1371.647
29/06/2024 13:00 | 1468.462 | 1531.004 | 1405.921
29/06/2024 13:30 | 1524.995 | 1589.812 | 1460.177
29/06/2024 14:00 | 1627.26 | 1696.284 | 1558.236
29/06/2024 14:30 | 1764.805 | 1839.51 | 1690.099
29/06/2024 15:00 | 1921.903 | 2003.093 | 1840.713
29/06/2024 15:30 | 2119.998 | 2209.373 | 2030.622
29/06/2024 16:00 | 2336.007 | 2434.287 | 2237.727
29/06/2024 16:30 | 2540.151 | 2646.8 | 2433.501
29/06/2024 17:00 | 2708.862 | 2822.361 | 2595.363
29/06/2024 17:30 | 2791.148 | 2907.854 | 2674.442
29/06/2024 18:00 | 2769.424 | 2884.982 | 2653.865
29/06/2024 18:30 | 2724.69 | 2838.147 | 2611.233
29/06/2024 19:00 | 2682.145 | 2793.599 | 2570.691
29/06/2024 19:30 | 2628.962 | 2737.979 | 2519.945
29/06/2024 20:00 | 2558.59 | 2664.468 | 2452.712
29/06/2024 20:30 | 2487.633 | 2590.36 | 2384.906
29/06/2024 21:00 | 2406.615 | 2505.789 | 2307.442
29/06/2024 21:30 | 2308.425 | 2403.353 | 2213.498
29/06/2024 22:00 | 2208.472 | 2299.099 | 2117.845
29/06/2024 22:30 | 2118.003 | 2204.735 | 2031.271
29/06/2024 23:00 | 2042.891 | 2126.37 | 1959.412
29/06/2024 23:30 | 1986.755 | 2067.769 | 1905.741
30/06/2024 00:00 | 1938.89 | 2017.785 | 1859.995
30/06/2024 00:30 | 1901.848 | 1979.344 | 1824.624
30/06/2024 01:00 | 1875.811 | 1952.099 | 1799.807
30/06/2024 01:30 | 1856.622 | 1931.97 | 1781.555
30/06/2024 02:00 | 1847.866 | 1922.7 | 1773.313
30/06/2024 02:30 | 1841.829 | 1916.26 | 1767.679
30/06/2024 03:00 | 1839.149 | 1913.314 | 1765.266
30/06/2024 03:30 | 1845.799 | 1920.073 | 1771.807
30/06/2024 04:00 | 1864.984 | 1939.871 | 1790.384
30/06/2024 04:30 | 1900.332 | 1976.475 | 1824.482
30/06/2024 05:00 | 1948.368 | 2026.268 | 1870.769
30/06/2024 05:30 | 2019.015 | 2099.565 | 1938.777
30/06/2024 06:00 | 2115.404 | 2199.617 | 2031.518
30/06/2024 06:30 | 2211.798 | 2299.656 | 2124.08
30/06/2024 07:00 | 2279.175 | 2369.513 | 2188.757
30/06/2024 07:30 | 2237.36 | 2326.069 | 2148.606
30/06/2024 08:00 | 2087.045 | 2170.205 | 2003.889
30/06/2024 08:30 | 1929.615 | 2006.827 | 1852.403
30/06/2024 09:00 | 1775.779 | 1847.136 | 1704.421
30/06/2024 09:30 | 1621.719 | 1687.161 | 1556.276
30/06/2024 10:00 | 1491.9 | 1552.357 | 1431.444
30/06/2024 10:30 | 1382.506 | 1438.764 | 1326.248
30/06/2024 11:00 | 1314.153 | 1367.852 | 1260.453
30/06/2024 11:30 | 1281.744 | 1334.337 | 1229.152
30/06/2024 12:00 | 1266.697 | 1318.887 | 1214.507
30/06/2024 12:30 | 1286.08 | 1339.286 | 1232.873
30/06/2024 13:00 | 1316.744 | 1371.443 | 1262.046
30/06/2024 13:30 | 1400.269 | 1458.675 | 1341.863
30/06/2024 14:00 | 1545.18 | 1609.892 | 1480.468
30/06/2024 14:30 | 1714.247 | 1786.331 | 1642.164
30/06/2024 15:00 | 1891.648 | 1971.512 | 1811.784
30/06/2024 15:30 | 2118.206 | 2207.995 | 2028.417
30/06/2024 16:00 | 2370.674 | 2471.567 | 2269.782
30/06/2024 16:30 | 2599.916 | 2711.006 | 2488.826
30/06/2024 17:00 | 2798.51 | 2918.56 | 2678.46
30/06/2024 17:30 | 2904.54 | 3029.631 | 2779.449
30/06/2024 18:00 | 2891.306 | 3016.318 | 2766.294
30/06/2024 18:30 | 2843.069 | 2966.477 | 2719.66
30/06/2024 19:00 | 2795.422 | 2917.236 | 2673.608
30/06/2024 19:30 | 2735.063 | 2854.711 | 2615.415
30/06/2024 20:00 | 2648.346 | 2764.65 | 2532.042
30/06/2024 20:30 | 2552.256 | 2664.773 | 2439.739
30/06/2024 21:00 | 2441.171 | 2549.205 | 2333.137
30/06/2024 21:30 | 2318.289 | 2421.277 | 2215.3
30/06/2024 22:00 | 2200.622 | 2298.757 | 2102.487
30/06/2024 22:30 | 2105.269 | 2199.509 | 2011.03
30/06/2024 23:00 | 2035.98 | 2127.463 | 1944.496
30/06/2024 23:30 | 1987.224 | 2075.067 | 1899.382
01/07/2024 00:00 | 1945.911 | 2028.723 | 1863.099
01/07/2024 00:30 | 1911.611 | 1993.381 | 1829.842
01/07/2024 01:00 | 1890.757 | 1971.768 | 1809.746
01/07/2024 01:30 | 1876.932 | 1957.483 | 1796.38
01/07/2024 02:00 | 1871.228 | 1951.667 | 1790.789
01/07/2024 02:30 | 1871.43 | 1952.01 | 1790.85
01/07/2024 03:00 | 1876.607 | 1957.542 | 1795.672
01/07/2024 03:30 | 1896.952 | 1978.899 | 1815.005
01/07/2024 04:00 | 1942.276 | 2026.318 | 1858.234
01/07/2024 04:30 | 2024.464 | 2112.205 | 1936.723
01/07/2024 05:00 | 2147.876 | 2241.118 | 2054.634
01/07/2024 05:30 | 2312.294 | 2412.837 | 2211.751
01/07/2024 06:00 | 2502.453 | 2611.441 | 2393.465
01/07/2024 06:30 | 2674.034 | 2790.684 | 2557.384
01/07/2024 07:00 | 2768.241 | 2889.196 | 2647.286
01/07/2024 07:30 | 2699.116 | 2817.241 | 2580.99
01/07/2024 08:00 | 2558.046 | 2670.179 | 2445.914
01/07/2024 08:30 | 2406.349 | 2512.002 | 2300.697
01/07/2024 09:00 | 2223.29 | 2321.062 | 2125.517
01/07/2024 09:30 | 1992.471 | 2080.234 | 1904.709
01/07/2024 10:00 | 1806.179 | 1885.863 | 1726.494
01/07/2024 10:30 | 1689.125 | 1763.764 | 1614.485
01/07/2024 11:00 | 1615.22 | 1686.708 | 1543.732
01/07/2024 11:30 | 1579.406 | 1649.42 | 1509.391
01/07/2024 12:00 | 1594.269 | 1665.056 | 1523.483
01/07/2024 12:30 | 1729.655 | 1806.575 | 1652.736
01/07/2024 13:00 | 1821.945 | 1903.098 | 1740.793
01/07/2024 13:30 | 1870.604 | 1954.056 | 1787.152
01/07/2024 14:00 | 1985.488 | 2074.205 | 1896.77
01/07/2024 14:30 | 2093.208 | 2186.887 | 1999.529
01/07/2024 15:00 | 2223.752 | 2323.43 | 2124.074
01/07/2024 15:30 | 2379.016 | 2485.822 | 2272.21
01/07/2024 16:00 | 2579.292 | 2695.272 | 2463.313
01/07/2024 16:30 | 2808.948 | 2935.453 | 2682.444
01/07/2024 17:00 | 3025.732 | 3162.213 | 2889.25
01/07/2024 17:30 | 3131.171 | 3272.63 | 2989.712
01/07/2024 18:00 | 3105.807 | 3246.339 | 2965.274
01/07/2024 18:30 | 3045.428 | 3183.444 | 2907.413
01/07/2024 19:00 | 2977.434 | 3112.579 | 2842.29
01/07/2024 19:30 | 2900.527 | 3032.386 | 2768.669
01/07/2024 20:00 | 2799.004 | 2926.446 | 2671.563
01/07/2024 20:30 | 2689.073 | 2811.698 | 2566.447
01/07/2024 21:00 | 2559.203 | 2676.087 | 2442.319
01/07/2024 21:30 | 2417.228 | 2527.799 | 2306.656
01/07/2024 22:00 | 2284.966 | 2389.648 | 2180.283
01/07/2024 22:30 | 2175.077 | 2274.879 | 2075.276
01/07/2024 23:00 | 2089.612 | 2185.64 | 1993.584
01/07/2024 23:30 | 2025.993 | 2119.24 | 1932.746
02/07/2024 00:00 | 1973.086 | 2064.038 | 1882.135
02/07/2024 00:30 | 1933.54 | 2022.805 | 1844.275
02/07/2024 01:00 | 1910.43 | 1998.764 | 1822.097
02/07/2024 01:30 | 1892.658 | 1980.304 | 1805.013
02/07/2024 02:00 | 1883.569 | 1970.927 | 1796.211
02/07/2024 02:30 | 1881.842 | 1969.253 | 1794.432
02/07/2024 03:00 | 1885.37 | 1973.078 | 1797.662
02/07/2024 03:30 | 1901.938 | 1990.551 | 1813.325
02/07/2024 04:00 | 1941.891 | 2032.502 | 1851.279
02/07/2024 04:30 | 2018.67 | 2113.007 | 1924.333
02/07/2024 05:00 | 2129.021 | 2228.666 | 2029.378
02/07/2024 05:30 | 2278.28 | 2385.07 | 2171.489
02/07/2024 06:00 | 2467.695 | 2583.539 | 2351.852
02/07/2024 06:30 | 2634.477 | 2758.336 | 2510.618
02/07/2024 07:00 | 2738.804 | 2867.761 | 2609.846
02/07/2024 07:30 | 2723.723 | 2852.191 | 2595.254
02/07/2024 08:00 | 2619.561 | 2743.383 | 2495.74
02/07/2024 08:30 | 2454.374 | 2570.632 | 2338.115
02/07/2024 09:00 | 2283.456 | 2391.846 | 2175.065
02/07/2024 09:30 | 2083.959 | 2183.088 | 1984.83
02/07/2024 10:00 | 1880.685 | 1970.333 | 1791.038
02/07/2024 10:30 | 1710.376 | 1792.077 | 1628.676
02/07/2024 11:00 | 1604.255 | 1681.046 | 1527.464
02/07/2024 11:30 | 1557.668 | 1632.385 | 1482.952
02/07/2024 12:00 | 1547.9 | 1622.302 | 1473.497
02/07/2024 12:30 | 1609.948 | 1687.494 | 1532.402
02/07/2024 13:00 | 1655.666 | 1735.58 | 1575.753
02/07/2024 13:30 | 1690.448 | 1772.209 | 1608.687
02/07/2024 14:00 | 1768.757 | 1854.482 | 1683.031
02/07/2024 14:30 | 1875.085 | 1966.151 | 1784.019
02/07/2024 15:00 | 2031.186 | 2130.036 | 1932.337
02/07/2024 15:30 | 2251.997 | 2361.817 | 2142.176
02/07/2024 16:00 | 2501.182 | 2623.404 | 2378.959
02/07/2024 16:30 | 2759.524 | 2894.646 | 2624.402
02/07/2024 17:00 | 2989.439 | 3136.117 | 2842.761
02/07/2024 17:30 | 3115.063 | 3268.216 | 2961.91
02/07/2024 18:00 | 3108.86 | 3262.018 | 2955.701
02/07/2024 18:30 | 3055.331 | 3206.157 | 2904.504
02/07/2024 19:00 | 2986.33 | 3134.049 | 2838.611
02/07/2024 19:30 | 2913.255 | 3057.65 | 2768.86
02/07/2024 20:00 | 2815.656 | 2955.495 | 2675.818
02/07/2024 20:30 | 2706.35 | 2841.03 | 2571.67
02/07/2024 21:00 | 2572.388 | 2700.658 | 2444.117
02/07/2024 21:30 | 2427.024 | 2548.288 | 2305.759
02/07/2024 22:00 | 2290.944 | 2405.638 | 2176.25
02/07/2024 22:30 | 2178.185 | 2287.451 | 2068.918
02/07/2024 23:00 | 2093.609 | 2198.842 | 1988.376
02/07/2024 23:30 | 2034.803 | 2137.283 | 1932.323
03/07/2024 00:00 | 1988.082 | 2088.408 | 1887.757
03/07/2024 00:30 | 1951.179 | 2049.837 | 1852.521
03/07/2024 01:00 | 1928.317 | 2026.012 | 1830.622
03/07/2024 01:30 | 1910.729 | 2007.724 | 1813.735
03/07/2024 02:00 | 1901.504 | 1998.221 | 1804.788
03/07/2024 02:30 | 1899.757 | 1996.574 | 1802.94
03/07/2024 03:00 | 1903.847 | 2001.062 | 1806.631
03/07/2024 03:30 | 1924.674 | 2023.145 | 1826.203
03/07/2024 04:00 | 1972.054 | 2073.146 | 1870.962
03/07/2024 04:30 | 2053.563 | 2159.039 | 1948.088
03/07/2024 05:00 | 2176.44 | 2288.445 | 2064.436
03/07/2024 05:30 | 2345.829 | 2466.785 | 2224.874
03/07/2024 06:00 | 2539.461 | 2670.655 | 2408.268
03/07/2024 06:30 | 2711.594 | 2851.951 | 2571.237
03/07/2024 07:00 | 2793.57 | 2938.449 | 2648.691
03/07/2024 07:30 | 2686.719 | 2826.325 | 2547.113
03/07/2024 08:00 | 2496.799 | 2626.785 | 2366.812
03/07/2024 08:30 | 2293.77 | 2413.415 | 2174.124
03/07/2024 09:00 | 2085.641 | 2194.639 | 1976.643
03/07/2024 09:30 | 1874.401 | 1972.547 | 1776.256
03/07/2024 10:00 | 1697.156 | 1786.19 | 1608.122
03/07/2024 10:30 | 1556.185 | 1637.979 | 1474.391
03/07/2024 11:00 | 1465.566 | 1542.743 | 1388.388
03/07/2024 11:30 | 1408.666 | 1482.987 | 1334.344
03/07/2024 12:00 | 1378.945 | 1451.837 | 1306.054
03/07/2024 12:30 | 1393.369 | 1467.161 | 1319.576
03/07/2024 13:00 | 1435.12 | 1511.267 | 1358.973
03/07/2024 13:30 | 1534.128 | 1615.682 | 1452.574
03/07/2024 14:00 | 1691.979 | 1782.093 | 1601.865
03/07/2024 14:30 | 1859.849 | 1959.089 | 1760.608
03/07/2024 15:00 | 2060.531 | 2170.685 | 1950.376
03/07/2024 15:30 | 2280.338 | 2402.471 | 2158.205
03/07/2024 16:00 | 2527.489 | 2663.112 | 2391.866
03/07/2024 16:30 | 2783.94 | 2933.601 | 2634.278
03/07/2024 17:00 | 3021.874 | 3184.628 | 2859.12
03/07/2024 17:30 | 3153.048 | 3323.182 | 2982.914
03/07/2024 18:00 | 3149.892 | 3320.17 | 2979.613
03/07/2024 18:30 | 3098.122 | 3265.911 | 2930.333
03/07/2024 19:00 | 3029.746 | 3194.135 | 2865.357
03/07/2024 19:30 | 2960.452 | 3121.377 | 2799.528
03/07/2024 20:00 | 2860.07 | 3015.824 | 2704.317
03/07/2024 20:30 | 2742.97 | 2892.621 | 2593.32
03/07/2024 21:00 | 2604.792 | 2747.165 | 2462.421
03/07/2024 21:30 | 2455.185 | 2589.625 | 2320.746
03/07/2024 22:00 | 2314.668 | 2441.645 | 2187.691
03/07/2024 22:30 | 2197.973 | 2318.768 | 2077.179
03/07/2024 23:00 | 2114.269 | 2230.674 | 1997.863
03/07/2024 23:30 | 2023.298 | 2134.897 | 1911.699
04/07/2024 00:00 | 1936.554 | 2043.562 | 1829.546
04/07/2024 00:30 | 1899.43 | 2004.576 | 1794.284
04/07/2024 01:00 | 1874.457 | 1978.408 | 1770.506
04/07/2024 01:30 | 1856.139 | 1959.259 | 1753.019
04/07/2024 02:00 | 1847.447 | 1950.269 | 1744.625
04/07/2024 02:30 | 1847.42 | 1950.425 | 1744.415
04/07/2024 03:00 | 1853.45 | 1956.976 | 1749.924
04/07/2024 03:30 | 1873.552 | 1978.389 | 1768.716
04/07/2024 04:00 | 1918.02 | 2025.536 | 1810.504
04/07/2024 04:30 | 1999.666 | 2111.958 | 1887.373
04/07/2024 05:00 | 2127.242 | 2246.91 | 2007.573
04/07/2024 05:30 | 2303.045 | 2432.833 | 2173.256
04/07/2024 06:00 | 2501.325 | 2642.538 | 2360.113
04/07/2024 06:30 | 2679.498 | 2831.037 | 2527.959
04/07/2024 07:00 | 2771.859 | 2928.898 | 2614.82
04/07/2024 07:30 | 2686.752 | 2839.529 | 2533.974
04/07/2024 08:00 | 2521.782 | 2666.248 | 2377.318
04/07/2024 08:30 | 2345.078 | 2480.37 | 2209.786
04/07/2024 09:00 | 2144.838 | 2269.446 | 2020.23
04/07/2024 09:30 | 1921.479 | 2033.889 | 1809.069
04/07/2024 10:00 | 1739.124 | 1841.57 | 1636.678
04/07/2024 10:30 | 1618.299 | 1714.283 | 1522.315
04/07/2024 11:00 | 1534.485 | 1626.12 | 1442.851
04/07/2024 11:30 | 1478.918 | 1567.833 | 1390.003
04/07/2024 12:00 | 1460.791 | 1549.208 | 1372.374
04/07/2024 12:30 | 1484.73 | 1575.197 | 1394.263
04/07/2024 13:00 | 1530.991 | 1624.896 | 1437.085
04/07/2024 13:30 | 1688.674 | 1792.935 | 1584.412
04/07/2024 14:00 | 1862.766 | 1978.53 | 1747.001
04/07/2024 14:30 | 1970.319 | 2093.566 | 1847.072
04/07/2024 15:00 | 2116.248 | 2249.479 | 1983.016
04/07/2024 15:30 | 2293.771 | 2439.108 | 2148.435
04/07/2024 16:00 | 2509.169 | 2669.171 | 2349.168
04/07/2024 16:30 | 2749.596 | 2926.042 | 2573.151
04/07/2024 17:00 | 2983.982 | 3176.677 | 2791.287
04/07/2024 17:30 | 3117.31 | 3319.877 | 2914.742
04/07/2024 18:00 | 3112.632 | 3316.156 | 2909.108
04/07/2024 18:30 | 3067.165 | 3268.958 | 2865.372
04/07/2024 19:00 | 3006.48 | 3205.498 | 2807.462
04/07/2024 19:30 | 2937.874 | 3133.54 | 2742.207
04/07/2024 20:00 | 2839.784 | 3030.068 | 2649.5
04/07/2024 20:30 | 2717.343 | 2900.522 | 2534.163
04/07/2024 21:00 | 2572.763 | 2747.238 | 2398.288
04/07/2024 21:30 | 2420.452 | 2585.578 | 2255.325
04/07/2024 22:00 | 2277.787 | 2434.103 | 2121.471
04/07/2024 22:30 | 2158.496 | 2307.5 | 2009.492
04/07/2024 23:00 | 2066.407 | 2209.891 | 1922.923
04/07/2024 23:30 | 2001.576 | 2141.369 | 1861.784
05/07/2024 00:00 | 1950.424 | 2087.435 | 1813.414
05/07/2024 00:30 | 1911.028 | 2046.045 | 1776.012
05/07/2024 01:00 | 1885.482 | 2019.457 | 1751.507
05/07/2024 01:30 | 1866.19 | 1999.55 | 1732.83
05/07/2024 02:00 | 1856.288 | 1989.692 | 1722.883
05/07/2024 02:30 | 1855.193 | 1989.271 | 1721.116
05/07/2024 03:00 | 1859.785 | 1994.947 | 1724.623
05/07/2024 03:30 | 1878.604 | 2015.895 | 1741.313
05/07/2024 04:00 | 1923.126 | 2064.449 | 1781.803
05/07/2024 04:30 | 2003.328 | 2151.356 | 1855.3
05/07/2024 05:00 | 2133.287 | 2291.782 | 1974.792
05/07/2024 05:30 | 2314.067 | 2486.931 | 2141.204
05/07/2024 06:00 | 2509.255 | 2697.716 | 2320.795
05/07/2024 06:30 | 2688.513 | 2891.526 | 2485.5
05/07/2024 07:00 | 2777.462 | 2988.316 | 2566.608
05/07/2024 07:30 | 2680.522 | 2885.103 | 2475.942