## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 41 |  | 42 |  | 0 |  | 45 |  | 0 |  | 0
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 01/07/2026 08:00:00 | 2661.694 | 2661.694 | 556.441 | 110.000 | 110.000 | 110.000 | 0.000 | 215.764 | 152.764 | 72.668 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 08:30:00 | 2463.753 | 2463.753 | 505.422 | 110.000 | 110.000 | 110.000 | 0.000 | 285.726 | 222.915 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 09:00:00 | 2306.898 | 2306.898 | 383.522 | 110.000 | 110.000 | 110.000 | 0.000 | 285.726 | 222.915 | 49.869 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 09:30:00 | 2161.965 | 2161.965 | 252.568 | 110.000 | 110.000 | 110.000 | 0.000 | 322.828 | 260.332 | 52.947 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 10:00:00 | 2022.511 | 2022.511 | 110.030 | 110.000 | 110.000 | 110.000 | 0.000 | 329.410 | 267.040 | 52.715 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 10:30:00 | 1922.225 | 1922.225 | 0.000 | 110.000 | 72.831 | 110.000 | 0.000 | 343.483 | 281.428 | 55.828 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 11:00:00 | 1861.856 | 1861.856 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 345.110 | 180.435 | 117.456 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 11:30:00 | 1873.836 | 1873.836 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 342.093 | 139.891 | 114.784 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 13:30:00 | 2012.231 | 2012.231 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 333.536 | 79.170 | 5.274 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 14:00:00 | 2134.794 | 2134.794 | 11.598 | 110.000 | 110.000 | 110.000 | 0.000 | 328.416 | 266.046 | 0.371 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 14:30:00 | 2219.431 | 2219.431 | 164.604 | 110.000 | 110.000 | 110.000 | 0.000 | 312.420 | 249.861 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 15:00:00 | 2407.602 | 2407.602 | 443.316 | 110.000 | 110.000 | 110.000 | 0.000 | 285.726 | 222.915 | 84.423 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 15:30:00 | 2651.315 | 2651.315 | 620.478 | 110.000 | 110.000 | 110.000 | 0.000 | 277.513 | 214.639 | 125.337 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 16:00:00 | 2908.345 | 2908.345 | 839.775 | 110.000 | 110.000 | 110.000 | 0.000 | 238.444 | 175.444 | 105.962 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 16:30:00 | 3155.358 | 3155.358 | 1096.439 | 110.000 | 110.000 | 110.000 | 0.000 | 238.444 | 175.444 | 91.922 | 0.000 | 6577.801 | 0.000
[42 empty] | 01/07/2026 17:00:00 | 3357.932 | 3357.932 | 1331.343 | 110.000 | 110.000 | 110.000 | 0.000 | 198.761 | 135.761 | 106.097 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 17:30:00 | 3454.849 | 3454.849 | 1465.553 | 110.000 | 110.000 | 110.000 | 0.000 | 198.761 | 135.761 | 123.581 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 18:00:00 | 3429.059 | 3429.059 | 1449.288 | 110.000 | 110.000 | 110.000 | 0.000 | 198.761 | 135.761 | 127.670 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 18:30:00 | 3357.261 | 3357.261 | 1379.317 | 110.000 | 110.000 | 110.000 | 0.000 | 198.761 | 135.761 | 121.211 | 0.000 | 6803.566 | 0.000
[42 empty] | 01/07/2026 19:00:00 | 3267.632 | 3267.632 | 1287.725 | 110.000 | 110.000 | 110.000 | 0.000 | 198.761 | 135.761 | 116.712 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 19:30:00 | 3174.976 | 3174.976 | 1205.323 | 110.000 | 110.000 | 110.000 | 0.000 | 199.223 | 136.223 | 118.660 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 20:00:00 | 3052.81 | 3052.810 | 1096.143 | 110.000 | 110.000 | 110.000 | 0.000 | 199.223 | 136.223 | 123.276 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 20:30:00 | 2904.109 | 2904.109 | 954.706 | 65.000 | 65.000 | 65.000 | 0.000 | 208.821 | 145.821 | 126.154 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 21:00:00 | 2733.846 | 2733.846 | 797.496 | 65.000 | 65.000 | 65.000 | 0.000 | 218.410 | 155.410 | 127.097 | 0.000 | 6803.566 | 0.000
[42 empty] | 01/07/2026 21:30:00 | 2558.682 | 2558.682 | 629.017 | 65.000 | 65.000 | 65.000 | 0.000 | 228.003 | 165.003 | 128.029 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 22:00:00 | 2401.033 | 2401.033 | 478.612 | 65.000 | 65.000 | 65.000 | 0.000 | 228.003 | 165.003 | 129.812 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 22:30:00 | 2271.636 | 2271.636 | 357.073 | 65.000 | 65.000 | 65.000 | 0.000 | 237.626 | 174.626 | 131.834 | 0.000 | 6577.801 | 0.000
[42 empty] | 01/07/2026 23:00:00 | 2169.65 | 2169.650 | 327.219 | 65.000 | 65.000 | 65.000 | 0.000 | 247.171 | 184.171 | 133.294 | 0.000 | 7010.000 | 0.000
[42 empty] | 01/07/2026 23:30:00 | 2088.864 | 2088.864 | 284.193 | 65.000 | 65.000 | 65.000 | 0.000 | 247.171 | 184.171 | 134.101 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 00:00:00 | 2026.008 | 2026.008 | 238.869 | 65.000 | 65.000 | 65.000 | 0.000 | 247.171 | 184.171 | 134.624 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 00:30:00 | 1980.76 | 1980.760 | 199.296 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 193.777 | 135.107 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 01:00:00 | 1949.136 | 1949.136 | 176.874 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 193.777 | 135.553 | 0.000 | 6803.566 | 0.000
[42 empty] | 02/07/2026 01:30:00 | 1930.876 | 1930.876 | 160.852 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 193.777 | 135.826 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 02:00:00 | 1920.347 | 1920.347 | 129.771 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 193.777 | 135.937 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 02:30:00 | 1919.343 | 1919.343 | 173.199 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 193.777 | 135.912 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 03:00:00 | 1929.028 | 1929.028 | 183.674 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 193.777 | 135.787 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 03:30:00 | 1953.807 | 1953.807 | 227.895 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 193.777 | 135.514 | 0.000 | 6803.566 | 0.000
[42 empty] | 02/07/2026 04:00:00 | 2006.934 | 2006.934 | 308.181 | 65.000 | 65.000 | 65.000 | 0.000 | 247.171 | 184.171 | 134.914 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 04:30:00 | 2099.888 | 2099.888 | 422.003 | 65.000 | 65.000 | 65.000 | 0.000 | 247.171 | 184.171 | 133.839 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 05:00:00 | 2247.432 | 2247.432 | 586.051 | 65.000 | 65.000 | 65.000 | 0.000 | 237.626 | 174.626 | 132.131 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 05:30:00 | 2453.424 | 2453.424 | 807.476 | 110.000 | 110.000 | 110.000 | 0.000 | 228.003 | 165.003 | 129.751 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 06:00:00 | 2682.015 | 2682.015 | 1039.544 | 110.000 | 110.000 | 110.000 | 0.000 | 218.410 | 155.410 | 127.114 | 0.000 | 6803.566 | 0.000
[42 empty] | 02/07/2026 06:30:00 | 2899.781 | 2899.781 | 1253.459 | 110.000 | 110.000 | 110.000 | 0.000 | 208.821 | 145.821 | 124.524 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 07:00:00 | 3011.688 | 3011.688 | 1378.050 | 110.000 | 110.000 | 110.000 | 0.000 | 248.016 | 185.016 | 122.164 | 0.000 | 6303.566 | 0.000
[42 empty] | 02/07/2026 07:30:00 | 2945.138 | 2945.138 | 1291.854 | 110.000 | 110.000 | 110.000 | 0.000 | 248.016 | 185.016 | 117.343 | 0.000 | 6803.566 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer