## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 48 |  | 48 |  | 0 |  | 48 |  | 0 |  | 1
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 01/07/2026 14:30:00 | 2463.69 | 2463.690 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 267.403 | 0.000 | 141.734 | 0.000 | 7816.784 | 806.784
[42 empty] | 02/07/2026 08:00:00 | 2723.283 | 2723.283 | 808.839 | 110.000 | 110.000 | 110.000 | 0.000 | 215.761 | 152.761 | 92.814 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 08:30:00 | 2574.319 | 2574.319 | 807.620 | 110.000 | 110.000 | 110.000 | 0.000 | 257.642 | 194.642 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 09:00:00 | 2431.273 | 2431.273 | 720.454 | 110.000 | 110.000 | 110.000 | 0.000 | 285.723 | 222.912 | 38.561 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 09:30:00 | 2264.012 | 2264.012 | 620.516 | 110.000 | 110.000 | 110.000 | 0.000 | 285.723 | 222.912 | 19.024 | 0.000 | 6816.784 | 0.000
[42 empty] | 02/07/2026 10:00:00 | 2132.607 | 2132.607 | 500.402 | 110.000 | 110.000 | 110.000 | 0.000 | 285.723 | 222.912 | 25.689 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 10:30:00 | 2075.087 | 2075.087 | 428.833 | 110.000 | 110.000 | 110.000 | 0.000 | 297.139 | 234.517 | 27.314 | 0.000 | 6816.784 | 0.000
[42 empty] | 02/07/2026 11:00:00 | 1994.888 | 1994.888 | 341.532 | 110.000 | 110.000 | 110.000 | 0.000 | 335.784 | 273.540 | 28.863 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 11:30:00 | 1890.782 | 1890.782 | 244.538 | 110.000 | 110.000 | 110.000 | 0.000 | 348.602 | 286.547 | 32.536 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 12:00:00 | 1832.626 | 1832.626 | 194.134 | 110.000 | 110.000 | 110.000 | 0.000 | 353.253 | 291.198 | 35.448 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 12:30:00 | 1846.487 | 1846.487 | 217.108 | 110.000 | 110.000 | 110.000 | 0.000 | 373.656 | 312.105 | 35.431 | 0.000 | 6816.784 | 0.000
[42 empty] | 02/07/2026 13:00:00 | 1864.733 | 1864.733 | 242.656 | 110.000 | 110.000 | 110.000 | 0.000 | 351.700 | 289.645 | 34.678 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 13:30:00 | 1962.878 | 1962.878 | 347.438 | 110.000 | 110.000 | 110.000 | 0.000 | 344.024 | 281.969 | 30.471 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 14:00:00 | 2059.527 | 2059.527 | 451.597 | 110.000 | 110.000 | 110.000 | 0.000 | 330.630 | 268.260 | 26.475 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 14:30:00 | 2158.971 | 2158.971 | 548.778 | 110.000 | 110.000 | 110.000 | 0.000 | 322.804 | 260.308 | 24.956 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 15:00:00 | 2339.102 | 2339.102 | 727.111 | 110.000 | 110.000 | 110.000 | 0.000 | 285.723 | 222.912 | 40.528 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 15:30:00 | 2571.209 | 2571.209 | 884.066 | 110.000 | 110.000 | 110.000 | 0.000 | 285.723 | 222.912 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 16:00:00 | 2823.208 | 2823.208 | 1123.888 | 110.000 | 110.000 | 110.000 | 0.000 | 248.013 | 185.013 | 83.810 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 16:30:00 | 3070.663 | 3070.663 | 1388.228 | 110.000 | 110.000 | 110.000 | 0.000 | 248.013 | 185.013 | 100.068 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 17:00:00 | 3282.154 | 3282.154 | 1608.885 | 110.000 | 110.000 | 110.000 | 0.000 | 198.758 | 135.758 | 103.490 | 0.000 | 6816.784 | 0.000
[42 empty] | 02/07/2026 17:30:00 | 3394.053 | 3394.053 | 1725.116 | 110.000 | 110.000 | 110.000 | 0.000 | 198.758 | 135.758 | 100.324 | 0.000 | 6816.784 | 0.000
[42 empty] | 02/07/2026 18:00:00 | 3378.415 | 3378.415 | 1703.563 | 110.000 | 110.000 | 110.000 | 0.000 | 198.758 | 135.758 | 99.437 | 0.000 | 6816.784 | 0.000
[42 empty] | 02/07/2026 18:30:00 | 3313.016 | 3313.016 | 1620.094 | 110.000 | 110.000 | 110.000 | 0.000 | 198.758 | 135.758 | 100.723 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 19:00:00 | 3224.93 | 3224.930 | 1510.477 | 110.000 | 110.000 | 110.000 | 0.000 | 198.758 | 135.758 | 102.545 | 0.000 | 6816.784 | 0.000
[42 empty] | 02/07/2026 19:30:00 | 3139.948 | 3139.948 | 1402.160 | 110.000 | 110.000 | 110.000 | 0.000 | 199.220 | 136.220 | 103.664 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 20:00:00 | 3026.727 | 3026.727 | 1260.119 | 110.000 | 110.000 | 110.000 | 0.000 | 199.220 | 136.220 | 104.635 | 0.000 | 6596.902 | 0.000
[42 empty] | 02/07/2026 20:30:00 | 2879.202 | 2879.202 | 1098.748 | 65.000 | 65.000 | 65.000 | 0.000 | 208.818 | 145.818 | 106.103 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 21:00:00 | 2711.122 | 2711.122 | 928.172 | 65.000 | 65.000 | 65.000 | 0.000 | 218.407 | 155.407 | 108.092 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 21:30:00 | 2543.498 | 2543.498 | 753.458 | 65.000 | 65.000 | 65.000 | 0.000 | 228.000 | 165.000 | 110.170 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 22:00:00 | 2388.858 | 2388.858 | 590.467 | 65.000 | 65.000 | 65.000 | 0.000 | 237.623 | 174.623 | 111.999 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 22:30:00 | 2264.533 | 2264.533 | 458.058 | 65.000 | 65.000 | 65.000 | 0.000 | 237.623 | 174.623 | 113.384 | 0.000 | 6596.902 | 0.000
[42 empty] | 02/07/2026 23:00:00 | 2168.755 | 2168.755 | 424.745 | 65.000 | 65.000 | 65.000 | 0.000 | 247.168 | 184.168 | 114.442 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/07/2026 23:30:00 | 2093.197 | 2093.197 | 364.693 | 65.000 | 65.000 | 65.000 | 0.000 | 247.168 | 184.168 | 115.317 | 0.000 | 6816.784 | 0.000
[42 empty] | 03/07/2026 00:00:00 | 2037.16 | 2037.160 | 288.507 | 65.000 | 65.000 | 65.000 | 0.000 | 247.168 | 184.168 | 115.990 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 00:30:00 | 1995.562 | 1995.562 | 250.266 | 65.000 | 65.000 | 65.000 | 0.000 | 256.774 | 193.774 | 116.480 | 0.000 | 6816.784 | 0.000
[42 empty] | 03/07/2026 01:00:00 | 1965.224 | 1965.224 | 226.604 | 65.000 | 65.000 | 65.000 | 0.000 | 256.774 | 193.774 | 116.822 | 0.000 | 6566.784 | 0.000
[42 empty] | 03/07/2026 01:30:00 | 1947.07 | 1947.070 | 202.231 | 65.000 | 65.000 | 65.000 | 0.000 | 256.774 | 193.774 | 117.022 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 02:00:00 | 1936.758 | 1936.758 | 183.091 | 65.000 | 65.000 | 65.000 | 0.000 | 256.774 | 193.774 | 117.141 | 0.000 | 6816.784 | 0.000
[42 empty] | 03/07/2026 02:30:00 | 1935.783 | 1935.783 | 181.151 | 65.000 | 65.000 | 65.000 | 0.000 | 256.774 | 193.774 | 117.157 | 0.000 | 6816.784 | 0.000
[42 empty] | 03/07/2026 03:00:00 | 1945.865 | 1945.865 | 185.747 | 65.000 | 65.000 | 65.000 | 0.000 | 256.774 | 193.774 | 117.043 | 0.000 | 6816.784 | 0.000
[42 empty] | 03/07/2026 03:30:00 | 1970.242 | 1970.242 | 211.210 | 65.000 | 65.000 | 65.000 | 0.000 | 256.774 | 193.774 | 116.759 | 0.000 | 6816.784 | 0.000
[42 empty] | 03/07/2026 04:00:00 | 2021.782 | 2021.782 | 265.851 | 65.000 | 65.000 | 65.000 | 0.000 | 247.168 | 184.168 | 116.165 | 0.000 | 6816.784 | 0.000
[42 empty] | 03/07/2026 04:30:00 | 2115.236 | 2115.236 | 367.309 | 65.000 | 65.000 | 65.000 | 0.000 | 247.168 | 184.168 | 115.086 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 05:00:00 | 2254.708 | 2254.708 | 506.864 | 65.000 | 65.000 | 65.000 | 0.000 | 237.623 | 174.623 | 113.477 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 05:30:00 | 2447.988 | 2447.988 | 696.725 | 110.000 | 110.000 | 110.000 | 0.000 | 228.000 | 165.000 | 111.246 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 06:00:00 | 2678.192 | 2678.192 | 913.054 | 110.000 | 110.000 | 110.000 | 0.000 | 218.407 | 155.407 | 108.589 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 06:30:00 | 2895.108 | 2895.108 | 1117.635 | 110.000 | 110.000 | 110.000 | 0.000 | 208.818 | 145.818 | 106.057 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 07:00:00 | 3031.543 | 3031.543 | 1259.532 | 110.000 | 110.000 | 110.000 | 0.000 | 248.013 | 185.013 | 103.636 | 0.000 | 6566.784 | 0.000
[42 empty] | 03/07/2026 07:30:00 | 2996.481 | 2996.481 | 1253.701 | 110.000 | 110.000 | 110.000 | 0.000 | 248.013 | 185.013 | 99.375 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer