## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 4 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 47 |  | 48 |  | 0 |  | 53 |  | 0 |  | 14
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[14 empty] | 03/07/2026 17:30:00 | 3538.838 | 3538.838 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 226.215 | 159.749 | 23.885 | 0.000 | 18607.358 | 0.000 | [14 empty] | 29/06/2026 17:30:00 | 3384.156 | 3384.156 | 0.000 | 110.000 | 72.435 | 110.000 | 0.000 | 198.742 | 156.742 | 0.000 | 0.000 | 12376.894 | 0.000
[14 empty] | 03/07/2026 18:00:00 | 3521.655 | 3521.655 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 226.215 | 163.495 | 63.718 | 0.000 | 18607.358 | 0.000 | [14 empty] | 29/06/2026 18:00:00 | 3336.012 | 3336.012 | 223.902 | 110.000 | 110.000 | 110.000 | 0.000 | 198.742 | 156.742 | 5.613 | 0.000 | 12376.894 | 0.000
[14 empty] | 03/07/2026 18:30:00 | 3465.856 | 3465.856 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 226.215 | 153.373 | 153.053 | 0.000 | 18857.358 | 0.000 | [14 empty] | 29/06/2026 18:30:00 | 3244.129 | 3244.129 | 377.228 | 110.000 | 110.000 | 110.000 | 0.000 | 198.742 | 156.742 | 186.706 | 0.000 | 12626.894 | 0.000
[14 empty] | 03/07/2026 19:00:00 | 3392.598 | 3392.598 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 226.215 | 8.703 | 265.867 | 0.000 | 18607.358 | 0.000 | [14 empty] | 29/06/2026 19:00:00 | 3141.178 | 3141.178 | 234.122 | 110.000 | 110.000 | 110.000 | 0.000 | 198.759 | 156.759 | 250.653 | 0.000 | 10376.894 | 0.000
[42 empty] | 29/06/2026 19:30:00 | 3034.38 | 3034.380 | 68.893 | 110.000 | 110.000 | 110.000 | 0.000 | 199.220 | 157.220 | 132.346 | 0.000 | 10604.900 | 0.000
[42 empty] | 03/07/2026 08:00:00 | 2902.103 | 2902.103 | 999.896 | 110.000 | 110.000 | 110.000 | 0.000 | 206.048 | 164.048 | 26.613 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 08:30:00 | 2766.945 | 2766.945 | 896.047 | 110.000 | 110.000 | 110.000 | 0.000 | 248.048 | 206.048 | 8.349 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 09:00:00 | 2606.345 | 2606.345 | 848.222 | 110.000 | 110.000 | 110.000 | 0.000 | 285.741 | 243.909 | 46.572 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 09:30:00 | 2392.349 | 2392.349 | 696.711 | 110.000 | 110.000 | 110.000 | 0.000 | 277.528 | 235.654 | 50.957 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 10:00:00 | 2203.313 | 2203.313 | 501.805 | 110.000 | 110.000 | 110.000 | 0.000 | 283.166 | 241.418 | 32.338 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 10:30:00 | 2076.547 | 2076.547 | 373.028 | 110.000 | 110.000 | 110.000 | 0.000 | 327.146 | 285.776 | 12.002 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 11:00:00 | 1977.317 | 1977.317 | 285.084 | 110.000 | 110.000 | 110.000 | 0.000 | 338.946 | 297.576 | 13.688 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 11:30:00 | 1890.428 | 1890.428 | 220.458 | 110.000 | 110.000 | 110.000 | 0.000 | 350.164 | 309.004 | 28.726 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 12:00:00 | 1836.27 | 1836.270 | 184.626 | 110.000 | 110.000 | 110.000 | 0.000 | 371.938 | 330.904 | 37.813 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 12:30:00 | 1835.516 | 1835.516 | 192.948 | 110.000 | 110.000 | 110.000 | 0.000 | 377.200 | 336.418 | 35.524 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 13:00:00 | 1833.072 | 1833.072 | 194.437 | 110.000 | 110.000 | 110.000 | 0.000 | 371.290 | 330.256 | 31.002 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 13:30:00 | 1942.688 | 1942.688 | 307.607 | 110.000 | 110.000 | 110.000 | 0.000 | 344.002 | 302.842 | 25.468 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 14:00:00 | 2060.211 | 2060.211 | 428.026 | 110.000 | 110.000 | 110.000 | 0.000 | 330.971 | 289.601 | 22.501 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 14:30:00 | 2152.113 | 2152.113 | 517.638 | 110.000 | 110.000 | 110.000 | 0.000 | 323.352 | 281.772 | 22.651 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 15:00:00 | 2314.38 | 2314.380 | 677.562 | 110.000 | 110.000 | 110.000 | 0.000 | 285.741 | 243.909 | 37.660 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 15:30:00 | 2527.786 | 2527.786 | 808.752 | 110.000 | 110.000 | 110.000 | 0.000 | 285.741 | 243.909 | 60.000 | 0.000 | 6876.894 | 0.000
[42 empty] | 03/07/2026 16:00:00 | 2771.126 | 2771.126 | 1034.175 | 110.000 | 110.000 | 110.000 | 0.000 | 248.031 | 206.031 | 79.385 | 0.000 | 7155.051 | 145.051
[42 empty] | 03/07/2026 16:30:00 | 3018.028 | 3018.028 | 1295.074 | 110.000 | 110.000 | 110.000 | 0.000 | 248.031 | 206.031 | 96.443 | 0.000 | 7155.051 | 145.051
[42 empty] | 03/07/2026 17:00:00 | 3211.46 | 3211.460 | 1490.663 | 110.000 | 110.000 | 110.000 | 0.000 | 198.778 | 156.778 | 101.125 | 0.000 | 7155.051 | 145.051
[42 empty] | 03/07/2026 17:30:00 | 3309.052 | 3309.052 | 1584.647 | 110.000 | 110.000 | 110.000 | 0.000 | 198.778 | 156.778 | 98.257 | 0.000 | 7155.051 | 145.051
[42 empty] | 03/07/2026 18:00:00 | 3290.684 | 3290.684 | 1554.172 | 110.000 | 110.000 | 110.000 | 0.000 | 198.778 | 156.778 | 96.994 | 0.000 | 7155.051 | 145.051
[42 empty] | 03/07/2026 18:30:00 | 3235.973 | 3235.973 | 1473.746 | 110.000 | 110.000 | 110.000 | 0.000 | 198.778 | 156.778 | 97.896 | 0.000 | 7155.051 | 145.051
[42 empty] | 03/07/2026 19:00:00 | 3165.607 | 3165.607 | 1373.743 | 110.000 | 110.000 | 110.000 | 0.000 | 199.238 | 157.238 | 99.587 | 0.000 | 7155.051 | 145.051
[42 empty] | 03/07/2026 19:30:00 | 3092.723 | 3092.723 | 1279.293 | 110.000 | 110.000 | 110.000 | 0.000 | 199.238 | 157.238 | 100.732 | 0.000 | 7155.051 | 145.051
[42 empty] | 03/07/2026 20:00:00 | 2999.58 | 2999.580 | 1169.230 | 110.000 | 110.000 | 110.000 | 0.000 | 208.836 | 166.836 | 101.521 | 0.000 | 7155.051 | 145.051
[42 empty] | 03/07/2026 20:30:00 | 2878.611 | 2878.611 | 1021.263 | 65.000 | 65.000 | 65.000 | 0.000 | 208.836 | 166.836 | 102.621 | 0.000 | 7155.051 | 145.051
[42 empty] | 03/07/2026 21:00:00 | 2735.233 | 2735.233 | 851.294 | 65.000 | 65.000 | 65.000 | 0.000 | 218.464 | 176.464 | 104.270 | 0.000 | 7155.051 | 145.051
[42 empty] | 03/07/2026 21:30:00 | 2586.154 | 2586.154 | 676.963 | 65.000 | 65.000 | 65.000 | 0.000 | 228.018 | 186.018 | 106.136 | 0.000 | 7155.051 | 145.051
[42 empty] | 03/07/2026 22:00:00 | 2441.63 | 2441.630 | 503.506 | 65.000 | 65.000 | 65.000 | 0.000 | 228.018 | 186.018 | 107.880 | 0.000 | 7155.051 | 145.051
[42 empty] | 03/07/2026 22:30:00 | 2316.583 | 2316.583 | 344.913 | 65.000 | 65.000 | 65.000 | 0.000 | 237.641 | 195.641 | 109.286 | 0.000 | 7155.051 | 145.051
[42 empty] | 03/07/2026 23:00:00 | 2222.73 | 2222.730 | 294.504 | 65.000 | 65.000 | 65.000 | 0.000 | 237.641 | 195.641 | 110.315 | 0.000 | 5071.600 | 0.000
[42 empty] | 03/07/2026 23:30:00 | 2138.895 | 2138.895 | 215.383 | 65.000 | 65.000 | 65.000 | 0.000 | 247.206 | 205.206 | 111.274 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/07/2026 00:00:00 | 2087.058 | 2087.058 | 145.853 | 65.000 | 65.000 | 65.000 | 0.000 | 247.206 | 205.206 | 111.896 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/07/2026 00:30:00 | 2060.663 | 2060.663 | 111.829 | 65.000 | 65.000 | 65.000 | 0.000 | 247.206 | 205.206 | 112.214 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/07/2026 01:00:00 | 2022.018 | 2022.018 | 57.424 | 65.000 | 65.000 | 65.000 | 0.000 | 247.206 | 205.206 | 112.655 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/07/2026 01:30:00 | 1995.634 | 1995.634 | 2.647 | 65.000 | 65.000 | 65.000 | 0.000 | 247.206 | 205.206 | 112.951 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/07/2026 02:00:00 | 1980.66 | 1980.660 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.792 | 187.685 | 137.937 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/07/2026 02:30:00 | 1971.385 | 1971.385 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.792 | 190.413 | 138.732 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/07/2026 03:00:00 | 1973.885 | 1973.885 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 247.206 | 151.345 | 147.665 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/07/2026 03:30:00 | 1985.316 | 1985.316 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 247.206 | 135.545 | 133.674 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/07/2026 04:00:00 | 2012.161 | 2012.161 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 247.206 | 178.711 | 92.075 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/07/2026 04:30:00 | 2062.743 | 2062.743 | 43.618 | 65.000 | 65.000 | 65.000 | 0.000 | 247.206 | 205.206 | 79.947 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/07/2026 05:00:00 | 2148.021 | 2148.021 | 141.893 | 65.000 | 65.000 | 65.000 | 0.000 | 247.206 | 205.206 | 105.423 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/07/2026 05:30:00 | 2269.489 | 2269.489 | 273.959 | 110.000 | 110.000 | 110.000 | 0.000 | 237.641 | 195.641 | 123.022 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/07/2026 06:00:00 | 2407.375 | 2407.375 | 395.458 | 110.000 | 110.000 | 110.000 | 0.000 | 228.031 | 186.031 | 117.701 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/07/2026 06:30:00 | 2554.715 | 2554.715 | 519.033 | 110.000 | 110.000 | 110.000 | 0.000 | 228.031 | 186.031 | 104.560 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/07/2026 07:00:00 | 2647.651 | 2647.651 | 609.243 | 110.000 | 110.000 | 110.000 | 0.000 | 267.210 | 225.210 | 98.208 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/07/2026 07:30:00 | 2602.923 | 2602.923 | 575.650 | 110.000 | 110.000 | 110.000 | 0.000 | 267.210 | 225.210 | 94.665 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer