## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 30 |  | 33 |  | 0 |  | 40 |  | 0 |  | 23
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 01/07/2026 18:30:00 | 3237.415 | 3237.415 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 198.708 | 132.441 | 120.972 | 0.000 | 13290.576 | 0.000
[42 empty] | 02/07/2026 18:00:00 | 3413.811 | 3413.811 | 124.307 | 110.000 | 110.000 | 110.000 | 0.000 | 206.619 | 164.619 | 117.469 | 0.000 | 7070.694 | 60.694
[42 empty] | 02/07/2026 18:30:00 | 3356.092 | 3356.092 | 247.070 | 110.000 | 110.000 | 110.000 | 0.000 | 206.619 | 164.619 | 143.696 | 0.000 | 7070.694 | 60.694
[42 empty] | 02/07/2026 19:00:00 | 3276.527 | 3276.527 | 232.558 | 110.000 | 110.000 | 110.000 | 0.000 | 206.619 | 164.619 | 170.953 | 0.000 | 7070.694 | 60.694
[42 empty] | 02/07/2026 19:30:00 | 3186.875 | 3186.875 | 49.155 | 110.000 | 110.000 | 110.000 | 0.000 | 206.619 | 164.619 | 95.520 | 0.000 | 7070.694 | 60.694
[42 empty] | 03/07/2026 07:00:00 | 3010.655 | 3010.655 | 9.382 | 110.000 | 110.000 | 110.000 | 0.000 | 255.872 | 213.872 | 104.829 | 0.000 | 6790.576 | 0.000
[42 empty] | 03/07/2026 07:30:00 | 2918.913 | 2918.913 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 255.872 | 50.759 | 98.760 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 08:00:00 | 2760.175 | 2760.175 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 248.031 | 28.756 | 87.258 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 16:30:00 | 3017.51 | 3017.510 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 248.925 | 51.406 | 120.110 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 17:00:00 | 3202.677 | 3202.677 | 130.202 | 110.000 | 110.000 | 110.000 | 0.000 | 199.672 | 157.672 | 133.766 | 0.000 | 7070.694 | 60.694
[42 empty] | 03/07/2026 17:30:00 | 3290.153 | 3290.153 | 286.597 | 110.000 | 110.000 | 110.000 | 0.000 | 199.672 | 157.672 | 103.698 | 0.000 | 7070.694 | 60.694
[42 empty] | 03/07/2026 18:00:00 | 3262.947 | 3262.947 | 470.891 | 110.000 | 110.000 | 110.000 | 0.000 | 199.672 | 157.672 | 96.672 | 0.000 | 7070.694 | 60.694
[42 empty] | 03/07/2026 18:30:00 | 3209.645 | 3209.645 | 562.224 | 110.000 | 110.000 | 110.000 | 0.000 | 199.672 | 157.672 | 89.928 | 0.000 | 7070.694 | 60.694
[42 empty] | 03/07/2026 19:00:00 | 3144.614 | 3144.614 | 420.341 | 110.000 | 110.000 | 110.000 | 0.000 | 199.672 | 157.672 | 102.914 | 0.000 | 7070.694 | 60.694
[42 empty] | 03/07/2026 19:30:00 | 3069.039 | 3069.039 | 178.459 | 110.000 | 110.000 | 110.000 | 0.000 | 200.132 | 158.132 | 107.465 | 0.000 | 7070.694 | 60.694
[42 empty] | 03/07/2026 20:00:00 | 2976.455 | 2976.455 | 0.000 | 110.000 | 108.202 | 110.000 | 0.000 | 209.730 | 167.730 | 104.254 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/07/2026 08:00:00 | 2217.545 | 2217.545 | 0.000 | 110.000 | 74.271 | 110.000 | 0.000 | 234.791 | 192.791 | 20.640 | 0.000 | 6290.576 | 0.000
[42 empty] | 05/07/2026 15:30:00 | 2328.246 | 2328.246 | 26.674 | 110.000 | 110.000 | 110.000 | 0.000 | 294.164 | 252.332 | 44.312 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/07/2026 16:00:00 | 2613.871 | 2613.871 | 380.297 | 110.000 | 110.000 | 110.000 | 0.000 | 257.655 | 215.655 | 39.128 | 0.000 | 7070.694 | 60.694
[42 empty] | 05/07/2026 16:30:00 | 2887.509 | 2887.509 | 802.767 | 110.000 | 110.000 | 110.000 | 0.000 | 257.655 | 215.655 | 73.662 | 0.000 | 7070.694 | 60.694
[42 empty] | 05/07/2026 17:00:00 | 3091.292 | 3091.292 | 1047.799 | 110.000 | 110.000 | 110.000 | 0.000 | 199.238 | 157.238 | 125.057 | 0.000 | 7070.694 | 60.694
[42 empty] | 05/07/2026 17:30:00 | 3191.524 | 3191.524 | 1090.659 | 110.000 | 110.000 | 110.000 | 0.000 | 198.778 | 156.778 | 123.687 | 0.000 | 7070.694 | 60.694
[42 empty] | 05/07/2026 18:00:00 | 3160.817 | 3160.817 | 1014.688 | 110.000 | 110.000 | 110.000 | 0.000 | 199.238 | 157.238 | 100.018 | 0.000 | 7070.694 | 60.694
[42 empty] | 05/07/2026 18:30:00 | 3087.073 | 3087.073 | 933.795 | 110.000 | 110.000 | 110.000 | 0.000 | 199.238 | 157.238 | 89.120 | 0.000 | 7070.694 | 60.694
[42 empty] | 05/07/2026 19:00:00 | 3004.147 | 3004.147 | 856.941 | 110.000 | 110.000 | 110.000 | 0.000 | 199.238 | 157.238 | 96.220 | 0.000 | 7070.694 | 60.694
[42 empty] | 05/07/2026 19:30:00 | 2924.62 | 2924.620 | 761.558 | 110.000 | 110.000 | 110.000 | 0.000 | 208.836 | 166.836 | 106.087 | 0.000 | 7070.694 | 60.694
[42 empty] | 05/07/2026 20:00:00 | 2825.667 | 2825.667 | 642.434 | 110.000 | 110.000 | 110.000 | 0.000 | 208.836 | 166.836 | 108.631 | 0.000 | 7070.694 | 60.694
[42 empty] | 05/07/2026 20:30:00 | 2705.888 | 2705.888 | 502.756 | 65.000 | 65.000 | 65.000 | 0.000 | 218.464 | 176.464 | 106.240 | 0.000 | 7070.694 | 60.694
[42 empty] | 05/07/2026 21:00:00 | 2568.181 | 2568.181 | 367.921 | 65.000 | 65.000 | 65.000 | 0.000 | 228.018 | 186.018 | 105.240 | 0.000 | 7070.694 | 60.694
[42 empty] | 05/07/2026 21:30:00 | 2424.94 | 2424.940 | 226.939 | 65.000 | 65.000 | 65.000 | 0.000 | 228.018 | 186.018 | 107.486 | 0.000 | 7070.694 | 60.694
[42 empty] | 05/07/2026 22:00:00 | 2290.74 | 2290.740 | 84.008 | 65.000 | 65.000 | 65.000 | 0.000 | 237.641 | 195.641 | 110.626 | 0.000 | 7070.694 | 60.694
[42 empty] | 05/07/2026 22:30:00 | 2177.335 | 2177.335 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 247.206 | 164.613 | 150.086 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/07/2026 23:00:00 | 2084.018 | 2084.018 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 247.206 | 113.681 | 181.796 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/07/2026 04:30:00 | 1968.122 | 1968.122 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 244.519 | 18.338 | 193.021 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/07/2026 05:00:00 | 2091.563 | 2091.563 | 0.000 | 65.000 | 30.093 | 65.000 | 0.000 | 247.206 | 205.206 | 90.676 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/07/2026 05:30:00 | 2256.535 | 2256.535 | 176.869 | 110.000 | 110.000 | 110.000 | 0.000 | 237.641 | 195.641 | 60.263 | 0.000 | 6290.576 | 0.000
[42 empty] | 06/07/2026 06:00:00 | 2437.959 | 2437.959 | 436.471 | 110.000 | 110.000 | 110.000 | 0.000 | 228.031 | 186.031 | 94.373 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/07/2026 06:30:00 | 2593.425 | 2593.425 | 657.389 | 110.000 | 110.000 | 110.000 | 0.000 | 218.464 | 176.464 | 124.858 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/07/2026 07:00:00 | 2659.996 | 2659.996 | 730.219 | 110.000 | 110.000 | 110.000 | 0.000 | 267.210 | 225.210 | 120.733 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/07/2026 07:30:00 | 2583.547 | 2583.547 | 687.361 | 110.000 | 110.000 | 110.000 | 0.000 | 267.210 | 225.210 | 96.930 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer