## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 55 |  | 57 |  | 0 |  | 61 |  | 0 |  | 0
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 03/07/2026 16:30:00 | 2864.53 | 2864.530 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 248.019 | 82.666 | 231.274 | 0.000 | 8428.414 | 0.000
[42 empty] | 03/07/2026 17:00:00 | 3058.083 | 3058.083 | 135.517 | 110.000 | 110.000 | 110.000 | 0.000 | 199.208 | 157.208 | 55.687 | 0.000 | 10428.414 | 0.000
[42 empty] | 03/07/2026 17:30:00 | 3158.993 | 3158.993 | 129.524 | 110.000 | 110.000 | 110.000 | 0.000 | 198.747 | 156.747 | 15.154 | 0.000 | 10502.900 | 0.000
[42 empty] | 03/07/2026 18:00:00 | 3145.618 | 3145.618 | 61.220 | 110.000 | 110.000 | 110.000 | 0.000 | 199.208 | 157.208 | 82.476 | 0.000 | 10428.414 | 0.000
[42 empty] | 03/07/2026 18:30:00 | 3097.123 | 3097.123 | 246.040 | 110.000 | 110.000 | 110.000 | 0.000 | 199.208 | 157.208 | 138.220 | 0.000 | 10428.414 | 0.000
[42 empty] | 03/07/2026 19:00:00 | 3031.249 | 3031.249 | 303.445 | 110.000 | 110.000 | 110.000 | 0.000 | 199.208 | 157.208 | 135.869 | 0.000 | 9622.900 | 0.000
[42 empty] | 03/07/2026 19:30:00 | 2964.424 | 2964.424 | 276.431 | 110.000 | 110.000 | 110.000 | 0.000 | 199.208 | 157.208 | 114.338 | 0.000 | 9428.414 | 0.000
[42 empty] | 03/07/2026 20:00:00 | 2882.0 | 2882.000 | 177.057 | 110.000 | 110.000 | 110.000 | 0.000 | 209.437 | 167.437 | 90.723 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/07/2026 20:30:00 | 2773.037 | 2773.037 | 21.650 | 65.000 | 65.000 | 65.000 | 0.000 | 209.437 | 167.437 | 101.458 | 0.000 | 6957.878 | 0.000
[42 empty] | 04/07/2026 17:30:00 | 3040.025 | 3040.025 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 199.839 | 28.782 | 142.759 | 0.000 | 6957.878 | 0.000
[42 empty] | 04/07/2026 18:00:00 | 3003.072 | 3003.072 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 199.839 | 142.646 | 134.206 | 0.000 | 6957.878 | 0.000
[42 empty] | 04/07/2026 18:30:00 | 2945.233 | 2945.233 | 118.489 | 110.000 | 110.000 | 110.000 | 0.000 | 209.437 | 167.437 | 106.444 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/07/2026 19:00:00 | 2884.006 | 2884.006 | 73.224 | 110.000 | 110.000 | 110.000 | 0.000 | 209.437 | 167.437 | 92.000 | 0.000 | 6957.878 | 0.000
[42 empty] | 07/07/2026 08:00:00 | 2683.147 | 2683.147 | 753.678 | 110.000 | 110.000 | 110.000 | 0.000 | 215.767 | 173.767 | 41.769 | 0.000 | 3928.414 | 0.000
[42 empty] | 07/07/2026 08:30:00 | 2491.263 | 2491.263 | 695.130 | 110.000 | 110.000 | 110.000 | 0.000 | 285.729 | 243.855 | 18.687 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/07/2026 09:00:00 | 2306.522 | 2306.522 | 596.864 | 110.000 | 110.000 | 110.000 | 0.000 | 285.729 | 243.855 | 40.721 | 0.000 | 6928.414 | 0.000
[42 empty] | 07/07/2026 09:30:00 | 2115.152 | 2115.152 | 443.400 | 110.000 | 110.000 | 110.000 | 0.000 | 293.328 | 251.580 | 52.736 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/07/2026 10:00:00 | 1952.002 | 1952.002 | 272.153 | 110.000 | 110.000 | 110.000 | 0.000 | 337.553 | 296.183 | 41.967 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/07/2026 10:30:00 | 1831.59 | 1831.590 | 123.225 | 110.000 | 110.000 | 110.000 | 0.000 | 344.658 | 303.414 | 27.086 | 0.000 | 6928.414 | 0.000
[42 empty] | 07/07/2026 11:00:00 | 1748.288 | 1748.288 | 28.394 | 110.000 | 110.000 | 110.000 | 0.000 | 353.645 | 312.401 | 29.217 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/07/2026 11:30:00 | 1671.018 | 1671.018 | 0.000 | 110.000 | 34.281 | 110.000 | 0.000 | 378.634 | 337.726 | 57.962 | 0.000 | 6928.414 | 0.000
[42 empty] | 07/07/2026 12:00:00 | 1630.324 | 1630.324 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 383.473 | 324.041 | 70.242 | 0.000 | 6928.414 | 0.000
[42 empty] | 07/07/2026 12:30:00 | 1647.621 | 1647.621 | 0.000 | 110.000 | 60.447 | 110.000 | 0.000 | 383.843 | 342.935 | 60.000 | 0.000 | 6928.414 | 0.000
[42 empty] | 07/07/2026 13:00:00 | 1684.45 | 1684.450 | 7.966 | 110.000 | 110.000 | 110.000 | 0.000 | 378.168 | 337.260 | 34.763 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/07/2026 13:30:00 | 1797.232 | 1797.232 | 99.042 | 110.000 | 110.000 | 110.000 | 0.000 | 348.728 | 307.484 | 19.841 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/07/2026 14:00:00 | 1890.394 | 1890.394 | 183.796 | 110.000 | 110.000 | 110.000 | 0.000 | 345.050 | 303.680 | 28.176 | 0.000 | 6928.414 | 0.000
[42 empty] | 07/07/2026 14:30:00 | 2005.37 | 2005.370 | 311.520 | 110.000 | 110.000 | 110.000 | 0.000 | 328.634 | 287.012 | 37.197 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/07/2026 15:00:00 | 2175.438 | 2175.438 | 488.782 | 110.000 | 110.000 | 110.000 | 0.000 | 294.152 | 252.320 | 46.607 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/07/2026 15:30:00 | 2403.82 | 2403.820 | 631.722 | 110.000 | 110.000 | 110.000 | 0.000 | 294.152 | 252.320 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/07/2026 16:00:00 | 2692.5 | 2692.500 | 901.854 | 110.000 | 110.000 | 110.000 | 0.000 | 257.643 | 215.643 | 81.211 | 0.000 | 6957.878 | 0.000
[42 empty] | 07/07/2026 16:30:00 | 2982.838 | 2982.838 | 1231.983 | 110.000 | 110.000 | 110.000 | 0.000 | 248.019 | 206.019 | 99.028 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/07/2026 17:00:00 | 3198.585 | 3198.585 | 1454.731 | 110.000 | 110.000 | 110.000 | 0.000 | 198.766 | 156.766 | 105.159 | 0.000 | 6957.878 | 0.000
[42 empty] | 07/07/2026 17:30:00 | 3311.478 | 3311.478 | 1568.713 | 110.000 | 110.000 | 110.000 | 0.000 | 198.766 | 156.766 | 102.347 | 0.000 | 6957.878 | 0.000
[42 empty] | 07/07/2026 18:00:00 | 3301.613 | 3301.613 | 1546.398 | 110.000 | 110.000 | 110.000 | 0.000 | 198.766 | 156.766 | 100.459 | 0.000 | 6957.878 | 0.000
[42 empty] | 07/07/2026 18:30:00 | 3243.663 | 3243.663 | 1461.155 | 110.000 | 110.000 | 110.000 | 0.000 | 198.766 | 156.766 | 101.055 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/07/2026 19:00:00 | 3164.896 | 3164.896 | 1357.575 | 110.000 | 110.000 | 110.000 | 0.000 | 199.226 | 157.226 | 102.936 | 0.000 | 6957.878 | 0.000
[42 empty] | 07/07/2026 19:30:00 | 3080.389 | 3080.389 | 1253.189 | 110.000 | 110.000 | 110.000 | 0.000 | 199.226 | 157.226 | 104.434 | 0.000 | 6957.878 | 0.000
[42 empty] | 07/07/2026 20:00:00 | 2973.371 | 2973.371 | 1134.355 | 110.000 | 110.000 | 110.000 | 0.000 | 208.824 | 166.824 | 105.443 | 0.000 | 6957.878 | 0.000
[42 empty] | 07/07/2026 20:30:00 | 2842.797 | 2842.797 | 1000.513 | 65.000 | 65.000 | 65.000 | 0.000 | 208.824 | 166.824 | 106.575 | 0.000 | 6957.878 | 0.000
[42 empty] | 07/07/2026 21:00:00 | 2688.97 | 2688.970 | 842.450 | 65.000 | 65.000 | 65.000 | 0.000 | 218.452 | 176.452 | 108.278 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/07/2026 21:30:00 | 2525.032 | 2525.032 | 685.166 | 65.000 | 65.000 | 65.000 | 0.000 | 228.006 | 186.006 | 110.321 | 0.000 | 6957.878 | 0.000
[42 empty] | 07/07/2026 22:00:00 | 2374.851 | 2374.851 | 528.557 | 65.000 | 65.000 | 65.000 | 0.000 | 237.629 | 195.629 | 112.166 | 0.000 | 6957.878 | 0.000
[42 empty] | 07/07/2026 22:30:00 | 2257.299 | 2257.299 | 400.364 | 65.000 | 65.000 | 65.000 | 0.000 | 237.629 | 195.629 | 113.504 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/07/2026 23:00:00 | 2169.042 | 2169.042 | 380.760 | 65.000 | 65.000 | 65.000 | 0.000 | 247.194 | 205.194 | 114.455 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/07/2026 23:30:00 | 2103.914 | 2103.914 | 354.750 | 65.000 | 65.000 | 65.000 | 0.000 | 247.194 | 205.194 | 115.183 | 0.000 | 6928.414 | 0.000
[42 empty] | 08/07/2026 00:00:00 | 2052.172 | 2052.172 | 298.892 | 65.000 | 65.000 | 65.000 | 0.000 | 247.194 | 205.194 | 115.803 | 0.000 | 6178.414 | 0.000
[42 empty] | 08/07/2026 00:30:00 | 2010.91 | 2010.910 | 270.901 | 65.000 | 65.000 | 65.000 | 0.000 | 247.194 | 205.194 | 116.303 | 0.000 | 6178.414 | 0.000
[42 empty] | 08/07/2026 01:00:00 | 1982.882 | 1982.882 | 241.092 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 116.627 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 01:30:00 | 1965.814 | 1965.814 | 233.203 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 116.811 | 0.000 | 6928.414 | 0.000
[42 empty] | 08/07/2026 02:00:00 | 1956.553 | 1956.553 | 223.078 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 116.912 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 02:30:00 | 1954.116 | 1954.116 | 228.266 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 116.943 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 03:00:00 | 1961.89 | 1961.890 | 257.011 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 116.856 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 03:30:00 | 1987.34 | 1987.340 | 298.802 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 116.562 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 04:00:00 | 2041.394 | 2041.394 | 357.635 | 65.000 | 65.000 | 65.000 | 0.000 | 247.194 | 205.194 | 115.938 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 04:30:00 | 2132.503 | 2132.503 | 449.501 | 65.000 | 65.000 | 65.000 | 0.000 | 247.194 | 205.194 | 114.887 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 05:00:00 | 2269.26 | 2269.260 | 589.963 | 65.000 | 65.000 | 65.000 | 0.000 | 237.629 | 195.629 | 113.309 | 0.000 | 5678.414 | 0.000
[42 empty] | 08/07/2026 05:30:00 | 2458.841 | 2458.841 | 780.276 | 110.000 | 110.000 | 110.000 | 0.000 | 228.006 | 186.006 | 111.121 | 0.000 | 6928.414 | 0.000
[42 empty] | 08/07/2026 06:00:00 | 2679.158 | 2679.158 | 1004.905 | 110.000 | 110.000 | 110.000 | 0.000 | 218.452 | 176.452 | 108.576 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 06:30:00 | 2870.322 | 2870.322 | 1199.421 | 110.000 | 110.000 | 110.000 | 0.000 | 208.824 | 166.824 | 106.294 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 07:00:00 | 2977.26 | 2977.260 | 1314.513 | 110.000 | 110.000 | 110.000 | 0.000 | 257.643 | 215.643 | 104.037 | 0.000 | 4872.728 | 0.000
[42 empty] | 08/07/2026 07:30:00 | 2935.294 | 2935.294 | 1302.434 | 110.000 | 110.000 | 110.000 | 0.000 | 248.019 | 206.019 | 99.389 | 0.000 | 6928.414 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer