## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 3 |  | 3 |  | 0 |  | 5 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 48 |  | 48 |  | 0 |  | 48 |  | 0 |  | 0
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[14 empty] | 08/07/2026 17:00:00 | 3490.836 | 3490.836 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 181.766 | 139.766 | 68.303 | 0.000 | 18842.910 | 0.000 | [14 empty] | 08/07/2026 08:00:00 | 2735.591 | 2735.591 | 501.544 | 110.000 | 110.000 | 110.000 | 0.000 | 215.767 | 173.767 | 8.645 | 0.000 | 7010.000 | 0.000
[14 empty] | 08/07/2026 17:30:00 | 3594.295 | 3594.295 | 75.337 | 110.000 | 110.000 | 110.000 | 0.000 | 198.348 | 156.390 | 65.599 | 0.000 | 18842.910 | 0.000 | [14 empty] | 08/07/2026 08:30:00 | 2491.813 | 2491.813 | 429.552 | 110.000 | 110.000 | 110.000 | 0.000 | 285.729 | 243.855 | 0.000 | 0.000 | 7010.000 | 0.000
[14 empty] | 08/07/2026 18:00:00 | 3572.915 | 3572.915 | 77.095 | 110.000 | 110.000 | 110.000 | 0.000 | 198.348 | 156.390 | 93.477 | 0.000 | 18842.910 | 0.000 | [14 empty] | 08/07/2026 09:00:00 | 2288.343 | 2288.343 | 372.087 | 110.000 | 110.000 | 110.000 | 0.000 | 285.729 | 243.855 | 12.785 | 0.000 | 7010.000 | 0.000
[14 empty] | 08/07/2026 18:30:00 | 3516.726 | 3516.726 | 4.883 | 110.000 | 110.000 | 110.000 | 0.000 | 198.348 | 156.390 | 100.239 | 0.000 | 18842.910 | 0.000 | [14 empty] | 08/07/2026 09:30:00 | 2123.41 | 2123.410 | 316.289 | 110.000 | 110.000 | 110.000 | 0.000 | 289.702 | 247.912 | 15.083 | 0.000 | 7010.000 | 0.000
[14 empty] | 08/07/2026 19:00:00 | 3448.276 | 3448.276 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 181.766 | 139.766 | 96.414 | 0.000 | 18842.910 | 0.000 | [14 empty] | 08/07/2026 10:00:00 | 1959.834 | 1959.834 | 196.444 | 110.000 | 110.000 | 110.000 | 0.000 | 333.238 | 291.742 | 3.012 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 10:30:00 | 1829.584 | 1829.584 | 103.709 | 110.000 | 110.000 | 110.000 | 0.000 | 347.311 | 305.815 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 11:00:00 | 1783.71 | 1783.710 | 95.663 | 110.000 | 110.000 | 110.000 | 0.000 | 316.462 | 274.714 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 11:30:00 | 1896.44 | 1896.440 | 237.916 | 110.000 | 110.000 | 110.000 | 0.000 | 306.786 | 264.912 | 10.216 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 12:00:00 | 1946.049 | 1946.049 | 307.570 | 110.000 | 110.000 | 110.000 | 0.000 | 297.726 | 255.978 | 0.782 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 12:30:00 | 1819.357 | 1819.357 | 190.109 | 110.000 | 110.000 | 110.000 | 0.000 | 351.596 | 310.268 | 3.390 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 13:00:00 | 1800.705 | 1800.705 | 169.608 | 110.000 | 110.000 | 110.000 | 0.000 | 345.552 | 304.056 | 0.980 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 13:30:00 | 1954.492 | 1954.492 | 316.314 | 110.000 | 110.000 | 110.000 | 0.000 | 329.835 | 288.171 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 14:00:00 | 2113.209 | 2113.209 | 478.030 | 110.000 | 110.000 | 110.000 | 0.000 | 294.152 | 252.278 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 14:30:00 | 2256.779 | 2256.779 | 629.012 | 110.000 | 110.000 | 110.000 | 0.000 | 294.152 | 252.278 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 15:00:00 | 2437.557 | 2437.557 | 821.193 | 110.000 | 110.000 | 110.000 | 0.000 | 285.729 | 243.855 | 8.661 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 15:30:00 | 2598.953 | 2598.953 | 913.688 | 110.000 | 110.000 | 110.000 | 0.000 | 285.729 | 243.855 | 39.860 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 16:00:00 | 2814.51 | 2814.510 | 1125.685 | 110.000 | 110.000 | 110.000 | 0.000 | 248.019 | 206.019 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 16:30:00 | 3076.35 | 3076.350 | 1417.824 | 110.000 | 110.000 | 110.000 | 0.000 | 248.019 | 206.019 | 62.245 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 17:00:00 | 3279.084 | 3279.084 | 1648.961 | 110.000 | 110.000 | 110.000 | 0.000 | 198.764 | 156.764 | 67.523 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 17:30:00 | 3374.984 | 3374.984 | 1744.663 | 110.000 | 110.000 | 110.000 | 0.000 | 198.764 | 156.764 | 68.003 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 18:00:00 | 3353.633 | 3353.633 | 1706.400 | 110.000 | 110.000 | 110.000 | 0.000 | 198.764 | 156.764 | 67.062 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 18:30:00 | 3299.638 | 3299.638 | 1633.072 | 110.000 | 110.000 | 110.000 | 0.000 | 198.764 | 156.764 | 66.055 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 19:00:00 | 3234.184 | 3234.184 | 1552.927 | 110.000 | 110.000 | 110.000 | 0.000 | 198.764 | 156.764 | 66.597 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 19:30:00 | 3148.073 | 3148.073 | 1460.730 | 110.000 | 110.000 | 110.000 | 0.000 | 199.226 | 157.226 | 68.301 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 20:00:00 | 3035.623 | 3035.623 | 1342.507 | 110.000 | 110.000 | 110.000 | 0.000 | 199.226 | 157.226 | 70.059 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 20:30:00 | 2896.568 | 2896.568 | 1195.153 | 65.000 | 65.000 | 65.000 | 0.000 | 208.824 | 166.824 | 71.541 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 21:00:00 | 2732.518 | 2732.518 | 1028.443 | 65.000 | 65.000 | 65.000 | 0.000 | 218.413 | 176.413 | 73.141 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 21:30:00 | 2562.68 | 2562.680 | 856.767 | 65.000 | 65.000 | 65.000 | 0.000 | 228.006 | 186.006 | 75.017 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 22:00:00 | 2408.722 | 2408.722 | 685.695 | 65.000 | 65.000 | 65.000 | 0.000 | 228.006 | 186.006 | 76.898 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 22:30:00 | 2280.771 | 2280.771 | 565.398 | 65.000 | 65.000 | 65.000 | 0.000 | 237.629 | 195.629 | 78.468 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 23:00:00 | 2179.341 | 2179.341 | 535.784 | 65.000 | 65.000 | 65.000 | 0.000 | 247.174 | 205.174 | 79.634 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 23:30:00 | 2101.125 | 2101.125 | 471.241 | 65.000 | 65.000 | 65.000 | 0.000 | 247.174 | 205.174 | 80.487 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 00:00:00 | 2036.879 | 2036.879 | 407.157 | 65.000 | 65.000 | 65.000 | 0.000 | 247.174 | 205.174 | 81.208 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 00:30:00 | 1990.002 | 1990.002 | 367.842 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 81.762 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 01:00:00 | 1959.731 | 1959.731 | 346.500 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 82.127 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 01:30:00 | 1941.861 | 1941.861 | 323.302 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 82.335 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 02:00:00 | 1932.366 | 1932.366 | 308.649 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 82.437 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 02:30:00 | 1932.5 | 1932.500 | 312.416 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 82.430 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 03:00:00 | 1940.833 | 1940.833 | 319.713 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 82.337 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 03:30:00 | 1966.867 | 1966.867 | 339.525 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 82.039 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 04:00:00 | 2020.193 | 2020.193 | 383.596 | 65.000 | 65.000 | 65.000 | 0.000 | 247.174 | 205.174 | 81.424 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 04:30:00 | 2110.176 | 2110.176 | 470.432 | 65.000 | 65.000 | 65.000 | 0.000 | 247.174 | 205.174 | 80.385 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 05:00:00 | 2254.104 | 2254.104 | 617.593 | 65.000 | 65.000 | 65.000 | 0.000 | 237.629 | 195.629 | 78.724 | 0.000 | 4537.224 | 0.000
[42 empty] | 09/07/2026 05:30:00 | 2456.594 | 2456.594 | 818.271 | 110.000 | 110.000 | 110.000 | 0.000 | 228.006 | 186.006 | 76.387 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 06:00:00 | 2675.914 | 2675.914 | 987.556 | 110.000 | 110.000 | 110.000 | 0.000 | 218.413 | 176.413 | 73.854 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 06:30:00 | 2865.447 | 2865.447 | 1187.431 | 110.000 | 110.000 | 110.000 | 0.000 | 208.824 | 166.824 | 71.573 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 07:00:00 | 2943.066 | 2943.066 | 1258.143 | 110.000 | 110.000 | 110.000 | 0.000 | 257.643 | 215.643 | 69.059 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 07:30:00 | 2843.887 | 2843.887 | 1115.497 | 110.000 | 110.000 | 110.000 | 0.000 | 257.643 | 215.643 | 61.869 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer