## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 53 |  | 53 |  | 0 |  | 61 |  | 0 |  | 0
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 05/07/2026 17:00:00 | 2932.802 | 2932.802 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 208.716 | 144.053 | 90.517 | 0.000 | 12722.434 | 0.000
[42 empty] | 05/07/2026 17:30:00 | 3019.354 | 3019.354 | 207.242 | 110.000 | 110.000 | 110.000 | 0.000 | 199.166 | 157.166 | 91.632 | 0.000 | 12722.434 | 0.000
[42 empty] | 05/07/2026 18:00:00 | 2984.658 | 2984.658 | 151.108 | 110.000 | 110.000 | 110.000 | 0.000 | 199.166 | 157.166 | 78.050 | 0.000 | 12722.434 | 0.000
[42 empty] | 05/07/2026 18:30:00 | 2917.769 | 2917.769 | 23.539 | 110.000 | 110.000 | 110.000 | 0.000 | 208.716 | 166.716 | 70.929 | 0.000 | 12722.434 | 0.000
[42 empty] | 05/07/2026 19:00:00 | 2843.981 | 2843.981 | 3.568 | 110.000 | 110.000 | 110.000 | 0.000 | 208.779 | 166.779 | 74.833 | 0.000 | 11472.434 | 0.000
[42 empty] | 05/07/2026 19:30:00 | 2771.843 | 2771.843 | 103.915 | 110.000 | 110.000 | 110.000 | 0.000 | 218.399 | 176.399 | 84.117 | 0.000 | 9472.434 | 0.000
[42 empty] | 05/07/2026 20:00:00 | 2683.752 | 2683.752 | 77.140 | 110.000 | 110.000 | 110.000 | 0.000 | 220.247 | 178.247 | 88.629 | 0.000 | 6972.434 | 0.000
[42 empty] | 05/07/2026 20:30:00 | 2576.748 | 2576.748 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 220.247 | 31.990 | 132.263 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/07/2026 17:00:00 | 3161.337 | 3161.337 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 200.730 | 110.115 | 68.546 | 0.000 | 6972.434 | 0.000
[42 empty] | 06/07/2026 17:30:00 | 3251.238 | 3251.238 | 81.763 | 110.000 | 110.000 | 110.000 | 0.000 | 200.598 | 158.598 | 73.342 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/07/2026 18:00:00 | 3220.957 | 3220.957 | 74.931 | 110.000 | 110.000 | 110.000 | 0.000 | 200.598 | 158.598 | 77.172 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/07/2026 18:30:00 | 3151.75 | 3151.750 | 57.565 | 110.000 | 110.000 | 110.000 | 0.000 | 201.060 | 159.060 | 77.422 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/07/2026 19:00:00 | 3072.817 | 3072.817 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 201.060 | 121.469 | 120.018 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 08:00:00 | 2501.293 | 2501.293 | 677.942 | 110.000 | 110.000 | 110.000 | 0.000 | 225.163 | 183.163 | 42.439 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 08:30:00 | 2311.068 | 2311.068 | 618.180 | 110.000 | 110.000 | 110.000 | 0.000 | 257.648 | 215.648 | 20.491 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 09:00:00 | 2156.857 | 2156.857 | 561.413 | 110.000 | 110.000 | 110.000 | 0.000 | 302.048 | 260.216 | 29.542 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 09:30:00 | 2054.994 | 2054.994 | 501.744 | 110.000 | 110.000 | 110.000 | 0.000 | 302.048 | 260.216 | 38.611 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 10:00:00 | 1914.478 | 1914.478 | 344.305 | 110.000 | 110.000 | 110.000 | 0.000 | 302.576 | 260.828 | 15.244 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 10:30:00 | 1720.664 | 1720.664 | 132.857 | 110.000 | 110.000 | 110.000 | 0.000 | 352.314 | 310.986 | 16.352 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 11:00:00 | 1600.679 | 1600.679 | 1.334 | 110.000 | 110.000 | 110.000 | 0.000 | 366.523 | 325.447 | 21.151 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 11:30:00 | 1545.633 | 1545.633 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 385.318 | 281.462 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 12:00:00 | 1514.97 | 1514.970 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 387.474 | 227.535 | 98.501 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 12:30:00 | 1536.985 | 1536.985 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 387.412 | 156.292 | 87.031 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 13:00:00 | 1599.809 | 1599.809 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 368.050 | 140.009 | 33.031 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 13:30:00 | 1770.908 | 1770.908 | 38.533 | 110.000 | 110.000 | 110.000 | 0.000 | 346.254 | 304.758 | 14.342 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 14:00:00 | 1911.139 | 1911.139 | 229.233 | 110.000 | 110.000 | 110.000 | 0.000 | 336.892 | 295.396 | 8.733 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 14:30:00 | 2033.944 | 2033.944 | 446.677 | 110.000 | 110.000 | 110.000 | 0.000 | 328.728 | 287.064 | 37.370 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 15:00:00 | 2225.895 | 2225.895 | 659.817 | 110.000 | 110.000 | 110.000 | 0.000 | 285.729 | 243.855 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 15:30:00 | 2452.482 | 2452.482 | 770.198 | 110.000 | 110.000 | 110.000 | 0.000 | 285.729 | 243.855 | 60.000 | 0.000 | 6972.434 | 0.000
[42 empty] | 09/07/2026 16:00:00 | 2690.905 | 2690.905 | 957.130 | 110.000 | 110.000 | 110.000 | 0.000 | 257.643 | 215.643 | 56.055 | 0.000 | 6751.244 | 0.000
[42 empty] | 09/07/2026 16:30:00 | 2921.541 | 2921.541 | 1197.264 | 110.000 | 110.000 | 110.000 | 0.000 | 248.019 | 206.019 | 60.000 | 0.000 | 6751.244 | 0.000
[42 empty] | 09/07/2026 17:00:00 | 3126.863 | 3126.863 | 1423.126 | 110.000 | 110.000 | 110.000 | 0.000 | 199.226 | 157.226 | 72.869 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 17:30:00 | 3239.191 | 3239.191 | 1536.126 | 110.000 | 110.000 | 110.000 | 0.000 | 198.764 | 156.764 | 85.675 | 0.000 | 6972.434 | 0.000
[42 empty] | 09/07/2026 18:00:00 | 3223.62 | 3223.620 | 1495.359 | 110.000 | 110.000 | 110.000 | 0.000 | 198.764 | 156.764 | 81.247 | 0.000 | 6972.434 | 0.000
[42 empty] | 09/07/2026 18:30:00 | 3170.657 | 3170.657 | 1419.212 | 110.000 | 110.000 | 110.000 | 0.000 | 199.226 | 157.226 | 72.695 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 19:00:00 | 3105.528 | 3105.528 | 1343.047 | 110.000 | 110.000 | 110.000 | 0.000 | 199.226 | 157.226 | 71.180 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 19:30:00 | 3023.871 | 3023.871 | 1250.695 | 110.000 | 110.000 | 110.000 | 0.000 | 199.226 | 157.226 | 75.570 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 20:00:00 | 2917.992 | 2917.992 | 1123.764 | 110.000 | 110.000 | 110.000 | 0.000 | 208.824 | 166.824 | 79.649 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 20:30:00 | 2782.58 | 2782.580 | 978.208 | 65.000 | 65.000 | 65.000 | 0.000 | 218.413 | 176.413 | 80.918 | 0.000 | 6972.434 | 0.000
[42 empty] | 09/07/2026 21:00:00 | 2630.05 | 2630.050 | 828.105 | 65.000 | 65.000 | 65.000 | 0.000 | 218.413 | 176.413 | 81.103 | 0.000 | 6972.434 | 0.000
[42 empty] | 09/07/2026 21:30:00 | 2477.224 | 2477.224 | 677.196 | 65.000 | 65.000 | 65.000 | 0.000 | 228.006 | 186.006 | 82.224 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 22:00:00 | 2336.078 | 2336.078 | 534.541 | 65.000 | 65.000 | 65.000 | 0.000 | 237.629 | 195.629 | 84.318 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 22:30:00 | 2221.834 | 2221.834 | 415.232 | 65.000 | 65.000 | 65.000 | 0.000 | 237.629 | 195.629 | 86.193 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 23:00:00 | 2132.813 | 2132.813 | 392.032 | 65.000 | 65.000 | 65.000 | 0.000 | 247.174 | 205.174 | 87.265 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/07/2026 23:30:00 | 2062.768 | 2062.768 | 347.074 | 65.000 | 65.000 | 65.000 | 0.000 | 247.174 | 205.174 | 87.816 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 00:00:00 | 2005.425 | 2005.425 | 276.483 | 65.000 | 65.000 | 65.000 | 0.000 | 247.174 | 205.174 | 88.329 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 00:30:00 | 1962.516 | 1962.516 | 227.840 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 88.879 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 01:00:00 | 1936.012 | 1936.012 | 195.346 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 89.284 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 01:30:00 | 1918.252 | 1918.252 | 166.549 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 89.512 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 02:00:00 | 1908.28 | 1908.280 | 150.193 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 89.591 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 02:30:00 | 1906.61 | 1906.610 | 146.826 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 89.579 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 03:00:00 | 1911.731 | 1911.731 | 148.011 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 89.522 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 03:30:00 | 1933.713 | 1933.713 | 157.525 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 89.287 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 04:00:00 | 1982.193 | 1982.193 | 189.308 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 88.735 | 0.000 | 6972.434 | 0.000
[42 empty] | 10/07/2026 04:30:00 | 2065.234 | 2065.234 | 253.289 | 65.000 | 65.000 | 65.000 | 0.000 | 247.174 | 205.174 | 87.772 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 05:00:00 | 2194.895 | 2194.895 | 366.680 | 65.000 | 65.000 | 65.000 | 0.000 | 247.174 | 205.174 | 86.268 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 05:30:00 | 2374.356 | 2374.356 | 540.686 | 110.000 | 110.000 | 110.000 | 0.000 | 237.629 | 195.629 | 84.194 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 06:00:00 | 2570.005 | 2570.005 | 725.530 | 110.000 | 110.000 | 110.000 | 0.000 | 228.006 | 186.006 | 81.939 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 06:30:00 | 2734.748 | 2734.748 | 890.719 | 110.000 | 110.000 | 110.000 | 0.000 | 218.413 | 176.413 | 79.962 | 0.000 | 6972.434 | 0.000
[42 empty] | 10/07/2026 07:00:00 | 2807.291 | 2807.291 | 968.088 | 110.000 | 110.000 | 110.000 | 0.000 | 257.643 | 215.643 | 77.780 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 07:30:00 | 2725.095 | 2725.095 | 902.768 | 110.000 | 110.000 | 110.000 | 0.000 | 257.643 | 215.643 | 72.019 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer