## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 31 |  | 31 |  | 0 |  | 40 |  | 0 |  | 14
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 05/07/2026 18:00:00 | 2969.45 | 2969.450 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 208.704 | 37.387 | 206.859 | 0.000 | 13237.136 | 0.000
[42 empty] | 05/07/2026 18:30:00 | 2911.669 | 2911.669 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 199.134 | 56.505 | 226.649 | 0.000 | 13487.136 | 0.000
[42 empty] | 10/07/2026 08:00:00 | 2410.778 | 2410.778 | 280.752 | 110.000 | 110.000 | 110.000 | 0.000 | 225.186 | 183.186 | 19.105 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 08:30:00 | 2216.214 | 2216.214 | 240.559 | 110.000 | 110.000 | 110.000 | 0.000 | 302.036 | 260.330 | 6.529 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 09:00:00 | 2032.189 | 2032.189 | 186.509 | 110.000 | 110.000 | 110.000 | 0.000 | 294.140 | 252.308 | 27.176 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 09:30:00 | 1846.143 | 1846.143 | 74.960 | 110.000 | 110.000 | 110.000 | 0.000 | 331.575 | 290.079 | 44.572 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 10:00:00 | 1676.61 | 1676.610 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 347.722 | 138.654 | 113.278 | 0.000 | 6987.136 | 0.000
[42 empty] | 10/07/2026 14:30:00 | 1856.11 | 1856.110 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 334.460 | 243.325 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 15:00:00 | 2085.0 | 2085.000 | 241.727 | 110.000 | 110.000 | 110.000 | 0.000 | 294.140 | 252.308 | 3.030 | 0.000 | 6987.136 | 0.000
[42 empty] | 10/07/2026 15:30:00 | 2350.85 | 2350.850 | 516.998 | 110.000 | 110.000 | 110.000 | 0.000 | 294.140 | 252.308 | 58.866 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 16:00:00 | 2626.213 | 2626.213 | 801.914 | 110.000 | 110.000 | 110.000 | 0.000 | 257.631 | 215.631 | 98.074 | 0.000 | 7266.600 | 256.600
[42 empty] | 10/07/2026 16:30:00 | 2880.69 | 2880.690 | 1037.711 | 110.000 | 110.000 | 110.000 | 0.000 | 248.007 | 206.007 | 89.036 | 0.000 | 7266.600 | 256.600
[42 empty] | 10/07/2026 17:00:00 | 3071.679 | 3071.679 | 1213.164 | 110.000 | 110.000 | 110.000 | 0.000 | 199.214 | 157.214 | 64.791 | 0.000 | 7266.600 | 256.600
[42 empty] | 10/07/2026 17:30:00 | 3169.399 | 3169.399 | 1295.295 | 110.000 | 110.000 | 110.000 | 0.000 | 199.214 | 157.214 | 60.506 | 0.000 | 7266.600 | 256.600
[42 empty] | 10/07/2026 18:00:00 | 3147.47 | 3147.470 | 1266.269 | 110.000 | 110.000 | 110.000 | 0.000 | 199.214 | 157.214 | 73.457 | 0.000 | 7266.600 | 256.600
[42 empty] | 10/07/2026 18:30:00 | 3092.282 | 3092.282 | 1193.689 | 110.000 | 110.000 | 110.000 | 0.000 | 199.214 | 157.214 | 82.253 | 0.000 | 7266.600 | 256.600
[42 empty] | 10/07/2026 19:00:00 | 3027.473 | 3027.473 | 1084.104 | 110.000 | 110.000 | 110.000 | 0.000 | 199.214 | 157.214 | 80.741 | 0.000 | 7266.600 | 256.600
[42 empty] | 10/07/2026 19:30:00 | 2954.609 | 2954.609 | 977.891 | 110.000 | 110.000 | 110.000 | 0.000 | 208.812 | 166.812 | 76.374 | 0.000 | 7266.600 | 256.600
[42 empty] | 10/07/2026 20:00:00 | 2862.798 | 2862.798 | 870.232 | 110.000 | 110.000 | 110.000 | 0.000 | 208.812 | 166.812 | 75.957 | 0.000 | 7266.600 | 256.600
[42 empty] | 10/07/2026 20:30:00 | 2751.012 | 2751.012 | 759.081 | 65.000 | 65.000 | 65.000 | 0.000 | 218.440 | 176.440 | 79.114 | 0.000 | 7266.600 | 256.600
[42 empty] | 10/07/2026 21:00:00 | 2623.784 | 2623.784 | 640.197 | 65.000 | 65.000 | 65.000 | 0.000 | 218.440 | 176.440 | 82.254 | 0.000 | 7266.600 | 256.600
[42 empty] | 10/07/2026 21:30:00 | 2490.162 | 2490.162 | 513.313 | 65.000 | 65.000 | 65.000 | 0.000 | 227.994 | 185.994 | 83.700 | 0.000 | 7266.600 | 256.600
[42 empty] | 10/07/2026 22:00:00 | 2364.105 | 2364.105 | 382.342 | 65.000 | 65.000 | 65.000 | 0.000 | 237.617 | 195.617 | 84.271 | 0.000 | 7266.600 | 256.600
[42 empty] | 10/07/2026 22:30:00 | 2253.069 | 2253.069 | 263.285 | 65.000 | 65.000 | 65.000 | 0.000 | 237.617 | 195.617 | 85.157 | 0.000 | 7266.600 | 256.600
[42 empty] | 10/07/2026 23:00:00 | 2160.625 | 2160.625 | 242.401 | 65.000 | 65.000 | 65.000 | 0.000 | 247.182 | 205.182 | 86.468 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 23:30:00 | 2077.747 | 2077.747 | 173.670 | 65.000 | 65.000 | 65.000 | 0.000 | 247.182 | 205.182 | 87.744 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 00:00:00 | 2005.986 | 2005.986 | 81.244 | 65.000 | 65.000 | 65.000 | 0.000 | 247.182 | 205.182 | 88.611 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 00:30:00 | 1960.881 | 1960.881 | 36.847 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 88.992 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 01:00:00 | 1927.396 | 1927.396 | 1.009 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 89.287 | 0.000 | 6987.136 | 0.000
[42 empty] | 11/07/2026 01:30:00 | 1903.612 | 1903.612 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.768 | 193.569 | 114.631 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 02:00:00 | 1890.102 | 1890.102 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.768 | 164.865 | 132.169 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 02:30:00 | 1880.839 | 1880.839 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.768 | 117.007 | 143.737 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 03:00:00 | 1881.244 | 1881.244 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.768 | 28.973 | 164.550 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 04:30:00 | 1963.214 | 1963.214 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.768 | 101.723 | 38.893 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 05:00:00 | 2031.272 | 2031.272 | 56.106 | 65.000 | 65.000 | 65.000 | 0.000 | 247.182 | 205.182 | 36.171 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 05:30:00 | 2125.079 | 2125.079 | 231.391 | 110.000 | 110.000 | 110.000 | 0.000 | 247.182 | 205.182 | 70.009 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 06:00:00 | 2244.164 | 2244.164 | 399.183 | 110.000 | 110.000 | 110.000 | 0.000 | 237.617 | 195.617 | 128.381 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 06:30:00 | 2369.657 | 2369.657 | 524.287 | 110.000 | 110.000 | 110.000 | 0.000 | 228.007 | 186.007 | 114.043 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 07:00:00 | 2448.824 | 2448.824 | 579.120 | 110.000 | 110.000 | 110.000 | 0.000 | 276.763 | 234.763 | 90.090 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 07:30:00 | 2403.345 | 2403.345 | 599.355 | 110.000 | 110.000 | 110.000 | 0.000 | 276.763 | 234.763 | 77.679 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer