## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 64 |  | 68 |  | 0 |  | 74 |  | 0 |  | 20
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 06/07/2026 18:30:00 | 2989.866 | 2989.866 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 199.187 | 62.216 | 113.170 | 0.000 | 12234.301 | 0.000
[42 empty] | 06/07/2026 19:30:00 | 2836.002 | 2836.002 | 22.653 | 110.000 | 110.000 | 110.000 | 0.000 | 199.187 | 157.187 | 83.148 | 0.000 | 12478.900 | 0.000
[42 empty] | 06/07/2026 20:00:00 | 2737.171 | 2737.171 | 38.681 | 110.000 | 45.600 | 110.000 | 0.000 | 218.349 | 176.349 | 262.849 | 0.000 | 12234.301 | 0.000
[42 empty] | 06/07/2026 20:30:00 | 2621.178 | 2621.178 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 199.983 | 35.175 | 170.629 | 0.000 | 12234.301 | 0.000
[42 empty] | 07/07/2026 06:30:00 | 2592.134 | 2592.134 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 198.373 | 156.373 | 117.549 | 0.000 | 12234.301 | 0.000
[42 empty] | 07/07/2026 07:00:00 | 2641.054 | 2641.054 | 7.566 | 110.000 | 110.000 | 110.000 | 0.000 | 266.960 | 224.960 | 80.281 | 0.000 | 12234.301 | 0.000
[42 empty] | 07/07/2026 07:30:00 | 2539.058 | 2539.058 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 246.487 | 51.266 | 78.371 | 0.000 | 11984.301 | 0.000
[42 empty] | 07/07/2026 08:00:00 | 2354.91 | 2354.910 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 267.172 | 216.333 | 63.979 | 0.000 | 9234.301 | 0.000
[42 empty] | 07/07/2026 16:30:00 | 2773.724 | 2773.724 | 185.505 | 110.000 | 110.000 | 110.000 | 0.000 | 257.462 | 215.462 | 87.697 | 0.000 | 11484.301 | 0.000
[42 empty] | 07/07/2026 17:00:00 | 2976.079 | 2976.079 | 234.579 | 110.000 | 110.000 | 110.000 | 0.000 | 208.787 | 166.787 | 66.565 | 0.000 | 11234.301 | 0.000
[42 empty] | 07/07/2026 17:30:00 | 3078.323 | 3078.323 | 351.041 | 110.000 | 110.000 | 110.000 | 0.000 | 199.211 | 157.211 | 63.437 | 0.000 | 11484.301 | 0.000
[42 empty] | 07/07/2026 18:00:00 | 3060.062 | 3060.062 | 321.419 | 110.000 | 110.000 | 110.000 | 0.000 | 199.211 | 157.211 | 75.129 | 0.000 | 11484.301 | 0.000
[42 empty] | 07/07/2026 18:30:00 | 2994.628 | 2994.628 | 236.807 | 110.000 | 110.000 | 110.000 | 0.000 | 208.787 | 166.787 | 82.774 | 0.000 | 11490.900 | 0.000
[42 empty] | 07/07/2026 19:00:00 | 2914.32 | 2914.320 | 129.501 | 110.000 | 110.000 | 110.000 | 0.000 | 208.787 | 166.787 | 81.413 | 0.000 | 11490.900 | 0.000
[42 empty] | 07/07/2026 19:30:00 | 2834.594 | 2834.594 | 13.329 | 110.000 | 110.000 | 110.000 | 0.000 | 208.814 | 166.814 | 77.744 | 0.000 | 10610.900 | 0.000
[42 empty] | 08/07/2026 17:00:00 | 2939.188 | 2939.188 | 18.455 | 110.000 | 110.000 | 110.000 | 0.000 | 208.827 | 166.827 | 67.679 | 0.000 | 7764.419 | 754.419
[42 empty] | 08/07/2026 17:30:00 | 3036.976 | 3036.976 | 136.949 | 110.000 | 110.000 | 110.000 | 0.000 | 199.229 | 157.229 | 71.734 | 0.000 | 7764.419 | 754.419
[42 empty] | 08/07/2026 18:00:00 | 3015.842 | 3015.842 | 78.207 | 110.000 | 110.000 | 110.000 | 0.000 | 199.229 | 157.229 | 79.196 | 0.000 | 7764.419 | 754.419
[42 empty] | 08/07/2026 18:30:00 | 2954.264 | 2954.264 | 0.000 | 110.000 | 110.000 | 110.000 | 0.000 | 208.827 | 166.827 | 81.105 | 0.000 | 7546.219 | 536.219
[42 empty] | 08/07/2026 19:00:00 | 2880.35 | 2880.350 | 0.000 | 110.000 | 39.544 | 110.000 | 0.000 | 208.827 | 166.827 | 78.958 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 19:30:00 | 2805.166 | 2805.166 | 0.000 | 110.000 | 89.806 | 110.000 | 0.000 | 208.827 | 166.827 | 84.779 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/07/2026 20:00:00 | 2708.901 | 2708.901 | 127.031 | 110.000 | 110.000 | 110.000 | 0.000 | 218.455 | 176.455 | 87.103 | 0.000 | 7764.419 | 754.419
[42 empty] | 08/07/2026 20:30:00 | 2597.184 | 2597.184 | 0.000 | 65.000 | 49.678 | 65.000 | 0.000 | 218.455 | 176.455 | 81.854 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 07:30:00 | 2726.938 | 2726.938 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 255.473 | 157.186 | 82.956 | 0.000 | 5607.700 | 0.000
[42 empty] | 10/07/2026 08:00:00 | 2650.213 | 2650.213 | 188.550 | 110.000 | 110.000 | 110.000 | 0.000 | 257.646 | 215.646 | 76.540 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/07/2026 08:30:00 | 2515.284 | 2515.284 | 3.461 | 110.000 | 110.000 | 110.000 | 0.000 | 267.229 | 225.229 | 41.723 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 08:00:00 | 2466.153 | 2466.153 | 471.057 | 110.000 | 110.000 | 110.000 | 0.000 | 225.242 | 183.242 | 78.631 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 08:30:00 | 2417.824 | 2417.824 | 571.878 | 110.000 | 110.000 | 110.000 | 0.000 | 267.201 | 225.243 | 49.429 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 09:00:00 | 2312.936 | 2312.936 | 583.417 | 110.000 | 110.000 | 110.000 | 0.000 | 267.229 | 225.229 | 33.458 | 0.000 | 6984.301 | 0.000
[42 empty] | 11/07/2026 09:30:00 | 2114.3 | 2114.300 | 449.729 | 110.000 | 110.000 | 110.000 | 0.000 | 294.155 | 252.449 | 34.796 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 10:00:00 | 1954.454 | 1954.454 | 293.714 | 110.000 | 110.000 | 110.000 | 0.000 | 297.442 | 255.988 | 18.262 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 10:30:00 | 1887.831 | 1887.831 | 223.541 | 110.000 | 110.000 | 110.000 | 0.000 | 306.246 | 264.792 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 11:00:00 | 1821.54 | 1821.540 | 167.505 | 110.000 | 110.000 | 110.000 | 0.000 | 337.737 | 296.619 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 11:30:00 | 1772.91 | 1772.910 | 128.348 | 110.000 | 110.000 | 110.000 | 0.000 | 346.923 | 305.805 | 8.819 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 12:00:00 | 1726.379 | 1726.379 | 91.828 | 110.000 | 110.000 | 110.000 | 0.000 | 350.867 | 310.001 | 17.669 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 12:30:00 | 1714.7 | 1714.700 | 86.209 | 110.000 | 110.000 | 110.000 | 0.000 | 354.131 | 313.265 | 16.007 | 0.000 | 6984.301 | 0.000
[42 empty] | 11/07/2026 13:00:00 | 1758.872 | 1758.872 | 143.234 | 110.000 | 110.000 | 110.000 | 0.000 | 335.759 | 294.641 | 9.679 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 13:30:00 | 1929.163 | 1929.163 | 309.214 | 110.000 | 110.000 | 110.000 | 0.000 | 302.051 | 260.471 | 1.817 | 0.000 | 6984.301 | 0.000
[42 empty] | 11/07/2026 14:00:00 | 2065.932 | 2065.932 | 447.700 | 110.000 | 110.000 | 110.000 | 0.000 | 294.155 | 252.449 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 14:30:00 | 2127.95 | 2127.950 | 507.594 | 110.000 | 110.000 | 110.000 | 0.000 | 288.394 | 246.688 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 15:00:00 | 2245.624 | 2245.624 | 613.700 | 110.000 | 110.000 | 110.000 | 0.000 | 285.732 | 244.026 | 11.007 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 15:30:00 | 2395.859 | 2395.859 | 687.482 | 110.000 | 110.000 | 110.000 | 0.000 | 294.155 | 252.449 | 47.634 | 0.000 | 7110.824 | 100.824
[42 empty] | 11/07/2026 16:00:00 | 2604.552 | 2604.552 | 885.826 | 110.000 | 110.000 | 110.000 | 0.000 | 257.646 | 215.646 | 76.513 | 0.000 | 7764.419 | 754.419
[42 empty] | 11/07/2026 16:30:00 | 2838.093 | 2838.093 | 1139.766 | 110.000 | 110.000 | 110.000 | 0.000 | 257.646 | 215.646 | 110.870 | 0.000 | 7764.419 | 754.419
[42 empty] | 11/07/2026 17:00:00 | 3008.142 | 3008.142 | 1314.120 | 110.000 | 110.000 | 110.000 | 0.000 | 199.229 | 157.229 | 130.830 | 0.000 | 7764.419 | 754.419
[42 empty] | 11/07/2026 17:30:00 | 3081.148 | 3081.148 | 1387.032 | 110.000 | 110.000 | 110.000 | 0.000 | 199.229 | 157.229 | 136.412 | 0.000 | 7764.419 | 754.419
[42 empty] | 11/07/2026 18:00:00 | 3049.228 | 3049.228 | 1341.997 | 110.000 | 110.000 | 110.000 | 0.000 | 199.229 | 157.229 | 134.286 | 0.000 | 7764.419 | 754.419
[42 empty] | 11/07/2026 18:30:00 | 3003.538 | 3003.538 | 1278.057 | 110.000 | 110.000 | 110.000 | 0.000 | 199.229 | 157.229 | 131.209 | 0.000 | 7764.419 | 754.419
[42 empty] | 11/07/2026 19:00:00 | 2956.105 | 2956.105 | 1210.491 | 110.000 | 110.000 | 110.000 | 0.000 | 208.827 | 166.827 | 128.013 | 0.000 | 7764.419 | 754.419
[42 empty] | 11/07/2026 19:30:00 | 2890.965 | 2890.965 | 1123.299 | 110.000 | 110.000 | 110.000 | 0.000 | 208.827 | 166.827 | 123.626 | 0.000 | 7764.419 | 754.419
[42 empty] | 11/07/2026 20:00:00 | 2810.688 | 2810.688 | 1032.451 | 110.000 | 110.000 | 110.000 | 0.000 | 208.827 | 166.827 | 118.218 | 0.000 | 7764.419 | 754.419
[42 empty] | 11/07/2026 20:30:00 | 2718.444 | 2718.444 | 941.677 | 65.000 | 65.000 | 65.000 | 0.000 | 218.455 | 176.455 | 112.004 | 0.000 | 7764.419 | 754.419
[42 empty] | 11/07/2026 21:00:00 | 2606.942 | 2606.942 | 831.655 | 65.000 | 65.000 | 65.000 | 0.000 | 218.455 | 176.455 | 104.494 | 0.000 | 7764.419 | 754.419
[42 empty] | 11/07/2026 21:30:00 | 2480.998 | 2480.998 | 706.290 | 65.000 | 65.000 | 65.000 | 0.000 | 228.009 | 186.009 | 96.010 | 0.000 | 7764.419 | 754.419
[42 empty] | 11/07/2026 22:00:00 | 2358.078 | 2358.078 | 586.193 | 65.000 | 65.000 | 65.000 | 0.000 | 237.632 | 195.632 | 87.730 | 0.000 | 7764.419 | 754.419
[42 empty] | 11/07/2026 22:30:00 | 2248.653 | 2248.653 | 480.059 | 65.000 | 65.000 | 65.000 | 0.000 | 237.632 | 195.632 | 86.830 | 0.000 | 7764.419 | 754.419
[42 empty] | 11/07/2026 23:00:00 | 2157.252 | 2157.252 | 448.708 | 65.000 | 65.000 | 65.000 | 0.000 | 247.197 | 205.197 | 86.900 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/07/2026 23:30:00 | 2083.188 | 2083.188 | 386.017 | 65.000 | 65.000 | 65.000 | 0.000 | 247.197 | 205.197 | 87.065 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 00:00:00 | 2021.5 | 2021.500 | 312.996 | 65.000 | 65.000 | 65.000 | 0.000 | 247.197 | 205.197 | 87.928 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 00:30:00 | 1972.935 | 1972.935 | 267.479 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 88.907 | 0.000 | 6984.301 | 0.000
[42 empty] | 12/07/2026 01:00:00 | 1936.423 | 1936.423 | 230.874 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 89.461 | 0.000 | 6984.301 | 0.000
[42 empty] | 12/07/2026 01:30:00 | 1912.986 | 1912.986 | 192.523 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 89.591 | 0.000 | 6984.301 | 0.000
[42 empty] | 12/07/2026 02:00:00 | 1898.625 | 1898.625 | 159.282 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 89.619 | 0.000 | 6984.301 | 0.000
[42 empty] | 12/07/2026 02:30:00 | 1888.535 | 1888.535 | 140.534 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 89.738 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 03:00:00 | 1888.211 | 1888.211 | 134.399 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 89.812 | 0.000 | 6984.301 | 0.000
[42 empty] | 12/07/2026 03:30:00 | 1899.021 | 1899.021 | 144.147 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 89.718 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 04:00:00 | 1922.48 | 1922.480 | 169.699 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 89.430 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 04:30:00 | 1962.876 | 1962.876 | 200.158 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 88.940 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 05:00:00 | 2016.145 | 2016.145 | 248.865 | 65.000 | 65.000 | 65.000 | 0.000 | 247.197 | 205.197 | 88.320 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 05:30:00 | 2092.667 | 2092.667 | 334.617 | 110.000 | 110.000 | 110.000 | 0.000 | 247.197 | 205.197 | 87.447 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 06:00:00 | 2208.271 | 2208.271 | 448.362 | 110.000 | 110.000 | 110.000 | 0.000 | 237.632 | 195.632 | 86.120 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 06:30:00 | 2331.092 | 2331.092 | 572.761 | 110.000 | 110.000 | 110.000 | 0.000 | 237.632 | 195.632 | 85.839 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 07:00:00 | 2422.632 | 2422.632 | 669.276 | 110.000 | 110.000 | 110.000 | 0.000 | 276.782 | 234.782 | 90.453 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 07:30:00 | 2422.349 | 2422.349 | 643.625 | 110.000 | 110.000 | 110.000 | 0.000 | 276.782 | 234.782 | 83.093 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer