## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 40 |  | 40 |  | 0 |  | 45 |  | 0 |  | 0
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 08/07/2026 17:30:00 | 3070.369 | 3070.369 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 205.399 | 10.322 | 214.022 | 0.000 | 13163.248 | 0.000
[42 empty] | 09/07/2026 17:30:00 | 3076.262 | 3076.262 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 200.621 | 107.292 | 76.079 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 08:00:00 | 2202.145 | 2202.145 | 448.224 | 110.000 | 110.000 | 110.000 | 0.000 | 234.776 | 192.776 | 49.305 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 08:30:00 | 2060.518 | 2060.518 | 313.091 | 110.000 | 110.000 | 110.000 | 0.000 | 276.776 | 234.776 | 25.635 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 09:00:00 | 1916.905 | 1916.905 | 233.987 | 110.000 | 110.000 | 110.000 | 0.000 | 302.045 | 260.255 | 21.444 | 0.000 | 6913.248 | 0.000
[42 empty] | 12/07/2026 09:30:00 | 1759.164 | 1759.164 | 108.718 | 110.000 | 110.000 | 110.000 | 0.000 | 333.784 | 292.372 | 43.067 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 10:00:00 | 1631.87 | 1631.870 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 346.936 | 297.416 | 52.590 | 0.000 | 6913.248 | 0.000
[42 empty] | 12/07/2026 10:30:00 | 1526.884 | 1526.884 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 360.278 | 129.602 | 130.738 | 0.000 | 6913.248 | 0.000
[42 empty] | 12/07/2026 13:30:00 | 1708.478 | 1708.478 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 332.996 | 184.275 | 11.960 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 14:00:00 | 1860.599 | 1860.599 | 143.302 | 110.000 | 110.000 | 110.000 | 0.000 | 331.505 | 289.883 | 5.875 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 14:30:00 | 1949.342 | 1949.342 | 341.156 | 110.000 | 110.000 | 110.000 | 0.000 | 332.611 | 290.989 | 6.656 | 0.000 | 6913.248 | 0.000
[42 empty] | 12/07/2026 15:00:00 | 2103.496 | 2103.496 | 552.682 | 110.000 | 110.000 | 110.000 | 0.000 | 294.149 | 252.317 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 15:30:00 | 2308.502 | 2308.502 | 651.736 | 110.000 | 110.000 | 110.000 | 0.000 | 294.149 | 252.317 | 61.777 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 16:00:00 | 2561.105 | 2561.105 | 843.502 | 110.000 | 110.000 | 110.000 | 0.000 | 257.640 | 215.640 | 71.510 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 16:30:00 | 2819.917 | 2819.917 | 1110.054 | 110.000 | 110.000 | 110.000 | 0.000 | 257.640 | 215.640 | 107.782 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 17:00:00 | 3022.321 | 3022.321 | 1339.514 | 110.000 | 110.000 | 110.000 | 0.000 | 199.223 | 157.223 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 17:30:00 | 3123.984 | 3123.984 | 1460.033 | 110.000 | 110.000 | 110.000 | 0.000 | 199.223 | 157.223 | 80.420 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 18:00:00 | 3107.432 | 3107.432 | 1427.049 | 110.000 | 110.000 | 110.000 | 0.000 | 199.223 | 157.223 | 87.839 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 18:30:00 | 3065.248 | 3065.248 | 1355.802 | 110.000 | 110.000 | 110.000 | 0.000 | 199.223 | 157.223 | 79.830 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 19:00:00 | 3014.39 | 3014.390 | 1283.777 | 110.000 | 110.000 | 110.000 | 0.000 | 199.223 | 157.223 | 72.564 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 19:30:00 | 2938.925 | 2938.925 | 1191.610 | 110.000 | 110.000 | 110.000 | 0.000 | 208.821 | 166.821 | 73.758 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 20:00:00 | 2844.249 | 2844.249 | 1083.528 | 110.000 | 110.000 | 110.000 | 0.000 | 208.821 | 166.821 | 78.937 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 20:30:00 | 2725.92 | 2725.920 | 960.989 | 65.000 | 65.000 | 65.000 | 0.000 | 218.449 | 176.449 | 82.185 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 21:00:00 | 2590.503 | 2590.503 | 828.746 | 65.000 | 65.000 | 65.000 | 0.000 | 228.003 | 186.003 | 82.646 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 21:30:00 | 2443.113 | 2443.113 | 679.973 | 65.000 | 65.000 | 65.000 | 0.000 | 228.003 | 186.003 | 82.854 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 22:00:00 | 2305.998 | 2305.998 | 534.809 | 65.000 | 65.000 | 65.000 | 0.000 | 237.626 | 195.626 | 84.242 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 22:30:00 | 2195.431 | 2195.431 | 414.731 | 65.000 | 65.000 | 65.000 | 0.000 | 247.191 | 205.191 | 86.168 | 0.000 | 6942.712 | 0.000
[42 empty] | 12/07/2026 23:00:00 | 2108.426 | 2108.426 | 391.665 | 65.000 | 65.000 | 65.000 | 0.000 | 247.191 | 205.191 | 87.593 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 23:30:00 | 2038.517 | 2038.517 | 342.150 | 65.000 | 65.000 | 65.000 | 0.000 | 247.191 | 205.191 | 88.285 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 00:00:00 | 1970.65 | 1970.650 | 267.594 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 88.801 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 00:30:00 | 1914.527 | 1914.527 | 215.380 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 89.370 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 01:00:00 | 1885.639 | 1885.639 | 183.258 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 89.800 | 0.000 | 6913.248 | 0.000
[42 empty] | 13/07/2026 01:30:00 | 1870.974 | 1870.974 | 158.043 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 90.058 | 0.000 | 6913.248 | 0.000
[42 empty] | 13/07/2026 02:00:00 | 1863.509 | 1863.509 | 142.607 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 90.139 | 0.000 | 6913.248 | 0.000
[42 empty] | 13/07/2026 02:30:00 | 1864.775 | 1864.775 | 139.451 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 90.077 | 0.000 | 6913.248 | 0.000
[42 empty] | 13/07/2026 03:00:00 | 1875.062 | 1875.062 | 147.531 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 89.938 | 0.000 | 6913.248 | 0.000
[42 empty] | 13/07/2026 03:30:00 | 1900.212 | 1900.212 | 169.140 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 89.660 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 04:00:00 | 1953.396 | 1953.396 | 220.369 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 89.062 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 04:30:00 | 2046.099 | 2046.099 | 313.780 | 65.000 | 65.000 | 65.000 | 0.000 | 247.191 | 205.191 | 87.995 | 0.000 | 6913.248 | 0.000
[42 empty] | 13/07/2026 05:00:00 | 2183.625 | 2183.625 | 454.709 | 65.000 | 65.000 | 65.000 | 0.000 | 247.191 | 205.191 | 86.400 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 05:30:00 | 2369.443 | 2369.443 | 644.415 | 110.000 | 110.000 | 110.000 | 0.000 | 237.626 | 195.626 | 84.251 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 06:00:00 | 2588.156 | 2588.156 | 856.654 | 110.000 | 110.000 | 110.000 | 0.000 | 228.003 | 186.003 | 81.727 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 06:30:00 | 2780.634 | 2780.634 | 1048.356 | 110.000 | 110.000 | 110.000 | 0.000 | 218.449 | 176.449 | 79.405 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 07:00:00 | 2871.172 | 2871.172 | 1142.098 | 110.000 | 110.000 | 110.000 | 0.000 | 257.640 | 215.640 | 76.672 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 07:30:00 | 2784.201 | 2784.201 | 1044.643 | 110.000 | 110.000 | 110.000 | 0.000 | 257.640 | 215.640 | 70.224 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer