## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 28 |  | 28 |  | 0 |  | 34 |  | 0 |  | 0
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 13/07/2026 08:00:00 | 2307.595 | 2307.595 | 173.979 | 110.000 | 110.000 | 110.000 | 0.000 | 225.214 | 183.214 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 08:30:00 | 2120.463 | 2120.463 | 156.957 | 110.000 | 110.000 | 110.000 | 0.000 | 302.087 | 260.297 | 0.000 | 0.000 | 6913.000 | 0.000
[42 empty] | 13/07/2026 09:00:00 | 1952.093 | 1952.093 | 150.849 | 110.000 | 110.000 | 110.000 | 0.000 | 302.087 | 260.297 | 4.900 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 09:30:00 | 1817.523 | 1817.523 | 91.341 | 110.000 | 110.000 | 110.000 | 0.000 | 307.784 | 265.952 | 26.521 | 0.000 | 6913.000 | 0.000
[42 empty] | 13/07/2026 10:00:00 | 1674.049 | 1674.049 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 336.990 | 266.101 | 46.802 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 10:30:00 | 1514.185 | 1514.185 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 361.889 | 12.933 | 163.944 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 14:00:00 | 1679.056 | 1679.056 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 351.971 | 154.698 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 14:30:00 | 1845.691 | 1845.691 | 120.428 | 110.000 | 110.000 | 110.000 | 0.000 | 306.291 | 264.585 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 15:00:00 | 2022.226 | 2022.226 | 411.213 | 110.000 | 110.000 | 110.000 | 0.000 | 294.934 | 253.102 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 15:30:00 | 2200.024 | 2200.024 | 583.738 | 110.000 | 110.000 | 110.000 | 0.000 | 302.087 | 260.297 | 74.554 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 16:00:00 | 2408.037 | 2408.037 | 747.674 | 110.000 | 110.000 | 110.000 | 0.000 | 267.237 | 225.237 | 84.822 | 0.000 | 6941.810 | 0.000
[42 empty] | 13/07/2026 16:30:00 | 2638.674 | 2638.674 | 940.985 | 110.000 | 110.000 | 110.000 | 0.000 | 267.237 | 225.237 | 60.000 | 0.000 | 6941.810 | 0.000
[42 empty] | 13/07/2026 17:00:00 | 2826.908 | 2826.908 | 1130.259 | 110.000 | 110.000 | 110.000 | 0.000 | 208.863 | 166.863 | 50.626 | 0.000 | 6941.810 | 0.000
[42 empty] | 13/07/2026 17:30:00 | 2911.577 | 2911.577 | 1225.463 | 110.000 | 110.000 | 110.000 | 0.000 | 208.863 | 166.863 | 60.000 | 0.000 | 6941.810 | 0.000
[42 empty] | 13/07/2026 18:00:00 | 2885.211 | 2885.211 | 1181.192 | 110.000 | 110.000 | 110.000 | 0.000 | 208.863 | 166.863 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 18:30:00 | 2826.01 | 2826.010 | 1076.502 | 110.000 | 110.000 | 110.000 | 0.000 | 208.863 | 166.863 | 68.012 | 0.000 | 6941.810 | 0.000
[42 empty] | 13/07/2026 19:00:00 | 2759.62 | 2759.620 | 955.329 | 110.000 | 110.000 | 110.000 | 0.000 | 218.491 | 176.491 | 62.731 | 0.000 | 6941.810 | 0.000
[42 empty] | 13/07/2026 19:30:00 | 2680.729 | 2680.729 | 826.014 | 110.000 | 110.000 | 110.000 | 0.000 | 218.491 | 176.491 | 60.000 | 0.000 | 6941.810 | 0.000
[42 empty] | 13/07/2026 20:00:00 | 2585.647 | 2585.647 | 698.889 | 110.000 | 110.000 | 110.000 | 0.000 | 228.045 | 186.045 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 20:30:00 | 2476.188 | 2476.188 | 584.799 | 65.000 | 65.000 | 65.000 | 0.000 | 228.045 | 186.045 | 60.630 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 21:00:00 | 2355.18 | 2355.180 | 453.833 | 65.000 | 65.000 | 65.000 | 0.000 | 237.668 | 195.668 | 64.905 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 21:30:00 | 2229.759 | 2229.759 | 310.628 | 65.000 | 65.000 | 65.000 | 0.000 | 237.668 | 195.668 | 66.396 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 22:00:00 | 2114.858 | 2114.858 | 184.828 | 65.000 | 65.000 | 65.000 | 0.000 | 247.233 | 205.233 | 66.303 | 0.000 | 6941.810 | 0.000
[42 empty] | 13/07/2026 22:30:00 | 2020.35 | 2020.350 | 68.943 | 65.000 | 65.000 | 65.000 | 0.000 | 247.233 | 205.233 | 66.663 | 0.000 | 6941.810 | 0.000
[42 empty] | 13/07/2026 23:00:00 | 1946.948 | 1946.948 | 51.436 | 65.000 | 65.000 | 65.000 | 0.000 | 256.819 | 214.819 | 67.856 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 23:30:00 | 1877.549 | 1877.549 | 3.316 | 65.000 | 65.000 | 65.000 | 0.000 | 256.819 | 214.819 | 69.192 | 0.000 | 6913.000 | 0.000
[42 empty] | 14/07/2026 00:00:00 | 1817.173 | 1817.173 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.819 | 108.080 | 149.996 | 0.000 | 6913.000 | 0.000
[42 empty] | 14/07/2026 04:30:00 | 1867.025 | 1867.025 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.853 | 31.674 | 122.409 | 0.000 | 7010.000 | 0.000
[42 empty] | 14/07/2026 05:00:00 | 1976.162 | 1976.162 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 247.233 | 178.376 | 11.642 | 0.000 | 7010.000 | 0.000
[42 empty] | 14/07/2026 05:30:00 | 2125.292 | 2125.292 | 152.356 | 110.000 | 110.000 | 110.000 | 0.000 | 247.233 | 205.233 | 13.226 | 0.000 | 6913.000 | 0.000
[42 empty] | 14/07/2026 06:00:00 | 2286.748 | 2286.748 | 373.521 | 110.000 | 110.000 | 110.000 | 0.000 | 237.668 | 195.668 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 14/07/2026 06:30:00 | 2411.401 | 2411.401 | 528.065 | 110.000 | 110.000 | 110.000 | 0.000 | 228.045 | 186.045 | 99.223 | 0.000 | 7010.000 | 0.000
[42 empty] | 14/07/2026 07:00:00 | 2470.442 | 2470.442 | 556.806 | 110.000 | 110.000 | 110.000 | 0.000 | 276.814 | 234.814 | 82.241 | 0.000 | 6663.000 | 0.000
[42 empty] | 14/07/2026 07:30:00 | 2386.166 | 2386.166 | 444.969 | 110.000 | 110.000 | 110.000 | 0.000 | 276.814 | 234.814 | 60.000 | 0.000 | 6913.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer