## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 19 |  | 20 |  | 0 |  | 25 |  | 0 |  | 0
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 12/07/2026 17:30:00 | 3075.505 | 3075.505 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 201.158 | 60.039 | 202.491 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 07:00:00 | 2765.916 | 2765.916 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 269.130 | 23.905 | 100.108 | 0.000 | 7010.000 | 0.000
[42 empty] | 14/07/2026 08:00:00 | 2164.639 | 2164.639 | 153.379 | 110.000 | 110.000 | 110.000 | 0.000 | 234.767 | 192.767 | 49.829 | 0.000 | 6883.808 | 0.000
[42 empty] | 14/07/2026 08:30:00 | 1943.921 | 1943.921 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 306.774 | 137.173 | 60.000 | 0.000 | 6883.808 | 0.000
[42 empty] | 14/07/2026 15:00:00 | 1763.332 | 1763.332 | 0.000 | 110.000 | 15.705 | 110.000 | 0.000 | 310.608 | 268.860 | 36.775 | 0.000 | 7010.000 | 0.000
[42 empty] | 14/07/2026 15:30:00 | 2010.481 | 2010.481 | 229.912 | 110.000 | 110.000 | 110.000 | 0.000 | 302.036 | 260.204 | 46.163 | 0.000 | 7010.000 | 0.000
[42 empty] | 14/07/2026 16:00:00 | 2271.81 | 2271.810 | 563.381 | 110.000 | 110.000 | 110.000 | 0.000 | 267.186 | 225.186 | 94.707 | 0.000 | 7010.000 | 0.000
[42 empty] | 14/07/2026 16:30:00 | 2531.348 | 2531.348 | 859.683 | 110.000 | 110.000 | 110.000 | 0.000 | 267.186 | 225.186 | 131.968 | 0.000 | 7010.000 | 0.000
[42 empty] | 14/07/2026 17:00:00 | 2736.144 | 2736.144 | 1045.238 | 110.000 | 110.000 | 110.000 | 0.000 | 267.186 | 225.186 | 91.160 | 0.000 | 6883.808 | 0.000
[42 empty] | 14/07/2026 17:30:00 | 2837.495 | 2837.495 | 1127.788 | 110.000 | 110.000 | 110.000 | 0.000 | 208.812 | 166.812 | 60.000 | 0.000 | 6663.272 | 0.000
[42 empty] | 14/07/2026 18:00:00 | 2821.527 | 2821.527 | 1105.847 | 110.000 | 110.000 | 110.000 | 0.000 | 208.812 | 166.812 | 60.355 | 0.000 | 6663.272 | 0.000
[42 empty] | 14/07/2026 18:30:00 | 2763.426 | 2763.426 | 1039.136 | 110.000 | 110.000 | 110.000 | 0.000 | 218.401 | 176.401 | 81.976 | 0.000 | 6883.808 | 0.000
[42 empty] | 14/07/2026 19:00:00 | 2692.052 | 2692.052 | 939.870 | 110.000 | 110.000 | 110.000 | 0.000 | 218.401 | 176.401 | 91.008 | 0.000 | 6883.808 | 0.000
[42 empty] | 14/07/2026 19:30:00 | 2612.173 | 2612.173 | 808.609 | 110.000 | 110.000 | 110.000 | 0.000 | 218.401 | 176.401 | 85.557 | 0.000 | 7010.000 | 0.000
[42 empty] | 14/07/2026 20:00:00 | 2514.49 | 2514.490 | 675.819 | 110.000 | 110.000 | 110.000 | 0.000 | 227.994 | 185.994 | 79.394 | 0.000 | 7010.000 | 0.000
[42 empty] | 14/07/2026 20:30:00 | 2402.607 | 2402.607 | 543.797 | 65.000 | 65.000 | 65.000 | 0.000 | 227.994 | 185.994 | 80.228 | 0.000 | 6663.272 | 0.000
[42 empty] | 14/07/2026 21:00:00 | 2277.321 | 2277.321 | 399.388 | 65.000 | 65.000 | 65.000 | 0.000 | 237.617 | 195.617 | 85.090 | 0.000 | 6663.272 | 0.000
[42 empty] | 14/07/2026 21:30:00 | 2149.281 | 2149.281 | 230.609 | 65.000 | 65.000 | 65.000 | 0.000 | 247.162 | 205.162 | 88.505 | 0.000 | 6883.808 | 0.000
[42 empty] | 14/07/2026 22:00:00 | 2031.718 | 2031.718 | 61.471 | 65.000 | 65.000 | 65.000 | 0.000 | 247.162 | 205.162 | 89.120 | 0.000 | 7010.000 | 0.000
[42 empty] | 14/07/2026 22:30:00 | 1935.87 | 1935.870 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.768 | 80.597 | 185.164 | 0.000 | 6663.272 | 0.000
[42 empty] | 15/07/2026 05:30:00 | 2071.938 | 2071.938 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 247.182 | 147.845 | 84.962 | 0.000 | 6883.808 | 0.000
[42 empty] | 15/07/2026 06:00:00 | 2230.51 | 2230.510 | 128.464 | 110.000 | 110.000 | 110.000 | 0.000 | 237.617 | 195.617 | 60.317 | 0.000 | 4577.730 | 0.000
[42 empty] | 15/07/2026 06:30:00 | 2352.543 | 2352.543 | 264.705 | 110.000 | 110.000 | 110.000 | 0.000 | 237.617 | 195.617 | 72.930 | 0.000 | 4577.730 | 0.000
[42 empty] | 15/07/2026 07:00:00 | 2384.293 | 2384.293 | 312.023 | 110.000 | 110.000 | 110.000 | 0.000 | 276.748 | 234.748 | 88.989 | 0.000 | 6883.808 | 0.000
[42 empty] | 15/07/2026 07:30:00 | 2270.781 | 2270.781 | 217.064 | 110.000 | 110.000 | 110.000 | 0.000 | 276.748 | 234.748 | 83.745 | 0.000 | 6883.808 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer