## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 17 |  | 20 |  | 0 |  | 23 |  | 0 |  | 0
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 12/07/2026 18:00:00 | 3122.488 | 3122.488 | 112.762 | 110.000 | 110.000 | 110.000 | 0.000 | 201.304 | 159.304 | 76.280 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 18:30:00 | 3068.064 | 3068.064 | 200.782 | 110.000 | 110.000 | 110.000 | 0.000 | 201.304 | 159.304 | 229.991 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 19:00:00 | 2998.622 | 2998.622 | 0.000 | 110.000 | 4.125 | 110.000 | 0.000 | 200.842 | 158.842 | 198.603 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/07/2026 20:30:00 | 2722.638 | 2722.638 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 220.491 | 100.351 | 80.180 | 0.000 | 7010.000 | 0.000
[42 empty] | 15/07/2026 08:00:00 | 2077.592 | 2077.592 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 234.776 | 123.167 | 101.334 | 0.000 | 7010.000 | 0.000
[42 empty] | 15/07/2026 15:30:00 | 2007.64 | 2007.640 | 0.000 | 110.000 | 9.267 | 110.000 | 0.000 | 302.045 | 260.213 | 44.326 | 0.000 | 6916.914 | 0.000
[42 empty] | 15/07/2026 16:00:00 | 2254.43 | 2254.430 | 344.312 | 110.000 | 110.000 | 110.000 | 0.000 | 276.757 | 234.757 | 49.944 | 0.000 | 7010.000 | 0.000
[42 empty] | 15/07/2026 16:30:00 | 2488.448 | 2488.448 | 726.219 | 110.000 | 110.000 | 110.000 | 0.000 | 267.195 | 225.195 | 96.708 | 0.000 | 7010.000 | 0.000
[42 empty] | 15/07/2026 17:00:00 | 2674.743 | 2674.743 | 916.261 | 110.000 | 110.000 | 110.000 | 0.000 | 267.195 | 225.195 | 109.304 | 0.000 | 7010.000 | 0.000
[42 empty] | 15/07/2026 17:30:00 | 2765.041 | 2765.041 | 951.368 | 110.000 | 110.000 | 110.000 | 0.000 | 208.821 | 166.821 | 82.920 | 0.000 | 7010.000 | 0.000
[42 empty] | 15/07/2026 18:00:00 | 2742.709 | 2742.709 | 889.842 | 110.000 | 110.000 | 110.000 | 0.000 | 218.410 | 176.410 | 66.836 | 0.000 | 6916.914 | 0.000
[42 empty] | 15/07/2026 18:30:00 | 2687.447 | 2687.447 | 826.332 | 110.000 | 110.000 | 110.000 | 0.000 | 218.410 | 176.410 | 72.404 | 0.000 | 6916.914 | 0.000
[42 empty] | 15/07/2026 19:00:00 | 2620.875 | 2620.875 | 750.444 | 110.000 | 110.000 | 110.000 | 0.000 | 218.410 | 176.410 | 83.819 | 0.000 | 7010.000 | 0.000
[42 empty] | 15/07/2026 19:30:00 | 2546.037 | 2546.037 | 656.595 | 110.000 | 110.000 | 110.000 | 0.000 | 228.003 | 186.003 | 87.540 | 0.000 | 7010.000 | 0.000
[42 empty] | 15/07/2026 20:00:00 | 2452.83 | 2452.830 | 542.549 | 110.000 | 110.000 | 110.000 | 0.000 | 228.003 | 186.003 | 84.723 | 0.000 | 7010.000 | 0.000
[42 empty] | 15/07/2026 20:30:00 | 2347.296 | 2347.296 | 420.206 | 65.000 | 65.000 | 65.000 | 0.000 | 237.626 | 195.626 | 82.564 | 0.000 | 6695.724 | 0.000
[42 empty] | 15/07/2026 21:00:00 | 2230.022 | 2230.022 | 291.678 | 65.000 | 65.000 | 65.000 | 0.000 | 237.626 | 195.626 | 84.175 | 0.000 | 7010.000 | 0.000
[42 empty] | 15/07/2026 21:30:00 | 2109.479 | 2109.479 | 144.657 | 65.000 | 65.000 | 65.000 | 0.000 | 247.171 | 205.171 | 87.383 | 0.000 | 7010.000 | 0.000
[42 empty] | 15/07/2026 22:00:00 | 1998.454 | 1998.454 | 0.000 | 65.000 | 49.473 | 65.000 | 0.000 | 247.171 | 205.171 | 92.811 | 0.000 | 7010.000 | 0.000
[42 empty] | 16/07/2026 06:00:00 | 2163.094 | 2163.094 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 237.715 | 186.982 | 62.812 | 0.000 | 7010.000 | 0.000
[42 empty] | 16/07/2026 06:30:00 | 2274.861 | 2274.861 | 100.523 | 110.000 | 110.000 | 110.000 | 0.000 | 237.626 | 195.626 | 60.000 | 0.000 | 4611.130 | 0.000
[42 empty] | 16/07/2026 07:00:00 | 2296.876 | 2296.876 | 147.831 | 110.000 | 110.000 | 110.000 | 0.000 | 286.290 | 244.290 | 70.760 | 0.000 | 7010.000 | 0.000
[42 empty] | 16/07/2026 07:30:00 | 2184.912 | 2184.912 | 56.517 | 110.000 | 110.000 | 110.000 | 0.000 | 286.290 | 244.290 | 89.961 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer