## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 29 |  | 29 |  | 0 |  | 37 |  | 0 |  | 19
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 13/07/2026 17:30:00 | 3191.093 | 3191.093 | 16.941 | 80.000 | 80.000 | 80.000 | 0.000 | 199.721 | 157.721 | 95.435 | 0.000 | 7197.056 | 187.056
[42 empty] | 13/07/2026 18:00:00 | 3193.646 | 3193.646 | 198.634 | 80.000 | 80.000 | 80.000 | 0.000 | 199.721 | 157.721 | 161.904 | 0.000 | 7197.056 | 187.056
[42 empty] | 13/07/2026 18:30:00 | 3138.477 | 3138.477 | 73.339 | 80.000 | 80.000 | 80.000 | 0.000 | 199.721 | 157.721 | 108.619 | 0.000 | 7197.056 | 187.056
[42 empty] | 13/07/2026 19:30:00 | 2982.661 | 2982.661 | 0.000 | 80.000 | 0.000 | 80.000 | 0.000 | 200.181 | 145.210 | 38.767 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/07/2026 20:00:00 | 2878.769 | 2878.769 | 29.331 | 80.000 | 80.000 | 80.000 | 0.000 | 209.779 | 167.779 | 59.172 | 0.000 | 7197.056 | 187.056
[42 empty] | 13/07/2026 20:30:00 | 2751.072 | 2751.072 | 110.133 | 65.000 | 13.000 | 65.000 | 0.000 | 219.407 | 165.007 | 89.453 | 0.000 | 7197.056 | 187.056
[42 empty] | 13/07/2026 21:00:00 | 2602.107 | 2602.107 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 219.407 | 74.372 | 97.572 | 0.000 | 7010.000 | 0.000
[42 empty] | 16/07/2026 08:00:00 | 2106.342 | 2106.342 | 69.899 | 110.000 | 110.000 | 110.000 | 0.000 | 234.779 | 192.779 | 66.558 | 0.000 | 7010.000 | 0.000
[42 empty] | 16/07/2026 08:30:00 | 1913.409 | 1913.409 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 306.786 | 64.855 | 170.742 | 0.000 | 7010.000 | 0.000
[42 empty] | 16/07/2026 15:00:00 | 2000.388 | 2000.388 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 302.048 | 163.079 | 17.341 | 0.000 | 7010.000 | 0.000
[42 empty] | 16/07/2026 15:30:00 | 2173.385 | 2173.385 | 64.081 | 110.000 | 110.000 | 110.000 | 0.000 | 276.775 | 234.775 | 29.696 | 0.000 | 7010.000 | 0.000
[42 empty] | 16/07/2026 16:00:00 | 2331.71 | 2331.710 | 276.719 | 110.000 | 110.000 | 110.000 | 0.000 | 267.198 | 225.198 | 45.871 | 0.000 | 7197.056 | 187.056
[42 empty] | 16/07/2026 16:30:00 | 2498.128 | 2498.128 | 520.720 | 110.000 | 110.000 | 110.000 | 0.000 | 267.198 | 225.198 | 91.175 | 0.000 | 7197.056 | 187.056
[42 empty] | 16/07/2026 17:00:00 | 2659.395 | 2659.395 | 702.832 | 110.000 | 110.000 | 110.000 | 0.000 | 267.198 | 225.198 | 107.989 | 0.000 | 7197.056 | 187.056
[42 empty] | 16/07/2026 17:30:00 | 2732.41 | 2732.410 | 775.190 | 110.000 | 110.000 | 110.000 | 0.000 | 218.452 | 176.452 | 85.131 | 0.000 | 7197.056 | 187.056
[42 empty] | 16/07/2026 18:00:00 | 2703.485 | 2703.485 | 743.589 | 110.000 | 110.000 | 110.000 | 0.000 | 218.452 | 176.452 | 68.911 | 0.000 | 7197.056 | 187.056
[42 empty] | 16/07/2026 18:30:00 | 2654.417 | 2654.417 | 720.776 | 110.000 | 110.000 | 110.000 | 0.000 | 218.452 | 176.452 | 72.678 | 0.000 | 7197.056 | 187.056
[42 empty] | 16/07/2026 19:00:00 | 2600.54 | 2600.540 | 681.098 | 110.000 | 110.000 | 110.000 | 0.000 | 218.452 | 176.452 | 83.188 | 0.000 | 7197.056 | 187.056
[42 empty] | 16/07/2026 19:30:00 | 2529.875 | 2529.875 | 609.141 | 110.000 | 110.000 | 110.000 | 0.000 | 228.006 | 186.006 | 87.350 | 0.000 | 7197.056 | 187.056
[42 empty] | 16/07/2026 20:00:00 | 2442.421 | 2442.421 | 554.981 | 110.000 | 110.000 | 110.000 | 0.000 | 228.006 | 186.006 | 85.088 | 0.000 | 7197.056 | 187.056
[42 empty] | 16/07/2026 20:30:00 | 2336.97 | 2336.970 | 461.052 | 65.000 | 65.000 | 65.000 | 0.000 | 237.629 | 195.629 | 82.995 | 0.000 | 7197.056 | 187.056
[42 empty] | 16/07/2026 21:00:00 | 2222.16 | 2222.160 | 337.209 | 65.000 | 65.000 | 65.000 | 0.000 | 237.629 | 195.629 | 84.299 | 0.000 | 7197.056 | 187.056
[42 empty] | 16/07/2026 21:30:00 | 2108.285 | 2108.285 | 254.338 | 65.000 | 65.000 | 65.000 | 0.000 | 247.194 | 205.194 | 87.259 | 0.000 | 7197.056 | 187.056
[42 empty] | 16/07/2026 22:00:00 | 2002.409 | 2002.409 | 140.553 | 65.000 | 65.000 | 65.000 | 0.000 | 247.194 | 205.194 | 89.313 | 0.000 | 7197.056 | 187.056
[42 empty] | 16/07/2026 22:30:00 | 1913.548 | 1913.548 | 48.234 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 89.933 | 0.000 | 7197.056 | 187.056
[42 empty] | 16/07/2026 23:00:00 | 1841.975 | 1841.975 | 46.017 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 90.140 | 0.000 | 7010.000 | 0.000
[42 empty] | 16/07/2026 23:30:00 | 1784.197 | 1784.197 | 10.621 | 65.000 | 65.000 | 65.000 | 0.000 | 266.336 | 224.336 | 90.700 | 0.000 | 7010.000 | 0.000
[42 empty] | 17/07/2026 00:00:00 | 1737.456 | 1737.456 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 266.356 | 173.807 | 123.694 | 0.000 | 7010.000 | 0.000
[42 empty] | 17/07/2026 00:30:00 | 1702.652 | 1702.652 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 266.336 | 98.123 | 173.512 | 0.000 | 7010.000 | 0.000
[42 empty] | 17/07/2026 04:00:00 | 1717.787 | 1717.787 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 266.336 | 56.687 | 99.368 | 0.000 | 6916.285 | 0.000
[42 empty] | 17/07/2026 04:30:00 | 1784.495 | 1784.495 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 266.336 | 161.469 | 56.968 | 0.000 | 7010.000 | 0.000
[42 empty] | 17/07/2026 05:00:00 | 1893.705 | 1893.705 | 112.546 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 214.780 | 52.600 | 0.000 | 7010.000 | 0.000
[42 empty] | 17/07/2026 05:30:00 | 2042.662 | 2042.662 | 326.490 | 110.000 | 110.000 | 110.000 | 0.000 | 247.194 | 205.194 | 86.035 | 0.000 | 7010.000 | 0.000
[42 empty] | 17/07/2026 06:00:00 | 2198.208 | 2198.208 | 510.838 | 110.000 | 110.000 | 110.000 | 0.000 | 247.194 | 205.194 | 122.309 | 0.000 | 7010.000 | 0.000
[42 empty] | 17/07/2026 06:30:00 | 2325.894 | 2325.894 | 608.724 | 110.000 | 110.000 | 110.000 | 0.000 | 237.629 | 195.629 | 103.751 | 0.000 | 7010.000 | 0.000
[42 empty] | 17/07/2026 07:00:00 | 2392.983 | 2392.983 | 652.233 | 110.000 | 110.000 | 110.000 | 0.000 | 276.775 | 234.775 | 74.364 | 0.000 | 7010.000 | 0.000
[42 empty] | 17/07/2026 07:30:00 | 2362.013 | 2362.013 | 610.518 | 110.000 | 110.000 | 110.000 | 0.000 | 276.775 | 234.775 | 64.863 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer