## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 19 |  | 20 |  | 0 |  | 26 |  | 0 |  | 12
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 14/07/2026 19:00:00 | 2798.803 | 2798.803 | 0.000 | 80.000 | 0.000 | 80.000 | 0.000 | 210.561 | 32.537 | 159.433 | 0.000 | 7010.000 | 0.000
[42 empty] | 15/07/2026 18:00:00 | 2747.621 | 2747.621 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 208.809 | 5.593 | 153.756 | 0.000 | 7010.000 | 0.000
[42 empty] | 17/07/2026 08:00:00 | 2143.405 | 2143.405 | 294.638 | 110.000 | 110.000 | 110.000 | 0.000 | 234.764 | 192.764 | 42.411 | 0.000 | 6583.129 | 0.000
[42 empty] | 17/07/2026 08:30:00 | 2043.991 | 2043.991 | 168.651 | 110.000 | 110.000 | 110.000 | 0.000 | 276.764 | 234.764 | 0.000 | 0.000 | 6583.129 | 0.000
[42 empty] | 17/07/2026 09:00:00 | 1913.075 | 1913.075 | 109.119 | 110.000 | 110.000 | 110.000 | 0.000 | 306.771 | 265.065 | 0.000 | 0.000 | 6833.129 | 0.000
[42 empty] | 17/07/2026 09:30:00 | 1789.396 | 1789.396 | 26.336 | 110.000 | 110.000 | 110.000 | 0.000 | 306.771 | 265.065 | 0.000 | 0.000 | 6833.129 | 0.000
[42 empty] | 17/07/2026 10:00:00 | 1678.211 | 1678.211 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 314.837 | 107.892 | 89.679 | 0.000 | 6833.129 | 0.000
[42 empty] | 17/07/2026 15:30:00 | 1992.792 | 1992.792 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 302.033 | 181.474 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 17/07/2026 16:00:00 | 2202.107 | 2202.107 | 183.187 | 110.000 | 110.000 | 110.000 | 0.000 | 276.760 | 234.760 | 0.000 | 0.000 | 7361.939 | 351.939
[42 empty] | 17/07/2026 16:30:00 | 2377.005 | 2377.005 | 422.966 | 110.000 | 110.000 | 110.000 | 0.000 | 276.760 | 234.760 | 60.000 | 0.000 | 7361.939 | 351.939
[42 empty] | 17/07/2026 17:00:00 | 2528.27 | 2528.270 | 622.606 | 110.000 | 110.000 | 110.000 | 0.000 | 276.760 | 234.760 | 86.067 | 0.000 | 7361.939 | 351.939
[42 empty] | 17/07/2026 17:30:00 | 2597.788 | 2597.788 | 675.887 | 110.000 | 110.000 | 110.000 | 0.000 | 218.437 | 176.437 | 74.565 | 0.000 | 7361.939 | 351.939
[42 empty] | 17/07/2026 18:00:00 | 2576.133 | 2576.133 | 610.668 | 110.000 | 110.000 | 110.000 | 0.000 | 227.991 | 185.991 | 60.000 | 0.000 | 7361.939 | 351.939
[42 empty] | 17/07/2026 18:30:00 | 2526.25 | 2526.250 | 535.362 | 110.000 | 110.000 | 110.000 | 0.000 | 227.991 | 185.991 | 60.000 | 0.000 | 7361.939 | 351.939
[42 empty] | 17/07/2026 19:00:00 | 2468.464 | 2468.464 | 475.265 | 110.000 | 110.000 | 110.000 | 0.000 | 227.991 | 185.991 | 60.000 | 0.000 | 7361.939 | 351.939
[42 empty] | 17/07/2026 19:30:00 | 2413.426 | 2413.426 | 412.176 | 110.000 | 110.000 | 110.000 | 0.000 | 227.991 | 185.991 | 60.000 | 0.000 | 7361.939 | 351.939
[42 empty] | 17/07/2026 20:00:00 | 2345.62 | 2345.620 | 316.153 | 110.000 | 110.000 | 110.000 | 0.000 | 237.614 | 195.614 | 60.000 | 0.000 | 7361.939 | 351.939
[42 empty] | 17/07/2026 20:30:00 | 2266.859 | 2266.859 | 191.310 | 65.000 | 65.000 | 65.000 | 0.000 | 237.614 | 195.614 | 58.231 | 0.000 | 7361.939 | 351.939
[42 empty] | 17/07/2026 21:00:00 | 2179.606 | 2179.606 | 85.995 | 65.000 | 65.000 | 65.000 | 0.000 | 247.179 | 205.179 | 56.575 | 0.000 | 7361.939 | 351.939
[42 empty] | 17/07/2026 21:30:00 | 2086.472 | 2086.472 | 3.347 | 65.000 | 65.000 | 65.000 | 0.000 | 247.179 | 205.179 | 56.888 | 0.000 | 7361.939 | 351.939
[42 empty] | 17/07/2026 22:00:00 | 1994.505 | 1994.505 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.765 | 105.561 | 141.148 | 0.000 | 7010.000 | 0.000
[42 empty] | 18/07/2026 05:30:00 | 1866.702 | 1866.702 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 257.076 | 54.915 | 115.217 | 0.000 | 7010.000 | 0.000
[42 empty] | 18/07/2026 06:00:00 | 1954.699 | 1954.699 | 0.000 | 110.000 | 6.711 | 110.000 | 0.000 | 247.179 | 205.179 | 16.077 | 0.000 | 7010.000 | 0.000
[42 empty] | 18/07/2026 06:30:00 | 2041.159 | 2041.159 | 100.238 | 110.000 | 110.000 | 110.000 | 0.000 | 247.179 | 205.179 | 17.758 | 0.000 | 7010.000 | 0.000
[42 empty] | 18/07/2026 07:00:00 | 2116.407 | 2116.407 | 239.705 | 110.000 | 110.000 | 110.000 | 0.000 | 295.848 | 253.848 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 18/07/2026 07:30:00 | 2134.052 | 2134.052 | 304.249 | 110.000 | 110.000 | 110.000 | 0.000 | 286.316 | 244.316 | 77.361 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer