## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 37 |  | 37 |  | 0 |  | 40 |  | 0 |  | 14
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 18/07/2026 08:00:00 | 2131.141 | 2131.141 | 198.042 | 110.000 | 110.000 | 110.000 | 0.000 | 244.305 | 202.305 | 10.387 | 0.000 | 7010.000 | 0.000
[42 empty] | 18/07/2026 08:30:00 | 2121.627 | 2121.627 | 142.697 | 110.000 | 110.000 | 110.000 | 0.000 | 286.319 | 244.319 | 0.000 | 0.000 | 6892.947 | 0.000
[42 empty] | 18/07/2026 09:00:00 | 2049.084 | 2049.084 | 95.014 | 110.000 | 110.000 | 110.000 | 0.000 | 276.763 | 234.763 | 25.861 | 0.000 | 7010.000 | 0.000
[42 empty] | 18/07/2026 09:30:00 | 1899.356 | 1899.356 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 306.774 | 259.409 | 54.350 | 0.000 | 6892.947 | 0.000
[42 empty] | 18/07/2026 10:00:00 | 1785.04 | 1785.040 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 307.099 | 54.743 | 146.798 | 0.000 | 6892.947 | 0.000
[42 empty] | 18/07/2026 14:30:00 | 1938.675 | 1938.675 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 306.774 | 264.084 | 0.000 | 0.000 | 6892.947 | 0.000
[42 empty] | 18/07/2026 15:00:00 | 2086.178 | 2086.178 | 220.018 | 110.000 | 110.000 | 110.000 | 0.000 | 276.763 | 234.763 | 0.000 | 0.000 | 6892.947 | 0.000
[42 empty] | 18/07/2026 15:30:00 | 2203.386 | 2203.386 | 367.814 | 110.000 | 110.000 | 110.000 | 0.000 | 302.036 | 260.372 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 18/07/2026 16:00:00 | 2355.381 | 2355.381 | 544.012 | 110.000 | 110.000 | 110.000 | 0.000 | 267.186 | 225.186 | 81.272 | 0.000 | 7422.411 | 412.411
[42 empty] | 18/07/2026 16:30:00 | 2532.394 | 2532.394 | 738.722 | 110.000 | 110.000 | 110.000 | 0.000 | 267.186 | 225.186 | 64.409 | 0.000 | 7422.411 | 412.411
[42 empty] | 18/07/2026 17:00:00 | 2676.121 | 2676.121 | 898.402 | 110.000 | 110.000 | 110.000 | 0.000 | 267.186 | 225.186 | 60.000 | 0.000 | 7422.411 | 412.411
[42 empty] | 18/07/2026 17:30:00 | 2733.608 | 2733.608 | 987.114 | 110.000 | 110.000 | 110.000 | 0.000 | 218.440 | 176.440 | 60.000 | 0.000 | 7422.411 | 412.411
[42 empty] | 18/07/2026 18:00:00 | 2699.339 | 2699.339 | 978.345 | 110.000 | 110.000 | 110.000 | 0.000 | 218.440 | 176.440 | 65.531 | 0.000 | 7422.411 | 412.411
[42 empty] | 18/07/2026 18:30:00 | 2654.956 | 2654.956 | 950.453 | 110.000 | 110.000 | 110.000 | 0.000 | 218.440 | 176.440 | 73.321 | 0.000 | 7422.411 | 412.411
[42 empty] | 18/07/2026 19:00:00 | 2607.374 | 2607.374 | 907.059 | 110.000 | 110.000 | 110.000 | 0.000 | 218.440 | 176.440 | 71.067 | 0.000 | 7422.411 | 412.411
[42 empty] | 18/07/2026 19:30:00 | 2547.844 | 2547.844 | 849.652 | 110.000 | 110.000 | 110.000 | 0.000 | 227.994 | 185.994 | 66.713 | 0.000 | 7422.411 | 412.411
[42 empty] | 18/07/2026 20:00:00 | 2479.49 | 2479.490 | 789.963 | 110.000 | 110.000 | 110.000 | 0.000 | 227.994 | 185.994 | 66.381 | 0.000 | 7422.411 | 412.411
[42 empty] | 18/07/2026 20:30:00 | 2403.771 | 2403.771 | 722.762 | 65.000 | 65.000 | 65.000 | 0.000 | 227.994 | 185.994 | 69.215 | 0.000 | 7422.411 | 412.411
[42 empty] | 18/07/2026 21:00:00 | 2316.552 | 2316.552 | 649.623 | 65.000 | 65.000 | 65.000 | 0.000 | 237.617 | 195.617 | 71.763 | 0.000 | 7422.411 | 412.411
[42 empty] | 18/07/2026 21:30:00 | 2213.314 | 2213.314 | 552.853 | 65.000 | 65.000 | 65.000 | 0.000 | 237.617 | 195.617 | 72.744 | 0.000 | 7422.411 | 412.411
[42 empty] | 18/07/2026 22:00:00 | 2110.936 | 2110.936 | 454.306 | 65.000 | 65.000 | 65.000 | 0.000 | 247.182 | 205.182 | 73.050 | 0.000 | 7422.411 | 412.411
[42 empty] | 18/07/2026 22:30:00 | 2020.099 | 2020.099 | 364.747 | 65.000 | 65.000 | 65.000 | 0.000 | 247.182 | 205.182 | 73.768 | 0.000 | 7422.411 | 412.411
[42 empty] | 18/07/2026 23:00:00 | 1946.954 | 1946.954 | 364.110 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 74.882 | 0.000 | 7010.000 | 0.000
[42 empty] | 18/07/2026 23:30:00 | 1889.607 | 1889.607 | 337.638 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 75.846 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 00:00:00 | 1842.159 | 1842.159 | 289.820 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 76.409 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 00:30:00 | 1802.344 | 1802.344 | 250.349 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 76.725 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 01:00:00 | 1771.45 | 1771.450 | 219.793 | 65.000 | 65.000 | 65.000 | 0.000 | 266.324 | 224.324 | 77.001 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 01:30:00 | 1749.688 | 1749.688 | 196.215 | 65.000 | 65.000 | 65.000 | 0.000 | 266.324 | 224.324 | 77.284 | 0.000 | 6892.947 | 0.000
[42 empty] | 19/07/2026 02:00:00 | 1737.752 | 1737.752 | 183.630 | 65.000 | 65.000 | 65.000 | 0.000 | 266.324 | 224.324 | 77.478 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 02:30:00 | 1727.246 | 1727.246 | 180.043 | 65.000 | 65.000 | 65.000 | 0.000 | 266.324 | 224.324 | 77.613 | 0.000 | 6892.947 | 0.000
[42 empty] | 19/07/2026 03:00:00 | 1724.564 | 1724.564 | 181.486 | 65.000 | 65.000 | 65.000 | 0.000 | 266.324 | 224.324 | 77.620 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 03:30:00 | 1733.926 | 1733.926 | 190.881 | 65.000 | 65.000 | 65.000 | 0.000 | 266.324 | 224.324 | 77.497 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 04:00:00 | 1753.099 | 1753.099 | 211.314 | 65.000 | 65.000 | 65.000 | 0.000 | 266.324 | 224.324 | 77.278 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 04:30:00 | 1783.13 | 1783.130 | 243.827 | 65.000 | 65.000 | 65.000 | 0.000 | 266.324 | 224.324 | 76.939 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 05:00:00 | 1836.254 | 1836.254 | 301.609 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 76.331 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 05:30:00 | 1923.389 | 1923.389 | 394.564 | 110.000 | 110.000 | 110.000 | 0.000 | 256.768 | 214.768 | 75.323 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 06:00:00 | 2026.519 | 2026.519 | 491.446 | 110.000 | 110.000 | 110.000 | 0.000 | 247.182 | 205.182 | 74.128 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 06:30:00 | 2130.574 | 2130.574 | 591.191 | 110.000 | 110.000 | 110.000 | 0.000 | 247.182 | 205.182 | 72.817 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 07:00:00 | 2205.31 | 2205.310 | 666.949 | 110.000 | 110.000 | 110.000 | 0.000 | 286.319 | 244.319 | 69.899 | 0.000 | 6892.947 | 0.000
[42 empty] | 19/07/2026 07:30:00 | 2231.364 | 2231.364 | 684.064 | 110.000 | 110.000 | 110.000 | 0.000 | 286.319 | 244.319 | 61.643 | 0.000 | 6892.947 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer