## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 44 |  | 44 |  | 0 |  | 58 |  | 0 |  | 0
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 15/07/2026 18:00:00 | 2668.931 | 2668.931 | 0.000 | 80.000 | 0.000 | 80.000 | 0.000 | 218.384 | 102.497 | 186.556 | 0.000 | 8389.510 | 0.000
[42 empty] | 16/07/2026 17:30:00 | 2798.491 | 2798.491 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 209.730 | 75.797 | 72.211 | 0.000 | 6667.013 | 0.000
[42 empty] | 16/07/2026 18:00:00 | 2764.981 | 2764.981 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 209.730 | 16.461 | 100.467 | 0.000 | 6667.013 | 0.000
[42 empty] | 16/07/2026 18:30:00 | 2709.181 | 2709.181 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 219.319 | 14.692 | 108.109 | 0.000 | 6889.510 | 0.000
[42 empty] | 16/07/2026 20:00:00 | 2491.583 | 2491.583 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 228.912 | 46.275 | 63.709 | 0.000 | 7010.000 | 0.000
[42 empty] | 16/07/2026 20:30:00 | 2386.704 | 2386.704 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 238.535 | 118.838 | 77.278 | 0.000 | 7010.000 | 0.000
[42 empty] | 17/07/2026 06:30:00 | 2309.137 | 2309.137 | 39.589 | 110.000 | 45.600 | 110.000 | 0.000 | 238.535 | 196.535 | 92.149 | 0.000 | 4889.510 | 0.000
[42 empty] | 17/07/2026 07:00:00 | 2380.556 | 2380.556 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 277.666 | 69.577 | 76.090 | 0.000 | 6889.510 | 0.000
[42 empty] | 17/07/2026 07:30:00 | 2356.519 | 2356.519 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 277.666 | 167.049 | 86.695 | 0.000 | 6889.510 | 0.000
[42 empty] | 17/07/2026 08:00:00 | 2257.464 | 2257.464 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 277.666 | 24.639 | 147.289 | 0.000 | 6889.510 | 0.000
[42 empty] | 19/07/2026 08:00:00 | 2164.806 | 2164.806 | 421.279 | 110.000 | 110.000 | 110.000 | 0.000 | 244.278 | 202.278 | 27.141 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 08:30:00 | 2160.156 | 2160.156 | 470.546 | 110.000 | 110.000 | 110.000 | 0.000 | 286.278 | 244.278 | 4.303 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 09:00:00 | 2125.338 | 2125.338 | 485.622 | 110.000 | 110.000 | 110.000 | 0.000 | 276.745 | 234.745 | 30.595 | 0.000 | 6889.510 | 0.000
[42 empty] | 19/07/2026 09:30:00 | 2039.339 | 2039.339 | 424.085 | 110.000 | 110.000 | 110.000 | 0.000 | 276.745 | 234.745 | 49.300 | 0.000 | 6889.510 | 0.000
[42 empty] | 19/07/2026 10:00:00 | 1970.583 | 1970.583 | 331.900 | 110.000 | 110.000 | 110.000 | 0.000 | 306.771 | 264.897 | 13.495 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 10:30:00 | 1898.314 | 1898.314 | 232.831 | 110.000 | 110.000 | 110.000 | 0.000 | 306.771 | 264.897 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 11:00:00 | 1810.985 | 1810.985 | 136.939 | 110.000 | 110.000 | 110.000 | 0.000 | 312.082 | 270.334 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 11:30:00 | 1691.215 | 1691.215 | 25.032 | 110.000 | 110.000 | 110.000 | 0.000 | 350.795 | 309.509 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 12:00:00 | 1634.177 | 1634.177 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 362.666 | 321.046 | 20.031 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 12:30:00 | 1597.533 | 1597.533 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 384.430 | 268.035 | 60.698 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 13:00:00 | 1584.888 | 1584.888 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 384.208 | 178.221 | 81.654 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 13:30:00 | 1674.438 | 1674.438 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 376.701 | 196.752 | 11.916 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 14:00:00 | 1776.319 | 1776.319 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 354.013 | 303.303 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 14:30:00 | 1881.455 | 1881.455 | 152.534 | 110.000 | 110.000 | 110.000 | 0.000 | 337.914 | 296.418 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 15:00:00 | 2016.114 | 2016.114 | 352.068 | 110.000 | 110.000 | 110.000 | 0.000 | 298.263 | 256.515 | 18.787 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 15:30:00 | 2228.171 | 2228.171 | 514.015 | 110.000 | 110.000 | 110.000 | 0.000 | 294.137 | 252.263 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 16:00:00 | 2464.333 | 2464.333 | 724.929 | 110.000 | 110.000 | 110.000 | 0.000 | 257.628 | 215.628 | 60.000 | 0.000 | 6667.013 | 0.000
[42 empty] | 19/07/2026 16:30:00 | 2682.944 | 2682.944 | 959.950 | 110.000 | 110.000 | 110.000 | 0.000 | 257.628 | 215.628 | 51.568 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 17:00:00 | 2854.922 | 2854.922 | 1159.155 | 110.000 | 110.000 | 110.000 | 0.000 | 257.628 | 215.628 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 17:30:00 | 2944.656 | 2944.656 | 1282.717 | 110.000 | 110.000 | 110.000 | 0.000 | 208.809 | 166.809 | 60.659 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 18:00:00 | 2925.608 | 2925.608 | 1276.557 | 110.000 | 110.000 | 110.000 | 0.000 | 208.809 | 166.809 | 63.668 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 18:30:00 | 2868.806 | 2868.806 | 1218.122 | 110.000 | 110.000 | 110.000 | 0.000 | 208.809 | 166.809 | 65.158 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 19:00:00 | 2798.865 | 2798.865 | 1145.519 | 110.000 | 110.000 | 110.000 | 0.000 | 208.809 | 166.809 | 65.796 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 19:30:00 | 2735.248 | 2735.248 | 1079.028 | 110.000 | 110.000 | 110.000 | 0.000 | 218.398 | 176.398 | 66.206 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 20:00:00 | 2654.367 | 2654.367 | 997.637 | 110.000 | 110.000 | 110.000 | 0.000 | 218.398 | 176.398 | 65.923 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 20:30:00 | 2552.991 | 2552.991 | 895.495 | 65.000 | 65.000 | 65.000 | 0.000 | 227.991 | 185.991 | 65.504 | 0.000 | 6667.013 | 0.000
[42 empty] | 19/07/2026 21:00:00 | 2437.533 | 2437.533 | 785.005 | 65.000 | 65.000 | 65.000 | 0.000 | 227.991 | 185.991 | 64.519 | 0.000 | 6889.510 | 0.000
[42 empty] | 19/07/2026 21:30:00 | 2309.774 | 2309.774 | 662.543 | 65.000 | 65.000 | 65.000 | 0.000 | 237.614 | 195.614 | 64.094 | 0.000 | 6667.013 | 0.000
[42 empty] | 19/07/2026 22:00:00 | 2188.523 | 2188.523 | 537.390 | 65.000 | 65.000 | 65.000 | 0.000 | 247.159 | 205.159 | 63.845 | 0.000 | 7010.000 | 0.000
[42 empty] | 19/07/2026 22:30:00 | 2093.493 | 2093.493 | 436.468 | 65.000 | 65.000 | 65.000 | 0.000 | 247.159 | 205.159 | 63.558 | 0.000 | 6889.510 | 0.000
[42 empty] | 19/07/2026 23:00:00 | 2023.193 | 2023.193 | 429.244 | 65.000 | 65.000 | 65.000 | 0.000 | 247.159 | 205.159 | 64.502 | 0.000 | 6889.510 | 0.000
[42 empty] | 19/07/2026 23:30:00 | 1968.016 | 1968.016 | 398.545 | 65.000 | 65.000 | 65.000 | 0.000 | 256.765 | 214.765 | 65.895 | 0.000 | 6889.510 | 0.000
[42 empty] | 20/07/2026 00:00:00 | 1924.026 | 1924.026 | 344.437 | 65.000 | 65.000 | 65.000 | 0.000 | 256.765 | 214.765 | 66.718 | 0.000 | 6889.510 | 0.000
[42 empty] | 20/07/2026 00:30:00 | 1888.896 | 1888.896 | 304.781 | 65.000 | 65.000 | 65.000 | 0.000 | 256.765 | 214.765 | 66.899 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 01:00:00 | 1865.856 | 1865.856 | 257.445 | 65.000 | 65.000 | 65.000 | 0.000 | 256.765 | 214.765 | 66.898 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 01:30:00 | 1854.018 | 1854.018 | 245.895 | 65.000 | 65.000 | 65.000 | 0.000 | 256.765 | 214.765 | 67.011 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 02:00:00 | 1848.887 | 1848.887 | 232.573 | 65.000 | 65.000 | 65.000 | 0.000 | 256.765 | 214.765 | 67.195 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 02:30:00 | 1850.329 | 1850.329 | 213.328 | 65.000 | 65.000 | 65.000 | 0.000 | 256.765 | 214.765 | 67.251 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 03:00:00 | 1860.263 | 1860.263 | 219.369 | 65.000 | 65.000 | 65.000 | 0.000 | 256.765 | 214.765 | 67.110 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 03:30:00 | 1884.925 | 1884.925 | 216.796 | 65.000 | 65.000 | 65.000 | 0.000 | 256.765 | 214.765 | 66.776 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 04:00:00 | 1940.413 | 1940.413 | 265.178 | 65.000 | 65.000 | 65.000 | 0.000 | 256.765 | 214.765 | 66.123 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 04:30:00 | 2036.215 | 2036.215 | 346.427 | 65.000 | 65.000 | 65.000 | 0.000 | 247.159 | 205.159 | 65.035 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 05:00:00 | 2179.906 | 2179.906 | 480.961 | 65.000 | 65.000 | 65.000 | 0.000 | 247.159 | 205.159 | 63.395 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 05:30:00 | 2382.708 | 2382.708 | 675.423 | 110.000 | 110.000 | 110.000 | 0.000 | 237.614 | 195.614 | 61.055 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 06:00:00 | 2612.798 | 2612.798 | 892.563 | 110.000 | 110.000 | 110.000 | 0.000 | 218.398 | 176.398 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 06:30:00 | 2805.788 | 2805.788 | 1083.558 | 110.000 | 110.000 | 110.000 | 0.000 | 208.809 | 166.809 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 07:00:00 | 2879.79 | 2879.790 | 1131.282 | 110.000 | 110.000 | 110.000 | 0.000 | 257.628 | 215.628 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 07:30:00 | 2765.033 | 2765.033 | 997.829 | 110.000 | 110.000 | 110.000 | 0.000 | 257.628 | 215.628 | 60.000 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer