## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 43 |  | 43 |  | 0 |  | 48 |  | 0 |  | 0
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 20/07/2026 08:00:00 | 2602.42 | 2602.420 | 892.744 | 110.000 | 110.000 | 110.000 | 0.000 | 215.764 | 173.764 | 45.946 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 08:30:00 | 2427.442 | 2427.442 | 795.929 | 110.000 | 110.000 | 110.000 | 0.000 | 257.597 | 215.597 | 9.421 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 09:00:00 | 2238.195 | 2238.195 | 658.438 | 110.000 | 110.000 | 110.000 | 0.000 | 294.149 | 252.191 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 09:30:00 | 2024.337 | 2024.337 | 458.564 | 110.000 | 110.000 | 110.000 | 0.000 | 299.549 | 257.717 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 10:00:00 | 1844.385 | 1844.385 | 247.735 | 110.000 | 110.000 | 110.000 | 0.000 | 331.714 | 290.008 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 10:30:00 | 1746.577 | 1746.577 | 127.795 | 110.000 | 110.000 | 110.000 | 0.000 | 340.466 | 298.886 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 11:00:00 | 1666.358 | 1666.358 | 51.957 | 110.000 | 110.000 | 110.000 | 0.000 | 359.246 | 317.834 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 11:30:00 | 1555.596 | 1555.596 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 390.445 | 308.741 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 12:00:00 | 1502.379 | 1502.379 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 387.474 | 225.930 | 10.823 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 12:30:00 | 1542.582 | 1542.582 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 383.705 | 211.057 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 13:00:00 | 1576.686 | 1576.686 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 383.268 | 177.020 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 13:30:00 | 1647.422 | 1647.422 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 377.880 | 272.145 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 14:00:00 | 1771.983 | 1771.983 | 103.025 | 110.000 | 110.000 | 110.000 | 0.000 | 353.999 | 312.587 | 0.000 | 0.000 | 6967.810 | 0.000
[42 empty] | 20/07/2026 14:30:00 | 1928.646 | 1928.646 | 301.890 | 110.000 | 110.000 | 110.000 | 0.000 | 329.022 | 287.316 | 0.000 | 0.000 | 6967.810 | 0.000
[42 empty] | 20/07/2026 15:00:00 | 2116.555 | 2116.555 | 526.703 | 110.000 | 110.000 | 110.000 | 0.000 | 286.031 | 244.073 | 0.000 | 0.000 | 6967.810 | 0.000
[42 empty] | 20/07/2026 15:30:00 | 2318.761 | 2318.761 | 655.176 | 110.000 | 110.000 | 110.000 | 0.000 | 294.149 | 252.191 | 0.461 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 16:00:00 | 2541.357 | 2541.357 | 837.291 | 110.000 | 110.000 | 110.000 | 0.000 | 257.597 | 215.597 | 39.519 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 16:30:00 | 2772.989 | 2772.989 | 1084.044 | 110.000 | 110.000 | 110.000 | 0.000 | 257.597 | 215.597 | 62.168 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 17:00:00 | 2987.303 | 2987.303 | 1332.491 | 110.000 | 110.000 | 110.000 | 0.000 | 248.016 | 206.016 | 74.346 | 0.000 | 6495.313 | 0.000
[42 empty] | 20/07/2026 17:30:00 | 3105.212 | 3105.212 | 1472.507 | 110.000 | 110.000 | 110.000 | 0.000 | 199.223 | 157.223 | 78.731 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 18:00:00 | 3109.09 | 3109.090 | 1473.812 | 110.000 | 110.000 | 110.000 | 0.000 | 199.223 | 157.223 | 79.419 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 18:30:00 | 3063.922 | 3063.922 | 1418.873 | 110.000 | 110.000 | 110.000 | 0.000 | 199.223 | 157.223 | 78.477 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 19:00:00 | 2999.662 | 2999.662 | 1348.284 | 110.000 | 110.000 | 110.000 | 0.000 | 208.821 | 166.821 | 76.703 | 0.000 | 6495.313 | 0.000
[42 empty] | 20/07/2026 19:30:00 | 2920.47 | 2920.470 | 1262.404 | 110.000 | 110.000 | 110.000 | 0.000 | 208.821 | 166.821 | 74.141 | 0.000 | 6495.313 | 0.000
[42 empty] | 20/07/2026 20:00:00 | 2818.76 | 2818.760 | 1156.374 | 110.000 | 110.000 | 110.000 | 0.000 | 208.821 | 166.821 | 70.206 | 0.000 | 6495.313 | 0.000
[42 empty] | 20/07/2026 20:30:00 | 2695.929 | 2695.929 | 1038.685 | 65.000 | 65.000 | 65.000 | 0.000 | 218.408 | 176.408 | 73.719 | 0.000 | 6967.810 | 0.000
[42 empty] | 20/07/2026 21:00:00 | 2556.222 | 2556.222 | 907.520 | 65.000 | 65.000 | 65.000 | 0.000 | 228.003 | 186.003 | 75.257 | 0.000 | 6967.810 | 0.000
[42 empty] | 20/07/2026 21:30:00 | 2406.53 | 2406.530 | 760.530 | 65.000 | 65.000 | 65.000 | 0.000 | 228.003 | 186.003 | 75.621 | 0.000 | 6967.810 | 0.000
[42 empty] | 20/07/2026 22:00:00 | 2268.861 | 2268.861 | 618.687 | 65.000 | 65.000 | 65.000 | 0.000 | 237.626 | 195.626 | 75.049 | 0.000 | 6495.313 | 0.000
[42 empty] | 20/07/2026 22:30:00 | 2160.471 | 2160.471 | 503.332 | 65.000 | 65.000 | 65.000 | 0.000 | 247.165 | 205.165 | 74.648 | 0.000 | 6967.810 | 0.000
[42 empty] | 20/07/2026 23:00:00 | 2080.855 | 2080.855 | 487.726 | 65.000 | 65.000 | 65.000 | 0.000 | 247.165 | 205.165 | 74.115 | 0.000 | 6967.810 | 0.000
[42 empty] | 20/07/2026 23:30:00 | 2019.457 | 2019.457 | 454.934 | 65.000 | 65.000 | 65.000 | 0.000 | 247.165 | 205.165 | 73.274 | 0.000 | 6967.810 | 0.000
[42 empty] | 21/07/2026 00:00:00 | 1972.448 | 1972.448 | 409.283 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 72.709 | 0.000 | 7010.000 | 0.000
[42 empty] | 21/07/2026 00:30:00 | 1935.897 | 1935.897 | 378.701 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 72.281 | 0.000 | 6967.810 | 0.000
[42 empty] | 21/07/2026 01:00:00 | 1911.159 | 1911.159 | 355.355 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 71.967 | 0.000 | 7010.000 | 0.000
[42 empty] | 21/07/2026 01:30:00 | 1896.113 | 1896.113 | 337.658 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 71.699 | 0.000 | 7010.000 | 0.000
[42 empty] | 21/07/2026 02:00:00 | 1887.088 | 1887.088 | 327.847 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 71.387 | 0.000 | 5717.810 | 0.000
[42 empty] | 21/07/2026 02:30:00 | 1885.21 | 1885.210 | 328.972 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 71.173 | 0.000 | 7010.000 | 0.000
[42 empty] | 21/07/2026 03:00:00 | 1893.439 | 1893.439 | 340.438 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 70.989 | 0.000 | 6717.810 | 0.000
[42 empty] | 21/07/2026 03:30:00 | 1916.63 | 1916.630 | 363.813 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 70.906 | 0.000 | 7010.000 | 0.000
[42 empty] | 21/07/2026 04:00:00 | 1968.277 | 1968.277 | 413.077 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 71.061 | 0.000 | 6967.810 | 0.000
[42 empty] | 21/07/2026 04:30:00 | 2061.065 | 2061.065 | 506.112 | 65.000 | 65.000 | 65.000 | 0.000 | 247.165 | 205.165 | 71.647 | 0.000 | 6967.810 | 0.000
[42 empty] | 21/07/2026 05:00:00 | 2175.089 | 2175.089 | 617.713 | 65.000 | 65.000 | 65.000 | 0.000 | 247.165 | 205.165 | 72.037 | 0.000 | 7010.000 | 0.000
[42 empty] | 21/07/2026 05:30:00 | 2331.504 | 2331.504 | 772.012 | 110.000 | 110.000 | 110.000 | 0.000 | 237.626 | 195.626 | 73.538 | 0.000 | 4412.026 | 0.000
[42 empty] | 21/07/2026 06:00:00 | 2547.912 | 2547.912 | 979.344 | 110.000 | 110.000 | 110.000 | 0.000 | 228.003 | 186.003 | 75.638 | 0.000 | 7010.000 | 0.000
[42 empty] | 21/07/2026 06:30:00 | 2724.178 | 2724.178 | 1147.226 | 110.000 | 110.000 | 110.000 | 0.000 | 218.408 | 176.408 | 75.805 | 0.000 | 7010.000 | 0.000
[42 empty] | 21/07/2026 07:00:00 | 2816.823 | 2816.823 | 1230.365 | 110.000 | 110.000 | 110.000 | 0.000 | 257.597 | 215.597 | 71.913 | 0.000 | 7010.000 | 0.000
[42 empty] | 21/07/2026 07:30:00 | 2758.48 | 2758.480 | 1132.950 | 110.000 | 110.000 | 110.000 | 0.000 | 257.597 | 215.597 | 22.139 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer