## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 38 |  | 38 |  | 0 |  | 41 |  | 0 |  | 14
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 20/07/2026 08:30:00 | 2325.664 | 2325.664 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 285.717 | 32.480 | 41.378 | 0.000 | 6934.814 | 0.000
[42 empty] | 22/07/2026 08:00:00 | 2431.215 | 2431.215 | 440.226 | 110.000 | 110.000 | 110.000 | 0.000 | 215.755 | 173.755 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 22/07/2026 08:30:00 | 2195.864 | 2195.864 | 312.922 | 110.000 | 110.000 | 110.000 | 0.000 | 294.140 | 252.392 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 22/07/2026 09:00:00 | 1970.344 | 1970.344 | 165.558 | 110.000 | 110.000 | 110.000 | 0.000 | 300.504 | 258.966 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 22/07/2026 09:30:00 | 1767.244 | 1767.244 | 30.723 | 110.000 | 110.000 | 110.000 | 0.000 | 343.410 | 302.208 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 22/07/2026 10:00:00 | 1587.607 | 1587.607 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 361.364 | 93.921 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 22/07/2026 14:30:00 | 1676.308 | 1676.308 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 345.410 | 52.934 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 22/07/2026 15:00:00 | 1868.444 | 1868.444 | 76.898 | 110.000 | 110.000 | 110.000 | 0.000 | 303.707 | 262.169 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 22/07/2026 15:30:00 | 2109.025 | 2109.025 | 335.270 | 110.000 | 110.000 | 110.000 | 0.000 | 302.036 | 260.372 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 22/07/2026 16:00:00 | 2369.655 | 2369.655 | 687.199 | 110.000 | 110.000 | 110.000 | 0.000 | 267.186 | 225.186 | 20.324 | 0.000 | 7462.971 | 452.971
[42 empty] | 22/07/2026 16:30:00 | 2645.635 | 2645.635 | 993.535 | 110.000 | 110.000 | 110.000 | 0.000 | 257.631 | 215.631 | 41.991 | 0.000 | 7462.971 | 452.971
[42 empty] | 22/07/2026 17:00:00 | 2870.59 | 2870.590 | 1192.937 | 110.000 | 110.000 | 110.000 | 0.000 | 257.631 | 215.631 | 52.349 | 0.000 | 7462.971 | 452.971
[42 empty] | 22/07/2026 17:30:00 | 3000.619 | 3000.619 | 1313.712 | 110.000 | 110.000 | 110.000 | 0.000 | 199.214 | 157.214 | 48.878 | 0.000 | 7462.971 | 452.971
[42 empty] | 22/07/2026 18:00:00 | 3017.608 | 3017.608 | 1324.892 | 110.000 | 110.000 | 110.000 | 0.000 | 199.214 | 157.214 | 41.706 | 0.000 | 7462.971 | 452.971
[42 empty] | 22/07/2026 18:30:00 | 2982.515 | 2982.515 | 1274.130 | 110.000 | 110.000 | 110.000 | 0.000 | 208.812 | 166.812 | 33.052 | 0.000 | 7462.971 | 452.971
[42 empty] | 22/07/2026 19:00:00 | 2923.7 | 2923.700 | 1181.811 | 110.000 | 110.000 | 110.000 | 0.000 | 208.812 | 166.812 | 22.895 | 0.000 | 7462.971 | 452.971
[42 empty] | 22/07/2026 19:30:00 | 2856.553 | 2856.553 | 1073.736 | 110.000 | 110.000 | 110.000 | 0.000 | 208.812 | 166.812 | 11.779 | 0.000 | 7462.971 | 452.971
[42 empty] | 22/07/2026 20:00:00 | 2762.985 | 2762.985 | 954.007 | 110.000 | 110.000 | 110.000 | 0.000 | 218.440 | 176.440 | 0.000 | 0.000 | 7462.971 | 452.971
[42 empty] | 22/07/2026 20:30:00 | 2649.005 | 2649.005 | 839.981 | 65.000 | 65.000 | 65.000 | 0.000 | 218.440 | 176.440 | 0.000 | 0.000 | 7462.971 | 452.971
[42 empty] | 22/07/2026 21:00:00 | 2515.623 | 2515.623 | 709.725 | 65.000 | 65.000 | 65.000 | 0.000 | 227.994 | 185.994 | 0.000 | 0.000 | 7462.971 | 452.971
[42 empty] | 22/07/2026 21:30:00 | 2373.258 | 2373.258 | 558.365 | 65.000 | 65.000 | 65.000 | 0.000 | 237.617 | 195.617 | 0.000 | 0.000 | 7462.971 | 452.971
[42 empty] | 22/07/2026 22:00:00 | 2241.787 | 2241.787 | 404.614 | 65.000 | 65.000 | 65.000 | 0.000 | 237.617 | 195.617 | 0.000 | 0.000 | 7462.971 | 452.971
[42 empty] | 22/07/2026 22:30:00 | 2136.893 | 2136.893 | 276.980 | 65.000 | 65.000 | 65.000 | 0.000 | 247.182 | 205.182 | 0.000 | 0.000 | 7462.971 | 452.971
[42 empty] | 22/07/2026 23:00:00 | 2059.757 | 2059.757 | 253.698 | 65.000 | 65.000 | 65.000 | 0.000 | 247.182 | 205.182 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 22/07/2026 23:30:00 | 1999.82 | 1999.820 | 209.724 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 00:00:00 | 1953.826 | 1953.826 | 162.244 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 00:30:00 | 1918.349 | 1918.349 | 128.575 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 01:00:00 | 1895.131 | 1895.131 | 92.833 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 01:30:00 | 1881.474 | 1881.474 | 68.449 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 02:00:00 | 1872.634 | 1872.634 | 46.249 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 02:30:00 | 1872.273 | 1872.273 | 37.762 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 03:00:00 | 1883.501 | 1883.501 | 41.862 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 03:30:00 | 1908.592 | 1908.592 | 62.491 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 04:00:00 | 1962.435 | 1962.435 | 110.110 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 04:30:00 | 2052.11 | 2052.110 | 191.898 | 65.000 | 65.000 | 65.000 | 0.000 | 247.182 | 205.182 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 05:00:00 | 2200.635 | 2200.635 | 335.906 | 65.000 | 65.000 | 65.000 | 0.000 | 237.617 | 195.617 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 05:30:00 | 2415.537 | 2415.537 | 550.603 | 110.000 | 110.000 | 110.000 | 0.000 | 228.007 | 186.007 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 06:00:00 | 2639.233 | 2639.233 | 764.998 | 110.000 | 110.000 | 110.000 | 0.000 | 218.440 | 176.440 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 06:30:00 | 2816.457 | 2816.457 | 935.212 | 110.000 | 110.000 | 110.000 | 0.000 | 208.812 | 166.812 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 07:00:00 | 2848.878 | 2848.878 | 956.075 | 110.000 | 110.000 | 110.000 | 0.000 | 257.631 | 215.631 | 0.000 | 0.000 | 6934.814 | 0.000
[42 empty] | 23/07/2026 07:30:00 | 2668.246 | 2668.246 | 728.822 | 110.000 | 110.000 | 110.000 | 0.000 | 257.631 | 215.631 | 0.000 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer