## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 36 |  | 37 |  | 0 |  | 51 |  | 0 |  | 16
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 19/07/2026 17:00:00 | 2790.623 | 2790.623 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 257.404 | 161.581 | 64.402 | 0.000 | 12444.591 | 0.000
[42 empty] | 19/07/2026 17:30:00 | 2902.208 | 2902.208 | 165.440 | 110.000 | 110.000 | 110.000 | 0.000 | 208.776 | 166.776 | 61.712 | 0.000 | 11944.591 | 0.000
[42 empty] | 19/07/2026 18:00:00 | 2894.929 | 2894.929 | 56.445 | 110.000 | 110.000 | 110.000 | 0.000 | 208.776 | 166.776 | 55.606 | 0.000 | 12444.591 | 0.000
[42 empty] | 19/07/2026 18:30:00 | 2854.656 | 2854.656 | 8.957 | 110.000 | 110.000 | 110.000 | 0.000 | 208.776 | 166.776 | 46.074 | 0.000 | 12444.591 | 0.000
[42 empty] | 19/07/2026 19:00:00 | 2803.607 | 2803.607 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 208.776 | 10.413 | 45.460 | 0.000 | 11444.591 | 0.000
[42 empty] | 19/07/2026 20:00:00 | 2656.719 | 2656.719 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 219.806 | 60.526 | 46.517 | 0.000 | 7010.000 | 0.000
[42 empty] | 20/07/2026 07:00:00 | 2887.442 | 2887.442 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 258.997 | 24.277 | 50.805 | 0.000 | 5433.153 | 0.000
[42 empty] | 20/07/2026 18:00:00 | 3063.969 | 3063.969 | 254.167 | 110.000 | 110.000 | 110.000 | 0.000 | 200.580 | 158.580 | 31.237 | 0.000 | 7474.055 | 464.055
[42 empty] | 20/07/2026 18:30:00 | 3018.979 | 3018.979 | 122.064 | 110.000 | 110.000 | 110.000 | 0.000 | 200.580 | 158.580 | 34.468 | 0.000 | 7474.055 | 464.055
[42 empty] | 20/07/2026 19:00:00 | 2950.761 | 2950.761 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 210.178 | 61.367 | 33.799 | 0.000 | 7010.000 | 0.000
[42 empty] | 21/07/2026 07:00:00 | 2863.982 | 2863.982 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 249.390 | 107.533 | 71.004 | 0.000 | 5433.153 | 0.000
[42 empty] | 21/07/2026 08:00:00 | 2602.835 | 2602.835 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 258.997 | 127.716 | 52.803 | 0.000 | 7010.000 | 0.000
[42 empty] | 22/07/2026 06:30:00 | 2826.568 | 2826.568 | 0.000 | 110.000 | 45.717 | 110.000 | 0.000 | 210.178 | 168.178 | 38.753 | 0.000 | 7010.000 | 0.000
[42 empty] | 22/07/2026 07:00:00 | 2869.784 | 2869.784 | 31.669 | 110.000 | 110.000 | 110.000 | 0.000 | 258.997 | 216.997 | 35.042 | 0.000 | 7010.000 | 0.000
[42 empty] | 22/07/2026 08:00:00 | 2477.329 | 2477.329 | 11.310 | 110.000 | 110.000 | 110.000 | 0.000 | 257.640 | 215.640 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 22/07/2026 08:30:00 | 2243.853 | 2243.853 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 294.149 | 14.512 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 08:00:00 | 2454.867 | 2454.867 | 384.643 | 110.000 | 110.000 | 110.000 | 0.000 | 215.764 | 173.764 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 08:30:00 | 2220.478 | 2220.478 | 191.921 | 110.000 | 110.000 | 110.000 | 0.000 | 294.149 | 252.401 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 09:00:00 | 1989.995 | 1989.995 | 76.356 | 110.000 | 110.000 | 110.000 | 0.000 | 299.732 | 258.194 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 09:30:00 | 1779.512 | 1779.512 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 342.720 | 199.611 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 14:30:00 | 1707.217 | 1707.217 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 345.129 | 79.818 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 15:00:00 | 1894.553 | 1894.553 | 89.877 | 110.000 | 110.000 | 110.000 | 0.000 | 303.557 | 262.019 | 0.000 | 0.000 | 6944.591 | 0.000
[42 empty] | 23/07/2026 15:30:00 | 2135.919 | 2135.919 | 347.935 | 110.000 | 110.000 | 110.000 | 0.000 | 294.149 | 252.401 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 16:00:00 | 2389.843 | 2389.843 | 680.686 | 110.000 | 110.000 | 110.000 | 0.000 | 267.195 | 225.195 | 8.065 | 0.000 | 7474.055 | 464.055
[42 empty] | 23/07/2026 16:30:00 | 2659.212 | 2659.212 | 975.165 | 110.000 | 110.000 | 110.000 | 0.000 | 257.640 | 215.640 | 26.494 | 0.000 | 7474.055 | 464.055
[42 empty] | 23/07/2026 17:00:00 | 2892.142 | 2892.142 | 1188.738 | 110.000 | 110.000 | 110.000 | 0.000 | 257.640 | 215.640 | 38.067 | 0.000 | 7474.055 | 464.055
[42 empty] | 23/07/2026 17:30:00 | 3031.669 | 3031.669 | 1327.379 | 110.000 | 110.000 | 110.000 | 0.000 | 199.223 | 157.223 | 35.916 | 0.000 | 7474.055 | 464.055
[42 empty] | 23/07/2026 18:00:00 | 3050.754 | 3050.754 | 1342.802 | 110.000 | 110.000 | 110.000 | 0.000 | 199.223 | 157.223 | 30.022 | 0.000 | 7474.055 | 464.055
[42 empty] | 23/07/2026 18:30:00 | 3014.609 | 3014.609 | 1299.689 | 110.000 | 110.000 | 110.000 | 0.000 | 199.223 | 157.223 | 22.556 | 0.000 | 7474.055 | 464.055
[42 empty] | 23/07/2026 19:00:00 | 2955.389 | 2955.389 | 1218.973 | 110.000 | 110.000 | 110.000 | 0.000 | 208.821 | 166.821 | 14.558 | 0.000 | 7474.055 | 464.055
[42 empty] | 23/07/2026 19:30:00 | 2886.305 | 2886.305 | 1098.243 | 110.000 | 110.000 | 110.000 | 0.000 | 208.821 | 166.821 | 6.282 | 0.000 | 7474.055 | 464.055
[42 empty] | 23/07/2026 20:00:00 | 2792.001 | 2792.001 | 966.971 | 110.000 | 110.000 | 110.000 | 0.000 | 218.449 | 176.449 | 0.000 | 0.000 | 7474.055 | 464.055
[42 empty] | 23/07/2026 20:30:00 | 2669.548 | 2669.548 | 818.472 | 65.000 | 65.000 | 65.000 | 0.000 | 218.449 | 176.449 | 0.000 | 0.000 | 7474.055 | 464.055
[42 empty] | 23/07/2026 21:00:00 | 2529.405 | 2529.405 | 665.928 | 65.000 | 65.000 | 65.000 | 0.000 | 228.003 | 186.003 | 0.000 | 0.000 | 7474.055 | 464.055
[42 empty] | 23/07/2026 21:30:00 | 2387.524 | 2387.524 | 512.876 | 65.000 | 65.000 | 65.000 | 0.000 | 237.626 | 195.626 | 0.000 | 0.000 | 7474.055 | 464.055
[42 empty] | 23/07/2026 22:00:00 | 2253.84 | 2253.840 | 356.409 | 65.000 | 65.000 | 65.000 | 0.000 | 237.626 | 195.626 | 0.000 | 0.000 | 7474.055 | 464.055
[42 empty] | 23/07/2026 22:30:00 | 2145.76 | 2145.760 | 221.833 | 65.000 | 65.000 | 65.000 | 0.000 | 247.191 | 205.191 | 0.000 | 0.000 | 7474.055 | 464.055
[42 empty] | 23/07/2026 23:00:00 | 2064.751 | 2064.751 | 188.319 | 65.000 | 65.000 | 65.000 | 0.000 | 247.191 | 205.191 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 23/07/2026 23:30:00 | 2000.11 | 2000.110 | 134.984 | 65.000 | 65.000 | 65.000 | 0.000 | 247.191 | 205.191 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 24/07/2026 00:00:00 | 1950.797 | 1950.797 | 67.428 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 24/07/2026 00:30:00 | 1913.568 | 1913.568 | 13.341 | 65.000 | 65.000 | 65.000 | 0.000 | 256.777 | 214.777 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 24/07/2026 01:00:00 | 1888.488 | 1888.488 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.777 | 167.646 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 24/07/2026 01:30:00 | 1875.218 | 1875.218 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.777 | 91.692 | 42.497 | 0.000 | 7010.000 | 0.000
[42 empty] | 24/07/2026 04:00:00 | 1946.469 | 1946.469 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.901 | 0.635 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 24/07/2026 04:30:00 | 2031.341 | 2031.341 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 247.191 | 153.130 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 24/07/2026 05:00:00 | 2169.598 | 2169.598 | 128.732 | 65.000 | 65.000 | 65.000 | 0.000 | 247.191 | 205.191 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 24/07/2026 05:30:00 | 2368.09 | 2368.090 | 383.363 | 110.000 | 110.000 | 110.000 | 0.000 | 237.626 | 195.626 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 24/07/2026 06:00:00 | 2578.129 | 2578.129 | 618.128 | 110.000 | 110.000 | 110.000 | 0.000 | 228.016 | 186.016 | 3.066 | 0.000 | 7010.000 | 0.000
[42 empty] | 24/07/2026 06:30:00 | 2740.069 | 2740.069 | 761.657 | 110.000 | 110.000 | 110.000 | 0.000 | 218.449 | 176.449 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 24/07/2026 07:00:00 | 2785.824 | 2785.824 | 779.566 | 110.000 | 110.000 | 110.000 | 0.000 | 257.640 | 215.640 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 24/07/2026 07:30:00 | 2648.837 | 2648.837 | 628.667 | 110.000 | 110.000 | 110.000 | 0.000 | 267.199 | 225.199 | 0.000 | 0.000 | 6944.591 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer