## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 40 |  | 41 |  | 0 |  | 45 |  | 0 |  | 15
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 20/07/2026 06:30:00 | 2847.754 | 2847.754 | 13.525 | 110.000 | 110.000 | 110.000 | 0.000 | 208.770 | 166.770 | 106.494 | 0.000 | 11679.407 | 0.000
[42 empty] | 20/07/2026 07:00:00 | 2916.296 | 2916.296 | 45.136 | 110.000 | 110.000 | 110.000 | 0.000 | 247.877 | 205.877 | 70.302 | 0.000 | 12679.407 | 0.000
[42 empty] | 20/07/2026 07:30:00 | 2784.561 | 2784.561 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 230.264 | 64.936 | 108.795 | 0.000 | 12679.407 | 0.000
[42 empty] | 21/07/2026 08:00:00 | 2646.232 | 2646.232 | 34.040 | 110.000 | 104.348 | 110.000 | 0.000 | 258.997 | 216.997 | 66.328 | 0.000 | 7010.000 | 0.000
[42 empty] | 21/07/2026 08:30:00 | 2493.279 | 2493.279 | 59.880 | 110.000 | 110.000 | 110.000 | 0.000 | 267.217 | 225.217 | 39.889 | 0.000 | 5623.427 | 0.000
[42 empty] | 22/07/2026 06:30:00 | 2864.669 | 2864.669 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 210.178 | 159.743 | 52.625 | 0.000 | 7010.000 | 0.000
[42 empty] | 22/07/2026 07:00:00 | 2909.651 | 2909.651 | 10.334 | 110.000 | 110.000 | 110.000 | 0.000 | 258.997 | 216.997 | 26.001 | 0.000 | 6929.407 | 0.000
[42 empty] | 22/07/2026 07:30:00 | 2734.827 | 2734.827 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 258.997 | 25.288 | 84.119 | 0.000 | 6929.407 | 0.000
[42 empty] | 24/07/2026 08:00:00 | 2440.132 | 2440.132 | 226.994 | 110.000 | 110.000 | 110.000 | 0.000 | 215.758 | 173.758 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 24/07/2026 08:30:00 | 2239.199 | 2239.199 | 51.145 | 110.000 | 110.000 | 110.000 | 0.000 | 294.143 | 252.437 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 24/07/2026 09:00:00 | 2028.838 | 2028.838 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 295.789 | 176.064 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 24/07/2026 15:00:00 | 1818.75 | 1818.750 | 0.000 | 110.000 | 21.567 | 110.000 | 0.000 | 306.046 | 264.592 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 24/07/2026 15:30:00 | 2027.751 | 2027.751 | 224.171 | 110.000 | 110.000 | 110.000 | 0.000 | 302.039 | 260.459 | 0.000 | 0.000 | 7055.276 | 45.276
[42 empty] | 24/07/2026 16:00:00 | 2251.925 | 2251.925 | 546.349 | 110.000 | 110.000 | 110.000 | 0.000 | 267.189 | 225.189 | 15.700 | 0.000 | 7708.871 | 698.871
[42 empty] | 24/07/2026 16:30:00 | 2494.844 | 2494.844 | 842.424 | 110.000 | 110.000 | 110.000 | 0.000 | 267.189 | 225.189 | 42.737 | 0.000 | 7708.871 | 698.871
[42 empty] | 24/07/2026 17:00:00 | 2687.173 | 2687.173 | 1028.482 | 110.000 | 110.000 | 110.000 | 0.000 | 267.189 | 225.189 | 59.949 | 0.000 | 7708.871 | 698.871
[42 empty] | 24/07/2026 17:30:00 | 2792.283 | 2792.283 | 1135.605 | 110.000 | 110.000 | 110.000 | 0.000 | 208.815 | 166.815 | 64.763 | 0.000 | 7708.871 | 698.871
[42 empty] | 24/07/2026 18:00:00 | 2801.483 | 2801.483 | 1155.416 | 110.000 | 110.000 | 110.000 | 0.000 | 208.815 | 166.815 | 65.707 | 0.000 | 7708.871 | 698.871
[42 empty] | 24/07/2026 18:30:00 | 2771.703 | 2771.703 | 1137.474 | 110.000 | 110.000 | 110.000 | 0.000 | 218.443 | 176.443 | 65.530 | 0.000 | 7708.871 | 698.871
[42 empty] | 24/07/2026 19:00:00 | 2726.622 | 2726.622 | 1093.278 | 110.000 | 110.000 | 110.000 | 0.000 | 218.443 | 176.443 | 64.915 | 0.000 | 7708.871 | 698.871
[42 empty] | 24/07/2026 19:30:00 | 2673.965 | 2673.965 | 1027.654 | 110.000 | 110.000 | 110.000 | 0.000 | 218.443 | 176.443 | 64.119 | 0.000 | 7708.871 | 698.871
[42 empty] | 24/07/2026 20:00:00 | 2604.914 | 2604.914 | 946.803 | 110.000 | 110.000 | 110.000 | 0.000 | 218.443 | 176.443 | 63.230 | 0.000 | 7708.871 | 698.871
[42 empty] | 24/07/2026 20:30:00 | 2517.561 | 2517.561 | 855.623 | 65.000 | 65.000 | 65.000 | 0.000 | 227.997 | 185.997 | 62.032 | 0.000 | 7708.871 | 698.871
[42 empty] | 24/07/2026 21:00:00 | 2415.438 | 2415.438 | 757.508 | 65.000 | 65.000 | 65.000 | 0.000 | 227.997 | 185.997 | 60.144 | 0.000 | 7708.871 | 698.871
[42 empty] | 24/07/2026 21:30:00 | 2305.822 | 2305.822 | 642.901 | 65.000 | 65.000 | 65.000 | 0.000 | 237.620 | 195.620 | 56.690 | 0.000 | 7708.871 | 698.871
[42 empty] | 24/07/2026 22:00:00 | 2196.859 | 2196.859 | 522.247 | 65.000 | 65.000 | 65.000 | 0.000 | 237.620 | 195.620 | 52.227 | 0.000 | 7708.871 | 698.871
[42 empty] | 24/07/2026 22:30:00 | 2103.941 | 2103.941 | 419.564 | 65.000 | 65.000 | 65.000 | 0.000 | 247.185 | 205.185 | 49.448 | 0.000 | 7708.871 | 698.871
[42 empty] | 24/07/2026 23:00:00 | 2032.492 | 2032.492 | 408.263 | 65.000 | 65.000 | 65.000 | 0.000 | 247.185 | 205.185 | 45.703 | 0.000 | 7010.000 | 0.000
[42 empty] | 24/07/2026 23:30:00 | 1974.974 | 1974.974 | 370.510 | 65.000 | 65.000 | 65.000 | 0.000 | 256.771 | 214.771 | 41.983 | 0.000 | 6929.407 | 0.000
[42 empty] | 25/07/2026 00:00:00 | 1929.862 | 1929.862 | 311.842 | 65.000 | 65.000 | 65.000 | 0.000 | 256.771 | 214.771 | 34.571 | 0.000 | 7010.000 | 0.000
[42 empty] | 25/07/2026 00:30:00 | 1894.625 | 1894.625 | 262.410 | 65.000 | 65.000 | 65.000 | 0.000 | 256.771 | 214.771 | 24.489 | 0.000 | 7010.000 | 0.000
[42 empty] | 25/07/2026 01:00:00 | 1870.097 | 1870.097 | 217.021 | 65.000 | 65.000 | 65.000 | 0.000 | 256.771 | 214.771 | 11.938 | 0.000 | 7010.000 | 0.000
[42 empty] | 25/07/2026 01:30:00 | 1851.596 | 1851.596 | 176.204 | 65.000 | 65.000 | 65.000 | 0.000 | 256.771 | 214.771 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 25/07/2026 02:00:00 | 1839.5 | 1839.500 | 152.032 | 65.000 | 65.000 | 65.000 | 0.000 | 256.771 | 214.771 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 25/07/2026 02:30:00 | 1831.64 | 1831.640 | 145.559 | 65.000 | 65.000 | 65.000 | 0.000 | 256.771 | 214.771 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 25/07/2026 03:00:00 | 1833.615 | 1833.615 | 148.814 | 65.000 | 65.000 | 65.000 | 0.000 | 256.771 | 214.771 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 25/07/2026 03:30:00 | 1842.039 | 1842.039 | 155.615 | 65.000 | 65.000 | 65.000 | 0.000 | 256.771 | 214.771 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 25/07/2026 04:00:00 | 1862.74 | 1862.740 | 173.258 | 65.000 | 65.000 | 65.000 | 0.000 | 256.771 | 214.771 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 25/07/2026 04:30:00 | 1900.203 | 1900.203 | 208.570 | 65.000 | 65.000 | 65.000 | 0.000 | 256.771 | 214.771 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 25/07/2026 05:00:00 | 1966.942 | 1966.942 | 273.573 | 65.000 | 65.000 | 65.000 | 0.000 | 256.771 | 214.771 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 25/07/2026 05:30:00 | 2068.833 | 2068.833 | 374.904 | 110.000 | 110.000 | 110.000 | 0.000 | 247.185 | 205.185 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 25/07/2026 06:00:00 | 2177.035 | 2177.035 | 475.605 | 110.000 | 110.000 | 110.000 | 0.000 | 247.185 | 205.185 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 25/07/2026 06:30:00 | 2270.228 | 2270.228 | 561.092 | 110.000 | 110.000 | 110.000 | 0.000 | 237.620 | 195.620 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 25/07/2026 07:00:00 | 2306.136 | 2306.136 | 588.886 | 110.000 | 110.000 | 110.000 | 0.000 | 286.342 | 244.342 | 0.000 | 0.000 | 6929.407 | 0.000
[42 empty] | 25/07/2026 07:30:00 | 2231.926 | 2231.926 | 552.965 | 110.000 | 110.000 | 110.000 | 0.000 | 276.770 | 234.770 | 22.466 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer