## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 23 |  | 24 |  | 0 |  | 32 |  | 0 |  | 0
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 28/07/2026 18:00:00 | 3208.987 | 3208.987 | 0.000 | 110.000 | 10.000 | 110.000 | 0.000 | 181.025 | 31.674 | 109.370 | 0.000 | 15087.708 | 0.000
[42 empty] | 29/07/2026 07:00:00 | 2958.779 | 2958.779 | 0.000 | 80.000 | 0.000 | 80.000 | 0.000 | 257.534 | 62.571 | 0.000 | 0.000 | 9308.900 | 0.000
[42 empty] | 29/07/2026 17:00:00 | 2993.082 | 2993.082 | 0.000 | 80.000 | 0.000 | 80.000 | 0.000 | 247.916 | 4.576 | 79.700 | 0.000 | 11337.708 | 0.000
[42 empty] | 29/07/2026 17:30:00 | 3130.389 | 3130.389 | 0.000 | 80.000 | 0.000 | 80.000 | 0.000 | 198.718 | 45.607 | 2.719 | 0.000 | 11484.900 | 0.000
[42 empty] | 29/07/2026 18:30:00 | 3120.164 | 3120.164 | 37.330 | 80.000 | 0.000 | 80.000 | 0.000 | 199.172 | 157.172 | 187.236 | 0.000 | 11484.900 | 0.000
[42 empty] | 02/08/2026 08:00:00 | 2081.458 | 2081.458 | 0.000 | 110.000 | 97.509 | 110.000 | 0.000 | 244.281 | 202.281 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/08/2026 14:30:00 | 1673.539 | 1673.539 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 307.315 | 68.606 | 25.025 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/08/2026 15:00:00 | 1859.273 | 1859.273 | 66.553 | 110.000 | 110.000 | 110.000 | 0.000 | 306.774 | 264.900 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/08/2026 15:30:00 | 2033.86 | 2033.860 | 192.037 | 110.000 | 110.000 | 110.000 | 0.000 | 302.036 | 260.204 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/08/2026 16:00:00 | 2252.182 | 2252.182 | 466.369 | 110.000 | 110.000 | 110.000 | 0.000 | 267.186 | 225.186 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/08/2026 16:30:00 | 2482.809 | 2482.809 | 740.852 | 110.000 | 110.000 | 110.000 | 0.000 | 267.186 | 225.186 | 89.655 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/08/2026 17:00:00 | 2681.346 | 2681.346 | 930.984 | 110.000 | 110.000 | 110.000 | 0.000 | 267.186 | 225.186 | 71.151 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/08/2026 17:30:00 | 2812.854 | 2812.854 | 1053.469 | 110.000 | 110.000 | 110.000 | 0.000 | 208.812 | 166.812 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/08/2026 18:00:00 | 2832.456 | 2832.456 | 1061.344 | 110.000 | 110.000 | 110.000 | 0.000 | 208.812 | 166.812 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/08/2026 18:30:00 | 2799.326 | 2799.326 | 1011.095 | 110.000 | 110.000 | 110.000 | 0.000 | 218.401 | 176.401 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/08/2026 19:00:00 | 2766.566 | 2766.566 | 947.787 | 110.000 | 110.000 | 110.000 | 0.000 | 218.401 | 176.401 | 61.964 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/08/2026 19:30:00 | 2711.259 | 2711.259 | 850.978 | 110.000 | 110.000 | 110.000 | 0.000 | 218.401 | 176.401 | 64.451 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/08/2026 20:00:00 | 2633.872 | 2633.872 | 724.968 | 110.000 | 110.000 | 110.000 | 0.000 | 218.401 | 176.401 | 61.020 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/08/2026 20:30:00 | 2533.59 | 2533.590 | 599.857 | 65.000 | 65.000 | 65.000 | 0.000 | 227.994 | 185.994 | 59.094 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/08/2026 21:00:00 | 2413.024 | 2413.024 | 471.031 | 65.000 | 65.000 | 65.000 | 0.000 | 227.994 | 185.994 | 61.104 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/08/2026 21:30:00 | 2285.984 | 2285.984 | 320.698 | 65.000 | 65.000 | 65.000 | 0.000 | 237.617 | 195.617 | 64.421 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/08/2026 22:00:00 | 2165.107 | 2165.107 | 168.970 | 65.000 | 65.000 | 65.000 | 0.000 | 247.162 | 205.162 | 66.433 | 0.000 | 6837.708 | 0.000
[42 empty] | 02/08/2026 22:30:00 | 2068.146 | 2068.146 | 38.248 | 65.000 | 65.000 | 65.000 | 0.000 | 247.162 | 205.162 | 66.933 | 0.000 | 6837.708 | 0.000
[42 empty] | 02/08/2026 23:00:00 | 1999.433 | 1999.433 | 15.905 | 65.000 | 65.000 | 65.000 | 0.000 | 256.768 | 214.768 | 67.110 | 0.000 | 7010.000 | 0.000
[42 empty] | 02/08/2026 23:30:00 | 1944.306 | 1944.306 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.768 | 171.959 | 105.810 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 00:00:00 | 1902.464 | 1902.464 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.802 | 22.023 | 190.587 | 0.000 | 6837.708 | 0.000
[42 empty] | 03/08/2026 05:00:00 | 2109.908 | 2109.908 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 247.162 | 140.337 | 19.375 | 0.000 | 6837.708 | 0.000
[42 empty] | 03/08/2026 05:30:00 | 2278.334 | 2278.334 | 127.552 | 110.000 | 110.000 | 110.000 | 0.000 | 237.617 | 195.617 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 06:00:00 | 2491.219 | 2491.219 | 393.809 | 110.000 | 110.000 | 110.000 | 0.000 | 227.994 | 185.994 | 56.198 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 06:30:00 | 2664.831 | 2664.831 | 623.653 | 110.000 | 110.000 | 110.000 | 0.000 | 218.401 | 176.401 | 85.707 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 07:00:00 | 2721.578 | 2721.578 | 675.207 | 110.000 | 110.000 | 110.000 | 0.000 | 267.186 | 225.186 | 84.864 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 07:30:00 | 2592.648 | 2592.648 | 571.058 | 110.000 | 110.000 | 110.000 | 0.000 | 267.186 | 225.186 | 60.000 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer