## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 1 |  | 0
Reference Scenario |  | 32 |  | 33 |  | 0 |  | 40 |  | 0 |  | 5
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[28 empty] | 02/08/2026 12:30:00 | 840.9301 | 840.930 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 228.503 | 0.000 | 13.158 | 1.996 | 3952.088 | 0.000 | 03/08/2026 08:00:00 | 2267.231 | 2267.231 | 0.000 | 110.000 | 99.591 | 110.000 | 0.000 | 225.157 | 183.157 | 42.393 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 08:30:00 | 2061.303 | 2061.303 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 197.168 | 95.640 | 4.034 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 11:30:00 | 1341.547 | 1341.547 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 233.771 | 1.601 | 0.000 | 0.000 | 6904.310 | 0.000
[42 empty] | 03/08/2026 12:00:00 | 1302.108 | 1302.108 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 233.771 | 3.351 | 1.092 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 12:30:00 | 1292.564 | 1292.564 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 233.771 | 2.549 | 1.474 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 13:00:00 | 1320.907 | 1320.907 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 218.262 | 0.234 | 0.340 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 15:00:00 | 1806.429 | 1806.429 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 207.608 | 48.844 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 15:30:00 | 2025.729 | 2025.729 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 263.004 | 181.822 | 11.602 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 16:00:00 | 2257.103 | 2257.103 | 61.182 | 110.000 | 110.000 | 110.000 | 0.000 | 267.163 | 225.163 | 42.128 | 0.000 | 6904.310 | 0.000
[42 empty] | 03/08/2026 16:30:00 | 2489.56 | 2489.560 | 309.070 | 110.000 | 110.000 | 110.000 | 0.000 | 267.163 | 225.163 | 59.162 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 17:00:00 | 2692.812 | 2692.812 | 558.610 | 110.000 | 110.000 | 110.000 | 0.000 | 267.163 | 225.163 | 69.478 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 17:30:00 | 2814.905 | 2814.905 | 778.709 | 110.000 | 110.000 | 110.000 | 0.000 | 208.818 | 166.818 | 70.651 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 18:00:00 | 2833.118 | 2833.118 | 958.489 | 110.000 | 110.000 | 110.000 | 0.000 | 208.818 | 166.818 | 70.481 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 18:30:00 | 2780.769 | 2780.769 | 979.124 | 110.000 | 110.000 | 110.000 | 0.000 | 208.818 | 166.818 | 71.085 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 19:00:00 | 2716.644 | 2716.644 | 903.283 | 110.000 | 110.000 | 110.000 | 0.000 | 218.405 | 176.405 | 71.825 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 19:30:00 | 2646.319 | 2646.319 | 771.750 | 110.000 | 110.000 | 110.000 | 0.000 | 218.405 | 176.405 | 72.636 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 20:00:00 | 2553.437 | 2553.437 | 681.840 | 110.000 | 110.000 | 110.000 | 0.000 | 228.000 | 186.000 | 73.708 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 20:30:00 | 2441.127 | 2441.127 | 636.602 | 65.000 | 65.000 | 65.000 | 0.000 | 228.000 | 186.000 | 75.004 | 0.000 | 6433.120 | 500.120
[42 empty] | 03/08/2026 21:00:00 | 2313.623 | 2313.623 | 570.448 | 65.000 | 65.000 | 65.000 | 0.000 | 237.623 | 195.623 | 76.476 | 0.000 | 6433.120 | 500.120
[42 empty] | 03/08/2026 21:30:00 | 2184.683 | 2184.683 | 475.336 | 65.000 | 65.000 | 65.000 | 0.000 | 247.188 | 205.188 | 77.964 | 0.000 | 6433.120 | 500.120
[42 empty] | 03/08/2026 22:00:00 | 2066.08 | 2066.080 | 362.572 | 65.000 | 65.000 | 65.000 | 0.000 | 247.188 | 205.188 | 79.333 | 0.000 | 6433.120 | 500.120
[42 empty] | 03/08/2026 22:30:00 | 1970.639 | 1970.639 | 265.815 | 65.000 | 65.000 | 65.000 | 0.000 | 256.774 | 214.774 | 80.434 | 0.000 | 6433.120 | 500.120
[42 empty] | 03/08/2026 23:00:00 | 1902.998 | 1902.998 | 290.906 | 65.000 | 65.000 | 65.000 | 0.000 | 256.774 | 214.774 | 81.215 | 0.000 | 5933.000 | 0.000
[42 empty] | 03/08/2026 23:30:00 | 1848.92 | 1848.920 | 272.369 | 65.000 | 65.000 | 65.000 | 0.000 | 256.774 | 214.774 | 81.839 | 0.000 | 5933.000 | 0.000
[42 empty] | 04/08/2026 00:00:00 | 1809.895 | 1809.895 | 235.984 | 65.000 | 65.000 | 65.000 | 0.000 | 256.774 | 214.774 | 82.289 | 0.000 | 5933.000 | 0.000
[42 empty] | 04/08/2026 00:30:00 | 1781.827 | 1781.827 | 213.106 | 65.000 | 65.000 | 65.000 | 0.000 | 266.330 | 224.330 | 82.613 | 0.000 | 5933.000 | 0.000
[42 empty] | 04/08/2026 01:00:00 | 1762.575 | 1762.575 | 204.050 | 65.000 | 65.000 | 65.000 | 0.000 | 266.330 | 224.330 | 82.835 | 0.000 | 5933.000 | 0.000
[42 empty] | 04/08/2026 01:30:00 | 1748.391 | 1748.391 | 183.260 | 65.000 | 65.000 | 65.000 | 0.000 | 266.330 | 224.330 | 82.999 | 0.000 | 5933.000 | 0.000
[42 empty] | 04/08/2026 02:00:00 | 1739.704 | 1739.704 | 164.887 | 65.000 | 65.000 | 65.000 | 0.000 | 266.330 | 224.330 | 83.099 | 0.000 | 5933.000 | 0.000
[42 empty] | 04/08/2026 02:30:00 | 1738.674 | 1738.674 | 139.612 | 65.000 | 65.000 | 65.000 | 0.000 | 266.330 | 224.330 | 83.111 | 0.000 | 5933.000 | 0.000
[42 empty] | 04/08/2026 03:00:00 | 1746.054 | 1746.054 | 157.248 | 65.000 | 65.000 | 65.000 | 0.000 | 266.330 | 224.330 | 83.026 | 0.000 | 5933.000 | 0.000
[42 empty] | 04/08/2026 03:30:00 | 1765.01 | 1765.010 | 165.776 | 65.000 | 65.000 | 65.000 | 0.000 | 266.330 | 224.330 | 82.807 | 0.000 | 5933.000 | 0.000
[42 empty] | 04/08/2026 04:00:00 | 1810.456 | 1810.456 | 203.988 | 65.000 | 65.000 | 65.000 | 0.000 | 256.774 | 214.774 | 82.283 | 0.000 | 5933.000 | 0.000
[42 empty] | 04/08/2026 04:30:00 | 1894.959 | 1894.959 | 265.922 | 65.000 | 65.000 | 65.000 | 0.000 | 256.774 | 214.774 | 81.307 | 0.000 | 5654.310 | 0.000
[42 empty] | 04/08/2026 05:00:00 | 2003.553 | 2003.553 | 360.144 | 65.000 | 65.000 | 65.000 | 0.000 | 247.188 | 205.188 | 80.054 | 0.000 | 5933.000 | 0.000
[42 empty] | 04/08/2026 05:30:00 | 2153.503 | 2153.503 | 526.961 | 110.000 | 110.000 | 110.000 | 0.000 | 247.188 | 205.188 | 78.324 | 0.000 | 5933.000 | 0.000
[42 empty] | 04/08/2026 06:00:00 | 2343.821 | 2343.821 | 697.886 | 110.000 | 110.000 | 110.000 | 0.000 | 237.623 | 195.623 | 76.127 | 0.000 | 5933.000 | 0.000
[42 empty] | 04/08/2026 06:30:00 | 2487.902 | 2487.902 | 822.990 | 110.000 | 110.000 | 110.000 | 0.000 | 228.013 | 186.013 | 74.432 | 0.000 | 5404.310 | 0.000
[42 empty] | 04/08/2026 07:00:00 | 2556.966 | 2556.966 | 871.456 | 110.000 | 110.000 | 110.000 | 0.000 | 276.769 | 234.769 | 72.603 | 0.000 | 5933.000 | 0.000
[42 empty] | 04/08/2026 07:30:00 | 2504.622 | 2504.622 | 764.979 | 110.000 | 110.000 | 110.000 | 0.000 | 276.769 | 234.769 | 69.800 | 0.000 | 5904.310 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer