## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 41 |  | 41 |  | 0 |  | 50 |  | 0 |  | 0
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 01/08/2026 21:30:00 | 2362.07 | 2362.070 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 219.205 | 65.856 | 91.096 | 0.000 | 7010.000 | 0.000
[42 empty] | 03/08/2026 07:00:00 | 2691.671 | 2691.671 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 268.417 | 66.206 | 72.144 | 0.000 | 6904.310 | 0.000
[42 empty] | 04/08/2026 08:00:00 | 2455.826 | 2455.826 | 415.656 | 110.000 | 110.000 | 110.000 | 0.000 | 234.782 | 192.782 | 71.739 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 08:30:00 | 2354.332 | 2354.332 | 463.532 | 110.000 | 110.000 | 110.000 | 0.000 | 276.782 | 234.782 | 47.538 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 09:00:00 | 2242.323 | 2242.323 | 360.620 | 110.000 | 110.000 | 110.000 | 0.000 | 286.296 | 244.296 | 31.605 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 09:30:00 | 2150.646 | 2150.646 | 261.106 | 110.000 | 110.000 | 110.000 | 0.000 | 286.296 | 244.296 | 26.048 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 10:00:00 | 2076.503 | 2076.503 | 192.781 | 110.000 | 110.000 | 110.000 | 0.000 | 286.296 | 244.296 | 21.960 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 10:30:00 | 1981.083 | 1981.083 | 103.655 | 110.000 | 110.000 | 110.000 | 0.000 | 286.296 | 244.296 | 16.389 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 11:00:00 | 1882.925 | 1882.925 | 12.126 | 110.000 | 110.000 | 110.000 | 0.000 | 286.296 | 244.296 | 9.779 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 11:30:00 | 1841.055 | 1841.055 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 286.296 | 212.960 | 0.709 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 12:00:00 | 1797.243 | 1797.243 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 331.181 | 189.948 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 12:30:00 | 1650.162 | 1650.162 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 256.331 | 32.131 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 13:00:00 | 1594.8 | 1594.800 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 242.705 | 12.983 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 13:30:00 | 1672.934 | 1672.934 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 237.635 | 35.490 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 14:00:00 | 1738.685 | 1738.685 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 229.650 | 92.603 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 14:30:00 | 1814.528 | 1814.528 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 221.304 | 166.620 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 15:00:00 | 1960.186 | 1960.186 | 47.399 | 110.000 | 110.000 | 110.000 | 0.000 | 327.957 | 286.251 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 15:30:00 | 2136.187 | 2136.187 | 238.205 | 110.000 | 110.000 | 110.000 | 0.000 | 294.155 | 252.197 | 14.474 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 16:00:00 | 2332.902 | 2332.902 | 454.155 | 110.000 | 110.000 | 110.000 | 0.000 | 257.603 | 215.603 | 45.264 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 16:30:00 | 2543.891 | 2543.891 | 654.433 | 110.000 | 110.000 | 110.000 | 0.000 | 267.172 | 225.172 | 62.622 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 17:00:00 | 2721.25 | 2721.250 | 815.777 | 110.000 | 110.000 | 110.000 | 0.000 | 267.172 | 225.172 | 73.264 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 17:30:00 | 2827.55 | 2827.550 | 921.402 | 110.000 | 110.000 | 110.000 | 0.000 | 208.827 | 166.827 | 74.795 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 18:00:00 | 2843.235 | 2843.235 | 959.548 | 110.000 | 110.000 | 110.000 | 0.000 | 208.827 | 166.827 | 74.657 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 18:30:00 | 2785.579 | 2785.579 | 913.892 | 110.000 | 110.000 | 110.000 | 0.000 | 218.414 | 176.414 | 75.322 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 19:00:00 | 2712.969 | 2712.969 | 824.540 | 110.000 | 110.000 | 110.000 | 0.000 | 218.414 | 176.414 | 76.160 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 19:30:00 | 2644.028 | 2644.028 | 754.347 | 110.000 | 110.000 | 110.000 | 0.000 | 218.414 | 176.414 | 76.956 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 20:00:00 | 2554.546 | 2554.546 | 669.877 | 110.000 | 110.000 | 110.000 | 0.000 | 228.009 | 186.009 | 77.988 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 20:30:00 | 2448.294 | 2448.294 | 573.709 | 65.000 | 65.000 | 65.000 | 0.000 | 228.009 | 186.009 | 79.214 | 0.000 | 6904.310 | 0.000
[42 empty] | 04/08/2026 21:00:00 | 2325.122 | 2325.122 | 471.994 | 65.000 | 65.000 | 65.000 | 0.000 | 237.632 | 195.632 | 80.636 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 21:30:00 | 2197.523 | 2197.523 | 360.523 | 65.000 | 65.000 | 65.000 | 0.000 | 247.171 | 205.171 | 82.108 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 22:00:00 | 2079.79 | 2079.790 | 251.831 | 65.000 | 65.000 | 65.000 | 0.000 | 247.171 | 205.171 | 83.467 | 0.000 | 7010.000 | 0.000
[42 empty] | 04/08/2026 22:30:00 | 1986.376 | 1986.376 | 166.393 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 84.545 | 0.000 | 6654.310 | 0.000
[42 empty] | 04/08/2026 23:00:00 | 1918.956 | 1918.956 | 176.947 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 85.323 | 0.000 | 6904.310 | 0.000
[42 empty] | 04/08/2026 23:30:00 | 1876.331 | 1876.331 | 164.596 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 85.815 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 00:00:00 | 1849.574 | 1849.574 | 146.911 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 86.124 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 00:30:00 | 1819.851 | 1819.851 | 126.434 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 86.467 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 01:00:00 | 1798.979 | 1798.979 | 109.282 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 86.708 | 0.000 | 6904.310 | 0.000
[42 empty] | 05/08/2026 01:30:00 | 1785.701 | 1785.701 | 95.025 | 65.000 | 65.000 | 65.000 | 0.000 | 266.339 | 224.339 | 86.861 | 0.000 | 6904.310 | 0.000
[42 empty] | 05/08/2026 02:00:00 | 1778.957 | 1778.957 | 91.122 | 65.000 | 65.000 | 65.000 | 0.000 | 266.339 | 224.339 | 86.939 | 0.000 | 6904.310 | 0.000
[42 empty] | 05/08/2026 02:30:00 | 1777.151 | 1777.151 | 95.327 | 65.000 | 65.000 | 65.000 | 0.000 | 266.339 | 224.339 | 86.960 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 03:00:00 | 1783.467 | 1783.467 | 114.842 | 65.000 | 65.000 | 65.000 | 0.000 | 266.339 | 224.339 | 86.887 | 0.000 | 6904.310 | 0.000
[42 empty] | 05/08/2026 03:30:00 | 1803.628 | 1803.628 | 138.386 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 86.654 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 04:00:00 | 1850.509 | 1850.509 | 186.922 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 86.113 | 0.000 | 6904.310 | 0.000
[42 empty] | 05/08/2026 04:30:00 | 1932.385 | 1932.385 | 269.710 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 214.783 | 85.168 | 0.000 | 5654.310 | 0.000
[42 empty] | 05/08/2026 05:00:00 | 2065.683 | 2065.683 | 406.551 | 65.000 | 65.000 | 65.000 | 0.000 | 247.171 | 205.171 | 83.630 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 05:30:00 | 2257.673 | 2257.673 | 607.282 | 110.000 | 110.000 | 110.000 | 0.000 | 237.632 | 195.632 | 81.414 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 06:00:00 | 2454.137 | 2454.137 | 802.679 | 110.000 | 110.000 | 110.000 | 0.000 | 228.009 | 186.009 | 79.143 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 06:30:00 | 2598.861 | 2598.861 | 949.580 | 110.000 | 110.000 | 110.000 | 0.000 | 218.414 | 176.414 | 77.225 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 07:00:00 | 2611.434 | 2611.434 | 970.493 | 110.000 | 110.000 | 110.000 | 0.000 | 267.172 | 225.172 | 72.502 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 07:30:00 | 2461.337 | 2461.337 | 841.017 | 110.000 | 110.000 | 110.000 | 0.000 | 267.172 | 225.172 | 61.246 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer