## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 47 |  | 48 |  | 0 |  | 49 |  | 0 |  | 0
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 03/08/2026 06:30:00 | 2778.503 | 2778.503 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 209.298 | 141.994 | 63.267 | 0.000 | 6904.310 | 0.000
[42 empty] | 05/08/2026 08:00:00 | 2476.032 | 2476.032 | 425.413 | 110.000 | 110.000 | 110.000 | 0.000 | 215.788 | 173.788 | 39.183 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 08:30:00 | 2366.957 | 2366.957 | 490.348 | 110.000 | 110.000 | 110.000 | 0.000 | 257.621 | 215.621 | 11.393 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 09:00:00 | 2264.748 | 2264.748 | 420.190 | 110.000 | 110.000 | 110.000 | 0.000 | 267.190 | 225.190 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 09:30:00 | 2183.664 | 2183.664 | 340.237 | 110.000 | 110.000 | 110.000 | 0.000 | 267.190 | 225.190 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 10:00:00 | 2126.715 | 2126.715 | 262.060 | 110.000 | 110.000 | 110.000 | 0.000 | 276.781 | 234.781 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 10:30:00 | 2122.395 | 2122.395 | 238.468 | 110.000 | 110.000 | 110.000 | 0.000 | 295.817 | 253.817 | 16.321 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 11:00:00 | 2063.743 | 2063.743 | 166.744 | 110.000 | 110.000 | 110.000 | 0.000 | 276.781 | 234.781 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 11:30:00 | 1952.573 | 1952.573 | 43.784 | 110.000 | 110.000 | 110.000 | 0.000 | 296.611 | 254.653 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 12:00:00 | 1900.776 | 1900.776 | 0.000 | 110.000 | 2.553 | 110.000 | 0.000 | 302.069 | 260.195 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 12:30:00 | 1945.518 | 1945.518 | 38.634 | 110.000 | 110.000 | 110.000 | 0.000 | 276.781 | 234.781 | 0.000 | 0.000 | 6654.310 | 0.000
[42 empty] | 05/08/2026 13:00:00 | 1986.687 | 1986.687 | 57.885 | 110.000 | 110.000 | 110.000 | 0.000 | 306.807 | 264.933 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 13:30:00 | 1971.119 | 1971.119 | 31.022 | 110.000 | 110.000 | 110.000 | 0.000 | 302.069 | 260.195 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 14:00:00 | 1951.43 | 1951.430 | 11.037 | 110.000 | 110.000 | 110.000 | 0.000 | 302.768 | 260.936 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 14:30:00 | 1966.738 | 1966.738 | 35.966 | 110.000 | 110.000 | 110.000 | 0.000 | 332.946 | 291.366 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 15:00:00 | 2060.579 | 2060.579 | 137.614 | 110.000 | 110.000 | 110.000 | 0.000 | 292.104 | 250.230 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 15:30:00 | 2245.368 | 2245.368 | 234.090 | 110.000 | 110.000 | 110.000 | 0.000 | 267.190 | 225.190 | 21.658 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 16:00:00 | 2444.205 | 2444.205 | 410.622 | 110.000 | 110.000 | 110.000 | 0.000 | 257.621 | 215.621 | 31.506 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 16:30:00 | 2620.676 | 2620.676 | 598.683 | 110.000 | 110.000 | 110.000 | 0.000 | 257.621 | 215.621 | 49.632 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 17:00:00 | 2784.863 | 2784.863 | 785.746 | 110.000 | 110.000 | 110.000 | 0.000 | 257.621 | 215.621 | 60.449 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 17:30:00 | 2892.881 | 2892.881 | 917.096 | 110.000 | 110.000 | 110.000 | 0.000 | 208.845 | 166.845 | 62.135 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 18:00:00 | 2918.662 | 2918.662 | 944.513 | 110.000 | 110.000 | 110.000 | 0.000 | 208.845 | 166.845 | 61.883 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 18:30:00 | 2876.834 | 2876.834 | 900.337 | 110.000 | 110.000 | 110.000 | 0.000 | 208.845 | 166.845 | 62.366 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 19:00:00 | 2815.5 | 2815.500 | 836.024 | 110.000 | 110.000 | 110.000 | 0.000 | 208.845 | 166.845 | 63.074 | 0.000 | 6433.120 | 0.000
[42 empty] | 05/08/2026 19:30:00 | 2759.762 | 2759.762 | 775.484 | 110.000 | 110.000 | 110.000 | 0.000 | 218.432 | 176.432 | 63.717 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 20:00:00 | 2677.108 | 2677.108 | 687.122 | 110.000 | 110.000 | 110.000 | 0.000 | 218.432 | 176.432 | 64.671 | 0.000 | 6904.310 | 0.000
[42 empty] | 05/08/2026 20:30:00 | 2566.706 | 2566.706 | 587.436 | 65.000 | 65.000 | 65.000 | 0.000 | 228.027 | 186.027 | 65.945 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 21:00:00 | 2436.63 | 2436.630 | 477.520 | 65.000 | 65.000 | 65.000 | 0.000 | 228.027 | 186.027 | 67.446 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 21:30:00 | 2300.689 | 2300.689 | 357.330 | 65.000 | 65.000 | 65.000 | 0.000 | 237.650 | 195.650 | 69.015 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 22:00:00 | 2176.318 | 2176.318 | 243.009 | 65.000 | 65.000 | 65.000 | 0.000 | 247.189 | 205.189 | 70.450 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 22:30:00 | 2075.218 | 2075.218 | 153.250 | 65.000 | 65.000 | 65.000 | 0.000 | 247.189 | 205.189 | 71.617 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 23:00:00 | 2004.143 | 2004.143 | 174.991 | 65.000 | 65.000 | 65.000 | 0.000 | 247.189 | 205.189 | 72.437 | 0.000 | 7010.000 | 0.000
[42 empty] | 05/08/2026 23:30:00 | 1945.838 | 1945.838 | 170.982 | 65.000 | 65.000 | 65.000 | 0.000 | 256.801 | 214.801 | 73.110 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 00:00:00 | 1902.159 | 1902.159 | 148.363 | 65.000 | 65.000 | 65.000 | 0.000 | 256.801 | 214.801 | 73.614 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 00:30:00 | 1870.117 | 1870.117 | 135.202 | 65.000 | 65.000 | 65.000 | 0.000 | 256.801 | 214.801 | 73.984 | 0.000 | 5904.310 | 0.000
[42 empty] | 06/08/2026 01:00:00 | 1849.145 | 1849.145 | 124.782 | 65.000 | 65.000 | 65.000 | 0.000 | 256.801 | 214.801 | 74.226 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 01:30:00 | 1835.076 | 1835.076 | 119.691 | 65.000 | 65.000 | 65.000 | 0.000 | 256.801 | 214.801 | 74.388 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 02:00:00 | 1825.521 | 1825.521 | 114.467 | 65.000 | 65.000 | 65.000 | 0.000 | 256.801 | 214.801 | 74.499 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 02:30:00 | 1825.237 | 1825.237 | 121.730 | 65.000 | 65.000 | 65.000 | 0.000 | 256.801 | 214.801 | 74.502 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 03:00:00 | 1835.444 | 1835.444 | 137.788 | 65.000 | 65.000 | 65.000 | 0.000 | 256.801 | 214.801 | 74.384 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 03:30:00 | 1857.97 | 1857.970 | 168.895 | 65.000 | 65.000 | 65.000 | 0.000 | 256.801 | 214.801 | 74.124 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 04:00:00 | 1908.265 | 1908.265 | 223.795 | 65.000 | 65.000 | 65.000 | 0.000 | 256.801 | 214.801 | 73.544 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 04:30:00 | 1996.922 | 1996.922 | 320.554 | 65.000 | 65.000 | 65.000 | 0.000 | 256.801 | 214.801 | 72.521 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 05:00:00 | 2125.737 | 2125.737 | 467.588 | 65.000 | 65.000 | 65.000 | 0.000 | 247.189 | 205.189 | 71.034 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 05:30:00 | 2306.942 | 2306.942 | 670.837 | 110.000 | 110.000 | 110.000 | 0.000 | 237.650 | 195.650 | 68.943 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 06:00:00 | 2515.542 | 2515.542 | 890.502 | 110.000 | 110.000 | 110.000 | 0.000 | 228.027 | 186.027 | 66.534 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 06:30:00 | 2679.789 | 2679.789 | 1064.676 | 110.000 | 110.000 | 110.000 | 0.000 | 218.432 | 176.432 | 64.515 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 07:00:00 | 2718.014 | 2718.014 | 1109.362 | 110.000 | 110.000 | 110.000 | 0.000 | 267.190 | 225.190 | 60.381 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 07:30:00 | 2577.604 | 2577.604 | 969.854 | 110.000 | 110.000 | 110.000 | 0.000 | 267.190 | 225.190 | 50.989 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer