## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 37 |  | 37 |  | 0 |  | 45 |  | 0 |  | 0
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 06/08/2026 08:00:00 | 2409.173 | 2409.173 | 460.661 | 110.000 | 110.000 | 110.000 | 0.000 | 234.746 | 192.746 | 19.203 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 08:30:00 | 2226.584 | 2226.584 | 422.747 | 110.000 | 110.000 | 110.000 | 0.000 | 276.746 | 234.746 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 09:00:00 | 2032.013 | 2032.013 | 270.732 | 110.000 | 110.000 | 110.000 | 0.000 | 302.015 | 260.141 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 09:30:00 | 1816.3 | 1816.300 | 69.221 | 110.000 | 110.000 | 110.000 | 0.000 | 330.236 | 288.530 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 10:00:00 | 1681.564 | 1681.564 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 316.348 | 163.814 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 10:30:00 | 1663.456 | 1663.456 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 312.255 | 89.860 | 0.852 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 11:00:00 | 1615.656 | 1615.656 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 220.225 | 56.933 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 11:30:00 | 1502.12 | 1502.120 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 248.150 | 18.428 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 13:30:00 | 1576.512 | 1576.512 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 247.186 | 17.464 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 14:00:00 | 1633.38 | 1633.380 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 243.129 | 13.407 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 14:30:00 | 1759.866 | 1759.866 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 223.751 | 95.551 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 15:00:00 | 1950.715 | 1950.715 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 292.341 | 245.733 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 15:30:00 | 2179.645 | 2179.645 | 104.314 | 110.000 | 110.000 | 110.000 | 0.000 | 302.015 | 260.141 | 0.000 | 0.000 | 6966.232 | 0.000
[42 empty] | 06/08/2026 16:00:00 | 2401.612 | 2401.612 | 414.888 | 110.000 | 110.000 | 110.000 | 0.000 | 257.567 | 215.567 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 16:30:00 | 2600.401 | 2600.401 | 695.976 | 110.000 | 110.000 | 110.000 | 0.000 | 257.567 | 215.567 | 10.830 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 17:00:00 | 2795.348 | 2795.348 | 901.943 | 110.000 | 110.000 | 110.000 | 0.000 | 257.567 | 215.567 | 21.319 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 17:30:00 | 2936.319 | 2936.319 | 1046.316 | 110.000 | 110.000 | 110.000 | 0.000 | 208.791 | 166.791 | 22.800 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 18:00:00 | 2968.829 | 2968.829 | 1080.217 | 110.000 | 110.000 | 110.000 | 0.000 | 208.791 | 166.791 | 22.473 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 18:30:00 | 2924.092 | 2924.092 | 1049.964 | 110.000 | 110.000 | 110.000 | 0.000 | 208.791 | 166.791 | 22.990 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 19:00:00 | 2864.734 | 2864.734 | 993.652 | 110.000 | 110.000 | 110.000 | 0.000 | 208.791 | 166.791 | 23.675 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 19:30:00 | 2800.108 | 2800.108 | 913.226 | 110.000 | 110.000 | 110.000 | 0.000 | 208.791 | 166.791 | 24.421 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 20:00:00 | 2706.769 | 2706.769 | 811.315 | 110.000 | 110.000 | 110.000 | 0.000 | 218.378 | 176.378 | 25.498 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 20:30:00 | 2585.093 | 2585.093 | 696.792 | 65.000 | 65.000 | 65.000 | 0.000 | 227.973 | 185.973 | 26.902 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 21:00:00 | 2446.3 | 2446.300 | 564.681 | 65.000 | 65.000 | 65.000 | 0.000 | 227.973 | 185.973 | 28.504 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 21:30:00 | 2310.179 | 2310.179 | 422.765 | 65.000 | 65.000 | 65.000 | 0.000 | 237.596 | 195.596 | 30.075 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 22:00:00 | 2184.228 | 2184.228 | 266.582 | 65.000 | 65.000 | 65.000 | 0.000 | 247.135 | 205.135 | 31.528 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 22:30:00 | 2081.514 | 2081.514 | 167.887 | 65.000 | 65.000 | 65.000 | 0.000 | 247.135 | 205.135 | 32.713 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 23:00:00 | 2007.177 | 2007.177 | 173.183 | 65.000 | 65.000 | 65.000 | 0.000 | 247.135 | 205.135 | 33.571 | 0.000 | 7010.000 | 0.000
[42 empty] | 06/08/2026 23:30:00 | 1941.52 | 1941.520 | 157.805 | 65.000 | 65.000 | 65.000 | 0.000 | 256.747 | 214.747 | 34.329 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 00:00:00 | 1885.724 | 1885.724 | 108.976 | 65.000 | 65.000 | 65.000 | 0.000 | 256.747 | 214.747 | 34.973 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 00:30:00 | 1852.816 | 1852.816 | 62.892 | 65.000 | 65.000 | 65.000 | 0.000 | 256.747 | 214.747 | 35.353 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 01:00:00 | 1831.23 | 1831.230 | 47.140 | 65.000 | 65.000 | 65.000 | 0.000 | 256.747 | 214.747 | 35.602 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 01:30:00 | 1816.75 | 1816.750 | 42.636 | 65.000 | 65.000 | 65.000 | 0.000 | 256.747 | 214.747 | 35.769 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 02:00:00 | 1808.386 | 1808.386 | 19.893 | 65.000 | 65.000 | 65.000 | 0.000 | 256.747 | 214.747 | 35.865 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 02:30:00 | 1806.875 | 1806.875 | 27.529 | 65.000 | 65.000 | 65.000 | 0.000 | 256.747 | 214.747 | 35.883 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 03:00:00 | 1813.298 | 1813.298 | 18.579 | 65.000 | 65.000 | 65.000 | 0.000 | 256.747 | 214.747 | 35.809 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 03:30:00 | 1834.093 | 1834.093 | 49.508 | 65.000 | 65.000 | 65.000 | 0.000 | 256.747 | 214.747 | 35.569 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 04:00:00 | 1879.916 | 1879.916 | 90.427 | 65.000 | 65.000 | 65.000 | 0.000 | 256.747 | 214.747 | 35.040 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 04:30:00 | 1964.857 | 1964.857 | 182.613 | 65.000 | 65.000 | 65.000 | 0.000 | 256.747 | 214.747 | 34.060 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 05:00:00 | 2090.271 | 2090.271 | 326.630 | 65.000 | 65.000 | 65.000 | 0.000 | 247.135 | 205.135 | 32.612 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 05:30:00 | 2268.791 | 2268.791 | 530.100 | 110.000 | 110.000 | 110.000 | 0.000 | 237.596 | 195.596 | 30.552 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 06:00:00 | 2474.421 | 2474.421 | 754.085 | 110.000 | 110.000 | 110.000 | 0.000 | 227.973 | 185.973 | 28.151 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 06:30:00 | 2632.026 | 2632.026 | 932.761 | 110.000 | 110.000 | 110.000 | 0.000 | 218.378 | 176.378 | 26.177 | 0.000 | 6966.232 | 0.000
[42 empty] | 07/08/2026 07:00:00 | 2679.385 | 2679.385 | 978.716 | 110.000 | 110.000 | 110.000 | 0.000 | 267.136 | 225.136 | 22.928 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 07:30:00 | 2567.421 | 2567.421 | 881.669 | 110.000 | 110.000 | 110.000 | 0.000 | 267.136 | 225.136 | 17.106 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer