## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 19 |  | 19 |  | 0 |  | 24 |  | 0 |  | 14
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 07/08/2026 08:00:00 | 2349.9 | 2349.900 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 225.257 | 53.276 | 16.120 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 15:30:00 | 2120.27 | 2120.270 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 294.170 | 116.014 | 12.536 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 16:00:00 | 2341.396 | 2341.396 | 138.371 | 110.000 | 110.000 | 110.000 | 0.000 | 257.661 | 215.661 | 26.352 | 0.000 | 7865.219 | 855.219
[42 empty] | 07/08/2026 16:30:00 | 2559.551 | 2559.551 | 409.708 | 110.000 | 110.000 | 110.000 | 0.000 | 267.216 | 225.216 | 30.652 | 0.000 | 7865.219 | 855.219
[42 empty] | 07/08/2026 17:00:00 | 2742.925 | 2742.925 | 682.671 | 110.000 | 110.000 | 110.000 | 0.000 | 267.216 | 225.216 | 42.843 | 0.000 | 7865.219 | 855.219
[42 empty] | 07/08/2026 17:30:00 | 2862.632 | 2862.632 | 854.258 | 110.000 | 110.000 | 110.000 | 0.000 | 208.842 | 166.842 | 52.114 | 0.000 | 7865.219 | 855.219
[42 empty] | 07/08/2026 18:00:00 | 2886.451 | 2886.451 | 884.058 | 110.000 | 110.000 | 110.000 | 0.000 | 208.842 | 166.842 | 54.805 | 0.000 | 7865.219 | 855.219
[42 empty] | 07/08/2026 18:30:00 | 2850.558 | 2850.558 | 840.070 | 110.000 | 110.000 | 110.000 | 0.000 | 208.842 | 166.842 | 52.991 | 0.000 | 7865.219 | 855.219
[42 empty] | 07/08/2026 19:00:00 | 2807.615 | 2807.615 | 812.149 | 110.000 | 110.000 | 110.000 | 0.000 | 208.842 | 166.842 | 50.918 | 0.000 | 7865.219 | 855.219
[42 empty] | 07/08/2026 19:30:00 | 2753.546 | 2753.546 | 773.275 | 110.000 | 110.000 | 110.000 | 0.000 | 218.470 | 176.470 | 51.370 | 0.000 | 7865.219 | 855.219
[42 empty] | 07/08/2026 20:00:00 | 2676.21 | 2676.210 | 699.280 | 110.000 | 110.000 | 110.000 | 0.000 | 218.470 | 176.470 | 53.461 | 0.000 | 7865.219 | 855.219
[42 empty] | 07/08/2026 20:30:00 | 2574.075 | 2574.075 | 577.710 | 65.000 | 65.000 | 65.000 | 0.000 | 228.024 | 186.024 | 29.324 | 0.000 | 7865.219 | 855.219
[42 empty] | 07/08/2026 21:00:00 | 2454.747 | 2454.747 | 453.507 | 65.000 | 65.000 | 65.000 | 0.000 | 228.024 | 186.024 | 36.943 | 0.000 | 7865.219 | 855.219
[42 empty] | 07/08/2026 21:30:00 | 2330.13 | 2330.130 | 317.130 | 65.000 | 65.000 | 65.000 | 0.000 | 237.647 | 195.647 | 41.163 | 0.000 | 7865.219 | 855.219
[42 empty] | 07/08/2026 22:00:00 | 2211.833 | 2211.833 | 179.692 | 65.000 | 65.000 | 65.000 | 0.000 | 237.647 | 195.647 | 40.797 | 0.000 | 7865.219 | 855.219
[42 empty] | 07/08/2026 22:30:00 | 2108.281 | 2108.281 | 69.476 | 65.000 | 65.000 | 65.000 | 0.000 | 247.212 | 205.212 | 39.735 | 0.000 | 7865.219 | 855.219
[42 empty] | 07/08/2026 23:00:00 | 2026.643 | 2026.643 | 49.371 | 65.000 | 65.000 | 65.000 | 0.000 | 247.243 | 205.243 | 46.915 | 0.000 | 7010.000 | 0.000
[42 empty] | 07/08/2026 23:30:00 | 1956.692 | 1956.692 | 9.788 | 65.000 | 65.000 | 65.000 | 0.000 | 256.832 | 214.832 | 47.093 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/08/2026 00:00:00 | 1901.161 | 1901.161 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.832 | 147.347 | 96.184 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/08/2026 00:30:00 | 1860.651 | 1860.651 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 256.832 | 55.653 | 147.436 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/08/2026 06:00:00 | 2065.337 | 2065.337 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 247.243 | 162.152 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/08/2026 06:30:00 | 2150.537 | 2150.537 | 84.493 | 110.000 | 110.000 | 110.000 | 0.000 | 247.243 | 205.243 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/08/2026 07:00:00 | 2195.611 | 2195.611 | 186.619 | 110.000 | 110.000 | 110.000 | 0.000 | 286.399 | 244.399 | 54.993 | 0.000 | 6337.062 | 0.000
[42 empty] | 08/08/2026 07:30:00 | 2166.843 | 2166.843 | 221.961 | 110.000 | 110.000 | 110.000 | 0.000 | 286.399 | 244.399 | 62.700 | 0.000 | 6837.062 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer