## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 36 |  | 36 |  | 0 |  | 39 |  | 0 |  | 14
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 05/08/2026 19:30:00 | 2790.743 | 2790.743 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 210.178 | 68.832 | 121.260 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/08/2026 08:00:00 | 2117.785 | 2117.785 | 37.510 | 110.000 | 110.000 | 110.000 | 0.000 | 244.326 | 202.326 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/08/2026 08:30:00 | 2051.709 | 2051.709 | 55.850 | 110.000 | 110.000 | 110.000 | 0.000 | 295.915 | 253.915 | 13.454 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/08/2026 09:00:00 | 1945.211 | 1945.211 | 36.041 | 110.000 | 110.000 | 110.000 | 0.000 | 286.360 | 244.360 | 26.918 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/08/2026 09:30:00 | 1788.533 | 1788.533 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 286.360 | 107.767 | 122.082 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/08/2026 15:00:00 | 1743.21 | 1743.210 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 332.996 | 11.044 | 68.895 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/08/2026 15:30:00 | 2007.524 | 2007.524 | 6.986 | 110.000 | 110.000 | 110.000 | 0.000 | 276.788 | 234.788 | 14.281 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/08/2026 16:00:00 | 2267.948 | 2267.948 | 286.103 | 110.000 | 110.000 | 110.000 | 0.000 | 267.207 | 225.207 | 15.581 | 0.000 | 7572.664 | 562.664
[42 empty] | 08/08/2026 16:30:00 | 2473.489 | 2473.489 | 625.226 | 110.000 | 110.000 | 110.000 | 0.000 | 267.207 | 225.207 | 71.598 | 0.000 | 7572.664 | 562.664
[42 empty] | 08/08/2026 17:00:00 | 2660.453 | 2660.453 | 889.412 | 110.000 | 110.000 | 110.000 | 0.000 | 267.207 | 225.207 | 132.553 | 0.000 | 7572.664 | 562.664
[42 empty] | 08/08/2026 17:30:00 | 2791.95 | 2791.950 | 1006.769 | 110.000 | 110.000 | 110.000 | 0.000 | 208.833 | 166.833 | 98.992 | 0.000 | 7572.664 | 562.664
[42 empty] | 08/08/2026 18:00:00 | 2817.497 | 2817.497 | 999.709 | 110.000 | 110.000 | 110.000 | 0.000 | 208.833 | 166.833 | 60.000 | 0.000 | 7572.664 | 562.664
[42 empty] | 08/08/2026 18:30:00 | 2788.427 | 2788.427 | 981.091 | 110.000 | 110.000 | 110.000 | 0.000 | 218.461 | 176.461 | 60.000 | 0.000 | 7572.664 | 562.664
[42 empty] | 08/08/2026 19:00:00 | 2756.219 | 2756.219 | 972.011 | 110.000 | 110.000 | 110.000 | 0.000 | 218.461 | 176.461 | 70.133 | 0.000 | 7572.664 | 562.664
[42 empty] | 08/08/2026 19:30:00 | 2707.281 | 2707.281 | 924.667 | 110.000 | 110.000 | 110.000 | 0.000 | 218.461 | 176.461 | 84.057 | 0.000 | 7572.664 | 562.664
[42 empty] | 08/08/2026 20:00:00 | 2636.605 | 2636.605 | 831.828 | 110.000 | 110.000 | 110.000 | 0.000 | 218.461 | 176.461 | 82.551 | 0.000 | 7572.664 | 562.664
[42 empty] | 08/08/2026 20:30:00 | 2548.905 | 2548.905 | 732.281 | 65.000 | 65.000 | 65.000 | 0.000 | 228.015 | 186.015 | 75.721 | 0.000 | 7572.664 | 562.664
[42 empty] | 08/08/2026 21:00:00 | 2445.485 | 2445.485 | 632.593 | 65.000 | 65.000 | 65.000 | 0.000 | 228.015 | 186.015 | 74.156 | 0.000 | 7572.664 | 562.664
[42 empty] | 08/08/2026 21:30:00 | 2325.292 | 2325.292 | 508.777 | 65.000 | 65.000 | 65.000 | 0.000 | 237.638 | 195.638 | 78.086 | 0.000 | 7572.664 | 562.664
[42 empty] | 08/08/2026 22:00:00 | 2208.313 | 2208.313 | 385.295 | 65.000 | 65.000 | 65.000 | 0.000 | 237.638 | 195.638 | 82.085 | 0.000 | 7572.664 | 562.664
[42 empty] | 08/08/2026 22:30:00 | 2107.153 | 2107.153 | 276.069 | 65.000 | 65.000 | 65.000 | 0.000 | 247.203 | 205.203 | 83.307 | 0.000 | 7572.664 | 562.664
[42 empty] | 08/08/2026 23:00:00 | 2030.092 | 2030.092 | 262.073 | 65.000 | 65.000 | 65.000 | 0.000 | 247.203 | 205.203 | 82.899 | 0.000 | 7010.000 | 0.000
[42 empty] | 08/08/2026 23:30:00 | 1967.475 | 1967.475 | 228.786 | 65.000 | 65.000 | 65.000 | 0.000 | 256.789 | 214.789 | 82.943 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/08/2026 00:00:00 | 1917.32 | 1917.320 | 175.115 | 65.000 | 65.000 | 65.000 | 0.000 | 256.789 | 214.789 | 83.834 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/08/2026 00:30:00 | 1878.437 | 1878.437 | 141.543 | 65.000 | 65.000 | 65.000 | 0.000 | 256.789 | 214.789 | 84.777 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/08/2026 01:00:00 | 1850.65 | 1850.650 | 120.551 | 65.000 | 65.000 | 65.000 | 0.000 | 256.789 | 214.789 | 85.188 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/08/2026 01:30:00 | 1831.792 | 1831.792 | 103.088 | 65.000 | 65.000 | 65.000 | 0.000 | 256.789 | 214.789 | 85.206 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/08/2026 02:00:00 | 1820.172 | 1820.172 | 87.267 | 65.000 | 65.000 | 65.000 | 0.000 | 256.789 | 214.789 | 85.192 | 0.000 | 6793.854 | 0.000
[42 empty] | 09/08/2026 02:30:00 | 1810.768 | 1810.768 | 71.345 | 65.000 | 65.000 | 65.000 | 0.000 | 256.789 | 214.789 | 85.329 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/08/2026 03:00:00 | 1810.542 | 1810.542 | 66.279 | 65.000 | 65.000 | 65.000 | 0.000 | 256.789 | 214.789 | 85.420 | 0.000 | 6793.854 | 0.000
[42 empty] | 09/08/2026 03:30:00 | 1819.932 | 1819.932 | 74.389 | 65.000 | 65.000 | 65.000 | 0.000 | 256.789 | 214.789 | 85.340 | 0.000 | 6793.854 | 0.000
[42 empty] | 09/08/2026 04:00:00 | 1840.861 | 1840.861 | 93.976 | 65.000 | 65.000 | 65.000 | 0.000 | 256.789 | 214.789 | 85.070 | 0.000 | 6793.854 | 0.000
[42 empty] | 09/08/2026 04:30:00 | 1880.793 | 1880.793 | 126.039 | 65.000 | 65.000 | 65.000 | 0.000 | 256.789 | 214.789 | 84.578 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/08/2026 05:00:00 | 1928.182 | 1928.182 | 171.143 | 65.000 | 65.000 | 65.000 | 0.000 | 256.789 | 214.789 | 84.031 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/08/2026 05:30:00 | 1997.786 | 1997.786 | 242.769 | 110.000 | 110.000 | 110.000 | 0.000 | 256.789 | 214.789 | 83.243 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/08/2026 06:00:00 | 2107.402 | 2107.402 | 346.906 | 110.000 | 110.000 | 110.000 | 0.000 | 247.203 | 205.203 | 81.973 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/08/2026 06:30:00 | 2199.653 | 2199.653 | 429.735 | 110.000 | 110.000 | 110.000 | 0.000 | 237.638 | 195.638 | 80.809 | 0.000 | 7010.000 | 0.000
[42 empty] | 09/08/2026 07:00:00 | 2254.771 | 2254.771 | 474.820 | 110.000 | 110.000 | 110.000 | 0.000 | 286.360 | 244.360 | 78.741 | 0.000 | 6793.854 | 0.000
[42 empty] | 09/08/2026 07:30:00 | 2232.804 | 2232.804 | 447.911 | 110.000 | 110.000 | 110.000 | 0.000 | 286.360 | 244.360 | 75.416 | 0.000 | 6793.854 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer