## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 55 |  | 59 |  | 0 |  | 65 |  | 0 |  | 7
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 05/08/2026 08:00:00 | 2302.509 | 2302.509 | 8.238 | 110.000 | 110.000 | 110.000 | 0.000 | 267.172 | 267.172 | 36.338 | 0.000 | 8231.900 | 0.000
[42 empty] | 05/08/2026 08:30:00 | 2120.754 | 2120.754 | 0.000 | 110.000 | 13.779 | 110.000 | 0.000 | 276.691 | 276.691 | 119.963 | 0.000 | 8231.900 | 0.000
[42 empty] | 05/08/2026 09:00:00 | 1934.232 | 1934.232 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 302.066 | 252.091 | 123.232 | 0.000 | 8231.900 | 0.000
[42 empty] | 05/08/2026 17:30:00 | 2908.12 | 2908.120 | 0.000 | 110.000 | 29.253 | 110.000 | 0.000 | 208.733 | 208.733 | 227.665 | 0.000 | 13173.285 | 0.000
[42 empty] | 05/08/2026 19:30:00 | 2784.828 | 2784.828 | 0.000 | 110.000 | 41.493 | 110.000 | 0.000 | 208.733 | 208.733 | 57.697 | 0.000 | 13173.285 | 0.000
[42 empty] | 05/08/2026 20:00:00 | 2691.707 | 2691.707 | 134.176 | 110.000 | 110.000 | 110.000 | 0.000 | 218.301 | 218.301 | 108.616 | 0.000 | 13173.285 | 0.000
[42 empty] | 05/08/2026 20:30:00 | 2577.668 | 2577.668 | 9.840 | 65.000 | 65.000 | 65.000 | 0.000 | 218.301 | 218.301 | 97.619 | 0.000 | 13173.285 | 0.000
[42 empty] | 06/08/2026 06:30:00 | 2710.17 | 2710.170 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 199.164 | 59.407 | 287.782 | 0.000 | 12923.285 | 0.000
[42 empty] | 07/08/2026 17:30:00 | 2850.485 | 2850.485 | 84.196 | 110.000 | 110.000 | 110.000 | 0.000 | 209.291 | 209.291 | 95.104 | 0.000 | 6704.056 | 771.056
[42 empty] | 07/08/2026 18:00:00 | 2871.185 | 2871.185 | 113.495 | 110.000 | 110.000 | 110.000 | 0.000 | 209.291 | 209.291 | 13.439 | 0.000 | 6704.056 | 771.056
[42 empty] | 07/08/2026 18:30:00 | 2833.891 | 2833.891 | 90.308 | 110.000 | 110.000 | 110.000 | 0.000 | 209.291 | 209.291 | 104.943 | 0.000 | 6704.056 | 771.056
[42 empty] | 07/08/2026 19:00:00 | 2790.529 | 2790.529 | 86.867 | 110.000 | 110.000 | 110.000 | 0.000 | 209.291 | 209.291 | 109.684 | 0.000 | 6704.056 | 771.056
[42 empty] | 07/08/2026 19:30:00 | 2735.536 | 2735.536 | 65.999 | 110.000 | 110.000 | 110.000 | 0.000 | 218.881 | 218.881 | 65.953 | 0.000 | 6704.056 | 771.056
[42 empty] | 07/08/2026 20:00:00 | 2658.173 | 2658.173 | 198.164 | 110.000 | 110.000 | 110.000 | 0.000 | 218.881 | 218.881 | 48.019 | 0.000 | 6704.056 | 771.056
[42 empty] | 07/08/2026 20:30:00 | 2557.777 | 2557.777 | 164.148 | 65.000 | 65.000 | 65.000 | 0.000 | 228.473 | 228.473 | 87.589 | 0.000 | 6704.056 | 771.056
[42 empty] | 07/08/2026 21:00:00 | 2439.413 | 2439.413 | 0.000 | 65.000 | 6.731 | 65.000 | 0.000 | 228.486 | 228.486 | 69.167 | 0.000 | 5933.000 | 0.000
[42 empty] | 09/08/2026 08:00:00 | 2048.802 | 2048.802 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 267.665 | 253.588 | 52.090 | 0.000 | 5933.000 | 0.000
[42 empty] | 10/08/2026 08:00:00 | 2667.654 | 2667.654 | 382.227 | 110.000 | 110.000 | 110.000 | 0.000 | 215.666 | 215.666 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 08:30:00 | 2587.069 | 2587.069 | 477.618 | 110.000 | 110.000 | 110.000 | 0.000 | 267.216 | 267.216 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 09:00:00 | 2453.931 | 2453.931 | 498.120 | 110.000 | 110.000 | 110.000 | 0.000 | 267.216 | 267.216 | 53.760 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 09:30:00 | 2233.486 | 2233.486 | 316.675 | 110.000 | 110.000 | 110.000 | 0.000 | 294.170 | 294.170 | 41.016 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 10:00:00 | 2028.338 | 2028.338 | 79.878 | 110.000 | 110.000 | 110.000 | 0.000 | 294.908 | 294.908 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 10:30:00 | 1913.93 | 1913.930 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 327.765 | 264.908 | 21.753 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 11:00:00 | 1885.507 | 1885.507 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 302.066 | 214.353 | 44.527 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 11:30:00 | 1928.879 | 1928.879 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 286.311 | 236.160 | 30.270 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 12:00:00 | 1981.75 | 1981.750 | 5.847 | 110.000 | 110.000 | 110.000 | 0.000 | 286.311 | 286.311 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 12:30:00 | 1972.434 | 1972.434 | 8.871 | 110.000 | 110.000 | 110.000 | 0.000 | 295.814 | 295.814 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 13:00:00 | 1973.22 | 1973.220 | 43.459 | 110.000 | 110.000 | 110.000 | 0.000 | 286.311 | 286.311 | 21.877 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 13:30:00 | 2011.213 | 2011.213 | 92.573 | 110.000 | 110.000 | 110.000 | 0.000 | 276.777 | 276.777 | 19.539 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 14:00:00 | 2052.748 | 2052.748 | 123.284 | 110.000 | 110.000 | 110.000 | 0.000 | 306.804 | 306.804 | 3.797 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 14:30:00 | 2118.054 | 2118.054 | 189.758 | 110.000 | 110.000 | 110.000 | 0.000 | 302.066 | 302.066 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 15:00:00 | 2238.172 | 2238.172 | 322.835 | 110.000 | 110.000 | 110.000 | 0.000 | 267.216 | 267.216 | 11.126 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 15:30:00 | 2377.087 | 2377.087 | 399.246 | 110.000 | 110.000 | 110.000 | 0.000 | 257.618 | 257.618 | 35.394 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 16:00:00 | 2569.282 | 2569.282 | 580.138 | 110.000 | 110.000 | 110.000 | 0.000 | 248.037 | 248.037 | 46.634 | 0.000 | 6704.056 | 0.000
[42 empty] | 10/08/2026 16:30:00 | 2781.606 | 2781.606 | 804.712 | 110.000 | 110.000 | 110.000 | 0.000 | 248.037 | 248.037 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 17:00:00 | 2995.47 | 2995.470 | 1048.925 | 110.000 | 110.000 | 110.000 | 0.000 | 248.037 | 248.037 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 17:30:00 | 3134.923 | 3134.923 | 1221.817 | 110.000 | 110.000 | 110.000 | 0.000 | 199.244 | 199.244 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 18:00:00 | 3172.707 | 3172.707 | 1274.148 | 110.000 | 110.000 | 110.000 | 0.000 | 199.244 | 199.244 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 18:30:00 | 3142.824 | 3142.824 | 1240.056 | 110.000 | 110.000 | 110.000 | 0.000 | 199.244 | 199.244 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 19:00:00 | 3098.258 | 3098.258 | 1190.868 | 110.000 | 110.000 | 110.000 | 0.000 | 199.244 | 199.244 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 19:30:00 | 3032.025 | 3032.025 | 1141.480 | 110.000 | 110.000 | 110.000 | 0.000 | 199.244 | 199.244 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 20:00:00 | 2937.723 | 2937.723 | 1053.071 | 110.000 | 110.000 | 110.000 | 0.000 | 208.842 | 208.842 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 20:30:00 | 2807.29 | 2807.290 | 920.106 | 65.000 | 65.000 | 65.000 | 0.000 | 208.842 | 208.842 | 58.460 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 21:00:00 | 2652.185 | 2652.185 | 760.700 | 65.000 | 65.000 | 65.000 | 0.000 | 218.431 | 218.431 | 61.566 | 0.000 | 6923.285 | 0.000
[42 empty] | 10/08/2026 21:30:00 | 2486.845 | 2486.845 | 585.375 | 65.000 | 65.000 | 65.000 | 0.000 | 228.024 | 228.024 | 63.817 | 0.000 | 6704.056 | 0.000
[42 empty] | 10/08/2026 22:00:00 | 2336.503 | 2336.503 | 418.296 | 65.000 | 65.000 | 65.000 | 0.000 | 237.647 | 237.647 | 65.066 | 0.000 | 6704.056 | 0.000
[42 empty] | 10/08/2026 22:30:00 | 2215.267 | 2215.267 | 274.809 | 65.000 | 65.000 | 65.000 | 0.000 | 237.647 | 237.647 | 66.049 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 23:00:00 | 2126.668 | 2126.668 | 239.347 | 65.000 | 65.000 | 65.000 | 0.000 | 247.192 | 247.192 | 67.108 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 23:30:00 | 2056.577 | 2056.577 | 182.700 | 65.000 | 65.000 | 65.000 | 0.000 | 247.192 | 247.192 | 68.143 | 0.000 | 6923.285 | 0.000
[42 empty] | 11/08/2026 00:00:00 | 2003.283 | 2003.283 | 115.577 | 65.000 | 65.000 | 65.000 | 0.000 | 247.192 | 247.192 | 68.854 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 00:30:00 | 1963.704 | 1963.704 | 67.888 | 65.000 | 65.000 | 65.000 | 0.000 | 256.798 | 256.798 | 69.243 | 0.000 | 6673.285 | 0.000
[42 empty] | 11/08/2026 01:00:00 | 1939.629 | 1939.629 | 36.114 | 65.000 | 65.000 | 65.000 | 0.000 | 256.798 | 256.798 | 69.440 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 01:30:00 | 1927.987 | 1927.987 | 16.390 | 65.000 | 65.000 | 65.000 | 0.000 | 256.798 | 256.798 | 69.567 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 02:00:00 | 1920.812 | 1920.812 | 12.717 | 65.000 | 65.000 | 65.000 | 0.000 | 256.798 | 256.798 | 69.686 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 02:30:00 | 1920.715 | 1920.715 | 24.365 | 65.000 | 65.000 | 65.000 | 0.000 | 256.798 | 256.798 | 69.711 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 03:00:00 | 1932.595 | 1932.595 | 45.193 | 65.000 | 65.000 | 65.000 | 0.000 | 256.798 | 256.798 | 69.568 | 0.000 | 6923.285 | 0.000
[42 empty] | 11/08/2026 03:30:00 | 1959.568 | 1959.568 | 86.541 | 65.000 | 65.000 | 65.000 | 0.000 | 256.798 | 256.798 | 69.242 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 04:00:00 | 2018.393 | 2018.393 | 159.964 | 65.000 | 65.000 | 65.000 | 0.000 | 247.192 | 247.192 | 68.557 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 04:30:00 | 2122.157 | 2122.157 | 272.672 | 65.000 | 65.000 | 65.000 | 0.000 | 247.192 | 247.192 | 67.365 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 05:00:00 | 2275.995 | 2275.995 | 438.030 | 65.000 | 65.000 | 65.000 | 0.000 | 237.647 | 237.647 | 65.595 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 05:30:00 | 2494.504 | 2494.504 | 667.077 | 110.000 | 110.000 | 110.000 | 0.000 | 228.024 | 228.024 | 63.073 | 0.000 | 6673.285 | 0.000
[42 empty] | 11/08/2026 06:00:00 | 2743.889 | 2743.889 | 920.349 | 110.000 | 110.000 | 110.000 | 0.000 | 218.431 | 218.431 | 60.159 | 0.000 | 6923.285 | 0.000
[42 empty] | 11/08/2026 06:30:00 | 2936.962 | 2936.962 | 1122.960 | 110.000 | 110.000 | 110.000 | 0.000 | 208.842 | 208.842 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 07:00:00 | 2983.318 | 2983.318 | 1181.763 | 110.000 | 110.000 | 110.000 | 0.000 | 248.037 | 248.037 | 60.000 | 0.000 | 6423.285 | 0.000
[42 empty] | 11/08/2026 07:30:00 | 2829.4 | 2829.400 | 1082.998 | 110.000 | 110.000 | 110.000 | 0.000 | 248.037 | 248.037 | 60.000 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer