## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 50 |  | 51 |  | 0 |  | 61 |  | 0 |  | 4
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 07/08/2026 17:00:00 | 2717.146 | 2717.146 | 0.000 | 110.000 | 79.641 | 110.000 | 0.000 | 267.084 | 267.084 | 43.234 | 0.000 | 9040.228 | 0.000
[42 empty] | 07/08/2026 17:30:00 | 2824.654 | 2824.654 | 369.668 | 110.000 | 110.000 | 110.000 | 0.000 | 208.814 | 208.814 | 47.211 | 0.000 | 9219.900 | 0.000
[42 empty] | 07/08/2026 18:00:00 | 2846.0 | 2846.000 | 221.257 | 110.000 | 110.000 | 110.000 | 0.000 | 208.814 | 208.814 | 48.081 | 0.000 | 9040.228 | 0.000
[42 empty] | 07/08/2026 18:30:00 | 2812.329 | 2812.329 | 289.417 | 110.000 | 110.000 | 110.000 | 0.000 | 208.814 | 208.814 | 48.033 | 0.000 | 9219.900 | 0.000
[42 empty] | 07/08/2026 19:00:00 | 2769.115 | 2769.115 | 264.308 | 110.000 | 110.000 | 110.000 | 0.000 | 218.402 | 218.402 | 52.121 | 0.000 | 9040.228 | 0.000
[42 empty] | 07/08/2026 19:30:00 | 2714.007 | 2714.007 | 157.874 | 110.000 | 110.000 | 110.000 | 0.000 | 218.402 | 218.402 | 48.260 | 0.000 | 9040.228 | 0.000
[42 empty] | 07/08/2026 20:00:00 | 2637.656 | 2637.656 | 12.670 | 110.000 | 110.000 | 110.000 | 0.000 | 219.076 | 219.076 | 49.438 | 0.000 | 6569.038 | 636.038
[42 empty] | 08/08/2026 17:30:00 | 3030.245 | 3030.245 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 199.888 | 14.053 | 140.239 | 0.000 | 5933.000 | 0.000
[42 empty] | 08/08/2026 19:30:00 | 2933.923 | 2933.923 | 63.697 | 110.000 | 110.000 | 110.000 | 0.000 | 209.486 | 209.486 | 39.343 | 0.000 | 6569.038 | 636.038
[42 empty] | 08/08/2026 20:00:00 | 2848.14 | 2848.140 | 275.049 | 110.000 | 110.000 | 110.000 | 0.000 | 209.486 | 209.486 | 129.445 | 0.000 | 6569.038 | 636.038
[42 empty] | 08/08/2026 20:30:00 | 2741.557 | 2741.557 | 177.966 | 65.000 | 65.000 | 65.000 | 0.000 | 209.486 | 209.486 | 82.342 | 0.000 | 6569.038 | 636.038
[42 empty] | 08/08/2026 21:00:00 | 2617.306 | 2617.306 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 219.114 | 191.406 | 71.138 | 0.000 | 5933.000 | 0.000
[42 empty] | 08/08/2026 21:30:00 | 2472.195 | 2472.195 | 0.000 | 65.000 | 0.000 | 65.000 | 0.000 | 228.681 | 94.339 | 54.990 | 0.000 | 5933.000 | 0.000
[42 empty] | 10/08/2026 07:00:00 | 2928.648 | 2928.648 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 258.997 | 150.524 | 57.768 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 07:30:00 | 2893.35 | 2893.350 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 258.997 | 144.484 | 62.853 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 08:00:00 | 2803.572 | 2803.572 | 293.880 | 110.000 | 110.000 | 110.000 | 0.000 | 258.262 | 258.262 | 56.047 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 08:30:00 | 2698.165 | 2698.165 | 106.906 | 110.000 | 110.000 | 110.000 | 0.000 | 267.860 | 267.860 | 43.567 | 0.000 | 7010.000 | 0.000
[42 empty] | 10/08/2026 09:00:00 | 2575.98 | 2575.980 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 267.860 | 254.099 | 6.865 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 08:00:00 | 2660.505 | 2660.505 | 586.300 | 110.000 | 110.000 | 110.000 | 0.000 | 215.770 | 215.770 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 08:30:00 | 2503.465 | 2503.465 | 631.982 | 110.000 | 110.000 | 110.000 | 0.000 | 257.603 | 257.603 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 09:00:00 | 2323.436 | 2323.436 | 524.241 | 110.000 | 110.000 | 110.000 | 0.000 | 257.603 | 257.603 | 8.561 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 09:30:00 | 2126.652 | 2126.652 | 348.867 | 110.000 | 110.000 | 110.000 | 0.000 | 294.155 | 294.155 | 12.563 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 10:00:00 | 1930.628 | 1930.628 | 123.712 | 110.000 | 110.000 | 110.000 | 0.000 | 305.681 | 305.681 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 10:30:00 | 1752.068 | 1752.068 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 353.317 | 240.815 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 11:00:00 | 1688.795 | 1688.795 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 320.361 | 81.129 | 86.503 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 11:30:00 | 1748.378 | 1748.378 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 306.789 | 49.723 | 43.358 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 14:30:00 | 1917.044 | 1917.044 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 303.129 | 196.464 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 15:00:00 | 2097.619 | 2097.619 | 174.199 | 110.000 | 110.000 | 110.000 | 0.000 | 294.155 | 294.155 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 15:30:00 | 2277.742 | 2277.742 | 378.182 | 110.000 | 110.000 | 110.000 | 0.000 | 285.732 | 285.732 | 0.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 16:00:00 | 2499.364 | 2499.364 | 642.137 | 110.000 | 110.000 | 110.000 | 0.000 | 285.732 | 285.732 | 60.319 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 16:30:00 | 2756.126 | 2756.126 | 898.595 | 110.000 | 110.000 | 110.000 | 0.000 | 248.022 | 248.022 | 62.310 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 17:00:00 | 2992.753 | 2992.753 | 1129.228 | 110.000 | 110.000 | 110.000 | 0.000 | 248.022 | 248.022 | 59.590 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 17:30:00 | 3155.546 | 3155.546 | 1308.800 | 110.000 | 110.000 | 110.000 | 0.000 | 199.229 | 199.229 | 42.782 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 18:00:00 | 3209.021 | 3209.021 | 1374.144 | 110.000 | 110.000 | 110.000 | 0.000 | 198.767 | 198.767 | 52.932 | 0.000 | 6569.038 | 0.000
[42 empty] | 11/08/2026 18:30:00 | 3174.673 | 3174.673 | 1328.629 | 110.000 | 110.000 | 110.000 | 0.000 | 199.229 | 199.229 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 19:00:00 | 3115.72 | 3115.720 | 1249.401 | 110.000 | 110.000 | 110.000 | 0.000 | 199.229 | 199.229 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 19:30:00 | 3047.561 | 3047.561 | 1154.818 | 110.000 | 110.000 | 110.000 | 0.000 | 199.229 | 199.229 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 20:00:00 | 2952.15 | 2952.150 | 1040.732 | 110.000 | 110.000 | 110.000 | 0.000 | 208.827 | 208.827 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 20:30:00 | 2825.286 | 2825.286 | 921.562 | 65.000 | 65.000 | 65.000 | 0.000 | 208.827 | 208.827 | 39.782 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 21:00:00 | 2669.531 | 2669.531 | 780.379 | 65.000 | 65.000 | 65.000 | 0.000 | 218.416 | 218.416 | 48.459 | 0.000 | 6790.228 | 0.000
[42 empty] | 11/08/2026 21:30:00 | 2506.135 | 2506.135 | 624.739 | 65.000 | 65.000 | 65.000 | 0.000 | 228.009 | 228.009 | 54.473 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 22:00:00 | 2354.809 | 2354.809 | 475.976 | 65.000 | 65.000 | 65.000 | 0.000 | 237.632 | 237.632 | 54.844 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 22:30:00 | 2235.625 | 2235.625 | 361.051 | 65.000 | 65.000 | 65.000 | 0.000 | 237.632 | 237.632 | 53.469 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 23:00:00 | 2150.211 | 2150.211 | 354.276 | 65.000 | 65.000 | 65.000 | 0.000 | 247.177 | 247.177 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 23:30:00 | 2083.332 | 2083.332 | 330.882 | 65.000 | 65.000 | 65.000 | 0.000 | 247.177 | 247.177 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 00:00:00 | 2029.867 | 2029.867 | 287.011 | 65.000 | 65.000 | 65.000 | 0.000 | 247.177 | 247.177 | 54.770 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 00:30:00 | 1990.39 | 1990.390 | 252.481 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 256.783 | 57.056 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 01:00:00 | 1964.874 | 1964.874 | 227.244 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 256.783 | 58.195 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 01:30:00 | 1952.989 | 1952.989 | 208.983 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 256.783 | 57.838 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 02:00:00 | 1933.166 | 1933.166 | 192.011 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 256.783 | 57.399 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 02:30:00 | 1914.853 | 1914.853 | 178.694 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 256.783 | 57.525 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 03:00:00 | 1924.852 | 1924.852 | 192.812 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 256.783 | 57.700 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 03:30:00 | 1952.316 | 1952.316 | 223.324 | 65.000 | 65.000 | 65.000 | 0.000 | 256.783 | 256.783 | 57.571 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 04:00:00 | 2010.508 | 2010.508 | 282.972 | 65.000 | 65.000 | 65.000 | 0.000 | 247.177 | 247.177 | 56.847 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 04:30:00 | 2111.339 | 2111.339 | 382.632 | 65.000 | 65.000 | 65.000 | 0.000 | 247.177 | 247.177 | 55.564 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 05:00:00 | 2271.136 | 2271.136 | 538.564 | 65.000 | 65.000 | 65.000 | 0.000 | 237.632 | 237.632 | 53.686 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 05:30:00 | 2498.08 | 2498.080 | 760.078 | 110.000 | 110.000 | 110.000 | 0.000 | 228.009 | 228.009 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 06:00:00 | 2744.917 | 2744.917 | 998.767 | 110.000 | 110.000 | 110.000 | 0.000 | 218.416 | 218.416 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 06:30:00 | 2922.224 | 2922.224 | 1169.438 | 110.000 | 110.000 | 110.000 | 0.000 | 208.827 | 208.827 | 60.000 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 07:00:00 | 2926.19 | 2926.190 | 1166.046 | 110.000 | 110.000 | 110.000 | 0.000 | 248.022 | 248.022 | 59.071 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 07:30:00 | 2724.439 | 2724.439 | 939.770 | 110.000 | 110.000 | 110.000 | 0.000 | 248.022 | 248.022 | 45.637 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer