## XL
Scenario Heading Definitions
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity / High / Reference Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Intervals where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Intervals where the forecast procured Regulation Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Regulation Lower Shortage : |  | Dispatch Intervals where the forecast procured Regulation Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Raise Shortage : |  | Dispatch Intervals where the forecast procured Contingency Raise is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Contingency Lower Shortage : |  | Dispatch Intervals where the forecast procured Contingency Lower is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
RoCoF Shortage : |  | Dispatch Intervals where the forecast available RoCoF is unable to meet the forecast ESS requirement from the WEMDE Week-Ahead Schedule
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
High Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Low Demand Scenario |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Reference Scenario |  | 38 |  | 40 |  | 0 |  | 44 |  | 0 |  | 0
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low | [13 empty] | Reference
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall
[42 empty] | 11/08/2026 07:00:00 | 2949.43 | 2949.430 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 248.681 | 129.528 | 84.286 | 0.000 | 7010.000 | 0.000
[42 empty] | 11/08/2026 07:30:00 | 2762.944 | 2762.944 | 0.000 | 110.000 | 58.893 | 110.000 | 0.000 | 248.681 | 248.681 | 66.430 | 0.000 | 6283.722 | 0.000
[42 empty] | 11/08/2026 08:00:00 | 2561.803 | 2561.803 | 7.182 | 110.000 | 110.000 | 110.000 | 0.000 | 258.262 | 258.262 | 59.764 | 0.000 | 6783.722 | 0.000
[42 empty] | 11/08/2026 08:30:00 | 2403.847 | 2403.847 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 258.305 | 0.382 | 139.074 | 0.000 | 4499.670 | 0.000
[42 empty] | 12/08/2026 08:00:00 | 2503.059 | 2503.059 | 363.458 | 110.000 | 110.000 | 110.000 | 0.000 | 229.992 | 229.992 | 26.536 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 08:30:00 | 2262.767 | 2262.767 | 380.637 | 110.000 | 110.000 | 110.000 | 0.000 | 294.152 | 294.152 | 15.788 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 09:00:00 | 2036.832 | 2036.832 | 330.010 | 110.000 | 110.000 | 110.000 | 0.000 | 294.772 | 294.772 | 40.812 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 09:30:00 | 1836.442 | 1836.442 | 162.060 | 110.000 | 110.000 | 110.000 | 0.000 | 334.043 | 334.043 | 58.582 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 10:00:00 | 1638.721 | 1638.721 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 358.319 | 289.448 | 63.685 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 10:30:00 | 1472.544 | 1472.544 | 0.000 | 110.000 | 0.000 | 110.000 | 0.000 | 387.474 | 0.799 | 154.476 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 15:00:00 | 1842.368 | 1842.368 | 0.000 | 110.000 | 83.739 | 110.000 | 0.000 | 334.968 | 334.968 | 23.857 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 15:30:00 | 2107.849 | 2107.849 | 284.135 | 110.000 | 110.000 | 110.000 | 0.000 | 294.152 | 294.152 | 32.512 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 16:00:00 | 2378.777 | 2378.777 | 682.499 | 110.000 | 110.000 | 110.000 | 0.000 | 294.152 | 294.152 | 102.382 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 16:30:00 | 2648.99 | 2648.990 | 986.659 | 110.000 | 110.000 | 110.000 | 0.000 | 257.600 | 257.600 | 126.516 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 17:00:00 | 2900.071 | 2900.071 | 1196.882 | 110.000 | 110.000 | 110.000 | 0.000 | 248.019 | 248.019 | 77.210 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 17:30:00 | 3076.118 | 3076.118 | 1365.337 | 110.000 | 110.000 | 110.000 | 0.000 | 199.226 | 199.226 | 65.012 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 18:00:00 | 3139.445 | 3139.445 | 1447.649 | 110.000 | 110.000 | 110.000 | 0.000 | 199.226 | 199.226 | 61.135 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 18:30:00 | 3108.419 | 3108.419 | 1422.601 | 110.000 | 110.000 | 110.000 | 0.000 | 199.226 | 199.226 | 78.174 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 19:00:00 | 3052.993 | 3052.993 | 1345.934 | 110.000 | 110.000 | 110.000 | 0.000 | 199.226 | 199.226 | 88.541 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 19:30:00 | 2991.364 | 2991.364 | 1246.424 | 110.000 | 110.000 | 110.000 | 0.000 | 199.226 | 199.226 | 81.943 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 20:00:00 | 2895.173 | 2895.173 | 1134.761 | 110.000 | 110.000 | 110.000 | 0.000 | 208.824 | 208.824 | 74.533 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 20:30:00 | 2769.691 | 2769.691 | 1017.822 | 65.000 | 65.000 | 65.000 | 0.000 | 218.413 | 197.413 | 75.378 | 0.000 | 6783.722 | 0.000
[42 empty] | 12/08/2026 21:00:00 | 2616.475 | 2616.475 | 881.263 | 65.000 | 65.000 | 65.000 | 0.000 | 218.413 | 197.413 | 81.103 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 21:30:00 | 2457.271 | 2457.271 | 727.372 | 65.000 | 65.000 | 65.000 | 0.000 | 228.006 | 207.006 | 85.221 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 22:00:00 | 2311.222 | 2311.222 | 573.415 | 65.000 | 65.000 | 65.000 | 0.000 | 237.629 | 216.629 | 86.066 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 22:30:00 | 2192.342 | 2192.342 | 442.280 | 65.000 | 65.000 | 65.000 | 0.000 | 247.174 | 226.174 | 85.878 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 23:00:00 | 2104.179 | 2104.179 | 417.982 | 65.000 | 65.000 | 65.000 | 0.000 | 247.174 | 226.174 | 86.537 | 0.000 | 7010.000 | 0.000
[42 empty] | 12/08/2026 23:30:00 | 2044.832 | 2044.832 | 396.824 | 65.000 | 65.000 | 65.000 | 0.000 | 247.174 | 226.174 | 87.823 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/08/2026 00:00:00 | 2003.634 | 2003.634 | 350.319 | 65.000 | 65.000 | 65.000 | 0.000 | 247.174 | 226.174 | 88.776 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/08/2026 00:30:00 | 1975.771 | 1975.771 | 315.754 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 235.780 | 89.038 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/08/2026 01:00:00 | 1965.659 | 1965.659 | 301.300 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 235.780 | 88.884 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/08/2026 01:30:00 | 1950.298 | 1950.298 | 282.406 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 235.780 | 88.958 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/08/2026 02:00:00 | 1942.435 | 1942.435 | 267.426 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 235.780 | 89.132 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/08/2026 02:30:00 | 1941.257 | 1941.257 | 262.475 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 235.780 | 89.239 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/08/2026 03:00:00 | 1951.988 | 1951.988 | 271.852 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 235.780 | 89.120 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/08/2026 03:30:00 | 1979.638 | 1979.638 | 295.179 | 65.000 | 65.000 | 65.000 | 0.000 | 256.780 | 235.780 | 88.757 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/08/2026 04:00:00 | 2036.697 | 2036.697 | 343.377 | 65.000 | 65.000 | 65.000 | 0.000 | 247.174 | 226.174 | 88.075 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/08/2026 04:30:00 | 2134.729 | 2134.729 | 429.401 | 65.000 | 65.000 | 65.000 | 0.000 | 247.174 | 226.174 | 86.952 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/08/2026 05:00:00 | 2289.531 | 2289.531 | 575.586 | 65.000 | 65.000 | 65.000 | 0.000 | 237.629 | 216.629 | 85.183 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/08/2026 05:30:00 | 2508.965 | 2508.965 | 791.009 | 110.000 | 110.000 | 110.000 | 0.000 | 228.006 | 207.006 | 82.656 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/08/2026 06:00:00 | 2745.416 | 2745.416 | 1005.191 | 110.000 | 110.000 | 110.000 | 0.000 | 218.413 | 197.413 | 79.849 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/08/2026 06:30:00 | 2911.917 | 2911.917 | 1162.447 | 110.000 | 110.000 | 110.000 | 0.000 | 208.824 | 187.824 | 77.253 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/08/2026 07:00:00 | 2902.533 | 2902.533 | 1140.183 | 110.000 | 110.000 | 110.000 | 0.000 | 248.019 | 227.019 | 70.490 | 0.000 | 7010.000 | 0.000
[42 empty] | 13/08/2026 07:30:00 | 2683.649 | 2683.649 | 888.668 | 110.000 | 110.000 | 110.000 | 0.000 | 257.600 | 236.642 | 60.000 | 0.000 | 7010.000 | 0.000

## csv (hidden)
Forecast Operational Demand : |  | AEMOs forecast of Low / Available Capacity /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : |  | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : |  | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : |  | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : |  | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : |  | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : |  | Dispatch Interval where the RoCoF requirement is below the Rocof required quantity
Table Contents: |  | Any interval where shortfall is observed the table will indicate which interval by placing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
Scenario |  | Violations (total number of intervals where a shortfall occurs)
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls |  | # of Shortfalls
Available Capacity Scenario
High Demand Scenario
Low Demand Scenario
Detail view - Available Capacity Load Scenario | [15 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Available Capacity | [13 empty] | Forecast High | [13 empty] | Forecast Low
Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Demand Forecast | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall |  |  | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall | Requirement | Shortfall

## Json (hidden)
shortfallIntervalScenarios
AvailableCapacity
|  | availableEnergyShortfallIntervals | integer
|  | availableRegulationLowerShortfallIntervals | integer
|  | availableRegulationRaiseShortfallIntervals | integer
|  | availableContingencyLowerShortfallIntervals | integer
|  | availableCcontingencyRaiseShortfallIntervals | integer
|  | availableRocofShortfallIntervals | integer
ForecastHigh
|  | highEnergyShortfallIntervals | integer
|  | highRegulationLowerShortfallIntervals | integer
|  | highRegulationRaiseShortfallIntervals | integer
|  | highContingencyLowerShortfallIntervals | integer
|  | highCcontingencyRaiseShortfallIntervals | integer
|  | highRocofShortfallIntervals | integer
ForecastLow
|  | lowEnergyShortfallIntervals | integer
|  | lowRegulationLowerShortfallIntervals | integer
|  | lowRegulationRaiseShortfallIntervals | integer
|  | lowContingencyLowerShortfallIntervals | integer
|  | lowCcontingencyRaiseShortfallIntervals | integer
|  | lowRocofShortfallIntervals | integer
actualShortfallscenarios
AvailableCapacity
|  | availableDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | availableDemandForecast | integer
|  | availableEnergyRequirement | integer
|  | availableEnergyShortfall | integer
|  | availableRegulationLower | integer
|  | availableRegulationLowerShortfall | integer
|  | availableRegulationRaiseRequirement | integer
|  | availableRegulationRaiseShortfall | integer
|  | availableContingencyLowerRequirement | integer
|  | availableContingencyLowerShortfall | integer
|  | availableContingencyRaiseRequirement | integer
|  | availableContingencyRaiseShortfall | integer
|  | availableRocofRequirement | integer
|  | availableRocofShortfall | integer
ForecastHigh
|  | highDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | highDemandForecast | integer
|  | highEnergyRequirement | integer
|  | highEnergyShortfall | integer
|  | highRegulationLower | integer
|  | highRegulationLowerShortfall | integer
|  | highRegulationRaiseRequirement | integer
|  | highRegulationRaiseShortfall | integer
|  | highContingencyLowerRequirement | integer
|  | highContingencyLowerShortfall | integer
|  | highContingencyRaiseRequirement | integer
|  | highContingencyRaiseShortfall | integer
|  | highRocofRequirement | integer
|  | highRocofShortfall | integer
ForecastLow
|  | lowDispatchInterval | string | yyyy-MM-ddTHH:mm:ss+08:00:00
|  | lowDemandForecast | integer
|  | lowEnergyRequirement | integer
|  | lowEnergyShortfall | integer
|  | lowRegulationLower | integer
|  | lowRegulationLowerShortfall | integer
|  | lowRegulationRaiseRequirement | integer
|  | lowRegulationRaiseShortfall | integer
|  | lowContingencyLowerRequirement | integer
|  | lowContingencyLowerShortfall | integer
|  | lowContingencyRaiseRequirement | integer
|  | lowContingencyRaiseShortfall | integer
|  | lowRocofRequirement | integer
|  | lowRocofShortfall | integer